ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | BUNYORO |
| Name of Local Government | MATALE DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | Ali Kasule – Nakandi Aidah |
| Contact/ email and Telephone | 0758399112 – aalikasule@gmail.com 0703266299 – nakandiaidah6@gmail.com |
| Supervisor/ Sub team leader | DePaul Mbonigaba Rukara |
| Name | DePaul Mbonigaba Rukara |
| Contact | +256 788 483159 |
| Date of submission | 28/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: MATALE HC 111

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yess the facility had a delivery note from the supplier but lacked proper assets register that has standard detailed points like serial numbers, Tag numbers. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift - There is no known system used to maintain the assets at the facility and all the worn out and Brocken down assets are put aside to wait for their superiors to guide them on next steps. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yess they but by only putting them aside to wait from their superior’s guidance. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The UgIFT support has significantly improved service delivery at Matale Health Centre III by providing essential medical equipment and facility assets that have strengthened diagnosis, treatment, maternal and newborn care, and the general working environment. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health center checklist

NAME OF LG: KIBAALE DISTRICT LOCAL GOVERNMENT     NAME OF HEALTH FACILITY: MATALE HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BP Machine aneroid | OPD |  |  |  | NOT ENGRAVED |  |  |  | 640,000 |  |  |  |  | Qty 1; Unit price UGX 640,000; Total UGX 640,000. |
| Stool, Surgeon | OPD |  |  |  | NOT ENGRAVED |  |  |  | 420,000 |  |  |  |  | Qty 1; Unit price UGX 420,000; Total UGX 420,000. |
| B.P. Machine (Aneroid wall mounted) | OPD |  |  |  | NOT ENGRAVED |  |  |  | 640,000 |  |  |  |  | Qty 1; Unit price UGX 640,000; Total UGX 640,000. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | OPD |  |  |  | NOT ENGRAVED |  |  |  | 899,000 |  |  |  |  | Qty 1; Unit price UGX 899,000; Total UGX 899,000. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | Maternity |  |  |  | NOT ENGRAVED |  |  |  | 439,500 |  |  |  |  | : Qty 10; Unit price UGX 439,500; Total UGX 4,395,000. |
|  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Laboratory |  |  |  | NOT ENGRAVED |  |  |  | 1,301,500 |  |  |  |  | Qty 1; Unit price UGX 1,301,500; Total UGX 1,301,500. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | General ward |  |  |  | NOT ENGRAVED |  |  |  | 5,500,000 |  |  |  |  | Qty 2; Unit price UGX 5,500,000; Total UGX 11,000,000. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | OPD |  |  |  | NOT ENGRAVED |  |  |  | 260,000 |  |  |  |  | Qty 10; Unit price UGX 260,000; Total UGX 2,600,000. |
|  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light, LED | OPD |  |  |  | NOT ENGRAVED |  |  |  | 700,000 |  |  |  |  | Qty 20; Unit price UGX 700,000; Total UGX 14,000,000. |
|  | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | OPD |  |  |  | NOT ENGRAVED |  |  |  | 261,500 |  |  |  |  | Qty 3; Unit price UGX 261,500; Total UGX 784,500. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | OPD |  |  |  | NOT ENGRAVED |  |  |  | 500,000 |  |  |  |  | Qty 1; Unit price UGX 500,000; Total UGX 500,000. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | OPD |  |  |  | NOT ENGRAVED |  |  |  | 741,000 |  |  |  |  | Qty 2; Unit price UGX 741,000; Total UGX 1,482,000. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Maternity |  |  |  | NOT ENGRAVED |  |  |  | 464,500 |  |  |  |  | Qty 3; Unit price UGX 464,500; Total UGX 1,393,500. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Laboratory |  |  |  | NOT ENGRAVED |  |  |  | 4,500,000 |  |  |  |  | Qty 2; Unit price UGX 4,500,000; Total UGX 4,500,000. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope | OPD |  |  |  | NOT ENGRAVED |  |  |  | 150,000 |  |  |  |  | Qty 4; Unit price UGX 150,000; Total UGX 600,000. |
|  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | OPD |  |  |  | NOT ENGRAVED |  |  |  | 498,500 |  |  |  |  | Qty 1; Unit price UGX 498,500; Total UGX 498,500. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | OPD |  |  |  | NOT ENGRAVED |  |  |  | 1,300,000 |  |  |  |  | Qty 3; Unit price UGX 1,300,000; Total UGX 3,900,000. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant | MCH / Child Health |  |  |  | NOT ENGRAVED |  |  |  | 463,500 |  |  |  |  | Qty 3; Unit price UGX 463,500; Total UGX 1,390,500. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler | MCH / Child Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | OPD |  |  |  | NOT ENGRAVED |  |  |  | 541,500 |  |  |  |  | Qty 3; Unit price UGX 541,500; Total UGX 1,624,500. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | General ¦ Facility |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | OPD |  |  |  | NOT ENGRAVED |  |  |  | 400,000 |  |  |  |  | Qty 2; Unit price UGX 400,000; Total UGX 800,000. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Ward 2 |  |  |  | NOT ENGRAVED |  |  |  | 837,000 |  |  |  |  | Qty 2; Unit price UGX 837,000; Total UGX 1,674,000. |
| Patient with Mattress | WARD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filling Cabinet | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | General ward |  |  |  | NOT ENGRAVED |  |  |  | 1,200,000 |  |  |  |  | Qty 20; Unit price UGX 1,200,000; Total UGX 24,000,000 |
|  | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | General ward |  |  |  | NOT ENGRAVED |  |  |  | 1,050,000 |  |  |  |  | Qty 10; Unit price UGX 1,050,000; Total UGX 10,500,000 |
|  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | General ward |  |  |  | NOT ENGRAVED |  |  |  | 299,500 |  |  |  |  | Qty 2; Unit price UGX 299,500; Total UGX 599,000. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | Maternity |  |  |  | NOT ENGRAVED |  |  |  | 1,355,000 |  |  |  |  | Qty 3; Unit price UGX 1,355,000; Total UGX 4,065,000. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Maternity / Ward |  |  |  | NOT ENGRAVED |  |  |  | 1,900,000 |  |  |  |  | : Qty 5; Unit price UGX 1,900,000; Total UGX 9,500,000. |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | OPD |  |  |  | NOT ENGRAVED |  |  |  | 300,000 |  |  |  |  | Qty 15; Unit price UGX 300,000; Total UGX 4,500,000. |
|  | 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes | OPD |  |  |  | NOT ENGRAVED |  |  |  | 300,000 |  |  |  |  | Qty 15; Unit price UGX 300,000; Total UGX 4,500,000. |
|  | 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | Maternity / Ward |  |  |  | NOT ENGRAVED |  |  |  | 1,800,000 |  |  |  |  | Qty 3; Unit price UGX 1,800,000; Total UGX 5,400,000. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | Maternity / Ward |  |  |  | NOT ENGRAVED |  |  |  | 583,500 |  |  |  |  | Qty 1; Unit price UGX 583,500; Total UGX 583,500. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | Maternity / Ward |  |  |  | NOT ENGRAVED |  |  |  | 5,000,000 |  |  |  |  | Qty 4; Unit price UGX 5,000,000; Total UGX 20,000,000 |
|  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench | OPD / Waiting Area |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory | LAB |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | Maternity / Neonatal |  |  |  | NOT ENGRAVED |  |  |  | 40,000 |  |  |  |  | Qty 3; Unit price UGX 40,000; Total UGX 120,000. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar | Maternity |  |  |  | NOT ENGRAVED |  |  |  | 50,000 |  |  |  |  | Qty 2; Unit price UGX 50,000; Total UGX 100,000. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Maternity / Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Maternity / Neonatal |  |  |  | NOT ENGRAVED |  |  |  | 2,100,000 |  |  |  |  | Qty 1; Unit price UGX 2,100,000; Total UGX 2,100,000. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  | NOT ENGRAVED |  |  |  | 12,000,000 |  |  |  |  | Qty 2; Unit price UGX 12,000,000; Total UGX 24,000,000 |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | 15 |  |  |  | NOT ENGRAVED |  |  |  | 300,000 |  |  |  |  | Qty 15; Unit price UGX 300,000; Total UGX 4,500,000. |
| ADULT | 15 |  |  |  | NOT ENGRAVED |  |  |  | 150,000 |  |  |  |  | Qty 15; Unit price UGX 150,000; Total UGX 2,250,000. |
| PAEDIATRICK |  |  |  |  | NOT ENGRAVED |  |  |  | 150,000 |  |  |  |  | Qty 15; Unit price UGX 150,000; Total UGX 2,250,000. |
| Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school:

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG KIBAALE LOCAL GOVERNMENT Name of SCHOOL ----------------------------------------------------------

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG KIBAALE LOCAL GOVERNMENT Name of SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG KIBAALE LOCAL GOVERNMENT Name of SCHOOL MATALE HEALTH CENTER 111

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non-Residential Buildings | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Building | STAFF QUATERS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3000L TANK | STAFF QUATERS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 500L TANK | STAFF QUATERS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5000L TANK | STAFF QUATERS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| WATER PUMPS | STAFF QUATERS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LATRINE STANDS | STAFF QUATERS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 500L TANK | OPD BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10000L TANK | OPD BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3000L TANK | OPD BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| WATER PUMP | OPD BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LATRINE STAND | OPD BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LATRINE ARRESTOR- CONDUCTOR | OPD BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 500L TANK | MATERNITY BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5000L TANK | MATERNITY BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10000L TANK | MATERNITY BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3000L TANK | MATERNITY BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| WATER PUMP | MATERNITY BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LATRINE STAND | MATERNITY BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LIGHTENING ARRESTOR- CONDUCTOR | MATERNITY BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Major Concerns, Challenges and Recommendations – Matale Health Centre III

1. Major Concerns and Challenges Noted

During the verification exercise at Matale Health Centre III, the following key concerns were identified:

1.	Inadequate Staff Accommodation and Sanitation Facilities

The facility has insufficient staff quarters and toilet facilities, which may affect staff welfare and the overall working environment.

2.	Incomplete Paving Works

The paving works at the facility were found to be only partially completed, leaving some areas unfinished and requiring follow-up to ensure completion.

3.	Missing Client Television

The television intended to provide information and entertainment to clients while waiting for services was reported missing. This affects the intended functionality of the client waiting area.

4.	Inadequate Staffing Levels

The facility has insufficient staffing, which may place additional workload on the available staff and potentially affect the efficiency and continuity of service delivery.

2. Recommendations

•	The relevant authorities should consider providing additional staff accommodation and toilet facilities to improve staff welfare and the working environment.

•	The unfinished paving works should be assessed and completed to improve accessibility, safety and the general appearance of the facility.

•	The missing client television should be followed up and accounted for, with appropriate action taken to restore the intended service.

•	The district and relevant health authorities should review the facility's staffing requirements and consider deployment of additional staff to address existing gaps.

Overall Assessment

The identified infrastructure, equipment and staffing gaps at Matale Health Centre III require timely attention to improve staff welfare, facility accessibility and the quality and efficiency of health service delivery.