ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | TORO REGION |
| Name of Local Government | KASESE DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NALUNKUMA FARIDAH |
| Contact/ email and Telephone | 070250903, farivanie@gmail.com |
| Supervisor/ Sub team leader | DEPAUL MBONIGABA |
| Name | DEPAUL MBONIGABA |
| Contact | 0788433159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  RUKOKI GENERAL HOSPITAL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

There is some small amount of money allocated to the facility under Primary Health Care (PHC) to help in repairing of the minor broken equipment

The Equipment that needs Major repair is recorded and reported to District Health Officer who then sends a technician to do the repairs, however most of the Equipment provided by UGIFT is still functional and some are still boxed in store.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they do. The facility has Asset registry record book where they record equipment that is still functional and that which is broken. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation | The UgIFT has consistently provided equipment that has helped in diagnosis management and treatment of patients in the community. It has improved Maternity services because many mothers give birth at the facility. The construction of staff houses has also increased trust in community since the doctors are always available. Sanitation has improved due to construction of water tanks and availability of water sources, construction of pit latrines, Because of UGIFT support, there is an increment in the turn up of Patients, increased trust and confidence However, the facility has always hard issues and challenges which include: - Some Equipment provided needs technical support in installation, like the hydraulic bed, and few others. - Adult beds are not enough because they receive many patients especially mothers giving birth. - The facility received a lot of medical equipment yet it has no space to put it, the facility is small as compared to the equipment given to it. Recommendations: The facility has its own land, they ask UGIFT to support in the construction of more blocks including maternity block, the facility has a lot of patients and many mothers giving birth from there. The facility needs toilet blocks for both male and female, a placenta pit and more water tanks |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG KASESE DISTRICT LOCAL GOVERNMENT. NAME OF HEALTH FACILITY : RUKOKI   HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | Multi parameter monitor with a straight stand and with rectangular screen with a large base |  | Model no. 26030410040103 | 2/6/2025 |  |  | 250,0000 |  |  |  | Functional | Verified one and still functioning |
| B.P. Machine (Aneroid wall mounted) | health |  | Not seen |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | health |  | Long round cylindrical container with a round top and black handles with a gauge and stainless in nature |  | Not engraved | 2/6/2025 | 2025 |  | 9,590,000 |  |  |  | Functional | Received 2 and verified 40l though |
| Bowl, Kick | health |  | U-shaped steel and stainless in nature |  |  | 15/11/2025 | 2025 |  | 260,000 |  |  |  | functional | Received 8 and all verified |
| Bowl Stand | health |  | U-shaped bowls on the stand with 4 rails |  | Not engraved |  | 2026 |  | 400,000 |  |  |  | Functional | 10 bowls received and all verified,3 stands and also verified |
| Counting chamber Neubauer- Improved | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | health |  | Off white in color with compartments, lockable in nature with double doors |  | Not engraved | 2/6/2025 | 2026 |  | 1,150,000 |  |  |  | Functional | 6 Verified and all functioning` |
| Drip Stand | health |  | Cylindrical shaped stands with 5 wheels with a light blue screen |  | Not engraved | 2/6/2025 | 2026 |  | 220,000 |  |  |  | functional | 10 received and verified |
| ESR Stand | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | health |  | Long rectangular bed with 4 stainless stands with a black soft sponge mattress with a lifter |  | Not engraved | 2/6/2025 | 2026 |  | 900,000 |  |  |  | functional | 4 received and verified |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | health |  | 0val like shape, white in color with a small screen |  | Not engraved | 2/6/2025 | 2026 |  | 150,0000 |  |  |  | functional | 2 verified and 2 still in the store |
| Haemoglobin Meter, Digital | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | health |  | Rectangular Stainless flat plates stands and railing balls |  | Not engraved | 2/6/2025 | 2026 |  | 380,000 |  |  |  | functional | 8 seen and verified |
| Microscope Binocular | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | health |  | Very tall and long thin rectangular folding wall with railing and blue screen |  | Not engraved | 2/6/2025 | 2026 |  | 550,000 |  |  |  | functional | 10 seen and 5 still in store |
| Patient Trolley | health |  | Stainless stands with a soft black mattress with 4 rolling balls |  | Not engraved | 2/6/2025 | 2026 |  | 2,000,000 |  |  |  | functioning | 2 verified and functioning |
| Refrigerator, Basic | Health |  | Large rectangular shape, white in color and double door |  | Not engraved | 2/6/2025 | 2026 |  | 7,000,000 9,500,000 |  |  |  | functioning | 2 verified 1 pharmaceutical and another one for blood |
| Stethoscope | Health |  | black tube with steel drum Y- shaped |  | Not engraved | 2/6/2025 | 2026 |  | 120,000 |  |  |  | All functioning | 10 verified and 3 still in store |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  | Long rectangular bed with 4 black wheels with two rails and a black soft sponge |  | Not engraved | 20/9/2025 | 2025 |  |  |  |  |  | functional | 1 seen and verified |
| Stove, Gas | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | Not seen |  | White in color with circular face with a height meter and With a black rectangular base in nature |  | BS6-RUKGH-WS-001MW | 2/62025 | 2026 |  |  |  |  |  | functional | 4 seen, verified and functioning |
| Weighing Scale, Infant | health |  | White in color curved like a boat with green digital buttons and rectangular base |  | Not engraved | 2/6/2025 | 2025 |  | 600,000 |  |  |  | functional | 4 seen and verified |
| Weighing Scale, Toddler | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | health |  | Black in color with 2 black wheels, 2 foot pads and 2 handles |  | Not engraved | 2/62025 | 2026 |  | 670,000 |  |  |  | All functioning | 2 verified and 2 still in store |
| Audio Visual Equipment | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | Not verified |  | Received but still boxed in the store |  |  | 2/6/2025 |  |  | 1,000,000 |  |  |  | Functional | Verified 2sets |
| Diagnostic Equipment Set for OPD | Health |  | Received and still boxed in the store |  |  | 2/6/2025 |  |  | 700,000 |  |  |  | functional | 2 sets verified |
| Glassware Set, Laboratory, Basic | Not verified |  |  |  |  |  |  |  |  |  |  |  | functional | 2 sets verified |
| Hollow Ware Set, Treatment | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health |  | Received and still boxed in the store |  |  | 2/6/2025 |  |  | 1,150,000 |  |  |  | functional | 3 sets verified |
| Instrument Set, Basic ENT | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | health |  | Still boxed in the store |  |  | 2/6/2025 |  |  | 1,600,000 |  |  |  | functional | 3 sets verified |
| Pulse Oximeter, Hand held | Health |  | Small rectangular device phone like shape white in color with a flat screen |  | 856-RUK-G-HOSP-NICU | 2/6/2025 |  |  | 155,000 |  |  |  | functional | Verified 10, 4 in use |
| Bed, Adult Patient with Mattress |  |  | Blue and white in color rectangular on 4 stands with black mattresses |  | XSKD-2026-03-1100002-4 | 2/6/2025 | 2025 |  | 1,210,000 |  |  |  | All functional and new | 50 received and 20 others kept |
| Bed, Pediatric Patient, With Mattress | health |  | Medium single bed, Pink face, blue pipes 4 legs on 4 stands |  | Not engraved | 2/6/2025 |  |  | 1,500,000 |  |  |  | functioning | 20 seen and verified, still kept |
| Bedside Locker | health |  | Rectangular box with drawers, bigger one down and upper small, grey and blue in color and 4 stands |  | Not engraved | 2/6/2025 |  |  | 530,000 |  |  |  | functional | 10 Seen, functioning and verified, 10 still kept |
| Cupboard, Instrument | Health |  | 0ff white, steel and metallic with 2 double doors |  | 856-RUKGN-CBD-OPD-EMS-001 | 2/6/2025 |  |  | 1,225,000 |  |  |  | functional | 6 seen and verified |
| Delivery Bed, Hydraulic Manual | Health |  | Black in color with a square base with a soft black mattress |  | Not engraved | 2/6/2025 |  |  | 30,000,000 |  |  |  | functioning | 2 seen and verified |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | Long and cylindrical in nature black and white in color |  | Not engraved | 2/6/2025 |  |  | 1,500,000 |  |  |  | functional | 2 verified |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | Oval kinder shape, rubber bag with masks and small bag |  | Not engraved | 2/06/2025 |  |  | 300,000 |  |  |  | Functional | 5 received |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | Oval kinder shape, rubber bag with masks and small |  | Not engraved | 2/06/2025 |  |  | 300,000 |  |  |  | functional | 3 received |
| Suction Apparatus, (Electric) | health |  | Bags box shaped with 2 bottles and long tube and round pressure gauge |  | 856-RUK-J-HOSP-SM-OPD | 2/06/2025 |  |  | 2,200,000 |  |  |  | functioning | 1 seen and verified |
| Nebulizer, Ultrasonic | Health |  | Rectangular box shape with 2 round cylindrical cups which are transparent |  | Not engraved | 2/06/2025 |  |  | 750,000 |  |  |  | functional | 1 verified |
| Oxygen Concentrator, Duo Flow | Health |  | Its rectangular shaped electronically operated with 2 vertical tubes and white in color |  | Not engraved | 2/06/2025 |  |  |  |  |  |  | functioning | 1 verified |
| Bench | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | health |  | Silver and stainless baby size |  | D-71000137 | 2/062025 | 2026 |  | 1,150,000 |  |  |  | functioning | 8 seen and verified |
| Diagnostic Equipment Set for Ward | health |  | Small shallow rectangular set with instruments in it |  | Not engraved | 2/06/2026 | 2026 |  | 3,500,000 |  |  |  | functional | 2 verified |
| Hollow Ware Set, Ward | Health |  | Still packed in the store |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery | Health |  | Rectangular shaped stainless container with a number of small equipment |  | Not engraved | 2/06/2026 | 2026 |  | 2,100,000 |  |  |  | functional | 1 seen and verified |
| Instrument Set, Stitch Removing | health |  | Still packed in store |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory | health |  | Round seat with rails and green in color |  | Not engraved | 2/06/2026 | 2026 |  | 750,000 |  |  |  | Functional | 2 seen and verified |
| Penguin Sucker | health |  | Penguin shape, rubber and transparent in nature |  | Not engraved | 2/06/2025 | 2026 |  | 30,000 |  |  |  | functional | 8 verified |
| Fetoscope, Dopplar | health |  | White in color, oval like shape with a probe and a screen |  | Not engraved | 2/06/2026 | 2026 |  |  |  |  |  | functional | 1 verified |
| Bubble CPAP | health |  | Rectangular in shape with a digital screen with a pressure gauge |  | Not engraved | 2/06/2026 | 2026 |  | 12,000,000 |  |  |  | Functional | 1 verified |
| Centrifuge (Electric) | health |  | Rectangular shape cubical box with round drum white in color |  | Not engraved | 2/06/2026 | 2026 |  | 400,000 |  |  |  | functional | 1 seen and verified |
| Kangaroo Mother Care Chair | health |  | Brown leather chair with a cup holder and with a drip stand attached |  | Not engraved | 2/06/2026 | 2025 |  | 1,500,000 |  |  |  | functional | 1 seen and verified |
| Radiant Infant Warmer | Health |  | Tall thin vertical stand with medium flat square box heater on top, white and blue with tubing and large base |  | Not engraved | 2/06/2026 | 2026 |  | 30,000,000 |  |  |  | Functional | 1 verified |
| Haemoglobin Meter, Sahli | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | health |  | Black in color with mackintosh covers |  | X5KD-2025-02-07 MODEL-PLGYN-06 | 2/06/2026 | 2026 |  | 9,000,000 |  |  |  | functional | 2 verified |
| Examination light | health |  | Still in store |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | health |  | Still in store |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | health |  | Still in store |  |  |  |  |  |  |  |  |  |  |  |
| Incubator | health |  | Big transparent box-closed chamber on a trolley with 4 wheels white and blue in color |  | BB-1001NC-RISKO-G-HOSP-INCO-0003 | 2/06/2026 | 2026 |  | 33,100,000 |  |  |  | functional | 3 verified, 1 in use |
| Office Chair | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |