ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
| SUB-REGION: | WAKISO AND GREATER MPIGI |
| Name of Local Government | GOMBA LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NAMPEBWA EMILY |
| Contact/ email and Telephone | 0767056346 emilynampebwa@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Lawrence Kalwoya |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: BULWADDA HEALTH III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility does inform the district health officer about the need for repair of the assets and a fund is provided.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS

- Better service delivery- number of deliveries and OPD patients has increased because the facility has enough equipment’s and supplies to meet the targeted population.

- Fridge and centrifuge in the laboratory help to keep vaccines safe and samples safe too.

CHALLENGES

- Shortage of skilled manpower

- Power challenge- the existing power source is not enough to enable the efficient running of some of the machines that were received by the facility.

- No fence

- There’s no incinerator which makes disposal of wastes difficult

RECOMMENDATIONS

- Extend solar/ or an alternative power backup

- Provide a linkage between the facility administration and service providers for maintenance of faulty equipment.

- Construct an incinerator

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG : GOMBA LOCAL GOVERNMENT            NAME OF HEALTH FACILITY: BULWADDA HEALTH CENTER  III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital(02) | HEALTH |  | White in color and use batteries to operate |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | INuse |
| B.P. Machine (Aneroid wall mounted) (02) | HEALTH |  | Clinical sphygmomanometer with a large, rotatable round dial |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Autoclave 20 Liters.,Duo Operated | HEALTH |  | Cylindrical drum made of stainless steel with a heavy cover with black pressure valves |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Bowl, Kick (01) | HEALTH |  | A mobile stainless-steel bowl mounted on a metal frame that can be moved around by kicking with foot |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Bowl Stand(02) | HEALTH |  | Low stand made of stainless steel with two circular rings to hold washing bowls |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable(02) | HEALTH |  | Double door storage cabinet, locking steel handles and shelves inside |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Drip Stand(09) | HEALTH |  | Stainless steel with adjustable height with wheels and hooks to hang medicine drips |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch(04) | HEALTH |  | Washable padded black surface with a metallic frame adjustable black rest (head) |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Examination light,LED (01) | HEALTH |  | White in color, movable with functional rollers and cables to enable charging |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (02) | HEALTH |  | Head piece that rests on patient’s head, with a scale in centimeters |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Instrument Trolley (03) | HEALTH |  | Stainless steel with shelves, push handles and a ring for inserting a bowl |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (05) | HEALTH |  | Foldable, white and blue curtains with a steel frame and movable from one place to another |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Patient Trolley(01) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (01) | HEALTH |  | silver in color |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Stethoscope (04) | HEALTH |  | Black tube, ear tip stainless steel chest piece |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Stop Watch |  |  |  |  | BULWADDA H/C III |  |  |  |  |  |  |  |  |  |
| Stretcher (02) | HEALTH |  | Orange mattress wheeled with a steel frame |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Stove, Gas (01) | HEALTH |  | 2 Burner gas with auto ignition |  |  |  |  |  |  |  |  |  | GOOD | In use |
| Weighing Scale with Height Meter, Adult |  |  |  |  | BULWADDA H/C III |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant(01) | HEALTH |  | White in color tray type that uses batteries to operate |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair 2 | HEALTH |  | Foldable, black in color with a drip stand, rubber tires |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (03) | HEALTH |  | Stainless metallic containers with foot operation. |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Wall Clock (01) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (02) | HEALTH |  | Digital white display rechargeable battery, |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Bed, Adult Patient with Mattress (8) | HEALTH |  | Metallic frame white in color with a black washable mattress, adjustable back rest with wheels and a drip stand |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use 2 bed don’t have a mattresses |
| Bed, Pediatric Patient, With Mattress (03) | HEALTH |  | Black mattress with, side rails, white and blue with drip stand |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use One doesn’t have a mattress |
| Bedside Locker | HEALTH |  | Grey like lockers with a blue base, has wheels |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Cupboard, Instrument(01) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (01) | HEALTH |  | Has 2 jars, suction tubing and a foot pedal |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow (01) | HEALTH |  | Humidifier bottle air filter with a nasal cannula |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Bench | HEALTH |  | Wooden metallic frame furniture |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery (03) | HEALTH |  | Contains a set of equipment in a carry tray |  |  |  |  |  |  |  |  |  | Good | In use |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit (02) | HEALTH |  | Packed in stainless tray with a cover |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Stool, Laboratory (02) | HEALTH |  | Wheeled round adjustable seat |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Penguin Sucker (03) | HEALTH |  | Soft rubber liked bulb shaped with a penguin nozzle |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Fetoscope, Dopplar(0) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP (01) | HEALTH |  | Patient circuit nasal interface |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (1) | HEALTH |  | Black in color, adjustable with padded shoulder rests, a large metal base with brakes |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal (04) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (6) | HEALTH |  | Black leather with handles and wheels |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Desk (4) | HEALTH |  | Long brown wooden tables with lockable drawers |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Filing Cabinet (6) | HEALTH |  | Multi colored 4 drawer with a vertical locking system |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Non Residential Buildings | HEALTH |  | Placenta pit Pit latrine with showers |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |
| Residential Buildings | HEALTH |  | 1 floored building |  | BULWADDA H/C III |  |  |  |  |  |  |  | GOOD | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |