ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Central |
| --- | --- |
| SUB-REGION: | Buganda |
| Name of Local Government | Mityana District |
| VERIFIER PARTICULARS |  |
| Full name | Ali Kasule and Nakandi Moah |
| Contact/ email and Telephone | 0758 399112 aalikasule@gmail.com; 0783 266299 |
| Supervisor/ Sub team leader |  |
| Name | Depaul Mbonigaba Butera |
| Contact | 0788 483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Mpongo HC III. The interview line also writes Busunju HC III.

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift There is no known system used to maintain the assets at the facility, and all the condemned and broken down assets are put aside to wait for their supervisors to guide them on the next steps. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, they do, but only by putting them aside to wait for their supervisor's guidance. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Improved diagnosis and monitoring. Equipment such as BP machines and glucometers has improved the facility's ability to assess and monitor patients. Maternity and newborn care have improved. Challenges: inadequate water supply; inadequate power supply; high maintenance costs; 2 microscopes were damaged. Recommendations: the district and well-wishers should consider water pumps, and the district should help with maintenance and repair. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Mityana District    NAME OF HEALTH FACILITY: Mpongo HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (1) | OPD |  | white and black |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| B.P. Machine (Aneroid wall mounted) (2) | OPD |  | black in color |  | not engraved |  |  |  |  |  |  |  | functional | good condition |
| Autoclave 20 Liters.,Duo Operated (1) |  |  | metallic, green in colour |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | good condition |
| Bowl, Kick (2) | maternity |  | metallic, silver in color |  |  |  | 13 Feb 2025 |  |  |  |  |  | functional | good condition |
| Bowl Stand (3) | maternity |  | metallic, silver in color, movable |  |  |  |  |  |  |  |  |  | functional | good condition |
| Counting chamber Neubauer- Improved (2) | LAB |  |  |  |  |  |  |  |  |  |  |  | functional | good condition |
| Cupboard Steel, Lockable (2) | LAB |  | white, with blue, green, orange and black |  |  |  | 13 Feb 2025 |  |  |  |  |  | functional | good condition |
| Drip Stand | Gen ward |  | silver and blue in color |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | good condition |
| ESR Stand (1) | LAB |  | made from China, white in color |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | in good condition |
| Examination Couch (4) | OPD |  | white stand and black |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (2) |  |  | parent along with a weighing scale, white in color |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| Instrument Trolley (4) |  |  | silver in color, with trays, lockable |  |  |  | 13 Feb 2025 |  |  |  |  |  | functional | in good condition |
| Microscope Binocular (1) | LAB |  | white and black |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | not functional | they need a power supply to use |
| Otoscope (1) |  |  | black |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | in good condition |
| Patient Screen (4) |  |  | silver stands and blue or black cloth |  |  |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| Patient Trolley (1) |  |  | silver bed with orange wheels |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | in good condition |
| Refrigerator, Basic (1) |  |  | white and blue in color |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | not functional | not in use; no electrical power supply |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant (2) |  |  | brand Seca, white |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | in good condition |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair (2) |  |  | black in color |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | not functional | not in good condition |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (3) |  |  | silver in color |  | not engraved |  |  |  |  |  |  |  | functional | still in use |
| Wall Clock (4) |  |  | screen quartz, black and white |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | still in use |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD (2) |  |  | black box, well equipped |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| Glassware Set, Laboratory, Basic (2) |  |  | each set has 9 glasses |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | some functional | some are broken |
| Hollow Ware Set, Treatment (2) |  |  |  |  |  |  |  |  |  |  |  |  | functional | well arranged |
| Instrument Set, Dressing |  |  | silver in color |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional |  |
| Instrument Set, Basic ENT (2) |  |  | silver in color |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional |  |
| Instrument Set, Suture |  |  | silver in color |  | not engraved |  |  |  |  |  |  |  | functional | in good condition |
| Pulse Oximeter, Hand held (2) |  |  | white in color |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | in good condition |
| Bed, Adult Patient with Mattress (10) |  |  | stainless steel stands, white and blue |  | not engraved |  |  |  |  |  |  |  | functional |  |
| Bed, Pediatric Patient, With Mattress (5) |  |  | grey in color with black mattresses |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| Bedside Locker |  |  |  |  |  |  | 13 Feb 2025 |  |  |  |  |  | functional | identified physically but not recorded |
| Cupboard, Instrument (1) |  |  | grey in color |  | not engraved |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes (3) |  |  | white, blue and green |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| Resuscitator Manual, Adult, with all mask sizes (3) |  |  | white, blue and green |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| Suction Apparatus, (Electric) (1) |  |  | yellow, marked 14-2025, white and black |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | good condition |
| Nebulizer, Ultrasonic (1) |  |  | white in color |  |  |  | 13 Feb 2025 |  |  |  |  |  | functional | good condition |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  | black metal, good, rusted tops |  |  |  |  |  |  |  |  |  | functional | one could not be identified as what was received from UgIFT, or its number |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward (1) |  |  | stainless steel, silver |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | good condition |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker (3) |  |  | white in color |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | good condition |
| Fetoscope, Dopplar (2) |  |  | white and blue |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| Bubble CPAP (2) |  |  | white in color |  |  |  | 13 Feb 2025 |  |  |  |  |  | not functional | found in store |
| Centrifuge (Electric) (1) |  |  | 80-1 table top, low speed, white and blue |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | good condition |
| Kangaroo Mother Care Chair (1) |  |  | leather, blue in color |  |  |  | 13 Feb 2025 |  |  |  |  |  | functional | in good condition |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (2) |  |  | blue in color |  | not engraved |  | 13 Feb 2025 |  |  |  |  |  | functional | could not be verified from the register but was identified physically |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (4) |  |  | black in color |  |  |  | 13 Feb 2025 |  |  |  |  |  | some functional | 1 blocked or broken |
| Desk (3) |  |  | metal stand and wooden top |  | engraved with the name of the facility |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| Filing Cabinet (2) |  |  | silver and white, with blue, green, orange and black |  |  |  | 13 Feb 2025 |  |  |  |  |  | functional | all in good condition |
| Non Residential Buildings (1) |  |  | white and orange with blue roofing |  |  |  |  |  |  |  |  |  | functional | they lack the exact dates they were built |
| Residential Buildings (1) |  |  | orange and white with blue roofing |  |  |  |  |  |  |  |  |  | functional | look on the asset register |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |