ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WAKISO AND GREATER MPIGI |
| --- | --- |
| SUB-REGION: | WAKISO |
| Name of Local Government | WAKISO LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NAMPEBWA EMILY |
| Contact/ email and Telephone | 0767056346 emilynampebwa@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Lawrence Kalwoya |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KASOOZO HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes and this is done regularly by the incharge |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

By use of the PHC fund

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS

- Better service delivery- number of deliveries and OPD patients has increased because the facility has enough equipment’s and supplies to meet the targeted population.

- Fridge and centrifuge in the laboratory help to keep vaccines safe and samples safe too.

- Staff quarters help to house the staff members which makes work easier and removes barriers like abesentism from duty

CHALLENGES

- Power challenge- the existing power source is not enough to enable the efficient running of some of the machines that were received by the facility.

- Less manpower compared to the number of patients received in a day.

- There’s no incinerator which makes disposal of wastes difficult

RECOMMENDATIONS

- Extend solar/ or an alternative power backup

- Provide a linkage between the facility administration and service providers for maintenance of faulty equipment.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health center checklist

NAME OF LG: WAKISO LOCAL GOVERNMENT                                             NAME OF HEALTH FACILITY: KASOOZO HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 2 | HEALTH |  | Consists of an inflatable cuff with a connecting tube, digital display unit and uses batteries for operations |  |  |  |  |  |  |  |  |  | Functional | In use |
| - P. Machine (Aneroid wall mounted) 2 | HEALTH |  | Clinical sphygmomanometer with a large, rotatable round dial |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Autoclave 20 Liters., Duo Operated 2 | HEALTH |  | Cylindrical drum made of stainless steel with a heavy cover with black pressure valves |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Bowl, Kick 1 | HEALTH |  | A mobile stainless-steel bowl mounted on a metal frame that can be moved around by kicking with foot |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Bowl Stand2 | HEALTH |  | Low stand made of stainless steel with two circular rings to hold washing bowls |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Counting chamber Neubauer- Improved. 1 | HEALTH |  | Rectangular glass slide with droppers |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Cupboard Steel, Lockable 2 | HEALTH |  | Double door storage cabinet, locking steel handles and shelves inside |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Drip Stand. 8 | HEALTH |  | Stainless steel with adjustable height with wheels and hooks to hang medicine drips |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| ESR Stand | HEALTH |  | Rectangular plastic stand with holes and clips to hold ESR tubes |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Examination Couch 2 | HEALTH |  | Washable padded black surface with a metallic frame adjustable black rest (head) |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Examination light,LED | HEALTH |  | White in color, movable with functional rollers and cables to enable charging |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Glucometer 3 | HEALTH |  | Hand held device with a small screen, and a slot where to insert a test strip with control buttons |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Height Meter. 1 | HEALTH |  | Head piece that rests on patient’s head, with a scale in centimeters |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Instrument Trolley 4 | HEALTH |  | Stainless steel with shelves, push handles and a ring for inserting a bowl |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen 4 | HEALTH |  | Foldable, white and blue curtains with a steel frame and movable from one place to another |  |  |  |  |  |  |  |  |  | FUNCTIONAL | Broken wheels |
| Patient Trolley 1 | HEALTH |  | Stainless steel, wheeled push handles at both ends |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Refrigerator, Basic2 | HEALTH |  | 2 doors, silver in color |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Stethoscope 5 | HEALTH |  | Black tube, ear tip stainless steel chest piece |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher 1 | HEALTH |  | Blue mattress wheeled with a steel frame |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Stove, Gas 1 | HEALTH |  | 2 Burner gas with auto ignition Brand:UMAX |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Weighing Scale with Height Meter, Adult 2 | HEALTH |  | Heavy duty steel platform with aluminum height rod and rubber mat |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Weighing Scale, Infant 2 | HEALTH |  | White in color tray type that uses batteries to operate |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Weighing Scale, Toddler 2 | HEALTH |  | Spring-loaded hanging mechanism with an analog circular dial face. |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Wheel Chair | HEALTH |  | Foldable, black in color with a drip stand, rubber tires |  |  |  |  |  |  |  |  |  | FUNCTIONAL | Have no drip stands |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 Medical Waste Bin | HEALTH |  | Stainless metallic containers with foot operation. |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Wall Clock 1 | HEALTH |  | Battery operated circular device with numbers and a frame with glass |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Diagnostic Equipment Set for MCH. 2 | HEALTH |  | Contains many equipment in a carry case |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | HEALTH |  | A set of stainless-steel equipment |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Instrument Set, Dressing 2 | HEALTH |  | Stainless steel and contains all equipment |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Instrument Set, Basic ENT. 2 | HEALTH |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Instrument Set, Suture | HEALTH |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Pulse Oximeter, Hand held 2 | HEALTH |  | Digital white display rechargeable battery, |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Bed, Adult Patient with Mattress 4 | HEALTH |  | Metallic frame white in color with a black washable mattress, adjustable back rest with wheels and a drip stand |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Bed, Pediatr ic Patient, With Mattress 4 | HEALTH |  | Black mattress with ,side rails, white and pink with drip stand |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | HEALTH |  | Grey steel with shelves inside |  |  |  |  |  |  |  |  |  | FUNCTIONAL | SHELVES ARE BROKEN |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric)(1) | HEALTH |  | Has 2 jars, suction tubing and a foot pedal |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Nebulizer, Ultrasonic 1 | HEALTH |  | Has mask, mouth piece, air tubing medication cups |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Oxygen Concentrator, Duo Flow. (1) | HEALTH |  | Humidifier bottle air filter with a nasal cannula |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Bench. 4 | HEALTH |  | Wooden metallic frame furniture |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Disinfection Buckets 6 | HEALTH |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Baby Cot 1 | HEALTH |  | Small bed with a metallic frame, drop sides, wheels and a black mattress |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Deliver y |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit. | HEALTH |  | Packed in stainless tray with a cover |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Stool, Laboratory. 1 | HEALTH |  | Wheeled round adjustable seat |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Penguin Sucker 2 | HEALTH |  | Soft rubber liked bulb shaped with a penguin nozzle |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Fetoscope, Dopplar | HEALTH |  | Cone shaped plastic instrument used to detect fetal heartbeats |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Bubble CPAP 1 | HEALTH |  | Patient circuit nasal interface |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Centrifuge (Electric) 1 | HEALTH |  | A grey and blue machine with a timer used in the laboratory |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Kangaroo Mother Care Chair 1 | HEALTH |  | Blue chair padded with seat, has a back rest that can be adjusted with arm and foot rests |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Radiant Infant Warmer 1 | HEALTH |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed 1 | HEALTH |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Examination light (2) | HEALTH |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Instrument set, ENT Basic for HCIII | HEALTH |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Bag Valve mask (Ambu Bag), Neonatal | HEALTH |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair. 3 | HEALTH |  | Black leather with handles and wheels |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Desk.2 | HEALTH |  | Long brown wooden tables with lockable drawers |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Filing Cabinet. 2 | HEALTH |  | Multi colored 4 drawer with a vertical locking system |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Non Residential Buildings | HEALTH |  | Placenta pit Pit latrine with showers |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |
| Residential Buildings | HEALTH |  | 1 floored building 3 unit Staff quarters house |  |  |  |  |  |  |  |  |  | FUNCTIONAL | IN USE |