ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government |  |
| VERIFIER PARTICULARS |  |
| Full name |  |
| Contact/ email and Telephone |  |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Zzinga HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | A Wakiso District Health Office stores list for Zzinga HC III, stamped by the Stores Department on 7 July 2026, gives the quantities for 75 lines. It is signed as compiled by Waaki Midu Mwesigwa on 7/7/2026. It gives no costs, and three section headings are blacked out. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Wakiso District    NAME OF HEALTH FACILITY: Zzinga HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (2) |  |  | B.P Machine Aneroid wall mounted |  |  |  |  |  |  |  |  |  |  | Stores list line 58 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Autoclave 20 Liters.,Duo Operated (2) |  |  | Autoclave, Extenal heated 20L |  |  |  |  |  |  |  |  |  |  | Stores list line 57 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Bowl, Kick (1) |  |  | Bowl kick |  |  |  |  |  |  |  |  |  |  | Stores list line 37 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Kick bucket (1) |  |  | Kick bucket |  |  |  |  |  |  |  |  |  |  | Stores list line 60 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Bowl Stand (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 59 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Counting chamber Neubauer- Improved (2) |  |  | Counting chamber Neubauer improved |  |  |  |  |  |  |  |  |  |  | Stores list line 62 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Cupboard Steel, Lockable (6) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 38 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Drip Stand (9) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 39 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| ESR Stand (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 63 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Examination Couch (4) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 41 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 64 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 6 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Instrument Trolley (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 43 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Microscope Binocular (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 71 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Otoscope (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 65 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Patient Screen (5) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 46 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Patient Trolley (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 45 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Refrigerator, Basic (2) |  |  | Refrigerator (General) |  |  |  |  |  |  |  |  |  |  | Stores list line 7 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Stethoscope (8) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 66 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Stop Watch (1) |  |  | Stopwatch |  |  |  |  |  |  |  |  |  |  | Stores list line 68 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Stretcher (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 47 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Stove, Gas (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 8 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Weighing Scale with Height Meter, Adult (1) |  |  | Weighing scale Adults |  |  |  |  |  |  |  |  |  |  | Stores list line 9 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Weighing scale Adult (1) |  |  | Weighing scale Adult |  |  |  |  |  |  |  |  |  |  | Stores list line 25 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Weighing Scale, Infant (1) |  |  | Weighing scale Infants |  |  |  |  |  |  |  |  |  |  | Stores list line 10 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Weighing sacle Infant (1) |  |  | Weighing sacle Infant |  |  |  |  |  |  |  |  |  |  | Stores list line 26 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Weighing Scale, Toddler (1) |  |  | Weighing scales Toddler |  |  |  |  |  |  |  |  |  |  | Stores list line 11 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Wheel Chair (4) |  |  | Wheelchair |  |  |  |  |  |  |  |  |  |  | Stores list line 48 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Audio Visual Equipment (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 74 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Medical Waste Bin (20) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 51 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Wall Clock (4) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 69 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Diagnostic Equipment Set for MCH (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 1 (section 1), Wakiso District Health Office, 7 Jul 2026 |
| Diagnostic equipment set for MCH (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 13 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Diagnostic Equipment Set for OPD (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 14 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Glassware Set, Laboratory, Basic (2) |  |  | Glassware/ instrument set, laboratory |  |  |  |  |  |  |  |  |  |  | Stores list line 15 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Hollow Ware Set, Treatment (2) |  |  | Hollow ware set treatment |  |  |  |  |  |  |  |  |  |  | Stores list line 16 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Instrument Set, Dressing (3) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 2 (section 1), Wakiso District Health Office, 7 Jul 2026 |
| Instrument set dressing (3) |  |  | Instrument set dressing |  |  |  |  |  |  |  |  |  |  | Stores list line 17 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture (3) |  |  | Instrument set suture |  |  |  |  |  |  |  |  |  |  | Stores list line 19 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Pulse Oximeter, Hand held (2) |  |  | Pulse oximeter |  |  |  |  |  |  |  |  |  |  | Stores list line 73 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress (4) |  |  | Bed, Paediatric |  |  |  |  |  |  |  |  |  |  | Stores list line 20 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Bedside Locker (10) |  |  | Bed side locker |  |  |  |  |  |  |  |  |  |  | Stores list line 52 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (2) |  |  | Oxygen therapy Apparatus |  |  |  |  |  |  |  |  |  |  | Stores list line 53 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Resuscitator Manual, Infant, with all Mask sizes (1) |  |  | Resuscitator, Manual Infant |  |  |  |  |  |  |  |  |  |  | Stores list line 23 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Resuscitator Manual, Adult, with all mask sizes (1) |  |  | Resuscitator, Manual Adult |  |  |  |  |  |  |  |  |  |  | Stores list line 22 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic (1) |  |  | Nebulizer |  |  |  |  |  |  |  |  |  |  | Stores list line 28 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Oxygen Concentrator, Duo Flow (1) |  |  | Oxygen concentrators |  |  |  |  |  |  |  |  |  |  | Stores list line 29 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 30 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Hollow Ware Set, Ward (2) |  |  | Hollow ware set ward |  |  |  |  |  |  |  |  |  |  | Stores list line 31 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Instrument Set, Delivery (3) |  |  | Instrument set delivery |  |  |  |  |  |  |  |  |  |  | Stores list line 3 (section 1), Wakiso District Health Office, 7 Jul 2026 |
| Instrument set delivery (2) |  |  | Instrument set delivery |  |  |  |  |  |  |  |  |  |  | Stores list line 32 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Instrument Set, Stitch Removing (2) |  |  | Instrument set stitch removing |  |  |  |  |  |  |  |  |  |  | Stores list line 4 (section 1), Wakiso District Health Office, 7 Jul 2026 |
| Instrument set stitch removing (3) |  |  | Instrument set stitch removing |  |  |  |  |  |  |  |  |  |  | Stores list line 34 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| MVA Kit (5) |  |  | MVA kit reusable |  |  |  |  |  |  |  |  |  |  | Stores list line 35 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Stool, Laboratory (3) |  |  | Laboratory stool |  |  |  |  |  |  |  |  |  |  | Stores list line 49 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Penguin Sucker (3) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 72 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (1) |  |  | Centrifuge, Electric |  |  |  |  |  |  |  |  |  |  | Stores list line 61 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Kangaroo Mother Care Chair (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 27 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 21 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Examination light (3) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 42 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Instrument set, ENT Basic for HCIII (1) |  |  | instrument set ENT basic for HCIII |  |  |  |  |  |  |  |  |  |  | Stores list line 18 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet (6) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 50 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chair (7) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 12 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Suction Apparatus foot (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 24 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Instrument set dressing (4) |  |  | Instrument set dressing |  |  |  |  |  |  |  |  |  |  | Stores list line 33 (section 2), Wakiso District Health Office, 7 Jul 2026 |
| Haemoglobin meter (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 40 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Muac tape (4) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 44 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Stool, surgeon (1) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 54 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Flow splitters (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 55 (section 3), Wakiso District Health Office, 7 Jul 2026 |
| Fetoscope (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 67 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| B.P Machine Aneroid (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 70 (section 4), Wakiso District Health Office, 7 Jul 2026 |
| Venturi Mask with Tubing (15) |  |  |  |  |  |  |  |  |  |  |  |  |  | Stores list line 75 (section 4), Wakiso District Health Office, 7 Jul 2026 |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |