ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Budaka District |
|  | Budaka District |
| VERIFIER PARTICULARS |  |
| Full name | Sophie Nankyanzi, Butsiba Peter |
| Contact/ email and Telephone | Sophie Nankyanzi 0787561925 nakyanzisophia.34@gmail.com, Butsiba Peter 0777954557 / 0753294179 butsiba2014@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Namusita HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift We are supposed to report and take the spoilt items to Mbale regional maintenance workshop or repair for the major ones but with minor we repair them ourselves. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | We don't have that particular maintenance record but have an inventory book we do capture the item, quantity, status and others in. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Previously at HC III, we had a big gap in equipment like furniture, MCH instruments were hard to access but when UgIFT came, it became easy and available. We used to admit few patients due to lack of beds and due to UgIFT we are able to admit more than 20 now. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Budaka District        NAME OF HEALTH FACILITY: Namusita HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2 pcs) | Health | S/N 23582 00874 | white digital machine for taking blood pressure |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | 1-functional 1-faulty | One deliberately refuses to work even if you insert batteries. |
| B.P. Machine (Aneroid wall mounted) (2 pcs) | Health |  | N.A |  | N.A |  |  |  |  |  |  |  | N.A | N.A |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick (1 pc) | Health |  | silver bowl on silver rolling stand |  | NAM HC / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | somehow strong and enough |
| Bowl Stand (2 pcs) | Health |  | silver rolling stands |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | They look weak though still in use. |
| Counting chamber Neubauer-Improved (2 pcs) | Health |  | Pink glassware |  | Not engraved |  |  |  |  |  |  |  | Functional | Helps in their counting |
| Cupboard Steel, Lockable (2 pcs) | Health |  | grayish locker double door |  | MOH-BDK-NAM HC / 25-26 |  | 16/9/25 |  |  |  |  |  | fully functional | Very useful to the facility but few in number. |
| Drip Stand (4 pcs) | Health |  | silver stands with blue plastic holds |  | NAMUSITA HC III |  | 16/7/25 |  |  |  |  |  | still in store because we have others in use | They are enough, even lent them to Budaka HC IV at a time. |
| ESR Stand (1 pc) | Health |  | white plastic with weights |  | Not engraved |  |  |  |  |  |  |  | Functional | still good |
| Examination Couch (2 pcs) |  |  | Bed form couch for examination of patients |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional and some in stores | we want to use it in the maternity soon |
| Examination light, LED (2 pcs) | Health |  | white LED lights examiner |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | Still good since received and still in stores. |
| Glucometer (2 pcs) | Health |  | Black digital machines used for sugar testing |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | Fully functional | They are okay and enough for the facility. maybe add for other departments. |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (1 pc) | Health |  | A white meter with analogue meter counters |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | Good. |
| Instrument Trolley (2 pcs) | Health |  | silver double shelf stand |  | NAMUSITA HC III |  |  |  |  |  |  |  | functional | But weak |
| Microscope Binocular (1 pc) | Health |  | Black and white in color microscope |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional but still in store | we already have in use |
| Otoscope (1 pc) | Health |  | Purple in color |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | Still enough for now. |
| Patient Screen (4 pcs) | Health |  | Blue screens for covering patients during examination |  | Not engraved |  |  |  |  |  |  |  | functional with others still in stores | They are weak. some are still in stores because we still have others in use. |
| Patient Trolley (1 pc) | Health |  | silver metallic trolley |  | Not engraved |  |  |  |  |  |  |  | Fully functional | Not enough for us. need for more since we have many departments. |
| Refrigerator, Basic (1 pc) | Health |  | Double door freezer | 120 | NAM HCIII / UGIFT / 24-25 |  |  |  |  |  |  |  | Functional | Need for a bigger one. |
| Stethoscope (4 pcs) | Health |  | Grey in color stethoscope |  | NAM HCIII / UGIFT / 24-25 |  |  |  |  |  |  |  | All functional | so far are enough |
| Stop Watch (2 pcs) | Health |  | white digital stop watch |  | NAM HCIII / UGIFT / 24-25 |  |  |  |  |  |  |  | Functional | Good and enough. |
| Stretcher (1 pc) | Health |  | moving bed like stretcher with rollers |  | Not engraved |  |  |  |  |  |  |  | Functional | Still organizing for placement |
| Stove, Gas (1 pc) | Health |  | 7.9 kgs gas |  | Not engraved |  |  |  |  |  |  |  | Functional | Not enough for the facility since it is small. |
| Weighing Scale with Height Meter, Adult (1 pc) |  |  | Large scale |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant (2 pcs) | Health |  | Round weighing scale |  | NAM HCIII / UGIFT / 24-25 |  |  |  |  |  |  |  | Functional | Enough |
| Weighing Scale, Toddler (2 pcs) | Health |  | white scale takes baby's weight |  | Property of Gov't of Uganda IDA 58970 UG |  |  |  |  |  |  |  | Functional | Good. |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (6 pcs) | Health |  | Silver metallic waste bins |  | NAM HCIII / UGIFT / 24-25 |  |  |  |  |  |  |  | Functional | So far enough though will need more by time. Need for bigger waste bins for proper disposal of waste. |
| Wall Clock (4 pcs) | Health |  | Round white wall clocks |  | Not engraved |  |  |  |  |  |  |  | All functional | Good. |
| Diagnostic Equipment Set for MCH (2 pcs) | Health |  | set of diagnostic equipment |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | process under placement |
| Diagnostic Equipment Set for OPD (2 pcs) | Health |  | set of equipment with otoscope |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | Enough for now |
| Glassware Set, Laboratory, Basic (2 pcs) | Health |  | glass set of items |  | Not engraved |  |  |  |  |  |  |  | functional | Good still in stores. |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (2 pcs) | Health |  | silver set of items |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional in stores | process for ward placement is on. |
| Instrument Set, Basic ENT (3 pcs) | Health | N.A |  |  | N.A |  |  |  |  |  |  |  |  | N.A |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (2 pcs) | Health |  | set of digital instrument for taking pulse |  |  |  |  |  |  |  |  |  | functional | Good and still working. |
| Bed, Adult Patient with Mattress (5 pcs) | Health |  | white metallic beds with black mattresses |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | Still in stores | still re-organizing the facility in order to place them in wards. |
| Bed, Pediatric Patient, With Mattress (3 pcs) | Health |  | Small pink beds |  | MOH-BDK / NAM HCIII 25-26 |  |  |  |  |  |  |  | functional though not always | They are in good conditions and not enough in case of rise. |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (1 pc) | Health |  | Pink leathered bed for delivery |  |  |  |  |  |  |  |  |  | Still functional | We at times get more than 3 mothers a day so not enough for the facility. |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (2 pcs) | Health |  | Black cylinders with white neck |  | Not engraved |  |  |  |  |  |  |  | Non functional | Because we have not used them before / yet. |
| Resuscitator Manual, Infant, with all Mask sizes (2 pcs) | Health |  | In stores packed |  | N.A |  |  |  |  |  |  |  | N.A | Something should be done to be sent to HC IV since are not in use at our facility yet. |
| Resuscitator Manual, Adult, with all mask sizes (2 pcs) | Health |  | Packed |  | N.A |  |  |  |  |  |  |  | N.A | Something should be done to be sent to HC IV since are not in use at our facility yet. |
| Suction Apparatus, (Electric) (2 pcs) | Health |  | white color with apparatus inside |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | still in stores and functional | Good and enough. |
| Nebulizer, Ultrasonic (2 pcs) | Health | NB-152U SCIAN | white ultrasonic nebulizer |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | Still in good condition. |
| Oxygen Concentrator, Duo Flow (2 pcs) | Health |  | They are not opened yet |  | Not opened at the facility |  |  |  |  |  |  |  | Still in stores | Go hand in hand with O2 cylinders and now still packed because not in use yet. |
| Bench (4 pcs) | Health |  | wooden and metallic form benches |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | All functional | Not enough for the patients at the facility. |
| Disinfection Buckets (6 pcs) | Health |  | Normal buckets light blue in color |  | Not engraved |  |  |  |  |  |  |  | All functional | They are serving their purpose and used most and stronger. |
| Baby Cot (4 pcs) | Health |  | white metallic beds for babies |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | All functional | we are soon transferring them to maternity. |
| Diagnostic Equipment Set for Ward (3 pcs) | Health |  | Packed instruments |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | Enough for the facility hence need to take some for a lacking facility if possible. |
| Hollow Ware Set, Ward (3 pcs) | Health |  | Hollow metallic equipment |  |  |  |  |  |  |  |  |  | Still in stores and some functional | They are enough to the facility at the moment. |
| Instrument Set, Delivery (3 pcs) | Health |  | silver metallic equipment for delivery |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | Functional but still in store | Still enough |
| Instrument Set, Stitch Removing (3 pcs) | Health |  | Silver tins for stitch removing |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | Ready for placement to the wards. |
| MVA Kit (4 pcs) | Health |  | silver metallic instruments |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | But weak especially the vaginal speculum (Cusco's) in particular. |
| Stool, Laboratory (1 pc) | Health |  | Black top and silver metallic stand with rollers |  | NAM HC III / UGIFT / 24-25 |  |  |  |  |  |  |  | functional | Not enough. looks weaker |
| Penguin Sucker (3 pcs) | Health |  | Plastic tins with suckers |  | Not engraved |  |  |  |  |  |  |  | Functional | So far enough for the available population |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP (2 pcs) | Health |  | Plastic instruments |  |  |  |  |  |  |  |  |  | Functional | Still in packs soon to be handed to midwives. |
| Centrifuge (Electric) (2 pcs) | Health |  | white machine |  | UGIFT / NAM HCIII / 24-25 |  |  |  |  |  |  |  | Functional | Enough for now. |
| Kangaroo Mother Care Chair (1 pc) | Health |  | Brown kangaroo chair |  | NAM HCIII / UGIFT / 24-25 |  |  |  |  |  |  |  | Functional | Not yet used but tested and soon deployed. |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli (2 pcs) | Health |  | Red in color digital machine |  | NAM HCIII / UGIFT / 24-25 |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (7 pcs) | Health |  |  |  | MOH BDK NAM HCIII / 25-26 |  |  |  |  |  |  |  | All functional in use | All still good non broken though look weak. |
| Desk (3 pcs) | Health |  | Wooden tables with metallic legs |  | MOH-NAM HCIII / 25-26 |  |  |  |  |  |  |  | functional | Not enough for our staff. |
| Filing Cabinet (2 pcs) | Health |  | four lock metallic equipment |  | NAM HCIII / UGIFT / 24-25 |  |  |  |  |  |  |  | fully functional | Not enough to the departments in the facility. |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Doppler (2 pcs) | Health |  | white digital machine |  |  |  |  |  |  |  |  |  | Functional | Good |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Budaka District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Budaka District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Budaka District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The cover block of the register was not among the photographed pages for this facility. Verifier, supervisor and contacts are written from the team record (RULES 3.15). Date of submission is left blank.

- Informant name and contact are not on the discussion guide.

- Empty printed rows (no hand) omitted: autoclave; haemoglobin meter digital; wheelchair; audio visual equipment; hollow ware set treatment; instrument set suture; bedside locker; cupboard instrument; radiant infant warmer; extra delivery bed; extra examination light; instrument set ENT basic; bag valve mask neonatal; incubator; non-residential and residential buildings.

- Microscope serial could not be read.

- One digital B.P. machine faulty: deliberately refuses to work even if batteries are inserted.

- Oxygen cylinders marked non-functional because not yet used. Many lines still in stores / packed / not opened.

- Page 20 note: facility thought liable for upgrade to HC IV; medicines monthly but not enough; transport challenges during emergencies; staff challenge the district is trying to address.