ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Kibuku District |
|  | Kibuku District |
| VERIFIER PARTICULARS |  |
| Full name | Sophie Nankyanzi, Butsiba Peter |
| Contact/ email and Telephone | Sophie Nankyanzi 0787561925 nakyanzisophia.34@gmail.com, Butsiba Peter 0777954557 / 0753294179 butsiba2014@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Kabweri HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The medical equipment are not fully put to use. Those that are damaged or spoilt were not repaired. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | There are many equipment provided that are not put to use. Some equipment expired without being used. Recommendations. Some of the equipment should be given to other health centres that can put them to use. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Kibuku District        NAME OF HEALTH FACILITY: Kabweri HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P Machine, Digital | Health | NA | Digital |  |  |  | 2022 |  |  |  |  |  | Spoilt | Stopped working |
| B.P Machine Digital | Health |  |  |  | MOH/KBK |  | 2022 |  |  |  |  |  | Not in use | Some parts are missing |
| B.P Machine (Aneroid wall mounted) | Health | NA | Desk and wall mounted |  | MOH/KBK |  | 2022 |  |  |  |  |  | Functional but not in use | Not yet used |
| Autoclave 20 Liters, Dual Operated | Health |  | Metallic |  | MOH/KBK |  | 2022 |  |  |  |  |  | Functional In use |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand (3) |  |  | Metallic |  | MOH/KBK |  | 2022 |  |  |  |  |  | Functional in use |  |
| Counting chamber Neubauer Improved (2) | Health | CAT NO 1101 | small, glass |  | N.A |  | 2022 |  |  |  |  |  | New but not in use | They are two but were not used yet |
| Cupboard Steel Lockable (6) |  | NA | steel lockable |  | MOH/KBK |  | 2022 |  |  |  |  |  | All in use. In good condition |  |
| Drip Stand (08) |  | NA | steel |  | MOH/KBK |  | 2022 |  |  |  |  |  | Functional | 5 are in use 3 are in the store |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Kibuku District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Kibuku District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Kibuku District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The cover block of the register was not among the photographed pages for this facility. Verifier, supervisor and contacts are written from the team record (RULES 3.15). Date of submission is left blank.

- Bowl Kick printed row empty / struck; no line written.

- Remaining checklist and buildings pages carry MOH/KBK tags but do not name the facility; they were not written into this toolkit.

- One digital B.P. machine spoilt; one digital B.P. machine not in use (parts missing).