ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Elgon |
| Name of Local Government | Bududa District |
|  | Bududa District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bududa HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. The facility holds a record of the assets provided under UgIFT. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Through monthly budget plans, and the budget plans are updated yearly. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, through facility budget plans. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has brought services near to the community, improved development in general, and given employment for staff. Challenges: limited space and land to develop more structures such as male wards and staff houses; darkness, with no electricity; poor roads leading to poor access to the facility; and limited or under staffing. Recommendations: provide a hard to reach allowance, and build more structures such as men's or male wards. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bududa District        NAME OF HEALTH FACILITY: Bududa HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | OPD & MCH |  |  |  |  |  | 2025 |  |  |  |  |  | Functional | A dash stands in the cost column. |
| B.P. Machine (Aneroid wall mounted) (2) | OPD & MCH |  |  |  |  |  | 2025 |  | 400,000/= each |  |  |  | Functional |  |
| Autoclave 20 Liters.,Duo Operated (2) | MCH |  |  |  |  |  | 2025 |  | 899,000/= each |  |  |  | Functional |  |
| Bowl, Kick (2) | MCH |  |  |  |  |  | 2025 |  | 150,000/= each |  |  |  | Functional |  |
| Bowl Stand (3) | MCH |  |  |  |  |  | 2025 |  | 299,800/= |  |  |  | Functional |  |
| Counting chamber Neubauer- Improved (2) | Laboratory |  |  |  |  |  | 2025 |  | 230,000/= |  |  |  | Functional |  |
| Cupboard Steel, Lockable (2) | General |  |  |  |  |  | 2025 |  | 1,353,000/= each |  |  |  | Functional |  |
| Drip Stand (13) | General ward |  |  |  |  |  | 2025 |  | 400,000/= each |  |  |  | Functional |  |
| ESR Stand (2) |  |  |  |  |  |  | 2025 |  | 190,000/= each |  |  |  | Functional |  |
| Examination Couch (4) | MCH |  |  |  |  |  | 2025 |  | 700,000/= each |  |  |  | Functional |  |
| Examination light,LED | General ward |  |  |  |  |  |  |  |  |  |  |  |  | A dash stands in the count and the cost columns. |
| Glucometer (4) | Laboratory |  |  |  |  |  | 2025 |  | 261,500/= each |  |  |  | Functional | Came with expired strips. |
| Haemoglobin Meter, Digital | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  | A dash stands in the count and the cost columns. |
| Height Meter | OPD / MCH |  |  |  |  |  |  |  |  |  |  |  |  | A dash stands in the count and the cost columns. |
| Instrument Trolley (4) | MCH |  |  |  |  |  | 2025 |  | 741,000/= each |  |  |  | Functional |  |
| Microscope Binocular (2) | Laboratory |  |  |  |  |  | 2025 |  | 1,400,000/= each |  |  |  | Functional |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  | A dash stands in the count column and no cost or status is written. |
| Patient Screen (8) | Laboratory |  |  |  |  |  | 2025 |  | 469,500/= each |  |  |  | Functional |  |
| Patient Trolley | General ward |  |  |  |  |  |  |  |  |  |  |  |  | A dash stands in the count column and no cost or status is written. |
| Refrigerator, Basic (3) | General |  |  |  |  |  | 2025 |  | 4,300,000/= |  |  |  | Functional |  |
| Stethoscope (8) | OPD & MCH |  |  |  |  |  | 2025 |  | 150,000/= |  |  |  | Functional |  |
| Stop Watch | General ward |  |  |  |  |  |  |  |  |  |  |  | Not received | A dash stands in the count column. |
| Stretcher (3) | General ward |  |  |  |  |  | 2025 |  | 550,000/= |  |  |  | Functional |  |
| Stove, Gas (2) | Kitchen |  |  |  |  |  | 2025 |  | 498,500/= |  |  |  | Functional |  |
| Weighing Scale with Height Meter, Adult (4) | General ward |  |  |  |  |  | 2025 |  | 130,000/= |  |  |  | Functional |  |
| Weighing Scale, Infant (4) | MCH |  |  |  |  |  | 2025 |  | 463,500/= |  |  |  | Functional |  |
| Weighing Scale, Toddler (2) | OPD / MCH |  |  |  |  |  | 2025 |  | 450,000/= |  |  |  | Functional |  |
| Wheel Chair (5) | General |  |  |  |  |  | 2025 |  | 610,000/= |  |  |  | Functional |  |
| Audio Visual Equipment (2) | Laboratory |  |  |  |  |  | 2025 |  | 2,000,000/= |  |  |  | Functional |  |
| Medical Waste Bin (20) | General ward |  |  |  |  |  | 2025 |  | 220,000/= |  |  |  | Functional |  |
| Wall Clock (7) | General |  |  |  |  |  | 2025 |  | 155,000/= |  |  |  | 1 faulty or not working |  |
| Diagnostic Equipment Set for MCH (2) | MCH |  |  |  |  |  | 2025-08-07 |  |  |  |  |  | Functional | A dash stands in the cost column. |
| Diagnostic Equipment Set for OPD (2) | OPD |  |  |  |  |  | 2025-08-07 |  | 14,006,496/= |  |  |  | Functional | The leading figure of the cost is written over. |
| Glassware Set, Laboratory, Basic (2) | Laboratory |  |  |  |  |  | 2025-08-07 |  | 443,352/= |  |  |  | Functional |  |
| Hollow Ware Set, Treatment (2) | General |  |  |  |  |  | 2025-08-07 |  | 29,841,218/= |  |  |  | Functional |  |
| Instrument Set, Dressing (4) | General |  |  |  |  |  | 2025-08-07 |  | 547,310/= |  |  |  | Functional |  |
| Instrument Set, Basic ENT (2) | OPD / MCH |  |  |  |  |  | 2025-08-07 |  | 1,681,680/= |  |  |  | Functional |  |
| Instrument Set, Suture (3) | MCH |  |  |  |  |  | 2025-08-07 |  | 627,381/= |  |  |  | Functional |  |
| Pulse Oximeter, Hand held (2) | OPD |  |  |  |  |  | 2025-08-07 |  |  |  |  |  | Functional | A dash stands in the cost column. |
| Bed, Adult Patient with Mattress (20) | General wards |  |  |  |  |  | 2025-08-07 |  | 1,000,000/= |  |  |  | Functional |  |
| Bed, Pediatric Patient, With Mattress (10) | OPD & MCH |  |  |  |  |  | 2025-08-07 |  |  |  |  |  | Functional | A dash stands in the cost column. |
| Bedside Locker (10) | General ward |  |  |  |  |  | 2025-08-07 |  |  |  |  |  | 1 damaged or faulty | A dash stands in the cost column. |
| Cupboard, Instrument (4) | General |  |  |  |  |  | 2025-08-07 |  | 1,801,500/= each |  |  |  | Functional |  |
| Delivery Bed, Hydraulic Manual (2) | MCH |  |  |  |  |  | 2025-08-07 |  | 5,500,000/= each |  |  |  | Functional |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (4) | MCH / Theatre |  |  |  |  |  | 2025-08-07 |  | 1,900,000/= each |  |  |  | Functional |  |
| Resuscitator Manual, Infant, with all Mask sizes (10) | MCH |  |  |  |  |  | 2025-08-07 |  | 400,000/= each |  |  |  | Functional |  |
| Resuscitator Manual, Adult, with all mask sizes (11) | General |  |  |  |  |  | 2025-08-07 |  | 400,000/= each |  |  |  | Functional |  |
| Suction Apparatus, (Electric) (4) | MCH |  |  |  |  |  | 2025-08-07 |  | 1,800,000/= each |  |  |  | Functional |  |
| Nebulizer, Ultrasonic (2) | Laboratory |  |  |  |  |  | 2025-08-07 |  | 583,500/= each |  |  |  | Functional |  |
| Oxygen Concentrator, Duo Flow (2) | MCH |  |  |  |  |  | 2025-08-07 |  | 4,000,000/= each |  |  |  | Functional |  |
| Bench (4) | General |  |  |  |  |  | 2025-08-07 |  | 760,000/= each |  |  |  | Functional |  |
| Disinfection Buckets (6) | MCH |  |  |  |  |  | 2025-08-07 |  |  |  |  |  | Functional | No price is written against this line. |
| Baby Cot (5) | MCH |  |  |  |  |  | 2025-08-07 |  | 1,100,000/= |  |  |  | Functional |  |
| Diagnostic Equipment Set for Ward (2) | General ward |  |  |  |  |  | 2025-08-07 |  | 963,144/= |  |  |  | Functional |  |
| Hollow Ware Set, Ward (2) | General |  |  |  |  |  | 2025-08-07 |  | 3,464,643/= |  |  |  | Functional |  |
| Instrument Set, Delivery (2) | MCH |  |  |  |  |  | 2025-08-07 |  | 768,504/= |  |  |  | Functional |  |
| Instrument Set, Stitch Removing (2) | MCH / OPD |  |  |  |  |  | 2025-08-07 |  | 627,381/= |  |  |  | Functional |  |
| MVA Kit (5) | MCH |  |  |  |  |  | 2025-08-07 |  | 530,000/= |  |  |  | Functional |  |
| Stool, Laboratory (3) | Laboratory |  |  |  |  |  | 2025-08-07 |  | 420,000/= |  |  |  | Functional |  |
| Penguin Sucker (6) | MCH |  |  |  |  |  | 2025-08-07 |  | 40,000/= |  |  |  | Functional |  |
| Fetoscope, Doppler (3) | MCH |  |  |  |  |  | 2025-08-07 |  | 50,000/= |  |  |  | Functional |  |
| Bubble CPAP (2) |  |  |  |  |  |  | 2025-08-07 |  |  |  |  |  | Functional | No price is written against this line. |
| Centrifuge (Electric) (2) | Laboratory |  |  |  |  |  | 2025-08-07 |  | 1,200,000/= |  |  |  | Functional |  |
| Kangaroo Mother Care Chair (1) | MCH |  |  |  |  |  | 2025-08-07 |  | 2,100,000/= |  |  |  | Functional |  |
| Radiant Infant Warmer (1) | MCH |  |  |  |  |  | 2025-08-07 |  | 11,700,000/= |  |  |  | Functional |  |
| Haemoglobin Meter, Sahli (2) | Laboratory |  |  |  |  |  | 2025-08-07 |  | 185,000/= |  |  |  | Functional |  |
| Delivery Bed (2) | MCH |  |  |  |  |  | 2025-08-07 |  | 5,500,000/= |  |  |  | Functional |  |
| Examination light (4) | General OPD / MCH |  |  |  |  |  | 2025-08-07 |  | 1,000,000/= |  |  |  | Functional |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  | A dash stands in the count and the cost columns. |
| Bag Valve mask (Ambu Bag), Neonatal (15) | MCH |  |  |  |  |  | 2025-08-07 |  | 400,000/= |  |  |  | Functional |  |
| Incubator | MCH |  |  |  |  |  |  |  |  |  |  |  |  | A dash stands in the count column and no cost or status is written. |
| Office Chair (7) | General wards |  |  |  |  |  | 2025-08-07 |  | 695,000/= |  |  |  | Functional |  |
| Desk (5) | General wards |  |  |  |  |  | 2025-08-07 |  | 745,000/= |  |  |  | Functional |  |
| Filing Cabinet (4) | All wards |  |  |  |  |  | 2025-08-07 |  | 2,595,000/= |  |  |  | Functional |  |
| Non Residential Buildings (5) | OPD / MCH and all |  |  |  |  |  |  |  |  |  |  |  | Functional |  |
| Residential Buildings (2) |  |  |  |  |  |  |  |  |  |  |  |  | Functional |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- A dash stands in the count column against the LED examination light, the digital haemoglobin meter, the height meter, the otoscope, the patient trolley, the stop watch, the basic ENT instrument set and the incubator, so nothing at those eight lines can be set against what was supplied.

- The cost written against the OPD diagnostic equipment set has its leading figure written over, so the value does not resolve to one figure.

- Prices are missing on the digital blood pressure machine, the MCH diagnostic set, the hand held pulse oximeter, the pediatric beds, the bedside lockers, the disinfection buckets and the bubble CPAP, and the buildings carry no value at all.

- The four glucometers came with expired strips, which is for the supplier and the district.

- One of the twenty bedside lockers is damaged and one of the seven wall clocks does not work.

- The stop watch was not received.

- No engraved number or serial number is written against any line, so no item at this facility can be identified again.

- The supervisor block and the date of submission are blank on the cover. Filled toolkit output uses Kassim Luminsa and +256 702 806116 per RULES.md 3.15, and leaves the date of submission blank.