ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Elgon |
| Name of Local Government | Bududa District |
|  | Bududa District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bunamono HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The facility stores all the broken assets in the store. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No evidence or records to show that the facility notes down the broken assets. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The health services are closer to the people. Employment opportunities to the staff. Challenges: no water connection at the facility, because the pump is not connected to the tank appropriately. The 5000 litre water tank is not functional. The solar is not fully connected, hence difficulties in the pumping of water to use at the facility. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bududa District        NAME OF HEALTH FACILITY: Bunamono HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  | Measures blood pressure electronically |  | NA |  |  |  |  |  |  |  | Not functional | Both 2 are not functional. |
| B.P. Machine (Aneroid wall mounted) |  |  | Measures blood pressure manually |  | NA |  |  |  |  |  |  |  | 1 functional | Only 1 is functional, another one not working. |
| Autoclave 20 Liters.,Duo Operated |  |  | Sterilizes instruments with steam |  | NA |  |  |  |  |  |  |  | Functional | 1 in use while another in store. |
| Bowl, Kick |  |  | Collects waste and fluids during procedures |  | NA |  |  |  |  |  |  |  | Brand new | Available but is packed in store. |
| Bowl Stand |  |  | Holds kick bowls securely |  | NA |  |  |  |  |  |  |  | Brand new | Boxed in the store. |
| Counting chamber Neubauer- Improved |  |  | Counts blood cells under microscope |  | NA |  |  |  |  |  |  |  | Functional | Available and in use. |
| Cupboard Steel, Lockable |  |  | Stores drugs or equipment safely |  | NA |  |  |  |  |  |  |  | Functional | All 6 in use. |
| Drip Stand |  |  | Holds IV fluid bags |  | NA |  |  |  |  |  |  |  | Functional | All 5 available in use. |
| ESR Stand |  |  | Holds ESR tubes for the sedimentation test |  | NA |  |  |  |  |  |  |  | Brand new | Packed in the box, as the staff failed to set it up. |
| Examination Couch |  |  | Patient support for examination |  | NA |  |  |  |  |  |  |  | Functional | All 4 in use. |
| Examination light,LED |  |  | Provides bright light for procedures |  | NA |  |  |  |  |  |  |  | Functional | 2 functioning. |
| Glucometer |  |  | Measures blood sugar level |  | NA |  |  |  |  |  |  |  | Only one functioning | 1 functioning, 1 lacks strips. |
| Haemoglobin Meter, Digital |  |  | Measures haemoglobin level |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Height Meter |  |  | Measures patient height |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Instrument Trolley |  |  | Carries instruments during procedures |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Microscope Binocular |  |  | Examines specimens |  | NA |  |  |  |  |  |  |  | Functional | 1 in use. |
| Otoscope |  |  | Examines ears |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Patient Screen |  |  | Provides privacy during examination |  | NA |  |  |  |  |  |  |  | Functional | All 4 in use. |
| Patient Trolley |  |  | Transfers patients |  | NA |  |  |  |  |  |  |  | Functional | 1 in use. |
| Refrigerator, Basic |  |  | Stores vaccines and drugs that need cooling |  | NA |  |  |  |  |  |  |  | Functional | All 2 are in use. |
| Stethoscope |  |  | Listens to heart, lungs and bowel sounds |  | NA |  |  |  |  |  |  |  | Functional | 2 in use, 2 not functional. |
| Stop Watch |  |  | Times procedures |  | NA |  |  |  |  |  |  |  | Functional | 1 available and in use. |
| Stretcher |  |  | Carries patients |  | NA |  |  |  |  |  |  |  | Functional | 1 in use. |
| Stove, Gas |  |  | Heats water or sterilizes |  | NA |  |  |  |  |  |  |  | Functional | 2 available, 1 in use, 1 in store. |
| Weighing Scale with Height Meter, Adult |  |  | Weighs and measures adult height |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Weighing Scale, Infant |  |  | Weighs babies |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Weighing Scale, Toddler |  |  | Weighs young children |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Wheel Chair |  |  | Moves patients who cannot walk |  | NA |  |  |  |  |  |  |  | Functional | 4 in use. |
| Audio Visual Equipment |  |  | Used for health education and training |  | NA |  |  |  |  |  |  |  | Not seen | Not seen at the facility. |
| Medical Waste Bin |  |  | Collects waste |  | NA |  |  |  |  |  |  |  | Functional | 12 in use. |
| Wall Clock |  |  | Keeps time at the facility |  | NA |  |  |  |  |  |  |  | Brand new | All 4 clocks packed in a box in the store. |
| Diagnostic Equipment Set for MCH |  |  | Basic tools for mother and child health |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Diagnostic Equipment Set for OPD |  |  | Basic tools for outpatient examination |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Glassware Set, Laboratory, Basic |  |  | Holds samples and reagents in the laboratory |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Hollow Ware Set, Treatment |  |  | Bowls, trays and containers for procedures |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Instrument Set, Dressing |  |  | For cleaning and dressing wounds |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Instrument Set, Basic ENT |  |  | For ear, nose and throat |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Instrument Set, Suture |  |  | For stitching wounds |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Pulse Oximeter, Hand held |  |  | Measures oxygen level and pulse rate |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Bed, Adult Patient with Mattress |  |  | Patient rest |  | NA |  |  |  |  |  |  |  | Functional | All 12 beds in use. |
| Bed, Pediatric Patient, With Mattress |  |  | Child patient rests |  | NA |  |  |  |  |  |  |  | Functional | All 4 in use. |
| Bedside Locker |  |  | Stores patients' personal items |  | NA |  |  |  |  |  |  |  | Functional | In use, 6 available. |
| Cupboard, Instrument |  |  | Stores clean instruments safely |  | NA |  |  |  |  |  |  |  | Functional | 6 in use and 1 is faulty. |
| Delivery Bed, Hydraulic Manual |  |  | Supports the mother during labour |  | NA |  |  |  |  |  |  |  | 1 functional | 2 beds, 1 is functional and the other broken. |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | Gives oxygen to patients |  | NA |  |  |  |  |  |  |  | Functional | 2 available. |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | Helps breathing for newborns |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Resuscitator Manual, Adult, with all mask sizes |  |  | Helps breathing for adults in an emergency |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Suction Apparatus, (Electric) |  |  | Removes fluids from the airway |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Nebulizer, Ultrasonic |  |  | Delivers medicine as a mist for breathing procedures |  | NA |  |  |  |  |  |  |  | Functional | Available at the facility. |
| Oxygen Concentrator, Duo Flow |  |  | Produces continuous oxygen for patients |  | NA |  |  |  |  |  |  |  | Functional | 1 available and in use. |
| Bench |  |  | Seating for patients or staff |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Disinfection Buckets |  |  | For cleaning and disinfection |  | NA |  |  |  |  |  |  |  | Functional | All 4 buckets are in use. |
| Baby Cot |  |  | For placing newborn babies |  | NA |  |  |  |  |  |  |  | Functional | All 2 available are in use. |
| Diagnostic Equipment Set for Ward |  |  | For ward diagnostic procedures |  | NA |  |  |  |  |  |  |  | Functional | In use, others in the store. |
| Hollow Ware Set, Ward |  |  | For ward clinical procedures |  | NA |  |  |  |  |  |  |  | Functional | In use, others in the store. |
| Instrument Set, Delivery |  |  | For conducting deliveries |  | NA |  |  |  |  |  |  |  | Functional | In use, others in the store. |
| Instrument Set, Stitch Removing |  |  | For removing stitches |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| MVA Kit |  |  | For manual vacuum aspiration |  | NA |  |  |  |  |  |  |  | Functional | 2 in use, 3 broken. |
| Stool, Laboratory |  |  | For laboratory seating |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Penguin Sucker |  |  | For clearing newborn airways |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Fetoscope, Dopplar |  |  | For monitoring the fetal heartbeat |  | NA |  |  |  |  |  |  |  | Not seen | Not seen at the facility. |
| Bubble CPAP |  |  | For newborn respiratory support |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Centrifuge (Electric) |  |  | For separating blood samples |  | NA |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  | To comfortably hold newborns, especially premature |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Radiant Infant Warmer |  |  |  |  | NA |  |  |  |  |  |  |  | Not seen | Not at the facility. |
| Haemoglobin Meter, Sahli |  |  | For measuring haemoglobin |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Delivery Bed |  |  | For conducting deliveries |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Examination light |  |  | For patient examination |  | NA |  |  |  |  |  |  |  | 1 functional | 2 available, 1 functional, 1 broken. |
| Instrument set, ENT Basic for HCIII |  |  | For basic ENT procedures |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | For neonatal resuscitation |  | NA |  |  |  |  |  |  |  | Functional | In use. |
| Incubator |  |  | For caring for premature babies |  | NA |  |  |  |  |  |  |  | Not seen | Not available at the facility. |
| Office Chair |  |  | For office seating |  | NA |  |  |  |  |  |  |  | Functional | All 6 chairs are in use. |
| Desk |  |  | For office work |  | NA |  |  |  |  |  |  |  | Functional | All 5 desks are in use. |
| Filing Cabinet |  |  | For storing files and documents |  | NA |  |  |  |  |  |  |  | Functional | 5 in use and 1 is faulty. |
| Non Residential Buildings |  |  | Health facility buildings such as wards, offices, stores and latrines |  | NA |  |  |  |  |  |  |  | Functional | Maternity ward, laboratory, toilets for the facility and for the staff quarters, water tanks and placenta pit. |
| Residential Buildings |  |  | Staff houses for health workers |  | NA |  |  |  |  |  |  |  | Functional | Staff quarters, that is 2 units with 2 bedrooms in each unit. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The facility answered that it holds a record of all the assets provided under UgIFT, and that record was not obtained. Get a copy of it, with the costs and the numbers supplied, and file it against this checklist.

- The facility keeps no record of what has broken. Broken assets go to the store and nothing is written down, so the health centre cannot say what failed or when. Open a functionality and breakdown record.

- The electric centrifuge carries a description and no status and no remark, so whether it is at the facility and whether it works are both unestablished. Check it and record the status.

- Every Tag Number cell on the copy reads NA, so no item at this facility carries an engraved number or a serial number and none of them can be identified again. Have the programme's mark put on.

- Four items were recorded as not at the facility: the audio visual equipment, the Doppler fetoscope, the radiant infant warmer and the incubator. Establish whether each was supplied and where it now stands.

- Both digital blood pressure machines are not functional, one of the two aneroid machines is not working, two of the four stethoscopes are not functional, one glucometer lacks strips, one delivery bed is broken, three MVA kits are broken, one examination light is broken and one filing cabinet is faulty. Repair or replace them.

- Items are held new in the store rather than put into service: the kick bowls, the bowl stands, the four wall clocks and the ESR stand, which is still in its box because the staff could not set it up. Bring each into service or say why not.

- The 5000 litre water tank is not functional and the solar is not fully connected, so water cannot be pumped for use at the facility. Connect the pump to the tank and finish the solar installation.

- The department, life in months, date of purchase and date of placing in service are empty on every line, so nothing here can be depreciated or traced to a delivery.

- The cost, recoverable cost and depreciation columns are empty on every page, so nothing at this facility carries a value.