ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bugisu |
| Name of Local Government | Bulambuli District |
|  | Bulambuli District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bunangaka HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. An inventory list of UgIFT assets was produced at the facility. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | 176 items were supplied. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Assets are repaired using PHC funds. Minor repairs like fixing windows; the CAO through the DHO sustains the funding. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | For a few assets in use, a regular record is taken by assessing to find which one is not working. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has provided infrastructure buildings like a maternal block where patients attain hospital services; constructed a staff quarter block so health workers can stay and attend to patients in time; and provided equipment such as a diagnostic equipment set for ward and stethoscope, among others, which enable patients to be worked on in time. Challenges: the outpatient block is not constructed, so patients are received and seen from the maternity block; staff quarters are not enough (one twin block for midwives and nurses); the facility is not fully fenced, so there is insecurity for assets and staff facilities — thieves attempted to steal batteries but police intervened; leaking roof where they cast a wooden ceiling board in the postnatal ward disturbs delivery of services. Recommendations: renovation of structures such as glazed windows and doors is tedious and costly due to poor quality — provide good quality doors and window materials; terrazzo the health centre floors to ease cleanliness (terrazzo is only in the delivery room, so more soap is wasted while mopping). |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bulambuli District        NAME OF HEALTH FACILITY: Bunangaka HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (4) | Maternity ward / OPD / Delivery room |  | Palm electronic case |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (2) | Consultation room |  | Analogue with arm cuff |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters., Duo Operated (1) | Delivery room |  | Steam sterilizer medical tool |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick (1) | Labour suite |  | Stainless with bucket |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand (4) | Labour ward / Labour suite |  | Stainless with basin |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved (2) | Store not in use |  | With a glass microscope |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable (4) | Consultation room / EPI |  | Swing door with a locker |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand (14) | Ward / Maternity room / Lab / Labour suite |  | Hooked for bottle holding |  |  |  |  |  |  |  |  |  |  | Counts 08 and 06 are written separately on the page; carried as 14. |
| ESR Stand (1) | Store |  | Vertical aligned with stand |  |  |  |  |  |  |  |  |  |  | Status on the facing page reads not in use. |
| Examination Couch (3) | Female ward / Antenatal ward |  | Adjustable in height |  |  |  |  |  |  |  |  |  |  |  |
| Examination light, LED (2) | Delivery room |  | With head lights |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer (2) | Laboratory |  | Medical equipment with strip / lancet |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital (2) | Laboratory |  | With head piece |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (1) | Kept in store |  | Fixed with head piece |  |  |  |  |  |  |  |  |  |  | Handwriting under the printed Height Meter line may read weight meter. |
| Instrument Trolley (4) | Maternity ward / Antenatal |  | With rails movable |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular (1) | Laboratory |  | With knobs and ocular lens |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope (1) | Store |  | Hand held with lens |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (4) | Consultation / wards |  | White free standing curtain |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley (1) | Antenatal room |  | Movable with side rails |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (1) | Laboratory |  | Double door |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope (1) | Consultation room |  | With stem valve medical tool |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch (1) | Laboratory |  | Reset / start feature |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (1) | Antenatal room |  | Scooped medical |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas (1) | Staff quarter |  | Has cook top |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult (2) | Reception |  | Has meter reading manual |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant (2) | EPI |  | Stainless with baby pan |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler (2) | Labour suite |  | Has movable tray |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  | Has arm rest |  |  |  |  |  |  |  |  |  |  | Department marked N/A; count blank. |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  | 00 written in the count column. |
| Medical Waste Bin (6) | Laboratory / Reception / Antenatal room |  | Metallic with pedal |  |  |  |  |  |  |  |  |  |  |  |
| Wall clock (1) | Consultation room / Reception |  |  |  |  |  |  |  |  |  |  |  |  | Handwritten extra line between Stop Watch and Stretcher. |
| Wall Clock (4) | Antenatal room |  | Decorative mounted on wall |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH (2) | Delivery room / store |  | Has surgical scoped tray |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD (2) | Store kept |  | Has triage pack set |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic (2) | Laboratory |  | Silicate made |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment (3) | Kept in store |  | Container made with tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (2) | Ward |  | Sterile surgical tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT (3) | Store |  | Has forceps and mirrors |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture (3) | Store kept |  | Hand held scalpels |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (2) | Consultation room |  | Plastic finger reader |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress (10) | Ward |  | Adjustable with rails |  |  |  |  |  |  |  |  |  |  | Extra figures 02 / 02+08 also appear beside the ward line; whether within the 10 or additional is not clear. |
| Bed, Adult Patient with Mattress (2) | Quarter staff |  | Movable |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress (6) | Ward |  | Adjustable |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  | Movable with door locker |  |  |  |  |  |  |  |  |  |  | Department / count marked N/A or soft. |
| Cupboard, Instrument (1) | EPI |  | Has a key lock |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (1) | Labour suite |  | Has manual foot pump |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (2) | Store |  | Has plastic tube |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes (2) | Store |  | Hand held with valve bag |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes (2) | Store |  | Hand held with oxygen reservoir |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (2) | Store |  | Battery operated |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic (1) | Store |  | Electronic with outlets |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow (4) | Store |  | Chargeable tool |  |  |  |  |  |  |  |  |  |  |  |
| Bench (4) | Reception / OPD |  | Wood made |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets (6) | Labour suite / Store |  | Plastic made for utensils and instruments |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot (5) | Postnatal room / Labour suite |  | Stainless made with mattress |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward (3) | Store |  | Surgical scoped with instruments |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward (3) | Store |  | Surgical scoped with equipments |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery (3) | Labour suite |  | Stainless tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing (3) | Store |  | Has a needle and scissors |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit (4) | Store kept |  | Hand held with tubing valve |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory (1) | Store |  | Movable with rails |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker (3) | Labour suite |  | Has candy holder |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Doppler (2) | Labour |  | Hollow surgical tools |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP (2) | Store |  | Limbs and chambers |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (2) | Store kept |  | Has control pannel |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair (1) | Labour suite |  | Made of castors |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  | 00 written in the count column; department N/A. |
| Haemoglobin Meter, Sahli (2) | Store |  | Has a stirring rod glass |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  | Handwritten line; 00 written in the count column. |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  | Handwritten line; 00 written in the count column. |
| Instrument set, ENT Basic for HCIII (3) | Store kept |  | Basic surgery equipment set minor |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  | 00 written in the count column; department N/A. |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | 00 written in the count column; department N/A. |
| Office Chair (7) | Consultation room / Dispensary / EPI / Antenatal room |  | Adjustable with mesh back |  |  |  |  |  |  |  |  |  |  | Location split on the page; total count 07. |
| Desk (8) | Consultation room / Laboratory |  | Flat work space / wood made |  |  |  |  |  |  |  |  |  |  | Page also shows location splits; consultation figure soft (reads about 05 or 03 on different readings). |
| Placenta pit (1) | Health |  | Placenta pit / lined |  |  |  |  |  |  |  |  |  |  | Page also shows a 2-stance pit-latrine wording nearby. |
| Filing Cabinet (3) | Antenatal room / Laboratory |  | Metallic with multiple shelves |  |  |  |  |  |  |  |  |  |  |  |
| Septic tank (1) |  |  | Concrete made with covers |  |  |  |  |  |  |  |  |  |  |  |
| Water tanks (4) | General use |  | Stand tanks 5000 ltrs / 1000 ltrs / 10000 ltrs |  |  |  |  |  |  |  |  |  |  | Litre sizes as written; one figure may read 10000 twice. |
| Solar Batteries |  |  |  |  |  |  |  |  |  |  |  |  |  | Handwritten line under Solar panels; count blank. |
| Solar panels (4) |  |  | Chargeable with batteries |  |  |  |  |  |  |  |  |  |  | Facing-page status also notes working / non-functional figures that do not clearly match the count 04. |
| Non Residential Buildings - staff toilet (1) | Staff toilet |  | 2-stance |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings - toilet / pit latrine (2) | General |  | Out stance building |  |  |  |  |  |  |  |  |  |  |  |
| Wood shelves |  |  | Furniture made |  |  |  |  |  |  |  |  |  |  | Count blank. |
| Residential Buildings - staff quarters (1) | Shelter / housing |  | 2 stance building |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen cylinder (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Handwritten line below Oxygen Concentrator. |
| Kidney dish basin | Delivery room |  |  |  |  |  |  |  |  |  |  |  |  | Count blank; life column reads 12 month. |
| Kidney dish | Store |  | With Cranks |  |  |  |  |  |  |  |  |  |  | Count blank; description soft. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The sub-region field on the page is filled as Bugisu Nabrongo Subcounty, Bumasokho Parish, Bumasokho Village. Structured output uses Bugisu as the sub-region and Bulambuli District as the local government.

- The facility name on the pages reads Bunangaka H/C (III). Structured output records Bunangaka HC III.

- Verifier contact digits are soft at the edges of the photograph (about 0788701410 / 0783701410 for Kyanamira; about 0784893788 / 0784893784 for Asio Miriam).

- The supervisor line on the page reads Mr Luminsa Kassim; the contact line reads about 0783725419 / 0702806116. Filled toolkit output follows RULES.md 3.15 for supervisor naming where settled elsewhere.

- Date of submission is blank in structured output per RULES.md 3.15.

- The hand-filled Asset Number cells are quantity counts. They are carried into the item name where clear and left blank in the Asset Number column.

- Grouped Date Placed in Service entries on the right-hand pages (27.09.25 / 27.09.23 and ditto marks) are too soft to assign to each line with confidence, so they are left blank.

- Grouped Equipment status / Remarks entries on the right-hand pages are often written across several lines (including repeated not engraved by / under UgIFT notes) and are left blank where they cannot be paired safely to a single schedule row.

- Instrument tray, Mid Upper Arm Tape, Marker Tape, Vaginal speculum (Cusco), Bowl, lotion extras, Bed pans, urinals, Cheatle jar, Drawing pin and other printed lines that stay blank on this copy are not carried.

- Drip Stand carries separate counts 08 and 06; structured output uses 14 and needs confirmation.

- Bed, Adult Patient with Mattress shows 10 on the ward line plus further 02 / 02+08 marks and a separate Quarter staff 02; the ward extras need confirmation.

- Bedside Locker and Kidney dish / Kidney dish basin lines are soft on count (and the kidney-dish description 'with Cranks' is soft).

- Wheel Chair has no clear count; Audio Visual Equipment, Radiant Infant Warmer, Delivery Bed (handwritten), Examination light (handwritten), Bag Valve mask (Ambu Bag), Neonatal and Incubator show 00 in the count column.

- Baby Cot count is soft on close crops (reads about 05; one crop looked like 25); structured output uses 5.

- Desk location split and consultation-room count are soft (about 05 or 03 versus total 08).

- Solar panels count 04 does not clearly match facing-page working / non-functional notes; Solar Batteries has no count.

- Water-tank litre sizes are cramped (5000 / 1000 / 10000); confirm sizes.

- Placenta pit versus nearby 2-stance pit-latrine wording on the buildings page should be confirmed.

- Challenges / recommendations continue from the guide NB onto the final buildings pages (about pages 20–22); wording is settled where readable.