ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Elgon |
| Name of Local Government | Bulambuli District |
|  | Bulambuli District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bwikhonge HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, with no verified record of cost and number supplied. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | Not given. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Service to assets is provided by calling service providers who repair them in case of anything damaged. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Monitoring of UgIFT assets is done through looking / checking on how they are broken and how many are still in existence. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Accommodation and transport have been minimised; new health workers like midwives are sleeping well at the centre due to buildings provided under UgIFT. Buildings under UgIFT have increased the number of clients who come for medical services, knowing that maternal wards are available for them to be examined; health workers are attracted to stay. UgIFT has helped improve quality of services; patient beds were not in place, but now patients can be admitted. Challenges: there is no theatre where major operations can be undertaken; limited labour supply of health workers yet clients are many; the facility is not fenced at all from external attackers such as cattle pastoralists whose animals scare away clients; storage is not enough especially for keeping track of assets. Recommendations: UgIFT should help construct a facility fence for safety of assets; more storage buildings are needed for proper keeping of assets; construction of a theatre by UgIFT would attract more clients not to move to furthest Muyembe Health Centre III for medication. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bulambuli District        NAME OF HEALTH FACILITY: Bwikhonge HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Maternity ward |  | Palm electronic device |  |  |  |  |  |  |  |  |  |  | No clear quantity in the count column. |
| B.P. Machine (Aneroid wall mounted) (2) | O.P.D / E.P.I |  | Analog with cuff arm |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters, Duo Operated (2) | Laboratory |  | Steam sterilizer |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick (1) | Maternity ward |  | Stainless with bucket / wheels |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand (4) | Maternity ward |  | Stainless with basin like |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable (4) | O.P.D / E.P.I |  | Locally made with swings / hinges |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand (8) | Maternity ward / Store |  | Hooked for bottle holding |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand (2) | Health |  | Vertical alignment |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (4) | Maternity ward / E.P.I |  | Steel stainless adjustable in height |  |  |  |  |  |  |  |  |  |  |  |
| Examination light, LED | E.P.I |  |  |  |  |  |  |  |  |  |  |  |  | N/A / blank in the count column. |
| Glucometer (2) | Laboratory / Maternity |  | Strip lancet tool |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital (2) | Store / Laboratory |  | Medical tool with lancet |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (2) | Antenatal ward |  | Fixed with head piece |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley (1) | E.P.I |  | Movable with rails stainless |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular (1) | Laboratory |  | Has knobs with lens |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  | Asterisk marked; row otherwise blank. |
| Patient Screen (4) | Maternity ward / E.P.I |  | Have standing curtain |  |  |  |  |  |  |  |  |  |  | A further 01 against E.P.I is soft; total may be 5. |
| Patient Trolley (1) | Antenatal ward |  | Movable with side rails |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (2) | O.P.D / Store |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope (2) | O.P.D / Store |  | With steam value |  |  |  |  |  |  |  |  |  |  | Description wording is odd for a stethoscope; soft. |
| Stop Watch (1) | Laboratory |  | Reset start feature |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  | Checkmarked; no quantity written. |
| Stove, Gas (2) | Staffing quarters |  | Has a cook top |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | Reception / O.P.D |  | Has a meter reading |  |  |  |  |  |  |  |  |  |  | Count column carries description text, not a clear quantity. |
| Weighing Scale, Infant (2) | O.P.D / Store |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler (2) | Store kept |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Store kept |  | Has a rest arm |  |  |  |  |  |  |  |  |  |  | No clear quantity in the count column. |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  | 00 written in the count column. |
| Medical Waste Bin (6) | Antenatal ward |  | Metallic with pedal |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  | 00 written in the count column. |
| Diagnostic Equipment Set for MCH (2) | Maternity / Store |  | Has surgical scalpel tools |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD (2) | Triage / Office kept |  | Has pack set |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic (2) | Laboratory / Store |  | Silicate made |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment (2) | O.P.D / IPD |  | Container made with metal / tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (4) | IPD / OPD |  | Sterile surgical tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT (1) | OPD |  | Has forceps and mirrors |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture (3) | IPD / OPD |  | Has scalp and surgical tools |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (2) | Maternity / OPD |  | Plastic finger reader |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress (10) | IPD / Store |  | Adjustable with rails movable |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress (2) | IPD |  | Cranks |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker (2) | Store / Maternity / Antenatal ward |  | Adjustable |  |  |  |  |  |  |  |  |  |  | Count soft on one reading (02 vs 20); carried as 2. |
| Cupboard, Instrument (1) | Antenatal ward |  | Furniture made with locker / has key lockers |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (1) | Maternity ward |  | Has a foot pump |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (2) | IPD |  | Has plastic tubes |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes (1) | Maternity ward |  | Hand held valve bag with mask |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes (1) | Maternity ward |  | Hand held with oxygen reservoir / mask |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (1) | Maternity |  | Battery operated |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  | N/A / struck through in the count column. |
| Oxygen Concentrator, Duo Flow (1) | Maternity ward |  | Chargeable for 1 |  |  |  |  |  |  |  |  |  |  |  |
| Bench (4) | OPD / E.P.I |  | Furniture wood made |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets (6) | Maternity ward |  | Plastic made for utensils |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot (2) | Maternity ward / Post natal ward |  | Stainless made with mattress |  |  |  |  |  |  |  |  |  |  | Page note small metallic; count soft on one reading (02 vs 03). |
| Diagnostic Equipment Set for Ward (2) | IPD |  | Surgical set with instruments |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward (2) | IPD |  | Surgical tray / set with equipment |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery (7) | Maternity ward |  | Has stainless tools / non-sterile tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing | IPD |  | Has scissors / needle |  |  |  |  |  |  |  |  |  |  | Count soft (02 vs 07); left blank. |
| MVA Kit (4) | Maternity ward |  | Manual hand held with valve |  |  |  |  |  |  |  |  |  |  | Hand note: manual kit reusable. |
| Stool, Laboratory (3) | Laboratory |  | Movable |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker (3) | Maternity ward |  | Plastic made candy holder |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Doppler |  |  |  |  |  |  |  |  |  |  |  |  |  | N/A written in the department / count area. |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  | N/A written in the department / count area. |
| Centrifuge (Electric) (1) | Laboratory |  | Has control panel |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair (1) | Post natal ward |  | Made of castors |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  | N/A written in the department / count area. |
| Haemoglobin Meter, Sahli (2) | Store |  | Has stirring rods and glass |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  | N/A written in the department / count area; later than the hydraulic delivery bed line. |
| Examination light (2) | Maternity ward / Store |  | Head lamp featured |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII (2) | OPD |  | Basic surgery equipment set minor |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag) Neonatal (2) | Labour / Maternity ward |  | Hand handled self-inflating / inflating bag |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | 00 / N/A written in the count column. |
| Office Chair (7) | OPD |  | Swivel / swing adjustable with mesh back |  |  |  |  |  |  |  |  |  |  |  |
| Desk (3) | OPD / Store |  | Flat top / flat work space wooden |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet (2) | Records department |  | Metallic with multiple drawers |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings - toilets (3) | General / staff |  | 2-stance |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings - staff quarters (1) | Shelter / housing / home |  | 2-stance building |  |  |  |  |  |  |  |  |  |  |  |
| Placenta pit | Staff room / general |  | 4-stance pit latrine written nearby |  |  |  |  |  |  |  |  |  |  | Quantity soft (possible 09); septic tank noted in margin. |
| Solar batteries (6) |  |  |  |  |  |  |  |  |  |  |  |  |  | Handwritten addition; count may belong with non-residential buildings heading on one reading. |
| Solar panel (4) |  |  |  |  |  |  |  |  |  |  |  |  |  | Handwritten addition; count soft on one reading. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The cover / guide pages spell the facility Buikhonge Health Centre III; checklist headers also read Bwikhonge. Structured output uses Bwikhonge HC III.

- The region / sub-region / LG fields on the cover mix Eastern Region, Bulambuli District, Bunamono village / Bwekanda parish and Buikhonge Sub County. Structured output uses Eastern / Elgon / Bulambuli District.

- Verifier names and telephone digits on the cover are soft; structured output uses Kyanamira Nathan, Ahabwe Derick, Asio Miriam with 0783701410, 0701565787, 0784893786 where safe against the team record.

- The supervisor line on the page reads about Mr Luminia Karim (also read Lumunia / Luminia Kassim elsewhere); contact about 0783725419 / 0702806116. Filled toolkit output follows RULES.md 3.15 for supervisor naming where settled elsewhere.

- Date of submission is blank in structured output per RULES.md 3.15.

- The hand-filled Asset Number cells are quantity counts. They are carried into the item name where clear and left blank in the Asset Number column.

- Grouped Date Placed in Service entries (often 24/08/24) and grouped status / remarks (including repeated not-engraved-by-UgIFT notes) are left blank where they cannot be paired safely to a single schedule row.

- Counting chamber Neubauer-Improved, Instrument tray, Mid Upper Arm Tape, Marker Tape, Kidney dish, Kidney dish basin, Bowl lotion, bed pans, urinals, Cheatle jar, Drawing pin and other printed lines that are blank on the hand-filled copy are not carried.

- B.P. Machine, Digital; Examination light, LED; Stretcher; Adult weighing scale; Wheel Chair; Otoscope; Fetoscope, Doppler; Bubble CPAP; Radiant Infant Warmer; Delivery Bed (page-16 line); Incubator; and Nebulizer, Ultrasonic have no safe quantity.

- Audio Visual Equipment and Wall Clock carry 00 in the count column.

- Patient Screen may be 4 or 5 if the extra 01 against E.P.I is a separate count.

- Bedside Locker count is soft (02 vs a 20 reading); carried as (2).

- Instrument Set, Stitch Removing count is soft (02 vs 07) and left blank.

- Baby Cot count is soft on one reading (02 vs 03); carried as (2).

- Stethoscope description reads about 'with steam value'; confirm wording.

- Delivery Bed, Hydraulic Manual (1) and a later Delivery Bed line with N/A both appear; treat as separate page lines unless confirmed as one item.

- Examination light, LED and a later Examination light (2) both appear; confirm whether the same stock is counted twice.

- Solar panel and Solar batteries are handwritten additions; solar-panel count and whether 06 belongs to batteries or to non-residential buildings should be confirmed.

- Placenta pit quantity and the 4-stance pit-latrine / septic-tank margin notes are soft and need confirmation.