ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bugisu |
| Name of Local Government | Sironko District |
|  | Sironko District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bundege HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. An inventory list of UgIFT assets was produced at the facility. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The facility has a small budget under PHC funds. They pay subscription fees to the regional medical workshop at Mbale Hospital. The district extends moderate / financial support through its engineers who supervise the assets. The sub-county / community also participate through general cleaning near evacuation pit latrines. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. Infrastructural builds like wards where mothers are separate from men are in place by / under UgIFT. UgIFT renovated the former OPD building and created space for the laboratory. More client vents are available, easing attendance by health workers. Services like maternity and laboratory that would require referral before are now handled at the facility. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Challenges: floors are of low quality and the cemented floor is spoilt; durability of some materials is poor and they break so easily; the rain water system is not installed properly and plumbing work was not properly done. Recommendations: UgIFT should focus on renovating floors to terrazzo; avail the missing equipment to the facility; and always have technical people to follow on equipment and their maintenance. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Sironko District        NAME OF HEALTH FACILITY: Bundege HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | Consultation room |  | Has electronic upper arm |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (2) | Store not in use |  | Has hand bulb pump |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters., Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  | N/R written in the department / count area. |
| Bowl, Kick (1) | Store kept |  | Made of kicked bucket form |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand (2) | Antenatal room |  | Basin stand form |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved (2) | Store |  | Has a glass microscope |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable (2) | Records room |  | Made of swing door |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand (8) | Female ward / male ward / antenatal |  | Hooked made for bottle holding |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand (1) | Dispensing room |  | Aligned vertically in nature |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (2) | Antenatal room |  | Made of height adjustable |  |  |  |  |  |  |  |  |  |  |  |
| Examination light, LED (2) | Labour suit |  | Plastic made |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer (2) | Laboratory |  | Lancet striped |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital (2) | Laboratory |  | Plastic made with specs |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (1) | Consultation room |  | Fixed with head piece |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley (2) | Labour suit |  | Movable with wheels |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular (1) | Laboratory |  | Olympus lens made |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope (1) | Laboratory |  | Handheld with lens |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (4) | Doffing / changing room |  | Standing curtains |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley (1) | Labour suit |  | Made of casters |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (1) | Dispensing room |  | Double door |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope (4) | Consultation room |  | Doubled with tubes |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch (2) | Labour suit |  | Reset, start featured |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (1) | Male / female ward |  | Wheel managed |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas (1) | Staff quarters |  | Has a cook top |  |  |  |  |  |  |  |  |  | Empty cylinder |  |
| Weighing Scale with Height Meter, Adult (2) | Antenatal room |  | Meter reading featured |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant (2) | Kept in store |  | Has baby bag inside |  |  |  |  |  |  |  |  |  | Not yet use |  |
| Weighing Scale, Toddler (2) | Labour suit / male ward |  | Stainless tray movable |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Antenatal room |  | Has a seat / arm rest |  |  |  |  |  |  |  |  |  |  | 00 written in the count column. |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  | 00 written in the count column. |
| Medical Waste Bin (6) | Dispensing room / female / male ward / laboratory |  | Made of pedal metallic |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock (4) | General office / in-charge office |  | Decorative put on wall |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH (2) | Female ward |  | Non surgical tool |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD (2) | O.P.D |  | Triage pack set |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic (2) | Laboratory |  | Silica made |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment (2) | Antenatal room |  | Iron containers |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (2) | Labour suit |  | Sterile tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT (3) | Labour suit |  | Has mirrors |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture (2) | Postnatal room |  | Has scalp mirrors |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (2) | Consultation room |  | Plastic finger reader |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress (10) | Female ward / male ward / postnatal room |  | Adjustable with rails / movable |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress (5) | Female / |  |  |  |  |  |  |  |  |  |  |  |  | Department line ends at female / and is incomplete. |
| Bedside Locker | Female / male ward |  | Glass made with |  |  |  |  |  |  |  |  |  |  | Count blank; description incomplete. |
| Cupboard, Instrument (1) | Antenatal room |  | Key lockable |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (1) | Labour suit |  | Has a foot pump |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (2) | Store medical |  | Has tubes |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes (2) | Labour suit |  | Hand held with bag valve |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes (2) | Postnatal room |  | Bag valve and hand made resuscitator |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (2) |  |  | Battery operated |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic (1) | Laboratory |  | Electronic with outlets |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow (4) | Laboratory / store |  | Chargeable medical tool |  |  |  |  |  |  |  |  |  |  |  |
| Bench (4) | Waiting area / dispensing |  | Wood furniture made |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets (6) | Postnatal room |  | Plastic made for utensils |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot (5) | Labour suit |  | Stainless made with mattress / casters |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward (3) | Labour suit |  | Scoped with equipments |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward (3) | Antenatal ward |  | Surgical set items |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery (3) | Labour suit |  | Stainless medical tool |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing (3) | Antenatal room |  | Has scissors and needle |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit (4) | Antenatal room |  | Hand held with valve |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory (1) | Laboratory |  | Macintosh covered |  |  |  |  |  |  |  |  |  |  | Page wording looks like machitos covered. |
| Penguin Sucker (3) | Antenatal room |  | Has carrying basket |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Doppler (2) | Laboratory / maternity |  | Hollow surgical, local made |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP (2) | M.C.H |  | Local made |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (2) | Laboratory |  | Has panel control |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair (1) | Labour suit |  | Caster made |  |  |  |  |  |  |  |  |  | Kept in store |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  | N/R written in the department / count area. |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  | N/R written in the department / count area. |
| Delivery Bed | Labour suit |  |  |  |  |  |  |  |  |  |  |  |  | 00 written in the count column. |
| Examination light (2) | Labour suit / antenatal room / ward |  | Metallic mobile covered stands / head lamp |  |  |  |  |  |  |  |  |  | Store kept |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  | N/R written on the line. |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  | N/R written on the line. |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | N/R written on the line. |
| Office Chair (7) | Records room / dispensing room / laboratory |  | Rolling chair, adjustable with mesh back |  |  |  |  |  |  |  |  |  | Available and in use / functioning |  |
| Desk (3) | Dispensing room / waiting room |  | Furniture made with writing surface |  |  |  |  |  |  |  |  |  | Kept in store |  |
| Filing Cabinet (2) | Consultation room |  | Has multiple drawers |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings - gate keeper house |  |  | Plastered |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen cylinder (2) |  |  |  |  |  |  |  |  |  |  |  |  | Empty | Not engraved. |
| Water tanks (4) |  |  |  |  |  |  |  |  |  |  |  |  | Working |  |
| Non Residential Buildings - placenta pit |  |  | Placenta disposal |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings - toilets | General public |  | Dispose waste |  |  |  |  |  |  |  |  |  |  |  |
| Kidney dish basin | Antenatal ward |  |  |  |  |  |  |  |  |  |  |  |  | Count blank. |
| Residential Buildings - staff quarters (2 units) | Health workers |  | 2 house building |  |  |  |  |  |  |  |  |  |  |  |
| Kidney dish | Male ward |  | Made of cracks |  |  |  |  |  |  |  |  |  |  | Count blank; description soft. |
| Mid Upper Arm Tape (4) |  |  | Stretchable medical tool |  |  |  |  |  |  |  |  |  |  | Handwritten again on the blank line between adult and pediatric beds; same count 04 as the earlier Mid Upper Arm Tape line. |
| Mid Upper Arm Tape (4) | Dispensing room |  | Stretchable medical tool |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The sub-region field on the page is filled as Eastern Budadiri West Health Sub District. Structured output uses Bugisu as the sub-region and Sironko District as the local government.

- The facility name on the pages and chat caption reads Budenge Health Centre III / Budenge Health Centre 3. Structured output records Bundege HC III (programme spelling).

- Verifier surnames on the page look like Kharwe / Khafwe Derick and Abio / Asio Miriam; contacts match the team set used elsewhere. Structured output keeps the page reading Kharwe / Abio.

- The supervisor line on the page reads Mr Luminja Kassim; the contact line reads about 0783725419 / 0702806116. Filled toolkit output follows RULES.md 3.15 for supervisor naming where settled elsewhere.

- Date of submission is blank in structured output per RULES.md 3.15.

- The hand-filled Asset Number cells are quantity counts. They are carried into the item name where clear and left blank in the Asset Number column.

- Grouped Date Placed in Service entries on the right-hand pages are too soft to assign to each line with confidence, so they are left blank.

- Grouped Equipment status / Remarks entries on the right-hand pages (including repeated not-engraved-under-UgIFT notes) are left blank where they cannot be paired safely to a single schedule row.

- Instrument tray, Marker Tape, Vaginal speculum (Cusco), Drawing pin and several other printed lines are blank on the hand-filled copy and are not carried.

- N/R or 00 appears for Autoclave 20 Liters., Duo Operated; Wheel Chair; Audio Visual Equipment; Radiant Infant Warmer; Haemoglobin Meter, Sahli; Delivery Bed (handwritten page); Instrument set, ENT Basic for HCIII; Bag Valve mask (Ambu Bag), Neonatal; and Incubator, so no quantity is carried into those item names.

- Kidney dish, Kidney dish basin and Bedside Locker have department / description handwriting but no clear count.

- Mid Upper Arm Tape appears twice with count 04 (once after Patient Screen, once between adult and pediatric beds); confirm whether these are the same stock counted twice.

- Examination light, LED (2) and a later Examination light (2) line both appear filled; it is unclear whether these are the same stock counted twice.

- Delivery Bed, Hydraulic Manual (1) and a later Delivery Bed line with 00 both appear; treat as separate page lines unless confirmed as one item.

- Bed, Pediatric Patient department ends at female / and is incomplete.

- Instrument Set, Delivery / Stitch Removing department pairing is soft between Labour suit and Antenatal room across readings.

- Stool, Laboratory description reads like machitos covered; treated as macintosh covered.