ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Elgon |
| Name of Local Government | Sironko District |
|  | Sironko District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Mutufu HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | Delivery notes. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Currently no assets require repair. For a broken asset such as furniture, a carpenter is brought to the facility to repair that asset. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. The records are taken in the inventory book. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has extended medical services closer to the communities hard to reach. Recommendations: the facility needs a public address system; and the facility needs new staff quarters, because the ones built are no longer in use after a large crack inside made them a hazard. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Sironko District        NAME OF HEALTH FACILITY: Mutufu HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  | Measures blood pressure digitally |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 2 functional, 1 in use and 1 kept in the store. |
| B.P. Machine (Aneroid wall mounted) |  |  | Measures blood pressure manually |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 2 functional, 1 in use and the other in store. |
| Autoclave 20 Liters.,Duo Operated |  |  | Sterilizes medical instruments using steam |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 2 available, 1 in use and another in store. |
| Bowl, Kick |  |  | Holds medical waste or used materials |  | NA |  | 2023-05-15 |  |  |  |  |  | Brand new | Available and still brand new. |
| Bowl Stand |  |  | Supports and holds the kick bowl |  | NA |  | 2023-05-15 |  |  |  |  |  | 2 functional and 1 not functional | 3 bowl stands were available and 2 functional. |
| Counting chamber Neubauer- Improved |  |  | Counts cells in blood or other samples |  | NA |  | 2023-05-15 |  |  |  |  |  | Not seen | Delivered at the facility but not seen. |
| Cupboard Steel, Lockable |  |  | Stores and secures medical supplies and equipment |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 6 available and in use. |
| Drip Stand |  |  | Holds IV fluid bags during treatment |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 8 available and functional. |
| ESR Stand |  |  | Holds tubes for ESR testing |  | NA |  | 2023-06-08 |  |  |  |  |  | Not seen | 1 was provided but not seen at the facility. |
| Examination Couch |  |  | Supports patients during examination |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | All 4 available at the facility are functional. |
| Examination light,LED |  |  | Provides light for patient examination |  | NA |  | 2023-05-15 |  |  |  |  |  | 2 functional and 1 not functional | 3 provided, 2 functional and 1 spoilt. |
| Glucometer |  |  | Measures blood glucose levels |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 2 available, 1 in use and the other in store. |
| Haemoglobin Meter, Digital |  |  | Measures haemoglobin levels in blood |  | NA |  |  |  |  |  |  |  |  | No date, status or count is written against this line. |
| Height Meter |  |  | Measures a patient's height |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | Seen and in use, 2 seen. |
| Instrument Trolley |  |  | Holds and transports medical instruments |  | NA |  |  |  |  |  |  |  |  | No date, status or count is written against this line. |
| Microscope Binocular |  |  | Magnifies samples for laboratory examination |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 1 and in use in the laboratory. |
| Otoscope |  |  | Examines the ear canal and eardrum |  | NA |  | 2023-05-15 |  |  |  |  |  | Not seen | The in-charge says it was lent to another health centre. |
| Patient Screen |  |  | Provides privacy during patient examination |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 5 seen and all functional. |
| Patient Trolley |  |  | Metallic trolley |  | NA |  |  |  |  |  |  |  | Functional | 1 in use. |
| Refrigerator, Basic |  |  | For storing vaccines, medicines and other temperature sensitive items |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 2 functional and in good condition. |
| Stethoscope |  |  | Used to listen to heart, lung and other body sounds |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 8 seen, 4 in use and 4 kept in store. |
| Stop Watch |  |  | Used for timing medical procedures |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 1 in use. |
| Stretcher |  |  | Used for transporting patients who cannot walk |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | It is in use. |
| Stove, Gas |  |  | Used for cooking and heating in the facility |  | NA |  | 2023-05-15 |  |  |  |  |  | Good condition | 1 in use while the other is in store. |
| Weighing Scale with Height Meter, Adult |  |  | Used to measure adult weight and height |  | NA |  | 2023-06-15 |  |  |  |  |  | Functional | 2 functional. |
| Weighing Scale, Infant |  |  | Used to measure the weight of infants |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 2 functional. |
| Weighing Scale, Toddler |  |  | Used to measure the weight of small children |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 2 and in use. |
| Wheel Chair |  |  | Used to assist mobility of patients unable to walk |  | NA |  | 2023-05-15 |  |  |  |  |  | Not received | The facility did not receive any. |
| Audio Visual Equipment |  |  | Used for training and health education |  | NA |  |  |  |  |  |  |  |  | No date, status or count is written against this line. |
| Medical Waste Bin |  |  | Used for collection and disposal of medical waste |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 20 seen and in use. |
| Wall Clock |  |  | Used to display and monitor time |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 1 displayed on the wall. |
| Diagnostic Equipment Set for MCH |  |  | Used for examination and diagnosis of mothers and children |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | In use and others in store. |
| Diagnostic Equipment Set for OPD |  |  | Used for routine diagnosis of out patients |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | In use and others in store. |
| Glassware Set, Laboratory, Basic |  |  | Used for handling, measuring and testing laboratory samples |  | NA |  |  |  |  |  |  |  |  | No date, status or count is written against this line. |
| Hollow Ware Set, Treatment |  |  | Used for holding and handling instruments during treatment |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 1 in use while another is in store. |
| Instrument Set, Dressing |  |  | Used for wound dressing and basic wound care |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | In use and others in store. |
| Instrument Set, Basic ENT |  |  | Used for closing and repairing wounds with sutures |  | NA |  |  |  |  |  |  |  |  | No date, status or count is written against this line. |
| Instrument Set, Suture |  |  | Used for cleaning and treating wounds with sutures |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 3 available, 2 in use and 1 in store. |
| Pulse Oximeter, Hand held |  |  | Used to measure blood oxygen saturation and pulse rate |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional |  |
| Bed, Adult Patient with Mattress |  |  | Used for resting and caring for adult patients |  | NA |  | 2023-06-15 |  |  |  |  |  | 16 in good state while 2 need repair | 18 beds at the facility, 10 in use and the others in the store. 2 need repair. |
| Bed, Pediatric Patient, With Mattress |  |  | Used for resting and caring for pediatric patients |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 4 beds and in use. |
| Bedside Locker |  |  | Used for storing patients' personal items |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 10 and all functional. |
| Cupboard, Instrument |  |  | Used for storage of medical instruments and supplies |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 6 functional and available. |
| Delivery Bed, Hydraulic Manual |  |  |  |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 1 and in use. |
| Oxygen Therapy Apparatus, Minimum 45L cylinder |  |  | Used to provide supplemental oxygen to patients |  | NA |  |  |  |  |  |  |  | Not seen | 1 oxygen therapy apparatus not seen at the facility. |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | Used for manual ventilation of infants |  | NA |  | 2023-06-08 |  |  |  |  |  | Functional | 1 provided and in use. |
| Resuscitator Manual, Adult, with all mask sizes |  |  | Used for manual ventilation and rescue of adults |  | NA |  | 2023-06-08 |  |  |  |  |  | Functional | 1 provided and in use. |
| Suction Apparatus, (Electric) |  |  |  |  | NA |  |  |  |  |  |  |  |  | No date, status or count is written against this line. |
| Nebulizer, Ultrasonic |  |  | Used to deliver medication as a fine mist for inhalation |  | NA |  | 2023-06-08 |  |  |  |  |  | Functional | 1 seen at the facility. |
| Oxygen Concentrator, Duo Flow |  |  | Used to produce and supply concentrated oxygen to patients |  | NA |  | 2023-06-08 |  |  |  |  |  | Seen and brand new | Seen but kept in its box. |
| Bench |  |  | Used for seating patients, staff and visitors |  | NA |  | 2023-05-15 |  |  |  |  |  | In excellent condition | 4 available and in use. |
| Disinfection Buckets |  |  | For cleaning and disinfection |  | NA |  | 2023-05-15 |  |  |  |  |  | Only 2 functional | Only 2 are functional. |
| Baby Cot |  |  | For placing newborn babies |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 2 available and in use. |
| Diagnostic Equipment Set for Ward |  |  | For ward diagnostic procedures |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | In use. |
| Hollow Ware Set, Ward |  |  | For ward clinical procedures |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 2 available and in use. |
| Instrument Set, Delivery |  |  | For conducting deliveries |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | In use. |
| Instrument Set, Stitch Removing |  |  | For removing stitches |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | In use. |
| MVA Kit |  |  | For manual vacuum aspiration |  | NA |  | 2023-07-05 |  |  |  |  |  | Functional | 5 delivered at the site, 2 in use and 3 in store boxes. |
| Stool, Laboratory |  |  | For laboratory seating |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 3 available and in use. |
| Penguin Sucker |  |  | For clearing newborn airways |  | NA |  | 2023-06-08 |  |  |  |  |  | Functional | 3 at the facility and 2 functional. |
| Fetoscope, Doppler |  |  | For monitoring the fetal heart beat |  | NA |  | 2023-06-15 |  |  |  |  |  | Functional | 2 and functional. |
| Bubble CPAP |  |  | For newborn respiratory support |  | NA |  |  |  |  |  |  |  |  | No date, status or count is written against this line. |
| Centrifuge (Electric) |  |  | For separating blood samples |  | NA |  |  |  |  |  |  |  | Not seen | Not available at the facility, lent out. |
| Kangaroo Mother Care Chair |  |  | To comfortably hold a newborn, especially a premature one |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 1 working at the facility. |
| Radiant Infant Warmer |  |  |  |  | NA |  |  |  |  |  |  |  |  | No description, date, status or count is written against this line. |
| Haemoglobin Meter, Sahli |  |  | For measuring haemoglobin |  | NA |  | 2023-06-15 |  |  |  |  |  | Functional | 2 seen and functional. |
| Delivery Bed |  |  | For conducting deliveries |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 1 bed available and functional. |
| Examination light |  |  | For patient examination |  | NA |  | 2023-06-15 |  |  |  |  |  | 2 functional and 1 needs repair | 5 available at the facility but only 2 are functional. |
| Instrument set, ENT Basic for HCIII |  |  | For basic ENT procedures |  | NA |  | 2023-05-15 |  |  |  |  |  | Functional | 1 set in use at the facility. |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | For neonatal resuscitation |  | NA |  | 2023-07-05 |  |  |  |  |  | Functional | 6 in use and 1 not in use. |
| Incubator |  |  | For caring for premature babies |  | NA |  |  |  |  |  |  |  | Not seen | The in-charge says it was not provided. |
| Office Chair |  |  | For office seating |  | NA |  | 2023-07-05 |  |  |  |  |  | Functional | 6 are functional and 1 needs repair. |
| Desk |  |  | For office work |  | NA |  | 2023-09-23 |  |  |  |  |  | Functional | 5 available and all in use. |
| Filing Cabinet |  |  | For storing files and documents |  | NA |  | 2023-07-05 |  |  |  |  |  | Functional | 6 available and all in use. |
| Non Residential Buildings |  |  | Health facility buildings such as wards, offices, stores and latrines |  | NA |  |  |  |  |  |  |  | Functional | A maternity ward, a laboratory, latrines for the facility, a placenta pit and a fence were built. |
| Residential Buildings |  |  | Staff housing for health workers |  | NA |  |  |  |  |  |  |  | Functional | Staff quarters available, 2 units each with 2 bedrooms, self contained toilets and a water tank. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The ESR stand, the counting chamber, the otoscope, the oxygen therapy apparatus, the electric centrifuge and the incubator were each recorded as provided and none was seen on the day, so six lines cannot be set against what was supplied.

- The digital haemoglobin meter, the instrument trolley, the audio visual equipment, the basic laboratory glassware set, the basic ENT instrument set, the electric suction apparatus, the bubble CPAP and the radiant infant warmer carry no status and no count, so eight further lines are unestablished.

- The facility did not receive a wheel chair.

- One of three bowl stands, one of three LED examination lights and three of five examination lights are out of use, two of the six disinfection buckets work, two of eighteen adult beds need repair and one of seven office chairs needs repair.

- The tag column reads NA on every line, so no engraved number or serial number is recorded and no item at this facility can be identified again.

- The cost, recoverable cost and depreciation columns are empty on every page, so nothing at this facility carries a value.

- The staff quarters built for the facility are out of use after a large crack inside made them a hazard, and the in-charge asks for new ones.

- The date of submission is blank on the cover, and output leaves it blank per RULES.md 3.15.