ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN REGION |
| --- | --- |
| SUB-REGION: | BUSOGA REGION |
| Name of Local Government | BUGWERI DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | WANDERA SOLOMON |
| Contact/ email and Telephone | 0708153235, wanderasolo@gmail.com |
| Supervisor/ Sub team leader | NANDUDU SULAINA |
| Name | KIYUBA SALIMU |
| Contact | 0755215778 |
| Date of submission | 01/9/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: MINANI HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift It’s the facility that takes over the charge and management itself through the in charge,however, for the case of sophisticated equipment, it’s the regional workshop office from jinja that maintains them |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | - Yes. - The facility has an inventory book from which it takes records. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | HOW UGIFT HAS HELPED. - it has improved the quality of health service delivery at minani sub county because most of the admissions e.g maternity - It has reduced referrals because basic referrals can now be handled at the facility for example, a baby failing to breath can be resuscitated on the new resuscitation table instead of being referred to iganga referral while dying. - It has increased the capacity of the facility to handle more patients at once i.e they can handle pediatrics, adults and pregnant mothers - It has also improved infection prevention and control through provision of water tanks, sinks, placenta pits and waste bin hence improving sanitation at the facility - It has improved on the staff retention because of the accommodation of the staff. Mid wives can now sleep at the facility and handle night deliveries unlike before when they were moving from very distant places. CHALLENGES - The facility has a challenge of inadequate computers because out of the 5 computers required at OPD, maternity etc, we only have one computer at the in charge office. - Inadequate staff quarters, we only have one house with only 4 units which is not enough for the midwives and nurses. - Limited space, the facility doesn't have a laboratory and store for equipment hence making maintenance very hard and there is no OPD, antenatal is done in tents. - Inadequate operation and maintenance, operation and maintenance is a major issue because the funds allocated are not enough to sustain the facility. - There is a significant delay in the execution of construction and upgrading works at the facility this because its partly limited to limited number of contractors/single contractor for the program. This has prolonged completion and disrupted normal service flow. RECOMMENDATIONS - There is need for the district to increase the budget allocation for facility to enable them maintain the newly supplied equipment. - Provide for more computers to reduce delays because of one computer. - Repair the solar panels and provide the back power. - Construct more staff houses. - Construct a laboratory, store, OPD block and permanent ANC room as this will help reduce using tents. - The ministry should consider as many contractors as possible to reduce on the delays. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LGBUGWERI DISTRICT LOCAL GOVERNMENT NAME OF HEALTH FACILITY MINANI HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | It is white in color model 2088C with a black surface and a rectangular screen |  | Not Engraved |  | 29/3/2023 |  | 150000 |  |  |  | Good and functional. | 1 received, verified, in use. |
| B.P. Machine (Aneroid wall mounted) | health |  | It has a gauge, white in color, with a black metallic base mounted on the wall |  | Not Engraved |  | 29/3/2023 |  | 672,000 |  |  |  | Good and functional. | 2 received, verified, in use. |
| Autoclave 20 Liters.,Duo Operated | health |  | Silver cylindrical stainless bowl with a round top and black handles with a gauge. |  | engraved |  | 29/3/2023 |  | 728,000 |  |  |  | Good and functional. | 2 received, verified,in use |
| Bowl, Kick | health |  | Standard silver steel medical bowl with mobile kick stand. |  | Not engraved |  | 24/9/2025 |  | 224,000 |  |  |  | Good and functional | 1received verified, in use. |
| Bowl Stand | health |  | Standard double bowl size with 2 bowls |  | Not engraved |  | 29/3/2023 |  | 840,000 |  |  |  | Good and functional | 3 received verified,in use. |
| Counting chamber Neubauer- Improved | health |  | It’s a clear glass improved device with silver etched grid and 2 transparent covers slips in blue plastic case. |  | Not engraved |  | 29/3/2023 |  | 336,000 |  |  |  |  | 2 received, verified, in use. |
| Cupboard Steel, Lockable | health |  | Standard grey metallic steel cupboard with lockable double door and adjustable shelves. |  | Not engraved |  | 24/9/2025 |  | 9651408 |  |  |  | Good and functional | 6received, verified and in use` |
| Drip Stand | health |  | It is a Grey metallic drip stand with adjustable heights, 4 hooks on top with 5 castor wheels for mobility. |  | Not engraved |  | 29/3/2023 |  | 1,600,000 |  |  |  | Good and functional | 8 received, verified, in use.however, district shows, 3 supplied. |
| ESR Stand | health |  | A standard metallic grey metal with adjustable leveling for holding tubes. |  | Not engraved |  | 29/3/2023 |  | 280,000 |  |  |  | Good and functional | One received, verified, in use. |
| Examination Couch | health |  | A standard grey metallic frame table with black mattress on top, adjustable with a handle. |  | Not engraved |  | 29/3/2023 |  | 3136,000 |  |  |  | Good and functional | 4 received, verified, in use. |
| Examination light,LED | health |  | A metallic stand light with bright white led light, adjustable head used for examining patients |  | Not engraved |  | 29/3/2023 |  | 2856,000 |  |  |  | Good and functional | 3received, verified. in use. |
| Glucometer | health |  | A small black portable machine with screen and test strips . |  | Not engraved |  | 15/11/25 |  | 448,000 |  |  |  | Good and functional | 2 received, verified,1 in use. |
| Haemoglobin Meter, Digital | health |  | A small portable handheld device, white and grey plastic with screen on top. |  | Not engraved |  |  |  | 1,200,000 |  |  |  | Good and functional | 2 received, verified, 1 in use. |
| Height Meter | health |  | A tall vertical metallic stand, silver in color with flat base and sliding head and height scale. |  | Not engrave |  | 29/3/2023 |  | 1344,000 |  |  |  | Good and functional | 3 receive, verified and in use, district shows supplied 1 |
| Instrument Trolley | health |  | Medium sized, Grey in color with 2 compartments , the lower one bigger than the upper one |  | Not engraved |  | 29/3/2023 |  | 3800,000 |  |  |  | Good and functional | 4 received, verified and in use. |
| Microscope Binocular |  |  | A black and grey metallic device with double eye pieces on top, round base, lenses, knob. |  | Not engraved |  |  |  | ,6000,000 |  |  |  | Good and functional | 1 received verified and in use. |
| Otoscope | health |  | A small handheld black plastic device, torch like shape with light head on top and pocket sized. |  | Not engraved |  | 29/3/2023 |  | 392,000 |  |  |  |  | 1 received but Verified, in use. |
| Patient Screen | health |  | A metallic folding frame, blue cloth, 3- panel, stands on 4 wheels. |  | Not engraved |  | 29/3/2023 |  | 1,512,000 |  |  |  | Good and functional | 3 received, in use and verified |
| Patient Trolley | health |  | A rectangular stainless steel frame, silver metallic with 2 selves, 4 wheels with 2 lockable, medium sizes with a push handle. |  | Not engraved |  | 29/3/2023 |  | 2240,000 |  |  |  | Good and functional | 1received verified and in use. |
| Refrigerator, Basic | Health |  | Medium size upright electric device, grey metallic outer body with single door and selves. |  | Not engraved |  | 29/3/2023 |  | 2,240,000 |  |  |  | Good and functional | 1 verified and in use. |
| Stethoscope | Health |  | Black in color with 2 rubber flexible tube |  | Not engraved |  | 24/9/2025 |  | 3136,000 |  |  |  | Good and functional | 8 received, verified and 1 in use, district shows supplied 4. |
| Stop Watch | health |  | Handheld digital timer with start, stop and reset function. |  | Not engraved |  | 29/3/2023 |  | 224,000 |  |  |  | Good and functional | 1received verified.1 in use. |
| Stretcher | Health |  | It’s a bed with 4 black wheels ,two rails and black soft sponge |  | Not engraved |  | 29/3/2023 |  | 2,240,000 |  |  |  | Good and functional | 1 received, verified and in use.district shows supplied 2 |
| Stove, Gas | health |  | It’s a burner gas with a gas cylinder and regulator. |  | Not engraved |  | 29/3/2023 |  | 1,008,000 |  |  |  | Good and functional | 2 received verified. In use.distict Supplied 1 |
| Weighing Scale with Height Meter, Adult | health |  | Tall, White in color, automated with a height and a gauge. With a black rectangular base in nature |  | Not engraved |  | 29/3/2023 |  | 3,000,000 |  |  |  | Good and functional | 2 received verified, in use district shows 1 |
| Weighing Scale, Infant | health |  | It’s a digital scale with a small white plastic tray |  | Not engraved |  | 29/3/2023 |  | 1,456,000 |  |  |  | Good and functional | 2 received, verified 1 in use. |
| Weighing Scale, Toddler | health |  | A standard white and light blue electronic device with a large tray, LCD display, height rod. |  | Not engraved |  | 29/3/2023 |  | 728,000 |  |  |  | Good and functional | 1 received verified, 1 in use. |
| Wheel Chair | health |  | Medium, Black in color, foldable chair, with 2 back wheels, 2 foot pads and 2 handles |  | Not engraved |  | 29/3/2023 |  | 2,016,000 |  |  |  | Good and functional | 4 revived , in used and verified,district shows 2 |
| Audio Visual Equipment | health |  |  |  |  |  |  |  |  |  |  |  |  | Not received, not verified. |
| Medical Waste Bin | health |  | Medium 20litre, plastic bin with a footpad. |  | Not engraved |  | 29/3/2023 |  | 2016000 |  |  |  | Good and functional | 10 received, in use all verified |
| Wall Clock | health |  | A round white dial device, black numbers and hands, plastic body with glass cover and wall hanging. |  | Not engraved |  | 29/3/2023 |  | 224,000 |  |  |  | Good and functional | 4 received, all in use and all verified |
| Diagnostic Equipment Set for MCH | health |  | Small, portable, black bag that contains BP machine, thermometer, torch, tape measure. |  | Not engraved |  | 29/3/2023 |  | 784,000 |  |  |  | Good and functional | 2 received,1 in use and verified.district shows 4 |
| Diagnostic Equipment Set for OPD | health |  | Small portable, silver metal tools for general OPD examination. |  | Not engraved |  | 29/3/2023 |  | 560,000 |  |  |  | Good and functional | 2 received, verified and1 in use. |
| Glassware Set, Laboratory, Basic | health |  | Small, transparent glass containing, beakers, test tubes, measuring cylinder, slides and petri dishes |  | Not engraved |  | 29/3/2023 |  | 1,456,000 |  |  |  | Good and functional | 2 received, verified and 1 in use. |
| Hollow Ware Set, Treatment | health |  | Medium set containing kidney dishes, gallipots, instrument trays and bowls |  | Not engraved |  | 29/3/2023 |  | 7484102 |  |  |  | Good and functional | 2 received, verified and 1 in use. |
| Instrument Set, Dressing |  |  | Small set, sliver, metallic tray containing scissors, forceps, needle holder. |  | Not engraved |  | 29/3/2023 |  | 2,912,000 |  |  |  | Good and functional | 4 received, verified and 1 in use. |
| Instrument Set, Basic ENT | health |  | It’s a set, silver in color stainless steel with standard size instruments. |  | Not engraved |  | 29/3/2023 |  | 1008,000 |  |  |  | Good and functional. | 1 received, verified.1 in use. |
| Instrument Set, Suture |  |  | A set silver in color, stainless steel containg needle holder, suture scissors, galley pot, dressing bowl for suturing wounds . |  | Not engraved |  | 29/3/2023 |  | 1,848,000 |  |  |  | Good and functional | 3 received, verified,1 in use |
| Pulse Oximeter, Hand held | health |  | Small portable size, white and blue color with finger probe for measuring oxygen saturation and pulse |  | Not engraved |  | 29/3/2023 |  | 1344,000 |  |  |  | Good and functional | 1 received, verified, in use. |
| Bed, Adult Patient with Mattress | health |  | Standard single beds with black mattress, grey metallic frame and manually adjustable. |  |  |  |  |  |  |  |  |  | Not seen | Not received not verified |
| Bed, Pediatric Patient, With Mattress | health |  | White in color with blue soft sponge mattress, white metallic frame and side rails. |  | Not engraved |  | 29/3/2023 |  | 4480,000 |  |  |  | Good and functional. | 4 received, verified and in use verified |
| Bedside Locker | health |  | Small lockers silver in color with one drawer and cupboard with a shelf and door for storage of patient items |  | Not engraved |  | 29/3/2023 |  | 5,040,000 |  |  |  | Good and functional.. | 9 received, verified.in Use.district shows 10 |
| Cupboard, Instrument | health |  | A tall upright metallic device, white and grey, double glass doors on top, double metal doors. |  | Not engraved |  | 29/3/2023 |  | 1,008,000 |  |  |  | Good and functional | 1 received, verified and in use. |
| Delivery Bed, Hydraulic Manual | health |  | A large metallic bed device, blue mattress top with adjustable backrest and leg rests and side rails. |  | Not engraved |  | 29/3/2023 |  | 7,840,000 |  |  |  | Good and functional | 1 received, verified and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | health |  | A tall green metallic gas cylinder device, with regulator, a gauge on top and a tubing. |  | Not engraved |  | 29/3/2023 |  | 5600,000 |  |  |  | Good and functional | 2 received, verified and not in use because of lack of power. |
| Resuscitator Manual, Infant, with all Mask sizes | health |  | A small handheld silicone device, transparent bag with blue valve. |  | Not engraved |  | 29/3/2023 |  | 448,000 |  |  |  | Good and functional | 1 received, verified and 1 in use. |
| Resuscitator Manual, Adult, with all mask sizes | health |  | A light handheld silicone device, transparent bag with blue valve. |  | Not engraved |  | 29/3/2023 |  | 425000 |  |  |  | Good and functional | 1 received, verified and 1 in use |
| Suction Apparatus, (Electric) | health |  | It is an electric pump, White, with 2 bags of water and a guage. Model COO1-A with 4 wheels |  | Not engraved |  | 29/3/2023 |  | 1344,000 |  |  |  | Good and functional | 1 received, verified and not in use. |
| Nebulizer, Ultrasonic |  |  | Small tabletops size with white color ultrasonic with adult and child mask set |  | Not engraved |  | 29/3/2023 |  | 392,000 |  |  |  | Good and functional | 1 received, verified and not in use |
| Oxygen Concentrator, Duo Flow | health |  | Medium size, Grey, 2 handles on top and a cylinder also on top. With outlets and wheels at the bottom |  | Not engraved |  | 29/3/2023 |  | 5500,000 |  |  |  | Good and functional | 2 received, verified and not in use |
| Bench | health |  | Long backless wooden bench with solid hard wood. |  | Not engraved |  | 29/3/2023 |  | 1,120,000 |  |  |  | Good and functional | 4 received, verified and in use |
| Disinfection Buckets | health |  | A set of large plastic buckets, blue in color with lids. |  | Not engraved |  | 29/3/2023 |  | 67000 |  |  |  | Good and functional | 2 received, verified and in use |
| Baby Cot | health |  | A small metallic infant bed device, white steel frame, with transparent sides on 4 wheels with mattress. |  | Not engraved |  | 29/3/2023 |  | 22400,000 |  |  |  | Good and functional | 2 received, verified and in use |
| Diagnostic Equipment Set for Ward | health |  | A portable metric kit containing stethoscope, clinical thermometer, torch, and plastic materials. |  | Not engraved |  | 29/3/2023 |  | 2688,000 |  |  |  | Good and functional | 2 received, verified and 1in use. |
| Hollow Ware Set, Ward | health |  | A large steel set, silver color containing kidney dish, bowl and tray of different sizes on a tray. |  | Not engraved |  | 29/3/2023 |  | 7616,000 |  |  |  | Good and functional | 2 received, verified and 1 in use. |
| Instrument Set, Delivery | health |  | A medium steel set, silver color containing scissors, forceps, cord clamps, kidney dish in a steel tray. |  | Not engraved |  | 29/3/2023 |  | 1904,000 |  |  |  | Good and functional | 2 received, verified and 1in use. |
| Instrument Set, Stitch Removing |  |  | Small size 3 pieces, silver steel tray with stitch scissors, kidney dish and toothed forceps |  | Not engraved |  | 29/3/2023 |  | 1,344,000 |  |  |  | Good and functional | 3 received, verified and 1 in use. |
| MVA Kit | health |  | Small white plastic manual vacuum aspirator kit with syringe 4-12mm cannula for evacuation. |  | Not engraved |  | 29/3/2023 |  | 2240,,000 |  |  |  | Good and functional | 5 received, verified and 1 in use. |
| Stool, Laboratory | health |  | Standard size, high, silver with 5 wheels and black in color |  | Not engraved |  | 29/3/2023 |  | 2016,000 |  |  |  | Good and functional | 3received, verified and in use |
| Penguin Sucker | health |  | Small white rubber bulb for newborn suction. |  | Not engraved |  | 29/3/2023 |  | 285000 |  |  |  | Good and functional | 3 received, verified and 1 in use |
| Fetoscope, Dopplar | health |  | Handheld pocket size, white in color with a screen, display and speaker. |  | Not engraved |  | 29/3/2023 |  | 672,000 |  |  |  | Good and functional | 2 received, verified and 1 in use |
| Bubble CPAP | health |  | Medium whit and blue electronic device with tubes and water bottle to help newborns with breathing. |  |  |  |  |  |  |  |  |  | Not seen | Not received, not verified. |
| Centrifuge (Electric) | health |  | Small white plastic bench top small size digital machine |  | Not engraved |  | 29/3/2023 |  | 896,000 |  |  |  | Good and functional | 1 received, verified and not in use |
| Kangaroo Mother Care Chair | health |  | A large fabric reclining mother chair with silver metallic frame. |  | Not engraved |  | 29/3/2023 |  | 1,344,540 |  |  |  | Good and functional | 1 received, verified and in use |
| Radiant Infant Warmer |  |  | . |  |  |  |  |  |  |  |  |  | Not seen | Not received, not verified. |
| Haemoglobin Meter, Sahli | health |  | Small black box kit, hand held with 2 tubes |  | Not engraved |  | 14/3/2026 |  | 8,000,000 |  |  |  | Good and functional | 2 received, verified and 1 in use. |
| Delivery Bed | health |  | It is a manually adjustable bed. Model H7 with peach mattress and a drip stand, grey metallic frame for delivery position. |  | Not engraved |  | 29/3/2023 |  | 7,840,000 |  |  |  | Good and functional | 1 received, verified and in use |
| Examination light | health |  | It is medium size, white in color, with mobile stand base and a led . |  |  |  |  |  |  |  |  |  | Not seen | Not received, not verified |
| Instrument set, ENT Basic for HCIII | health |  | It’s a set stainless tray with a lid, silver and perforated containing equipment for ENT |  |  |  |  |  |  |  |  |  | Not seen | Not received not verified, |
| Bag Valve mask (Ambu Bag), Neonatal | health |  | White, with yellow valve and a glass with white masks |  |  |  |  |  |  |  |  |  | Not seen | Not received, not verified |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  | Not seen | Not received, not verified. |
| Office Chair | health |  | Black in color, swinging in nature with 5 black wheels |  | Not engraved |  | 29/3/2023 |  | 2688,000 |  |  |  | Good and functional | 4received, verified and in use |
| Desk | health |  | Wooden office desk with cabinet, brown in color.t |  | Not engraved |  | 29/3/2023 |  | 3000,000 |  |  |  |  | 2received,verified and in use. |
| Filing Cabinet |  |  | Standard 4-drawer size, grey metallic color, |  | Not engraved |  | 29/3/2023 |  | 5040,000 |  |  |  | Good and functional | 6received, verified and in use |
| Non Residential Buildings | health |  | Water tanks(cylindrical), one raise and one on ground, |  | Not engraved |  |  |  |  |  |  |  | Good and functional | 2 received, verified and in use |
| Maternity ward OPD renovation Land scaping |  |  | One main block with men ward, pediatric ward, OPD ward, offices, maternity ward while the store is in the old block |  | Not engraved |  | 2019/2020 |  | 325008735 25000000 5000000 |  |  |  | Good and functional | 1 block received, verified and in use however very small for efficient service delivery. |
| Hash pit placenta |  |  | Hash pit( it is a cemented circular pit) ,placenta pits,(square cemented pit with a square coffee brown metallic cover). Pit latrines(4 stances with a metallic door and coffee brown + yellow in color) |  | Not engraved Not engraved |  | 2019/2020 |  | 6636042 10781548 |  |  |  | Good and functional Good and functional | 1received, verified and in use 2received, verified and in use |
| Residential Buildings Staff hourse | health |  | Coffee brown and yellow color block with 2 bed rooms.units. |  | Not engraved |  | 2019/2020 |  | 98837150 |  |  |  | Good and functional 0ne block | 1received, verified and in use |
| latrines |  |  | Brown and yellow with 4 units |  | Not engraved |  | 2019/2020 |  | 29360414 |  |  |  | Good and functional 0ne block | 1received, verified and in use |

# ASSET VERIFICATION BRIEF REPORT

# HEALTH CENTER: MINANI HRALTH CENTER III,

# DATE 1TH/9/2026.

# CONDUCTED BY WANDERA SOLOMON AND KIYUBA SALIMU

## Introduction.

This brief report presents the findings of the physical asset verification exercise conducted at minani health center III on 1TH/9/2026. The team was warmly welcomed by respondent, facility in charge  who was the focal person in this exercise.

## Findings.

- Key assets including all medical assets, furniture and buildings were physically verified and found present. However, those that were not physically verified were not received i.e. incubator, Audio Visual Equipment, drip stand,diagnostic equipment set for  MCH.etc.

- All the items were found to be functional and in good physical condition. However, it was observed that some of the equipment are currently stored and not yet in active use. This is due to the ongoing arrangements for installation and ward set up. Despite being stored, the equipment handling is very  poor. This is because the health workers are not well trained,many sophisticated equipment are supplied upon which other organizations supply the same equipment hence causing congestion,

- Limited storage space. The facility is facing a challenge of inadequate storage space for newly received equipment. This has led to congestion, difficulty in accessing specific items quickly and a risk of accidental damage if not handled carefully.

- The facility has inadequate accommodation for staff. The available staff quarters are not sufficient to accommodate all the critical staff required to be within the facility premises especially maternity and night duty staff.

- There is also supply of  many sophisticated equipment that is beyond HCIII capacity which has been kept unused for over a year occupying space.

## Challenges.

- Almost all the assets were not engraved thus making the verification exercise very hard because we could not establish whether what we verified  was for Gift of not.

- .The focal persons were not well versed or had little knowledge of the equipment hence hindering the verification exercise.

- The district provided us the asset register but there is a lot of discrepancies between asset register and delivery notes for the facility, we only relied on the documents/ deliveries provided by the facility.

## Recommandation.

## Provide adequate storage and improve sanitation, provide additional storage space with shelves, or expedite installation and use of equipment to decongest stores, the facility should also improve general cleanliness, proper waste segregation and dusting to protect equipment.

- Training of health workers, the DHO and the implementing partners should conduct comprehensive training for all health officers on operation, handling and preventive maintenance of equipment and provide user manuals.

- Limit the supply of many  equipment and ensure needs based supply.the supply of equipment should be based on facility needs assessment and capacity.

- Immediate engraving of assets should be done immediately upon receipt with source of funding and asset codes for easy identification during verification.

- The focal persons should be fully oriented on all medical equipment to effective support verification and management.

- The district and DHO should always maintain and provide an update asset register during the verification.

- Consider construction of more staff quarters to accommodate and retain critical staff for effective 24hr service delivery.

## Conclusion.

The asset verification exercise was successfully completed with full staff  . All critical  assets were verified, are functional, in good condition and well handled.

Addressing storage and staff accommodation challenges will greatly improve service delivery and asset management.

Annex

Site Photos

| MINANI HRALTH CENTER III |  |
| --- | --- |
| MINANI HRALTH CENTER III RESUSCITATOR INFANT |  |
| MINANI HRALTH CENTER III METALIC WESTE BINS |  |
| MINANI HRALTH CENTER III PATIENT SCREEN |  |
| MINANI HRALTH CENTER III INSTRUCMENT SET BASIC |  |
| MINANI HRALTH CENTER III BP MACHINE DIGITAL |  |
| MINANI HRALTH CENTER III INSTRUMENT SET FOR SUCTURE |  |
| MINANI HRALTH CENTER III INSTRUMENT SET FOR DRESSING |  |
| MINANI HRALTH CENTER III GLUCOMETER |  |
| MINANI HRALTH CENTER III EXAMINATION LIGHT LED |  |
| MINANI HRALTH CENTER III INTRUMENT TROLLEY |  |
| MINANI HRALTH CENTER III AUTOCLAVE |  |
| MINANI HRALTH CENTER III BEDSIDE LOCKER |  |
| MINANI HRALTH CENTER III INSTRUMENT SET BASIC |  |
| MINANI HRALTH CENTER III WEIGHING SCALE INFANT |  |
| MINANI HRALTH CENTER III BABY COT |  |
| MINANI HRALTH CENTER III ENGRAVED DELIVERY BED HYDRAULIC MANAUL |  |
| MINANI HRALTH CENTER III CUPBOARD LOCKABLE |  |
| MINANI HRALTH CENTER III STRETCHER |  |
| MINANI HRALTH CENTER III DESK |  |
| MINANI HRALTH CENTER III STAFF QUARTER |  |
| MINANI HRALTH CENTER III MEDICAL DISINFECTANT BINS |  |
| MINANI HRALTH CENTER III MICROSCOPE BINACULAR |  |
| MINANI HRALTH CENTER III CENTRIFUGE |  |
| MINANI HRALTH CENTER III ESR STAND |  |
| MINANI HRALTH CENTER III INSTRUMENT CUPBOARD |  |
| MINANI HRALTH CENTER III WHEEL CHAIR |  |
| MINANI HRALTH CENTER III ESR TUBES |  |
| MINANI HRALTH CENTER III DRIP STAND |  |
| MINANI HRALTH CENTER III HAEMOGLOBINMETER SAHLI |  |
| MINANI HRALTH CENTER III PENGUIN SUCKERS |  |
| MINANI HRALTH CENTER III PLACENTA PIT |  |
| MINANI HRALTH CENTER III WATER TANK |  |
| MINANI HRALTH CENTER III STETHOSCOPE |  |
| MINANI HRALTH CENTER III FETAL DOPPLER |  |
| MINANI HRALTH CENTER III EXAMINATION COUCH |  |
| MINANI HRALTH CENTER III WALL CLOCK |  |
| MINANI HRALTH CENTER III AMBU BAG |  |
| MINANI HRALTH CENTER III BLOCK FOR , MATERNITY |  |
| MINANI HRALTH CENTER III BLOCK FOR OPD, |  |
| MINANI HRALTH CENTER III BENCH |  |
| MINANI HRALTH CENTER III WEIGHING SCALE TODDLER |  |