ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN REGION |
| --- | --- |
| SUB-REGION: | BUSOGA |
| Name of Local Government | MAYUGE DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | WANDERA SOLOMON |
| Contact/ email and Telephone | 0708153235, wanderasolo@gmail.com |
| Supervisor/ Sub team leader | NANDUDU SULAINA |
| Name | WANDERA SOLOMON |
| Contact | 0755215778 |
| Date of submission | 28/8/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  busaala health center iii

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | - Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift - Minor maintenance such as cleaning, servicing, simple repairs and replacement of basic parts is done by the facility staff of Busaala itself. However, for sophisticated and complex medical equipment such as BP machine can not be handled by the facility. A report is made to the DHO. The DHO then organizes the regional medical equipment workshop team from jinja to come and repair. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | - Yes, - they have an inventory book where they record the break downs |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | HOW UGIFT HAS HELPED - it has improved the quality of health service delivery at Busaala sub county because most of the admissions e.g maternity - It has reduced referrals because basic referrals can now be handled at the facility for example, a baby failing to breath can be resuscitated on the new resuscitation table instead of being referred to mayuge health center iv while dying. - It has increased the capacity of the facility to handle more patients at once i.e they can handle pediatrics, adults and pregnant mothers - It has also improved infection prevention and control through provision of water tanks, sinks, placenta pits and waste bin hence improving sanitation at the facility - It has improved on the staff retention because of the accommodation of the staff. Mid wives can now sleep at the facility and handle night deliveries unlike before when they were moving from very distant places CHALLENGES - Now that there is improved service delivery, the community now thinks that all diseases should be treated at the facility e.g patients now demand for X rays and theater services which health centers iii is not supposed to offer under UGIFT - Lack of training for specialized equipment. Health workers at the facility have not been adequately trained on how to operate and and some f the sophisticated equipment supplied. This has led to under utilization and risk of damage - The facility has limited space for safe storage of newly supplied equipment and furniture. This causes congestion - Delayed maintenance and repair. Maintenance of sophisticated equipment takes too long. After reporting ti the district, it takes weeks or months for the regional workshop team from jinja to come and fix the equipment, this has affected service delivery while waiting RECOMMENDATIONS - Maintain staff houses with water and power and build more houses to retain all the staff for 24hr services - Ensure sustainability of improved infection prevention and control that is to say the incharge should always ensure continuous supply of IPC materials like liquid soap, jik, gloves and also regular cleaning and emptying and maintenance of water tanks - The DHO and Ugift should organize on job training for the staff on how to operate clean and handle all specialized equipment supplied - Provision of adequate storage space. The facility need s additional storage space to keep equipment safe to avoid damages and congestion - Strengthening maintenance system. A clear and faster maintenance response system should be put on place. The district should have a direct contact person and the jinja regional workshop should do a regular preventive maintenance regular visit to the facility not only when the equipment breakdown |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG . NAME OF HEALTH FACILITY BUSAAL HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | It is white in color model 2088C with a black surface and a rectangular screen |  | Not Engraved |  |  |  | 672,000 |  |  |  | Good and functional. | 2 received, verified, in use. |
| B.P. Machine (Aneroid wall mounted) | health |  | It has a gauge, white in color, with a black metallic base mounted on the wall |  | Not Engraved |  | 15/11/2025 |  | 672,000 |  |  |  | Good and functional. | 2 received, verified, in use. |
| Autoclave 20 Liters.,Duo Operated | health |  | Silver cylindrical stainless bowl with a round top and black handles with a gauge. |  | Not engraved |  |  |  | 728,000 |  |  |  | Good and functional.. | 1 received, verified, in use |
| Bowl, Kick | health |  | Standard silver steel medical bowl with mobile kick stand. |  | Not engraved |  | 24/9/2025 |  | 224,000 |  |  |  | Good and functional | 1received verified, in use. |
| Bowl Stand | health |  | Standard double bowl size with 2 bowls |  | Not engraved |  |  |  | 560,000 |  |  |  | Good and functional | 2 received verified,in use. |
| Counting chamber Neubauer- Improved | health |  | It’s a clear glass improved device with silver etched grid and 2 transparent covers slips in blue plastic case. |  | Not engraved |  | 14/3/2024 |  | 336,000 |  |  |  | Good and functional | 2 received, verified, in use. |
| Cupboard Steel, Lockable | health |  | Standard Grey metallic steel cupboard with lockable double door and adjustable shelves. |  | Not engraved |  | 24/9/2025 |  | 3,217,136 |  |  |  | Good and functional | 2 received, verified and in use` |
| Drip Stand | health |  | It is a Grey metallic drip stand with adjustable heights, 4 hooks on top with 5 castor wheels for mobility. |  | Not engraved |  | 15/11/2025 |  | 1,600,000 |  |  |  | Good and functional | 8 received, verified, in use. |
| ESR Stand | health |  | A standard metallic grey metal with adjustable leveling for holding tubes. |  | Not engraved |  | 15/11/2025 |  | 280,000 |  |  |  | Good and functional | One received, verified, in use. |
| Examination Couch | health |  | A standard grey metallic frame table with black mattress on top, adjustable with a handle. |  | Not engraved |  | 16/06/2026 |  | 1,568,000 |  |  |  | Good and functional | 2 received, verified, in use. |
| Examination light,LED | health |  | A metallic stand light with bright white led light, adjustable head used for examining patients |  | Not engraved |  | 16/06/2026 |  | 1,904,000 |  |  |  | Good and functional | 2received, verified.in use. |
| Glucometer | health |  | A small black portable machine with screen and test strips . |  | Not engraved |  | 16/06/2026, Second batch 15/11/2025 |  | 448,000 |  |  |  | Good and functional | 2 received, verified,2 in use. |
| Haemoglobin Meter, Digital | health |  | A small portable handheld device, white and grey plastic with screen on top. |  | Not engraved |  | 16/06/2026 |  | 8,000,000 |  |  |  | Good and functional | 2 received, verified, 1 in use. |
| Height Meter | health |  | A tall vertical metallic stand, silver in color with flat base and sliding head and height scale. |  | Not engrave |  | 16/06/2026 |  | 448,000 |  |  |  | Good and functional | 1 receive, verified and in use |
| Instrument Trolley | health |  | Medium sized, Grey in color with 2 compartments , the lower one bigger than the upper one |  | Not engraved |  | 15/11/2025 |  | 1,900,000 |  |  |  | Good and functional | 2 received, verified and in use. |
| Microscope Binocular |  |  | A black and grey metallic device with double eye pieces on top, round base, lenses, knob. |  | Not engraved |  |  |  | 6,000,000 |  |  |  | Good and functional | 1 received verified and in use. |
| Otoscope | health |  | A small handheld black plastic device, torch like shape with light head on top and pocket sized. |  | Not engraved |  | 14/3/2024 |  | 392,000 |  |  |  | Good and functiona | 1 received but Verified, in use. |
| Patient Screen | health |  | A metallic folding frame, blue cloth, 3- panel, stands on 4 wheels. |  | Not engraved |  | 15/11/2025 |  | 1,512,000 |  |  |  | Good and functional | 4 received, in use and verified |
| Patient Trolley | health |  | A rectangular stainless steel frame, silver metallic with 2 selves, 4 wheels with 2 lockable, medium sizes with a push handle. |  | Not engraved |  | 15/11/2025 |  | 950,000 |  |  |  | Good and functional | 1received verified and in use. |
| Refrigerator, Basic | health |  | Medium size upright electric device, grey metallic outer body with single door and selves. |  | Not engraved |  | 14/3/2024 |  | 2,240,000 |  |  |  |  | 1 received but Verified, in use. |
| Stethoscope | health |  | Black in color with 2 rubber flexible tube |  | Not engraved |  | 15/11/2025 |  | 1,568,000 |  |  |  | Good and functional | 4 received, in use and verified |
| Stop Watch | health |  | Handheld digital timer with start, stop and reset function. |  | Not engraved |  |  |  | 448,000 |  |  |  | Good and functional | 2 received verified.1 in use. |
|  |  |  | . |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  | It’s a bed with 4 black wheels ,two rails and black soft sponge |  | Not engraved |  | 16/06/2026, Second batch 15/11/2025 |  | 4,480,000 |  |  |  | Good and functional | 2 received, verified and in use. |
| Stove, Gas | health |  | It’s a burner gas with a gas cylinder and regulator. |  | Not engraved |  |  |  | 504,000 |  |  |  | Good and functional | 1 received verified. In use. |
| Weighing Scale with Height Meter, Adult | health |  | Tall, White in color, automated with a height and a gauge. With a black rectangular base in nature |  | Not engraved |  | 16/06/2026 |  | 3,000,000 |  |  |  | Good and functional | 2 received verified, in use |
| Weighing Scale, Infant |  |  | It’s a digital scale with a small white plastic tray |  | Not engraved |  | 16/06/2026 |  | 1,456,000 |  |  |  | Good and functional | 2 received, verified in use. |
| Weighing Scale, Toddler | health |  | A standard white and light blue electronic device with a large tray, LCD display, height rod. |  | Not engraved |  | 16/06/2026 |  | 1,456,000 |  |  |  | Good and functional | 2 received verified, 1 in use. |
| Wheel Chair | health |  | Medium, Black in color, foldable chair, with 2 back wheels, 2 foot pads and 2 handles |  | Not engraved |  |  |  | 2,016,000 |  |  |  | Good and functional | 4 revived , in used and verified |
| Audio Visual Equipment | health |  |  |  |  |  |  |  |  |  |  |  |  | Not received, not verified. |
| Medical Waste Bin | health |  | Medium 20litre, plastic bin with a footpad. |  | Not engraved |  | 16/06/2026 |  | 1,209,600 |  |  |  | Good and functional | 6 received, in use all verified |
| Wall Clock | health |  | A round white dial device, black numbers and hands, plastic body with glass cover and wall hanging. |  | Not engraved |  | 16/06/2026 |  | 224,000 |  |  |  | Good and functional | 4 received, all in use and all verified |
| Diagnostic Equipment Set for MCH | health |  | Small, portable, black bag that contains BP machine, thermometer, torch, tape measure. |  | Not engraved |  | 15/11/2025 |  | 784,000 |  |  |  | Good and functional | 2 received,1 in use and verified. |
| Diagnostic Equipment Set for OPD | health |  | Small portable, silver metal tools for general OPD examination. |  | Not engraved |  | 15/11/2025 |  | 560,000 |  |  |  | Good and functional | 2 received, verified and1 in use. |
| Glassware Set, Laboratory, Basic | health |  | Small, transparent glass containing, beakers, test tubes, measuring cylinder, slides and petri dishes |  | Not engraved |  | 16/06/2026 |  | 1,456,000 |  |  |  | Good and functional | 2 received, verified and in use. |
| Hollow Ware Set, Treatment | health |  | Medium set containing kidney dishes, gallipots, instrument trays and bowls |  | Not engraved |  |  |  | 11,226,153 |  |  |  | Good and functional | 3 received, verified and 2 in use. |
| Instrument Set, Dressing | health |  | Small set, sliver, metallic tray containing scissors, forceps, needle holder. |  | Not engraved |  | 15/11/2025 |  | 1,904,000 |  |  |  | Good and functional | 2 received, verified and 1 in use. |
| Instrument Set, Basic ENT |  |  | It’s a set, silver in color stainless steel with standard size instruments. |  | Not engraved |  | 15/11/2025 |  | 3,024,000 |  |  |  | Good and functional. | 3 received, verified.1 in use. |
| Instrument Set, Suture |  |  | A set silver in color, stainless steel containg needle holder, suture scissors, galley pot, dressing bowl for suturing wounds . |  | Not engraved |  |  |  | 1,848,000 |  |  |  | Good and functional | 3 received, verified,1 in use |
| Pulse Oximeter, Hand held | health |  | Small portable size, white and blue color with finger probe for measuring oxygen saturation and pulse |  | Not engraved |  | 15/11/2025 |  | 2,688,000 |  |  |  | Good and functional | 2 received, verified, in use. |
| Bed, Adult Patient with Mattress | health |  | Standard single beds with black mattress, Grey metallic frame and manually adjustable. |  | Not engraved |  | 16/06/2026 |  | 1,800,000 |  |  |  | Good and functional | 10 verified and in use. |
| Bed, Pediatric Patient, With Mattress | health |  | White in color with blue soft sponge mattress, white metallic frame and side rails. |  | Not engraved |  | 16/06/2026 |  | 5,600,000 |  |  |  | Good and functional. | 5 received, verified and in use verified |
| Bedside Locker | health |  | Small lockers silver in color with one drawer and cupboard with a shelf and door for storage of patient items |  | Not engraved |  |  |  | 5,040,000 |  |  |  | Good and functional. | 10 received, verified.in Use.. |
| Cupboard, Instrument | health |  | A tall upright metallic device, white and grey, double glass doors on top, double metal doors. |  | Not engraved |  |  |  | 1,008,000 |  |  |  | Good and functional | 1 received, verified and in use. |
| Delivery Bed, Hydraulic Manual | health |  | A large metallic bed device, blue mattress top with adjustable backrest and leg rests and side rails. |  | Not engraved |  | 16/06/2026 |  | 7,840,000 |  |  |  | Good and functional | 1 received, verified and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | health |  | A tall green metallic gas cylinder device, with regulator, a gauge on top and a tubing. |  | Not engraved |  |  |  | 2,800,000 |  |  |  | Good and functional | 2 received, verified and not in use because of lack of power. |
| Resuscitator Manual, Infant, with all Mask sizes | health |  | A small handheld silicone device, transparent bag with blue valve. |  | Not engraved |  | 15/11/2025 |  | 896,000 |  |  |  | Good and functional | 2 received, verified and 1 in use. |
| Resuscitator Manual, Adult, with all mask sizes | health |  | A light handheld silicone device, transparent bag with blue valve. |  | Not engraved |  | 15/11/2025 |  | 851,200 |  |  |  | Good and functional | 2 received, verified and 1 in use |
| Suction Apparatus, (Electric) | health |  | It is an electric pump, White, with 2 bags of water and a guage. Model COO1-A with 4 wheels |  | Not engraved |  | 15/11/2025 |  | 2,688,000 |  |  |  | Good and functional | 2 received, verified and 1 in use. |
| Nebulizer, Ultrasonic |  |  | Small tabletops size with white color ultrasonic with adult and child mask set |  | Not engraved |  |  |  | 392,000 |  |  |  | Good and functional | 1 received, verified and not in use |
| Oxygen Concentrator, Duo Flow | health |  | Medium size, Grey, 2 handles on top and a cylinder also on top. With outlets and wheels at the bottom |  | Not engraved |  | 16/06/2026 |  | 11,000,000 |  |  |  | Good and functional | 2 received, verified and not in use |
| Bench | health |  | Long backless wooden bench with solid hard wood. |  |  |  | 15/11/2025 |  | 1,120,000 |  |  |  | Good and functional | 4 received, verified and in use |
| Disinfection Buckets | health |  | A set of large plastic buckets, blue in color with lids. |  | Not engraved |  |  |  | 403,200 |  |  |  | Good and functional | 6 received, verified and in use |
| Baby Cot | health |  | A small metallic infant bed device, white steel frame, with transparent sides on 4 wheels with mattress. |  | Not engraved |  | 15/11/2025 |  | 5,600,000 |  |  |  | Good and functional | 5 received, verified and in use |
| Diagnostic Equipment Set for Ward |  |  | A portable metric kit containing stethoscope, clinical thermometer, torch, and plastic materials. |  | Not engraved |  | 15/11/2025 |  | 2,184,000 |  |  |  | Good and functional | 3 received, verified and 2in use. |
| Hollow Ware Set, Ward | health |  | A large steel set, silver color containing kidney dish, bowl and tray of different sizes on a tray. |  | Not engraved |  | 15/11/2025 |  | 11,424,000 |  |  |  | Good and functional | 3 received, verified and 2 in use. |
| Instrument Set, Delivery | health |  | A medium steel set, silver color containing scissors, forceps, cord clamps, kidney dish in a steel tray. |  | Not engraved |  | 15/11/2025 |  | 2,856,000 |  |  |  | Good and functional | 3 received, verified and 2in use. |
| Instrument Set, Stitch Removing |  |  | Small size 3 pieces, silver steel tray with stitch scissors, kidney dish and toothed forceps |  | Not engraved |  | 15/11/2025 |  | 1,344,000 |  |  |  | Good and functional | 3 received, verified and 2in use. |
| MVA Kit | health |  | Small white plastic manual vacuum aspirator kit with syringe 4-12mm cannula for evacuation. |  | Not engraved |  | 15/11/2025 |  | 2,688,,000 |  |  |  | Good and functional | 2 received, verified and 1 in use |
| Stool, Laboratory | health |  | Standard size, high, silver with 5 wheels and black in color |  | Not engraved |  | 15/11/2025 |  | 672,000 |  |  |  | Good and functional | 1received, verified and in use |
| Penguin Sucker | health |  | Small white rubber bulb for newborn suction. |  | Not engraved |  | 15/11/2025 |  | 285000 |  |  |  | Good and functional | 3 received, verified and 1 in use |
| Fetoscope, Dopplar | health |  | Handheld pocket size, white in color with a screen, display and speaker. |  | Not engraved |  | 15/11/2025 |  | 672,000 |  |  |  | Good and functional | 2 received, verified and 1 in use |
| Bubble CPAP | health |  | Medium whit and blue electronic device with tubes and water bottle to help newborns with breathing. |  | Not engraved |  |  |  | 24,000,000 |  |  |  | Not seen | 2 received not verified. |
| Centrifuge (Electric) |  |  | Small white plastic bench top small size digital machine |  | Not engraved |  | 16/06/2026 |  | 336,000 |  |  |  | Good and functional | 2 received, verified and 1in use |
| Kangaroo Mother Care Chair | health |  | A large fabric reclining mother chair with silver metallic frame. |  | Not engraved |  | 15/11/2025 |  | 1,344,540 |  |  |  | Good and functional | 1 received, verified and in use |
| Radiant Infant Warmer |  |  | . |  |  |  |  |  |  |  |  |  | Not seen | Not received, not verified. |
| Haemoglobin Meter, Sahli | health |  | Small black box kit, hand held with 2 tubes |  | Not engraved |  |  |  | 8,000,000 |  |  |  | Good and functional | 2 received, verified and 1 in use. |
| Delivery Bed | health |  | It is a manually adjustable bed. Model H7 with peach mattress and a drip stand, grey metallic frame for delivery position. |  | Not engraved |  |  |  | 7,840,000 |  |  |  | Good and functional | 1 received, verified and in use |
| Examination light | health |  | It is medium size, white in color, with mobile stand base and a led . |  | Not engraved |  |  |  | 1,904,000 |  |  |  | Good and functional | 2received, verified in use |
| Instrument set, ENT Basic for HCIII | health |  | It’s a set stainless tray with a lid, silver and perforated containing equipment for ENT |  | Not engraved |  |  |  | 2,016,000 |  |  |  | Good and functional | 2 received verified, 1 in use |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | White, with yellow valve and a glass with white masks |  | Not engraved |  |  |  |  |  |  |  | Good and functional | 10received, verified and 2 in use |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  | Not seen | Not received, not verified. |
| Office Chair | health |  | Black in color, swinging in nature with 5 black wheels |  | Not engraved |  | 16/06/2026 |  | 1,050,000 |  |  |  | Good and functional | 7received, verified and in use |
| Desk | health |  | A brown wooden desk with cabinets. |  | Not engraved |  | 16/06/2026 |  | 840,000 |  |  |  | Good and functional | 3 received, verified, in use. |
| Filing Cabinet | health |  | Standard 4-drawer size, grey metallic color, |  | Not engraved |  | 16/06/2026 |  | 1,680,000 |  |  |  | Good and functional | 2received, verified and in use |
| Non Residential Buildings | health |  | Water tanks(cylindrical), one raise and one on ground, |  | Not engraved |  |  |  |  |  |  |  | Good and functional | 2 received, verified and in use |
|  |  |  | One main block with men ward, pediatric ward, OPD ward, offices, maternity ward while the store is in the old block |  | Not engraved |  |  |  |  |  |  |  | Good and functional | 1received, verified and in use |
|  |  |  | Hash pit( it is a cemented circular pit) ,placenta pits,(square cemented pit with a square coffee brown metallic cover). Pit latrines(4 stances with a metallic door and coffee brown + yellow in color) |  | Not engraved Not engraved |  |  |  |  |  |  |  | Good and functional Good and functional | 1received, verified and in use 2received, verified and in use |
| Residential Buildings | health |  | Coffee brown and yellow color block with 2 bed rooms.units. |  | Not engraved |  |  |  |  |  |  |  | Good and functional 0ne block | 1received, verified and in use |

# ASSET VERIFICATION BRIEF REPORT

# HEALTH CENTER: BUSAALA HEALTH CENTER IIi

# DATE 26TH/8/2026.

# CONDUCTED BY WANDERA SOLOMON AND KIYUBA SALIMU

## Introduction.

This brief report presents the findings of the physical asset verification exercise conducted at JAGUZI health center III on 26TH/8/2026. The team was warmly welcomed by respondent, Mrs Nangobi Debra who was the focal person in this exercise (facility in charge of stores).

## Findings.

- Key assets including all medical assets, furniture and buildings were physically verified and found present. However, those that were not physically verified were not received i.e. incubator, Radiant Infant Warmer, Audio Visual Equipment.etc.

- All the items were found to be functional and in good physical condition. However, it was observed that some of the equipment are currently stored and not yet in active use. This is due to the ongoing arrangements for installation and ward set up. Despite being stored, the equipment handling is very poor. This is because the health workers are not well trained, many sophisticated equipment are supplied upon which other organizations supply the same equipment hence causing congestion,

- Limited storage space. The facility is facing a challenge of inadequate storage space for newly received equipment. This has led to congestion, difficulty in accessing specific items quickly and a risk of accidental damage if not handled carefully.

- The facility has inadequate accommodation for staff. The available staff quarters are not sufficient to accommodate all the critical staff required to be within the facility premises especially maternity and night duty staff.

- There is also supply of many sophisticated equipment that is beyond HCIII capacity which has been kept unused for over a year occupying space.

## Challenges.

- Almost all the assets were not engraved thus making the verification exercise very hard because we could not establish whether what we verified was for Gift of not.

- The focal persons were not well versed or had little knowledge of the equipment hence hindering the verification exercise.

- The district failed to give us the asset register and so was the DHO, we only relied on the documents/ deliveries provided by the facility.

## Recommendation.

## Provide adequate storage and improve sanitation, provide additional storage space with shelves, or expedite installation and use of equipment to decongest stores, the facility should also improve general cleanliness, proper waste segregation and dusting to protect equipment.

- Training of health workers, the DHO and the implementing partners should conduct comprehensive training for all health officers on operation, handling and preventive maintenance of equipment and provide user manuals.

- Limit the supply of many equipment and ensure needs based supply. the supply of equipment should be based on facility needs assessment and capacity.

- Immediate engraving of assets should be done immediately upon receipt with source of funding and asset codes for easy identification during verification.

- The focal persons should be fully oriented on all medical equipment to effective support verification and management.

- The district and DHO should always maintain and provide an update asset register during the verification.

- Consider construction of more staff quarters to accommodate and retain critical staff for effective 24hr service delivery.

## Conclusion.

The asset verification exercise was successfully completed with full staff from Mrs. Nangobi Debra. All critical assets were verified, are functional, in good condition and well handled.

Addressing storage and staff accommodation challenges will greatly improve service delivery and asset management.

Annex

Physical Verification Pictures.

The table below illustrates some physical status of the verified assets with photographic evidence.

Physical verification photos

| BUSAALA HEALTH CENTER II |  |
| --- | --- |
| BUSAALA HEALTH CENTER II PLACENTA PIT |  |
| BUSAALA HEALTH CENTER II LATRINE |  |
| BUSAALA HEALTH CENTER II STAFF QUARTER |  |
| BUSAALA HEALTH CENTER II STORE |  |
| BUSAALA HEALTH CENTER II WHEIGHING SCALE ADULT |  |
| BUSAALA HEALTH CENTER II BP MACHINE DIGITAL |  |
| BUSAALA HEALTH CENTER III PEDIATRIC BED WITH DRIP STAND. |  |
| BUSAALA HEALTH CENTER II AUTOCLAVE. |  |
| BUSAALA HEALTH CENTER II BOWL STAND |  |
| BUSAALA HEALTH CENTER II HEIGHT METER. |  |
| BUSAALA HEALTH CENTER II PETIENCT SCREEN. |  |
| BUSAALA HEALTH CENTER II CENTRIFUGE. |  |
| BUSAALA HEALTH CENTER II EXAMINATION COUCH. |  |
| BUSAALA HEALTH CENTER II STAFF RESIDENCE |  |
| BUSAALA HEALTH CENTER II PENGUIN SUCKER |  |
| BUSAALA HEALTH CENTER II INSTRUMENT TROLLEY |  |
| BUSAALA HEALTH CENTER II CUPBOARD |  |
| BUSAALA HEALTH CENTER III FILLING CABINET |  |
| BUSAALA HEALTH CENTER III OFFICE DESK |  |
| BUSAALA HEALTH CENTER III REFRIGILATOR |  |
| BUSAALA HEALTH CENTER III SUNCTION APPARATUS. |  |
| BUSAALA HEALTH CENTER III OXYGEN CONCETRATOR. |  |
| BUSAALA HEALTH CENTER III EXAMINATION LIGHT. |  |
| BUSAALA HEALTH CENTER III DELIVERY BED. |  |
| BUSAALA HEALTH CENTER III OFFICE CHAIR |  |
| BUSAALA HEALTH CENTER III KANGAROO CHAIR. |  |
| BUSAALA HEALTH CENTER III DISINFECTANT BIN. |  |