ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN REGION |
| --- | --- |
| SUB-REGION: | BUSOGA REGION |
| Name of Local Government | MAYUGE DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KIYUBA SALIMU |
| Contact/ email and Telephone | 0755215778, kiyubasalimu@gmail.com |
| Supervisor/ Sub team leader | NANDUDU SULAINA |
| Name | WANDERA SOLOMON |
| Contact | 0708153235, wanderasolo@gmail.com |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: MUGGI HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift - It is maintained by the facility officials in charge. For example of recent the facility covered the mattresses with capilas |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | - Yes they do. - In case of blockage, the one Mariam Jidudu said that they normally use a counter book to record all equipment broken. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | - BENEFITS - The UgIFT has consistently helped in supplying health equipements to the facility and this has eased admissions hence managing the overwhelming at the facility. - It has also helped in the accommodations of staff by building staff quarters near the facility. This has reduced absenteeism at the facility since officials are ever present at the facility. - It also minimumly increased the health workers at the facility hence reducing the overwhelming health to patient ratio. - It has also helped in good sanitation because of the increased number of assets at the facility like the placenta pits, pit latrines and bathrooms for patient. - Labor wards and available equipement for labor such as labor beds and labor suits have created enough space for mothers in labor hence reducing congestion. - Because of the available equipement, and assets the facility can now handle overwhelming admissions hence reducing unnecessary referrals. However, the facility has always hard issues and challenges which include: - The Lab is generally very small hence causing delay in service. - Inadequate inventory store at the facility and has forced the facility to improvise the men’s ward into a store and the men are now admitted together with ladies in the same female ward. - Theft and threats attributed to lack of a perimeter fence. Hence putting health officers and patients at stake. . RECOMMENDATIONS - We recommend a perimeter wall to be installed at the facility since they lack one to improve on the security - We also recommend that the OPD facility be increased to reduce the overwhelming daily admissions at the facility. |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG MAYUGE DISTRICT LOCAL GOVERNMENT.

NAME OF HEALTH FACILITY : MUGGI  HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description |  | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | It is white in color model 2088C with a black surface and a rectangular screen |  |  | Engraved OPD | 14/04/2025 | I6/05/2025 |  | 672,000 |  |  |  | Received 2 and all still functioning. | All the 2 that were received were verified and are all functioning |
| B.P. Machine (Aneroid wall mounted) | health |  | It has a gauge, white in color, with a black metallic base mounted on the wall |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 672,000 |  |  |  | All functioning | All the 2 received were verified and are all functioning well |
| Autoclave 20 Liters.,Duo Operated | health |  | Silver cylindrical stainless bowl with a round top and black handles with a gauge. |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 728,000 |  |  |  | good status and functioning | 1 received and verified |
| Bowl, Kick | health |  | Standard silver steel medical bowl with mobile kick stand |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 224000 |  |  |  | functional | Received and verified |
| Bowl Stand | health |  | Tall Silver like basin with 5 wheel stands, silver in color. Stainless in nature with a ring stand |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 560000 |  |  |  | Well-functioning | 6 bowls received and all verified,3 stands and also verified |
| Counting chamber Neubauer- Improved | health |  | It’s a clear glass improved device with silver etched grid and 2 transparent covers slips in blue plastic case. |  |  | Not engraved |  |  |  | 336000 |  |  |  |  | 2 received, verified, in use. |
| Cupboard Steel, Lockable | health |  | Large, Grey in color with double door, lockable in nature |  |  | Not engraved | 14/04/2025 | 05/07/2025 |  | 8042840 |  |  |  | functioning | 5 verified and all functioning` |
| Drip Stand | health |  | 5 wheels with a straight vertical stand and locks adjustable in nature |  |  | Not engraved |  | I6/05/2025 |  | 1,600,000 |  |  |  | functioning | 8 received and verified |
| ESR Stand | health |  | A standard metallic grey metal with adjustable leveling for holding tubes. |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 280,000 |  |  |  | functional | Not verified, not seen |
| Examination Couch | health |  | 4 silver stands with a black soft sponge mattress with a lifter. It is a bed |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 2,352,000 |  |  |  | functioning | 3 received and verified |
| Examination light,LED | health |  | Tall, white /silver adjustable goose neck lamp with 5 white wheel |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 1,904,000 |  |  |  | functional | 2 received and verified |
| Glucometer | health |  | White in with a strip tiny hand held plastic device |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 224,000 |  |  |  | 1 functioning and 1 not functioning | All verified |
| Haemoglobin Meter, Digital | health |  | Small, White in color and rectangular in shape with 3 buttons and a square screen |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 8,000,000 |  |  |  | functioning | All (2)verified |
| Height Meter | health |  | A tall vertical metallic stand, silver in color with flat base and sliding head and height scale. |  |  | Not engraved | 14/04/2025 | 05/07/2025 |  | 448,000 |  |  |  | functional | I verified and in use |
| Instrument Trolley | health |  | Silver in color with 2 partitions and 4 black wheels. Stainless steel trolley |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 1,900,000 |  |  |  | functioning | 2 received and 1 verified |
| Microscope Binocular | health |  | White in color and a black base. With dual eye piece |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 6,000,000 |  |  |  | functioning | 1 seen and functioning |
| Otoscope | health |  | Small, white handheld touch like type with a cone tip for ear examination |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 392,000 |  |  |  | functioning | Verified but just kept |
| Patient Screen | health |  | Tall white fabric, foldable metal partition equipement. 4 wheels with a black soft sponge mattress, 2 handles. |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 3024,000 |  |  |  | functioning | 8 seen and verified |
| Patient Trolley | health |  | Large silver metal with 4 wheeled stretcher bed. |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 1900,000 |  |  |  | functioning | 2 verified and functioning |
| Refrigerator, Basic | Health |  | Medium sized, Grey in color with 2 compartments , the lower one bigger than the upper one |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 2,240,000 |  |  |  | functioning | 1 verified and functioning |
| Stethoscope | Health |  | Black in color with 2 rubber flexible tube |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 3136000 |  |  |  | All functioning | 8 verified |
| Stop Watch | health |  | Handheld digital timer with start, stop and reset function |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 448,000 |  |  |  | functional |  |
| Stretcher | Health |  | It’s a bed with 4 black wheels ,two rails and black soft sponge |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 2,240,000 |  |  |  | All Functioning | 3 seen and verified |
| Stove, Gas | health |  | White in color, 6kg(stabex) with 4 metallic banners |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 504,000 |  |  |  | working | 1 seen and verified |
| Weighing Scale with Height Meter, Adult | health |  | Tall,White in color, automated with a height and a guage. With a black rectangular base in nature |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 3,000,000 |  |  |  | functioning | 2 seen, verified and functioning |
| Weighing Scale, Infant | health |  | It’s a digital scale with a small white plastic tray |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 1,456,000 |  |  |  | functioning | 2 received and verified |
| Weighing Scale, Toddler | health |  | Medium, white tray size about 60cm by 30cm |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 1,456,000 |  |  |  | functional | 2 received and verified |
| Wheel Chair | health |  | Medium, Black in color, foldable chair, with 2 back wheels, 2 foot pads and 2 handles |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  | 2,016,000 |  |  |  | All functioning | 3 seen and verified |
| Medical Waste Bin | health |  | Medium sized bins ,Blue in color wrapped with polythene bags And a round top with silver handle |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | 19 functioning out of 20 | 1 is faulty |
|  |  |  |  |  |  |  |  |  |  | 1,209,600 |  |  |  |  |  |
| Wall Clock | health |  | Round and white in color with figures running from 1 to 12 and placed on the wall |  |  | Not engraved | 14/04/2025 | 05/07/2025 |  |  |  |  |  | 3 functioning | All verified, seen and functioning |
|  |  |  |  |  |  |  |  |  |  | 224,000 |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | health |  | It is a small silver instrument carried in metallic case |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | All functioning | 3 seen and verified |
|  |  |  |  |  |  |  |  |  |  | 784,000 |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | health |  | Small, silver metallic bin instruments. Carried in silver case |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning |  |
|  |  |  |  |  |  |  |  |  |  | 560,000 |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | health |  | Small, transparent glass containing, beakers, test tubes, measuring cylinder, slides and petri dishes |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functional |  |
|  |  |  |  |  |  |  |  |  |  | 1,456,000 |  |  |  |  |  |
| Hollow Ware Set, Treatment | health |  | Medium silver stainless steel. scissor in nature |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | Functioning but stored | 2 sets received, verified but kept(not being used) |
|  |  |  |  |  |  |  |  |  |  | 11,226,153 |  |  |  |  |  |
| Instrument Set, Dressing | health |  | Small metallic silver steel scissors |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | Functioning | 7 received and verified |
|  |  |  |  |  |  |  |  |  |  | 1,904,000 |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  | I6/05/2025 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 3,024,000 |  |  |  |  |  |
| Instrument Set, Suture | health |  | Small size stainless steel, silver in color containing needle holder, scissors and forceps for suturing wounds |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functional |  |
|  |  |  |  |  |  |  |  |  |  | 1,848,000 |  |  |  |  |  |
| Pulse Oximeter, Hand held | health |  | Small portable size, white and blue color with finger probe for measuring oxygen saturation and pulse |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functional |  |
|  |  |  |  |  |  |  |  |  |  | 2,688,000 |  |  |  |  |  |
| Bed, Adult Patient with Mattress | health |  | Standard single beds with black mattress, grey metallic frame and manually adjustable. |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functional | Not received |
|  |  |  |  |  |  |  |  |  |  | 1,800,000 |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | health |  | White in color with blue soft sponge blue mattress |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 4 seen and verified |
|  |  |  |  |  |  |  |  |  |  | 5,600,000 |  |  |  |  |  |
| Bedside Locker | health |  | It’s a cabin 2 compartments with a bigger one down and a small one down, grey in color and 4 stands |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 10 Seen, functioning, and verified |
|  |  |  |  |  |  |  |  |  |  | 5,040,000 |  |  |  |  |  |
| Cupboard, Instrument | health |  | It’s a large cabin, white/grey in color with a metallic glass door |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 2 seen and received |
|  |  |  |  |  |  |  |  |  |  | 1,008,000 |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | health |  | It is an adjustable bed. Model H7 with peach mattress and a drip stand |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | Only 1 , seen , verified and functioning |
|  |  |  |  |  |  |  |  |  |  | 7,840,000 |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | health |  | Large metallic cylinder with a pressure gauge and a regulator on top |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | Functioning but not being used. | 2 received and verified but not being used |
|  |  |  |  |  |  |  |  |  |  | 2800,000 |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | health |  | Medium clear silicon bag with large masks |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | Functioning but not in use | Received 15, Not using any of them |
|  |  |  |  |  |  |  |  |  |  | 896,000 |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes | health |  | A light handheld silicone device, transparent bag with blue valve |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functional | Not seen |
|  |  |  |  |  |  |  |  |  |  | 851,200 |  |  |  |  |  |
| Suction Apparatus, (Electric) | health |  | It is an electric pump ,White, with 2 bags of water and a guage. Model COO1-A with 4 wheels |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 1 seen and verified |
|  |  |  |  |  |  |  |  |  |  | 2,688,000 |  |  |  |  |  |
| Nebulizer, Ultrasonic | health |  | Small tabletops size with white color ultrasonic with adult and child mask set |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functional |  |
|  |  |  |  |  |  |  |  |  |  | 392,000 |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | health |  | Medium size,Grey,2 handles on top and a cylinder also on top. With outlets and wheels at the bottom |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | All seen and verifies |
|  |  |  |  |  |  |  |  |  |  | 11,000,000 |  |  |  |  |  |
| Bench | health |  | Black soft sponge with brown wooden stands |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | All seen and functioning |
|  |  |  |  |  |  |  |  |  |  | 1,120,000 |  |  |  |  |  |
| Disinfection Buckets | health |  | Normal buckets with rounded tops and silver handles |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 3 seen and functioning |
|  |  |  |  |  |  |  |  |  |  | 403,200 |  |  |  |  |  |
| Baby Cot | health |  | Small,Silver in color, transparent plastic infant bed, rectangular in shape mattress with rails |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 2 seen and verified |
|  |  |  |  |  |  |  |  |  |  | 5,600,000 |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | health | Not verified | A portable metric kit containing stethoscope, clinical thermometer, torch, and plastic materials. |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functional |  |
|  |  |  |  |  |  |  |  |  |  | 2,184,000 |  |  |  |  |  |
| Hollow Ware Set, Ward | health |  | Kidney dish like dishes medium in size |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | Received 7, Using 1, Keeping 6 |
|  |  |  |  |  |  |  |  |  |  | 11,424,000 |  |  |  |  |  |
| Instrument Set, Delivery | health |  | Medium silver steel set with scissors, gauze wire, cord cramps in a tray |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | Received 1. Using it |
|  |  |  |  |  |  |  |  |  |  | 2,856,000 |  |  |  |  |  |
| Instrument Set, Stitch Removing | health |  | Small silver steel tray with scissors and fourceps |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | Seen and verified |
|  |  |  |  |  |  |  |  |  |  | 1,344,000 |  |  |  |  |  |
| MVA Kit | health |  | Small white plastic manual vacuum aspirator kit |  |  | Not engraved | 14/04/2025 | 05/07/2025 |  |  |  |  |  | Using 3 keeping 5 | Seen 8 but using 3 |
|  |  |  |  |  |  |  |  |  |  | 2688,,000 |  |  |  |  |  |
| Stool, Laboratory | health |  | They are 4 with each having 5 wheels and black in color |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | Functioning | 2 seen and verifies |
|  |  |  |  |  |  |  |  |  |  | 672,000 |  |  |  |  |  |
| Penguin Sucker | health |  | Small white rubber bulb |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 1 verified |
|  |  |  |  |  |  |  |  |  |  | 285000 |  |  |  |  |  |
| Fetoscope, Dopplar | health |  | Silver in nature, cylindrical with a round top and base |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 2 verified |
|  |  |  |  |  |  |  |  |  |  | 672,000 |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Not verified coz not received |
|  |  |  |  |  |  |  |  |  |  | 24,000,000 |  |  |  |  |  |
| Centrifuge (Electric) | health |  | Small white plastic bench top digital machine |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 1 verified |
|  |  |  |  |  |  |  |  |  |  | 336,000 |  |  |  |  |  |
| Kangaroo Mother Care Chair | health |  | A large fabric reclining mother chair |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functional | 1 verified and in used |
|  |  |  |  |  |  |  |  |  |  | 1,344,540 |  |  |  |  |  |
| Haemoglobin Meter, Sahli | health |  | Small black box kit |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 1 seen |
|  |  |  |  |  |  |  |  |  |  | 8,000,000 |  |  |  |  |  |
| Delivery Bed | health |  | Metallic bed model H7 with a peaky matress, 4 wheels and drip stand |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 1 verified and functioning |
|  |  |  |  |  |  |  |  |  |  | 7,840,000 |  |  |  |  |  |
| Examination light | health |  | Has a bulb on top with 5 wheels Tall and mobile goose neck |  |  | Not engraved | 14/04/2025 | 05/07/2025 |  |  |  |  |  | functioning | 1 seen and functioning |
|  |  |  |  |  |  |  |  |  |  | 1,904,000 |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | health |  | Small tray, silver steel containing otoscope, ear syringe, turning fork. |  |  | Not received | 14/04/2025 | I6/05/2025 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 2,016,000 |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | health |  | White, with yellow valve and a glass with white masks |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 14 verified |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Office Chair | health |  | Black in color, swinging in nature with 5 black wheels |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | functioning | 7 verified and seen |
|  |  |  |  |  |  |  |  |  |  | 1,050,000 |  |  |  |  |  |
| Desk |  |  | Woolen, brown in color with metallic stands and shelves. |  |  | Not engraved | 14/04/2025 | I6/05/2025 |  |  |  |  |  | Functioning | 4 seen and verified |
|  |  |  |  |  |  |  |  |  |  | 840,000 |  |  |  |  |  |
| Filing Cabinet |  |  | Standard 4-drawer size, grey metallic color, |  |  | Not engraved | 14/04/2025 | 05/07/2025 |  |  |  |  |  | functional |  |
|  |  |  |  |  |  |  |  |  |  | 1,680,000 |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water tanks |  |  | cylindrical, one raise and one on ground, |  |  | Not engraved |  |  |  |  |  |  |  | functional |  |
| Hashpit |  |  | it is a cemented circular pit |  |  | Not engraved |  |  |  |  |  |  |  | functional |  |
| plasenta pit |  |  | square cemented pit with a square coffee brown metallic cover). Pit latrines(4 stances with a metallic door and coffe brown + yellow in color) |  |  | Not engraved |  |  |  |  |  |  |  | functional |  |
| Staff Quarters |  |  | One block with 2 partitions, colored coffee brown and yellow |  |  | Not engraved |  |  |  |  |  |  |  | Functional and in use |  |

# ASSET VERIFICATION BRIEF REPORT

# HEALTH CENTER: MUGGI HEALTH III,

# DATE 24TH/8/2026.

# CONDUCTED BY WANDERA SOLOMON AND KIYUBA SALIMU

## Introduction.

This brief report presents the findings of the physical asset verification exercise conducted at Muggi health center III on 24TH/8/2026. The team was warmly welcomed bsy respondent, Mrs. Gidudu Mariam who was the focal person in this exercise (facility in charge).

## Findings.

Key assets including all medical assets, furniture and buildings were physically verified and found present. However, those that were not physically verified were not received i.e. incubator, ESR Stand, Counting chamber Neubauer, Bowl, Kick.etc.

All the items were found to be functional and in good physical condition. However, it was observed that some of the equipment are currently stored and not yet in active use. This is due to the ongoing arrangements for installation and ward set up. Despite being stored, the equipment handling was paramount i.e., items were kept safely, well arranged and protected from dust and damage

## Challenges.

Almost all the assets were not engraved thus making the verification exercise very hard because we could not establish whether what we verifying was for Gift of not.

Limited storage space. The facility is facing a challenge of inadequate storage space for newly received equipment. This has led to congestion, difficulty in accessing specific items quickly and a risk of accidental damage if not handled carefully.

The facility has inadequate accommodation for staff. The available staff quarters are not sufficient to accommodate all the critical staff required to be within the facility premises especially maternity and night duty staff

## Recommendation.

Provide an additional storage space or expedite installation and distribution of the equipment to decongest the store.

Construct additional staff quarters to accommodate and retain critical staff foe effective 24hr delivery.

Engravement on the assets should be done immediately as soon they receive the equipment for accountability.

## Conclusion.

The asset verification exercise was successfully completed with full staff from Mrs Gidudu Mriam. All critical  assets were verified, are functional, in good condition and well handled.

Addressing storage and staff accommodation challenges will greatly improve service delivery and asset management.

### BUKENDI HEALTH CENTRE III

### PhysicalVerification Pictures.

### The table below illustrates some physical status of the verified assets with photographic evidence for: BUKENDI HEALTH CENTRE III

Physical verification photos

| MUGGI HEALTH CENTRE III STAFF QUARTERS(1 BUILDING WITH TWO ROOMS ) AND A 5000 LITRE WATER TANK |  |
| --- | --- |
| TOILETS/LATRINES ENGRAVED “MALE” AND “FEMALE” |  |
| UN ENGRAVED PLACENTA PIT BUILDINIG AT MUGGI HCII |  |
| INSIDE VIEW OF THE PLACENTA PIT BUILDING |  |
| A HASH PIT AT MUGGI HEALTH CENTRE III NOT ENGRAVED |  |
| WALL CLOCK NOT ENGRAVED |  |
| STETHOSCOPE NOT ENGRAVED |  |
| A WELL FUNCTIONING BP MACHINE ANEROID AT MUGGI HC III NOT ENGRAVED |  |
| WELL FUNCTIONING BP MACHINE DIGITAL NOT ENGRAVED |  |
| AUTOCLAVE. WELL FUNCTIONING NOT ENGRAVED |  |
| WEIGHING SCALE INFANT AT MUGGI HC III NOT ENGRAVED |  |
| CENTRIFUGE |  |
| A SUNCTION APPARATUS ON THE LEFT AND AN OXYGEN CONCETRATOR ON THE RIGHT. BOTH UN ENGRAVED AND B |  |
| WEIGHING SCALE ADULT |  |
| GLUCOMETER NOT ENGRAVED |  |
| OTOSCOPE NOT ENGRAVED |  |
| EXAMINATION LIGHT NOT ENGRAVED |  |
| LAB STOOLS NOT ENGRAVED |  |
| A SAMPLE OF THE BABY COTS AT THE FACILITY NOT ENGRAVED |  |
| A SAMPLE OF THE EXAMINATION COUCH AT MUGGI NOT ENRAVED |  |
| DELIVERY BED NOT ENGRAVED |  |
| PATIENT STRETCHER NOT ENGRAVED |  |
| PATIENT SCREENS NOT ENGRAVED |  |
| BOWL STAND NOT ENGRAVED |  |
| SAMPLE OF THE RECEIVED DESKS NOT ENGRAVED |  |
| KANGAROOO MOTHER CHHAIR NOT ENGRAVED |  |
| A SAMPLE OF OFFICE CHAIRS |  |
| MUGGI STORE (CONGESTED WITH NO SPACE LEFT FOR ADDITION/STORAGE OF OTHER ASSETS) |  |