ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Butaleja District |
|  | Butaleja District |
| VERIFIER PARTICULARS |  |
| Full name | Sophie Nankyanzi, Butsiba Peter |
| Contact/ email and Telephone | Sophie Nankyanzi 0787561925 nakyanzisophia.34@gmail.com, Butsiba Peter 0777954557 / 0753294179 butsiba2014@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Mazimasa HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES. Partial Government ownership. The health centre was constructed in Mazimasa and not in Nampologoma, so the health centre III was built in Mazimasa subcounty hence the name Mazimasa because the health subcounty didn't have any health facility. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift In case of damages that can be repaired the HC does the repairs. No buildings were constructed by UGIFT. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES. Some equipment got spoilt while in the boxes at the district hence the incharge reports back to the district. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The incharge was new and was not on ground. Not enough buildings for the H.C to fully display and utilize the equipment. Under staffed. Most of the equipment like chairs were broken already while at the district. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Butaleja District        NAME OF HEALTH FACILITY: Mazimasa HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (1) | Health |  | Digital |  | Not engraved | 2024-04-30 | 2025-06-17 |  | 350,000 |  |  |  | In use | The costs for most of the equipment were not provided in the asset list. |
| B.P. Machine (Aneroid wall mounted) (2) | Health |  |  |  | Not engraved | 2024-04-30 | 2025-06-17 |  | 700,000 |  |  |  | Not yet in use |  |
| Autoclave 20 Liters, Duo Operated (1) | Health |  | Silver color |  | Not engraved | 2024 | 2025 |  |  |  |  |  | Not yet in use |  |
| Bowl, Kick (2) | Health |  | stainless steel |  | N.A | 2024 | 2025 |  |  |  |  |  | In use |  |
| Bowl Stand (3) | Health |  | stainless steel with two bowl holders |  |  | 2024 | 2025 |  |  |  |  |  | Functional and in use |  |
| Counting chamber Neubauer- Improved (2) | Health |  | Still sealed in the box |  | N.A | 2024 | 2025 |  |  |  |  |  | Not yet in use |  |
| Cupboard Steel, Lockable (2) | Health |  | Metallic, well painted and lockable |  | N.A | 2024 | 2025 |  |  |  |  |  | Already in use |  |
| Drip Stand | Health |  | Movable |  | N.A | 2024 | 2025 |  |  |  |  |  | All are in use | Available but no record of the total number given to the facility. |
| ESR Stand (1) |  |  | still in the box |  | N.A | 2024 | 2025 |  |  |  |  |  | Not yet in use |  |
| Examination Couch (2) | Health |  | black mattress covered bed stainless steel stands |  | N.A | 2024 | 2025-04-30 |  | 800,000 |  |  |  | In use, Functional | one couch has a broken part. |
| Examination light, LED (2) | Health |  | Movable, white in color |  |  | 2024 | 2025 |  |  |  |  |  | In use |  |
| Glucometer (3) | Health |  | still sealed in the boxes |  |  | 2024 | 2025 |  |  |  |  |  | Not in use |  |
| Haemoglobin Meter, Digital (2) | Health |  | In the box |  | N.A | 2024 | 2025 |  |  |  |  |  | still sealed in the boxes / Not in use |  |
| Height Meter (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley (2) | Health |  | Movable, stainless steel trays |  | N.A | 2024 | 2025 |  |  |  |  |  | Functional, In use and in good condition |  |
| Microscope Binocular | Health |  | Didnt receive |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope (1) | Health |  | still in the box |  |  | 2024 | 2025 |  |  |  |  |  | Not in use |  |
| Patient Screen (4) | Health |  | light blue screens, movable |  | N.A | 2024 | 2025 |  |  |  |  |  | Functional, in use and still in good condition |  |
| Patient Trolley (1) | Health |  | Black in color mattress movable |  | N.A | 2024 | 2025 |  |  |  |  |  | Already in use in the Maternity ward |  |
| Refrigerator, Basic (1) | Health |  | Medium size with two doors |  | Not engraved | 2024 | 2025 |  |  |  |  |  | Functional and in use |  |
| Stethoscope (4) | Health |  | black in color |  | Not engraved | 2024 | 2025 |  | 400,000 |  |  |  | 2 are in use, 2 are still in box |  |
| Stop Watch |  |  | Did not receive |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (1) | Health |  | movable, mattress |  | N.A | 2024 | 2025 |  |  |  |  |  | Already in use. Not fully used |  |
| Stove, Gas (1) | Health |  | Stabex with a double gas plate |  |  | 2024 | 2025 |  |  |  |  |  | Not yet in use |  |
| Weighing Scale with Height Meter, Adult (4) | Health |  | white in color with height meter |  | N.A | 2024 |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant (2) | Health |  | white in color |  | N.A | 2024 | 2025 |  |  |  |  |  | In use |  |
| Weighing Scale, Toddler |  |  | Did not receive |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair (2) | Health |  | Black in color, with a drip stand |  | N.A | 2024 | 2025 |  | 750,000 |  |  |  |  |  |
| Audio Visual Equipment |  |  | Not received |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (3) | Health |  | Metallic with a foot step |  | Not engraved but have a coat of arms label | 2024 | 2025 |  |  |  |  |  | Functional and in use |  |
| Wall Clock (2) | Health |  | White in color |  | Not engraved | 2024 | 2025 |  |  |  |  |  | functional and in use |  |
| Diagnostic Equipment Set for MCH | Health |  | sealed in the box |  | N.A | 2024 | 2025 |  |  |  |  |  | Not in use | These were still in the store untampered with due to the limited space. Could not find the costs of some equipment. |
| Diagnostic Equipment Set for OPD |  |  | sealed in the box |  |  | 2024 |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  | sealed in the box |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | Health | (11) | sealed in the box |  | N.A | 2024 | 2025 |  |  |  |  |  | Untampered with |  |
| Instrument Set, Dressing |  |  | still in the box in the store |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  | Did not receive |  |  | 2024 | 2025 |  |  |  |  |  | Packed and still in the box | The same line reads both Did not receive and Packed and still in the box. |
| Instrument Set, Suture |  |  | sealed in the box |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health |  | still in the box |  |  | 2024 | 2025 |  |  |  |  |  | Functional although most of them are not yet in use |  |
| Bed, Adult Patient with Mattress (20) | Health |  | Movable with a drip stand and mattress |  | Not engraved | 2024 |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress (5) | Health |  | colored pink with cartoon pictures |  |  |  |  |  |  |  |  |  | functional, in good condition | 3 already used; 2 not yet used. The printed name on this row was not readable; the official checklist name is used. |
| Bedside Locker (1) | Health |  | N/A |  |  | 2024 | 2025 |  |  |  |  |  | Didn't receive |  |
| Cupboard, Instrument (1) | Health |  | lockable, made of steel |  |  |  | 2025 |  | 2,300,000 |  |  |  | fully functional and in use |  |
| Delivery Bed, Hydraulic Manual (2) | Health |  | N/A |  | NA | 2024 | 2025 |  |  |  |  |  | One is in use and in good condition. One already rusted |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (1) | Health |  |  |  |  |  |  |  |  |  |  |  |  | Didn't receive |
| Resuscitator Manual, Infant, with all Mask sizes (3 of 15) | Health |  |  |  |  | 2024 |  |  |  |  |  |  |  | The health centre did not receive the apparatus as a full set. |
| Resuscitator Manual, Adult, with all mask sizes (3 of 15) | Health |  |  |  |  | 2024 |  |  |  |  |  |  | still in the box | The H.C only received 3 pcs out of 15 pcs. Not in use. |
| Suction Apparatus, (Electric) (2) | Health |  | Yuwell 7A-23B white in color |  |  | 2024 | 2025 |  |  |  |  |  | In use |  |
| Nebulizer, Ultrasonic (1) | Health |  | still in the box |  |  | 2024 | 2025 |  | 550,000 |  |  |  | still in the box |  |
| Oxygen Concentrator, Duo Flow (2) | Health |  | still sealed in their boxes |  |  | 2024 | 2025 |  | 5,000,000 |  |  |  | Not yet in use |  |
| Bench (4) | Health |  | wooden with metallic frames |  | GOU/MOH UGIFT PROJECT FY 2023/2024 | 2024 | 2024 |  | 950,000 |  |  |  | They are in use |  |
| Disinfection Buckets (6) | Health | N.A | Plastic, blue and green |  |  |  |  |  |  |  |  |  | In use |  |
| Baby Cot (2) | Health | 015-2025 | Made of stainless steel with a mattress |  |  | 2024 | 2025 |  |  |  |  |  | Only one is in use, one does not function |  |
| Diagnostic Equipment Set for Ward (1) | Health |  | still in the box |  |  | 2024 | 2025 |  |  |  |  |  | still in the box, Not in use |  |
| Hollow Ware Set, Ward (1) | Health |  | In the box |  |  | 2024 | 2025 |  |  |  |  |  | Not in use |  |
| Instrument Set, Delivery (2) | Health |  | made of stainless steel |  |  | 2024 | 2025 |  |  |  |  |  | In use but not fully used |  |
| Instrument Set, Stitch Removing | Health |  |  |  |  |  |  |  |  |  |  |  | Did not receive |  |
| MVA Kit (3) | Health |  | In the box |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory (1) | Health |  | Adjustable, black in color and made of stainless steel |  | Not engraved | 2024 | 2025 |  |  |  |  |  | Its in use |  |
| Penguin Sucker (3) | Health |  | Rubber |  |  | 2024 | 2025 |  | 30,000 |  |  |  | In good condition - Not yet in use |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP (2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (1) | Health |  |  |  |  | 2024 | 2025 |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  | Did not receive |  | N.A |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer (1) | Health |  |  |  |  | 2024 | 2025 |  |  |  |  |  | In use |  |
| Haemoglobin Meter, Sahli (2) | Health |  | Still sealed in their boxes |  |  | 2024 | 2025 |  |  |  |  |  | Still in the box, untampered with |  |
| Delivery Bed (2) | Health |  | Blue in color, full set |  |  | 2024 | 2025 |  | 6,000,000 |  |  |  | In use | 1 in good condition. 1 rusted and not so much used. |
| Examination light |  |  | Did not receive |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | Health |  | Not in place |  |  |  |  |  |  |  |  |  |  | Did not receive. |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  | The Health centre did not receive this equipment. |
| Incubator (1) | Health |  | A full set with a baby mattress, LCD light |  |  | 2024 | 2025 |  |  |  |  |  | In use functional |  |
| Office Chair (6) | Health | GOU/MOH/UGIFT-PROJECT FY 2023/2024 | Rotating, comfortable with cushion and stainless steel stand |  | Not engraved | 2024 | 2025 |  |  |  |  |  | still new and in use some were broken | The chairs are different since they were made by different contractors and delivered in different phases. |
| Desk (3) | Health |  | Wooden top with metallic stands |  | GOU/MOH/UGIFT-PROJECT FY 2023/2024 | 2024 | 2025 |  |  |  |  |  | In use, have drawers that don't open | Took long at the district hence don't function well. |
| Filing Cabinet (2) | Health |  | stainless steel with two doors and its lockable |  | GOU/MOH UGIFT PROJECT, F/Y 2023/2024 | 2024 | 2025-06-17 |  |  |  |  |  | In use and in good condition |  |
| Non Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  | No buildings were constructed by UGIFT for the health facility. |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  | The buildings available are not enough and UGIFT program has not yet built for them other buildings. |
| Fetoscope, Doppler (2) | Health |  | Still in the box, sealed in the box |  |  | 2024 | 2025 |  | 55,000 |  |  |  | Not in use |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Butaleja District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Butaleja District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Butaleja District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The cover block of the register was not among the photographed pages for this facility. Verifier, supervisor and contacts are written from the team record (RULES 3.15). Date of submission is left blank.

- The programme list names Nampologoma HC II; the guide names Mazimasa HC III (former Nampologoma).

- The incharge was new and was not on ground, so the discussion was held without the person who holds the facility's asset knowledge.

- UgIFT constructed no buildings here; confirm where the health centre's blocks sit on the district's books.

- The drip stand line has no quantity; the page says the total given to the facility is not on record.

- Instrument Set, Basic ENT reads both Did not receive and Packed and still in the box. Settle which is true.

- A delivery note marks the ENT basic instrument set and the kangaroo mother care chair as not received; the checklist agrees on both. Confirm whether either has arrived since.

- Adult resuscitators: 3 of 15 received. Infant resuscitators: the page both counts 3 of 15 and says the apparatus was not received. Settle the count.

- The printed name of the five pink cartoon beds was not readable; the official checklist name Bed, Pediatric Patient, With Mattress is used.

- Height Meter, Bubble CPAP and Centrifuge lines are almost blank.

- Costs on the pages are few; the N2M acknowledgement of 30 April 2024 carries unit costs that are not copied onto Cost because that sheet is a supply record, not the hand-filled copy.

- Most items are not engraved. Confirm the date engraving will be done and who will do it.

- One baby cot does not function and one delivery bed is rusted. Confirm whether either is for repair or disposal.