ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Karamoja |
| --- | --- |
| SUB-REGION: | Karamoja |
| Name of Local Government | Moroto District |
|  | Moroto District |
| VERIFIER PARTICULARS |  |
| Full name | Otema Emmanuel |
| Contact/ email and Telephone |  |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Kalemungole HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | Not applicable. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Small repairs are made under PHC, the Primary Health Care funds. The district repairs big faults. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT supplied furniture, medical equipment - refrigerators, beds and an oxygen concentrator - and a staff quarter block. Challenge: repair of major faults. Recommendations: build more accommodation, and a bigger outpatient department with a laboratory. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Moroto District        NAME OF HEALTH FACILITY: Kalemungole HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (6) |  |  | Wall mounted BP machine and manual BP machine |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01 |  |  |  |  |  |  |  | Functional |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024 and FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Bowl, Kick (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025 |  |  |  |  |  |  |  | Functional | One is leaking. |
| Bowl Stand (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Drip Stand (20) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025, and some not engraved |  |  |  |  |  |  |  | Functional | Some of them are broken. |
| ESR Stand (1) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01 |  |  |  |  |  |  |  | Functional |  |
| Examination Couch (3) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024 and FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Examination light,LED (4) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024 and FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Glucometer |  |  | On Call Plus and Yuwell |  | GOU/MOH-UGIFT PROJECT FY2024-2025 and FY2023-2024 |  |  |  |  |  |  |  | Functional |  |
| Haemoglobin Meter, Digital (2) |  |  | Mission Plus |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Height Meter (1) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01 |  |  |  |  |  |  |  | Functional |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope (1) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Patient Screen (5) |  |  |  |  |  |  |  |  |  |  |  |  | Functional |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope (8) |  |  | Littmann Classic III |  | Not engraved |  |  |  |  |  |  |  | Functional |  |
| Stop Watch (2) |  |  | DOL-118 |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Stretcher (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Stove, Gas (3) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024 and FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Weighing Scale with Height Meter, Adult (4) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024/01, 02 and FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Weighing Scale, Infant (4) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024/02 and FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Weighing Scale, Toddler |  |  | Baby scale |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional | Two are in use and one is in the store. |
| Wheel Chair (3) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024 |  |  |  |  |  |  |  | Functional |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Wall Clock |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025 and FY2023-2024/01 |  |  |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Glassware Set, Laboratory, Basic (2) |  |  |  |  |  |  |  |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Instrument Set, Basic ENT (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (4) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02, and two not engraved |  |  |  |  |  |  |  | Functional | Two are missing. |
| Bed, Adult Patient with Mattress (20) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024 and FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024 and FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Nebulizer, Ultrasonic (1) |  |  | Nebulizer |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01 |  |  |  |  |  |  |  | Functional |  |
| Oxygen Concentrator, Duo Flow (2) |  |  | Longfian |  | GOU/MOH-UGIFT PROJECT FY2023-2024/02 |  |  |  |  |  |  |  | Functional |  |
| Bench (4) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024 |  |  |  |  |  |  |  | Functional |  |
| Disinfection Buckets (6) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01 to 06 |  |  |  |  |  |  |  | Functional |  |
| Baby Cot (3) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01 to 03 |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  | Functional |  |
| Instrument Set, Delivery (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01 |  |  |  |  |  |  |  | Functional |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit (3) |  |  |  |  |  |  |  |  |  |  |  |  | Functional |  |
| Stool, Laboratory (1) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025 |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  | Functional |  |
| Fetoscope, Dopplar (2) |  |  | Jumper |  | GOU/MOH-UGIFT PROJECT FY2024-2025/05, 06 |  |  |  |  |  |  |  | Functional |  |
| Bubble CPAP (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair (1) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01 |  |  |  |  |  |  |  | Functional |  |
| Radiant Infant Warmer (1) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01 |  |  |  |  |  |  |  | Functional |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII (2) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025 |  |  |  |  |  |  |  | Functional |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | Adult and neonatal sizes |  | GOU/MOH-UGIFT PROJECT FY2024-2025 and FY2023-2024 |  |  |  |  |  |  |  | Functional |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024/01 to 03 and FY2024-2025/04 |  |  |  |  |  |  |  | Functional |  |
| Desk (6) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2023-2024 |  |  |  |  |  |  |  | Functional |  |
| Filing Cabinet (3) |  |  |  |  | GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02 |  |  |  |  |  |  |  | Functional |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  | Functional |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Moroto District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Moroto District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Moroto District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

WRITTEN IN BELOW THE CHECKLIST ON THE HAND-FILLED COPY

- First Aid Kit - full set, GOU/MOH-UGIFT PROJECT FY2024-2025/01, 02.

- Head band lamp and LED lights (2) - full set, not engraved.

- Treatment kit (lamps).

OUTSTANDING ON THE HAND-FILLED COPY

- The cover block of the register was not photographed. Region, sub-region and local government are taken from the sheet headings.

- The department column is written on almost every line and does not resolve on the sheets on file, so it is left blank throughout and the full-size sheets are asked for.

- No asset number, no life in months, no date and no cost or depreciation figure is carried on any line, Moroto district holding no record of assets.

- Four pulse oximeters are recorded and two of them are marked missing.