ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | BUTEBO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | ECWOU MARK ARTHUR ADIMO RACHEAL |
| Contact/ email and Telephone | 0761096555 0786749089 |
| Supervisor/ Sub team leader |  |
| Name | MR. BUDALI DENIS |
| Contact | 0779662063 |
| Date of submission | 8TH. SEPTEMBER. 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KANYUM HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- Incase of breakages, there’s a budget for maintenance

- There is no budget for replacement of assets.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS:

- UGIFT offered a block for delivery and post natal.

- It also enabled easy access of services such as immunsation, family planning, beds, etc.

ISSUES:

- There’s no power for running for equipment.

- Staffing is inadequate.

CHALLENGES:

- Power

- Staffing

- Security

RECOMMENDATIONS:

- Fencing the facility

- Adding more staff

- Providing power

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

HEALTH CENTRE CHECKLIST

NAME OF LG: BUTEBO DITRICT LOCALGOVERNMENT                   NAME OF HEALTH FACILITY: KANYUMU HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (02) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated (02) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved (02) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable (02) | Health |  | Metallic and glass | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand (01) | Health |  | 1Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  |  |  |
| Examination Couch (07) | Health |  | black with cushion | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Examination light,LED (02) | Health |  | Llights | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Glucometer (02) | Health |  | On call plus | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (01) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Instrument Trolley (03) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Microscope Binocular (02) | Health |  | Metallic & glass | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Otoscope (01) | Health |  | Black, metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  |  |  |
| Patient Screen (04) | Health |  | Polyesters | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Patient Trolley (01) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Refrigerator, Basic (01) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Stethoscope (04) | Health |  | Rubber and plastic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Stop Watch (02) | Health |  | digital stop watches | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  |  |  |
| Stretcher (01) | Health |  | Metallic with leather | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  | l |  |
| Weighing Scale with Height Meter, Adult (02) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Weighing Scale, Infant (02) | Health |  | Hanging type scales | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Weighing Scale, Toddler (02) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (06) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Wall Clock (04) | Health |  | Analogs | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Diagnostic Equipment Set for MCH (02) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Diagnostic Equipment Set for OPD (02) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (02) | Health |  | Plastic and digital |  |  |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Bed, Adult Patient with Mattress (10) | Health |  | Metallic with mattresses |  |  |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Bed, Pediatric Patient, With Mattress (05) | Health |  | Metallic |  |  |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Bedside Locker (06) |  |  |  |  |  |  |  |  |  |  |  |  | Functional | Good and in use |
| Cupboard, Instrument (01) | Health |  | Plastic |  |  |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  | Functional | Good and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (02) | Health |  | Electric | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Nebulizer, Ultrasonic (01) | Health |  | Electric | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Oxygen Concentrator, Duo Flow (02) | Health |  | Electric | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Bench (04) | Health |  | Wooden | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Disinfection Buckets (06) | Health |  | Plastic buckets | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Baby Cot (04) | Health |  | Leather baby cots | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit (04) | Health |  | Plastic and Metallic reusable | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Stool, Laboratory (01) | Health |  | Cushioned top, metallic stand |  |  |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Penguin Sucker (01) | Health |  | Plastic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Fetoscope, Dopplar (02) | Health |  | plastic and rubber | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Bubble CPAP (12) | Health |  | Rubber and plastic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Centrifuge (Electric) (02) | Health |  | Metallic & electric | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Kangaroo Mother Care Chaire (01) | Health |  | Cushioned, metallic stands | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (01) | Health |  | Cushioned top, metallic stands | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Examination light (02) | Health |  | plastic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Instrument set, ENT Basic for HCIII | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (07) | Health |  | Cushioned top, Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Desk (03) | Health |  | Wooden | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Filing Cabinet (02) | Health |  | Metallic | 120 | Not engraved |  | 16/9/25 |  |  |  |  |  | Functional | Good and in use |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |