## Verification
Kigwera Health Centre III, Buliisa
Transcribed from the handwritten Adobe Scan of 24 September 2026. Blank cost and depreciation cells were blank on the form.
Existing toolkit | team-25/Buliisa/Kigwera-HC-III/KIGWERA HEALTH CENTER III.docx
Handwritten source | Adobe Scan Sep 24, 2026.pdf
Verifier on the scan | Racheal Katushabe, 0787499408
Supervisor on the scan | Mr Mbonigaba Depaul
Region | Western, Bunyoro, Buliisa
In-charge on the scan | Esther Nyesi, 0785842674
1a and 1b | Yes. Supplied 5 October 2023.
2. Maintenance | A team comes from Hoima Regional Hospital about once a year.
3. Functionality record | No. Records are kept in the stores.
4. Issues | The microscope supplied is monocular. The glucometer has no strips of the type on the NMS list. There is no laboratory structure. A person should service the equipment regularly because spare parts are hard to find.

## Checklist
Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks
B.P. Machine, Digital | health | 1 | It is white in color model 2088C with a black surface and a rectangular screen |  | Engraved OPD |  | I6/05/2025 | [5 empty] | Received 2 and all still functioning. | All the 2 that were received were verified and are all functioning
B.P. Machine (Aneroid wall mounted) | health | 1 | It has a gauge, white in color, with a black metallic base placed on the wall |  | Not engraved |  | I6/05/2025 | [5 empty] | All functioning | All the 2 received were verified and are all functioning well
Autoclave 20 Liters.,Duo Operated | health | 1 | Silver bowl with a round top and black handles with a gauge. Portable steam |  | Not engraved |  | I6/05/2025 | [5 empty] | They are in good status | All the 2 were received and verified
Bowl, Kick | health | 1 | [11 empty] | Not Received Not verified
Bowl Stand | health | 1 | Silver like basin with 5 wheel stands, silver in color. |  | Not engraved | [7 empty] | Well-functioning | 6 bowls received and all verified,3 stands and also verified
Counting chamber Neubauer- Improved |  | 2 |  |  | N/A | [8 empty] | Not verified
Cupboard Steel, Lockable | health | 3 | Grey in color with compartments, lockable in nature |  | Not engraved | [7 empty] | functioning | 5 verified and all functioning`
Drip Stand | health | 3 | 5 wheels with a straight vertical stand and locks |  | Not engraved | [7 empty] | functioning | 9 received and verified
ESR Stand | health | 1 | verified |  | Not engraved
Examination Couch | health | 2 | 4 silver stands with a black soft sponge mattress with a lifter |  | Not engraved | [7 empty] | functioning | 2 eceived and verified
Examination light,LED |  | 2 |  |  | N/A
Glucometer | health | 2 | DIASPECT White in color with a strip tin without` plickers |  | Not engraved | [7 empty] | 1 functioning and 1 not functioning no stripes | All verified
Haemoglobin Meter, Digital | health | 1 | White in color with 3 buttons and a square screen |  | Not engraved | [7 empty] | functioning | All verified
Height Meter | Not verified | 1
Instrument Trolley | health | 2 | Silver in color with 2 partitions and 4 black wheels |  | Not engraved | [7 empty] | functioning | 1 verified
Microscope Binocular |  | 1 | Monocular White in color and a black base |  | Not engraved | [7 empty] | Kept in store | 1 seen and functioning
Otoscope | health | 1 | Silver in color, with a black top and cylindrical in nature |  | Not engraved | [7 empty] | functioning | Verified but just kept
Patient Screen | health | 3 | White in color with 4 stands and a spring support |  | Not engraved | [7 empty] | functioning | 3 seen and verified
Patient Trolley | health | 1 | 4 white wheels with a black soft sponge mattress, 2 handles and 2 rails |  | Not engraved | [7 empty] | functioning | 2 verified and functioning
Refrigerator, Basic | Health | 1 | white in color with 2 compartments , the lower one bigger than the upper one |  | Not engraved | [7 empty] | functioning | 1 verified and functioning
Stethoscope | Health | 4 | Black in color with 2 rubber tube |  | Not engraved | [7 empty] | All functioning | verified
Stop Watch | Not verified and not seen | 1 |  |  | N/A
Stretcher | Health | 1 | It has 4 black wheels with two rails and a black soft sponge |  | Not engraved | [7 empty] | A ll Functioning | 2 seen and verified
Stove, Gas | health | 1 | Orange in color, 6kg with a 2 burner stove |  | N/A | [7 empty] | In use | 1 seen and verified
Weighing Scale with Height Meter, Adult | health | 1 | White in color, automated with a height and a guage. With a black rectangular base in nature (kinlee) |  | Not engraved | [7 empty] | Spoilt, in store | Spare not available
Weighing Scale, Infant | Not verified | 1 | Y12BB-20 MODEL |  | N/A | [7 empty] | In use
Weighing Scale, Toddler | Not verified | 1 |  |  | N/A | [7 empty] | In use
Wheel Chair | health | 2 | Black in color with 2 balck wheels, 2 foot pads and 2 handles |  | Not engraved | [7 empty] | 1 functioning | 1 was given to Bulisa general hospital
Audio Visual Equipment | Not verified |  |  |  | N/A
Medical Waste Bin | health | 10 | Blue in color wrapped with polythene bags And a round top with silver handle |  | N/A | [7 empty] | 1 0 functioning out of | verrified
Wall Clock |  | 4 | Round and white in color with figures running from 1 to 12 and placed on the wal l |  | Not engraved | [7 empty] | 4 functioning | All verified, seen and functioning
Diagnostic Equipment Set for MCH | Not verified | 2 | boxed |  | N/A | [7 empty] | In store un used | verrified
Diagnostic Equipment Set for OPD | Not verified | 2 |  |  | N/A
Glassware Set, Laboratory, Basic | Not verified | 2 |  |  | N/A | [7 empty] | Boxed in store | verrified
Hollow Ware Set, Treatment |  | 2 |  |  | N/A | [7 empty] | In use | verrified
Instrument Set, Dressing |  | 2 |  |  | N/A
Instrument Set, Basic ENT |  | 1 |  |  | N/A | [7 empty] | Boxed in store | verrified
Instrument Set, Suture |  | 1 | [10 empty] | In use | verrified
Pulse Oximeter, Hand held |  | 2 |  |  | N/A | [7 empty] | Still in store, verrified | Using old one
Bed, Adult Patient with Mattress |  | 20 |  |  | N/A | [8 empty] | received
Bed, Pediatric Patient, With Mattress | health | 5 | White in color with blue soft sponge blue mattress |  | Not engraved | [7 empty] | functioning | seen and verified
Bedside Locker | health | 10 | 2 compartments with a bigger one down and upper small, grey in color and 4 stands |  | Not engraved | [7 empty] | functioning | Seen with broken shutters functioning, and verified
Cupboard, Instrument |  | 4 | Multi coloured |  | N/A | [7 empty] | In use | verrified
Delivery Bed, Hydraulic Manual | health | 1 | Model H7 with peach mattress and a drip stand |  | Not engraved | [7 empty] | functioning | 1 , seen , verified and functioning
Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | 2 |  | N/A | [7 empty] | functioning | verrified
Resuscitator Manual, Infant, with all Mask sizes |  | 1 |  |  | N/A
Resuscitator Manual, Adult, with all mask sizes |  | 1 |  |  | N/A
Suction Apparatus, (Electric) | health | 1 | White, with 2 bags of water and a guage.not Model COO1-A with 4 wheels |  | Not engraved | [7 empty] | functioning | 1 seen and verified
Nebulizer, Ultrasonic |  | 1 |  |  | N/A | [7 empty] | functioning
Oxygen Concentrator, Duo Flow |  | 1 | Grey,2 handles on top and a cylinder also on top |  | Not engraved | [7 empty] | functioning | All seen and verifies
Bench | health | 4 | brown wooden |  | Not engraved | [7 empty] | functioning | All seen and functioning
Disinfection Buckets | health | 3 | Normal buckets with rounded tops and silver handles |  | Not engraved | [7 empty] | functioning | 3 seen and functioning
Baby Cot |  | 2 | Silver in color, rectangular mattress with rails |  | Not engraved | [7 empty] | Gave them to Bulisa general hosipital
Diagnostic Equipment Set for Ward |  | 2 |  |  | N/A
Hollow Ware Set, Ward |  | 2 |  |  | N/A
Instrument Set, Delivery |  | 2 |  |  | N/A | [7 empty] | donated | Donated to general hospital
Instrument Set, Stitch Removing |  | 3 |  |  | N/A
MVA Kit |  | 5 | Non sterile |  | N/A
Stool, Laboratory |  | 3 | They are 3 with each having 5 wheels and black in color |  | Not engraved | [7 empty] | Functioning | 3 seen and verifies
Penguin Sucker |  | 3 | Rubber tune in nature |  | Not engraved | [7 empty] | functioning | 1 verified
Fetoscope, Dopplar |  | 2 | Silver in nature, cylindrical with a round top and base |  | Not engraved | [7 empty] | functioning | 2 verified
Bubble CPAP
Centrifuge (Electric) |  | 1 | White | [9 empty] | In use
Kangaroo Mother Care Chair |  | 1green in colour | [10 empty] | In use | verrified
Radiant Infant Warmer
Haemoglobin Meter, Sahli |  | 1 |  |  | N/A
Delivery Bed |  | 2 |  |  | N/A
Examination light |  | 2 | Has a bulb on top with 5 wheels |  | N.A | [7 empty] | functioning | 1 seen and functioning
Instrument set, ENT Basic for HCIII |  | 1 |  |  | N,A
Bag Valve mask (Ambu Bag), Neonatal | health | 2 | Blck and a glass with white masks |  | Not engraved | [7 empty] | functioning | verified
Incubator |  | 1 | [10 empty] | Donated to bulisa general hospital | Not received
Office Chair | health | 4 | Black in color, swinging in nature with 5 black wheels | [9 empty] | functioning | verified and seen
Desk
Filing Cabinet |  | 4 | [10 empty] | In use | verrified
Non Residential Buildings |  | N/A
Residential Buildings |  | N/A