ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Busia District |
|  | Busia District |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bumunji HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | Not applicable. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift They do repair / service / replace the assets provided by UgIFT. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. They register them on the papers. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | They help to identify the malnutrition, assess people with low oxygen content in blood. Improve the service delivery from administration and deliveries have increased. Challenges: the building the paint is peeling off; the closers for example the bolts are cheap (main door); insecurity at facility; the water pump is on and off so limited supply of water; laboratory stools were incomplete and they non functional; most of the electric appliances are not functional - for TV it does not function. Recommendations: replace the laboratory stools because the ones they have are incomplete and some metal were not delivered; getting an efficient water pump; monitoring team and supervising team on ground to monitor the equipment and infrastructure. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Busia District        NAME OF HEALTH FACILITY: Bumunji HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | Health |  | Outer form with white surface; outer form with green white surface | 5 yrs | BUMUNJI/HC III/BUSIA/D.L.G |  |  |  |  |  |  |  | Good working condition | Functional; one in labour and other in OPD. |
| B.P. Machine (Aneroid wall mounted) | Health | None | None | None | Not seen |  |  |  |  |  |  |  | None | They were not physically seen so they are not recorded as found. |
| Autoclave 20 L (2) | Health |  | GPC aluminium | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional. |
| Bowl, Kick (5) | Health |  | Stainless steel that in sauce-pan shape | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional in the labour ward. |
| Bowl Stand (3) | Health | LOT GHF 102 OS/1221/NG9 | Bowl stand stainless steel stands | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Is being used in the labour; functional; 2 are kept in store. |
| Counting chamber Neubauer-Improved |  | None | None | None | None |  | None | None |  |  |  |  | None | None. |
| Cupboard Steel, Lockable (6) | Health | - | Grey lockable with key | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition; 3 spoiled | 6 functional and they are used in different offices but 3 non functional. Total counted as 9 (6 + 3). |
| Cupboard Steel, Lockable (3) | Health | - | Grey lockable with key | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition; 3 spoiled | Counted with the 6 above as 9 lockable cupboards. |
| Drip Stand (2) | Health | - | Stainless steel stand with movable ball and blue rubber in the middle | 3 yrs | Not engraved |  |  |  |  |  |  |  | 2 spoiled | 2 are kept in the store; 2 spoiled and others are labour and OPD. |
| ESR Stand (1) | Health | - | 16 in white with ruler; green light; green switch | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional in the laboratory. |
| Examination Couch (3) | Health | LOT GHF 70.03/1221/N69 | Stainless steel with black bed | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional in the labour ward. |
| Examination light, LED (1) | Health |  | Black with the stainless steel | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional; one is kept in the store; another is being used in the labour ward. Margin: store. |
| Glucometer (1) | Health | SN SAMKNG KD | One Touch Select white with the strips | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional in the laboratory. |
| Haemoglobin Meter, Digital (2 Ham Hb machine) | Health | 2STE0759 | Diaspect Tm blue and grey black | 5 yrs | Not engraved; UG-MOH-HB-242 |  |  |  |  |  |  |  | Good working condition | 1 functional in the laboratory and other one in the store. |
| Height Meter (3) | Health | - | 16 in ruler form measuring rod | 5 yrs | BUMUNJI/HC III/BUSIA/D.L.G |  |  |  |  |  |  |  | Good working condition | 2 are in labour ward; functional. |
| Instrument Trolley (4) | Health |  | Stainless steel |  | BUMUNJI/HC III/BUSIA/D.L.G |  |  |  |  |  |  |  | Not in good working condition | 1 in OPD not in good working condition but they are using it. Margin: store. |
| Microscope Binocular (1) | Health | SN 113451 | White with black eye piece; Humanscope | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | 1 in store, one OPD and 1 in labour ward; functional. |
| Otoscope | Health | - | - | - | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but kept in the store. Margin: store. |
| Patient Screen | Health | - | Blue clothes and white stands with movable balls | 2 yrs | Not engraved |  |  |  |  |  |  |  | 3 are good working condition; some are in good working condition | 3 functional, 5 non functional; 3 non functional / broken but they use them; 2 are functional. Margin: store. Quantity on the page is unclear. |
| Patient Trolley |  | None | None | None | None |  | None | None | None | None | None | None | None | They had one but it was taken to Masafu Hospital. |
| Refrigerator, Basic (2; Lab.) | Health | SN Grey 108 PRTCO; 53322 N105 PRP LO53296 | LG Rating 100W model R442 kitchen | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional and in labour ward; functional in the laboratory. |
| Stethoscope (8) | Health |  | Black and green with timer | 5 yrs | Not engraved |  |  |  |  |  |  |  | Not in good; some are in good condition | 2 non functional; others are kept in the store; 2 functional; 2 in use and 2 in the store. |
| Stop Watch | None | None | None | None | None |  |  |  |  |  |  |  | None | They do not have stop watch in the facility. |
| Stretcher | None | None | None | None | None |  |  |  |  |  |  |  | None | They do not have. |
| Stove, Gas (3) | Health | . | 8.2 Starbox gas | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | 2 are in the labour ward but one is being used by midwife at home; functional. |
| Weighing Scale with Height Meter, Adult (2) | Health | - | 3.7 N/3000 mA | 5 yrs | BUMUNJI/HC III/BUSIA/D.L.G |  |  |  |  |  |  |  | Good working condition | They are all functional; functional in OPD. |
| Weighing Scale, Infant (2) | Health |  | White with screen moon and tube; blood blue face 1 kg; white with needle and blue face; white with middle blue surface | 2 yrs | Not engraved |  |  |  |  |  |  |  | Not in good working condition | They were kept in the store because they have no batteries. Margin: store. |
| Weighing Scale, Toddler (2) | Health | White with middle blue surface |  | 1 yr | Not engraved |  |  |  |  |  |  |  | Not good working condition | They were kept in the store because they have not batteries. |
| Wheel Chair (3) | Health | - | Black with the ball and the chair form | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They were kept in the store; the Incharge said that they rarely get such case where a patient need a wheel chair. Margin: Masafu took 1. |
| Audio Visual Equipment | Health | - | They are 5 yr boxes |  | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but kept in the store. |
| Medical Waste Bin (17) | Health |  | Stainless steel containers with black base | 10 yrs | BUMUNJI/HC III (ditto across bins) |  |  |  |  |  |  |  | Good working condition | Functional; some are in maternity and others in OPD ward and laboratory. |
| Wall Clock (2) | Health | 207 | Gold circular and time | 3 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional and other one was kept in the store. |
| Diagnostic Equipment Set for MCH | Health | - | Stainless steel metal in small box | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They pick some; they are functional but they kept in the store. Margin: store. |
| Diagnostic Equipment Set for OPD | Health | - | Stainless small steel in the box | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are functional but they kept in the store in small and big boxes. Margin: store. |
| Glassware Set, Laboratory, Basic | Health | - | Stainless small steel in the box | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are functional and kept in the store. Margin: store. |
| Hollow Ware Set, Treatment (2) | Health | - | Stainless steel small metal | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Some are kept in store and others were taken to Masafu. Margin: store. |
| Instrument Set, Dressing | Health | - | Seen in big boxes | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are kept in the store; they just pick when needed. Margin: store. |
| Instrument Set, Basic ENT | Health |  |  |  |  |  |  |  |  |  |  |  |  | Margin: store. Other columns left blank on the page. |
| Instrument Set, Suture (3) | Health |  | Stainless steel |  |  |  |  |  |  |  |  |  | Good working condition | Functional; some are used and others are kept in the store. |
| Pulse Oximeter, Hand held (2) | Health | S/N 2110SC0033 | Grey and white with wire screen up | 1 yr | Not engraved | - |  |  |  |  |  |  | Good working condition | Functional in OPD but the other one was taken to Masafu Hospital. Margin quantity written as '2 1'. |
| Bed, Adult Patient with Mattress (10) | Health |  |  |  | BUMUNJI HEALTH CENTRE III |  |  |  |  |  |  |  | 3 non / 3 spoiled but they are in use / 7 functional | The mattresses are engraved but the beds are not. |
| Bed, Pediatric Patient, With Mattress (4) | Health | - | White colour; black base; pink infant | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional and they are used in maternity / labour ward. |
| Bedside Locker (12) | Health | - | White and blue colour | 1 yr | BUMUNJI/HC III BUSIA/D.L.G |  |  |  |  |  |  |  |  | Status cell on the facing page reads only 'Not' - incomplete. |
| Cupboard, Instrument (1) | Health | - | Grey with glass | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional. |
| Delivery Bed, Hydraulic Manual (1) | Health | - | Pink bed and black adjuster and stainless stands | 10 yrs | BUMUNJI/HC III BUSIA/D.L.G |  |  |  |  |  |  |  | Good working condition | Functional in labour ward. |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | None | None | None | None | None | None | None | None | None | None | None | None | None | There were 2 oxygen therapy apparatus and they were taken to Masafu Hospital. |
| Resuscitator Manual, Infant, with all mask sizes (3 are store) | Health | Nil | Plastic bottle form and black covers green | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | 2 functional are in labour ward; both are in store. |
| Resuscitator Manual, Adult, with all mask sizes (1) | Health |  | Plastic bottle form | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | 5 functional but they are kept in the store. |
| Suction Apparatus, (Electric) (1) | Health | Lot 22090621 4487 | 400VA model YX-23D water | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional and in labour ward. |
| Nebulizer, Ultrasonic | None | None | None | None | None |  |  |  |  |  |  |  |  | Was taken to Masafu Hospital; they do not have it. |
| Oxygen Concentrator, Duo Flow (1) | Health | S/N 21G0010 | Grey HG20 AC240V CANTA | 10 yrs | BUMUNJI/HC III BUSIA/D.L.G |  |  |  |  |  |  |  | Good working condition | Functional; 1 is in labour ward. |
| Bench (4) | Health | - | Brown with black metallic handles/stands | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional; 3 benches are maternity / labour; 1 in laboratory. |
| Disinfection Buckets | None | None | None |  | None |  |  |  |  |  |  |  | None | The ones they have were bought by the Incharge; they were broken. |
| Baby Cot (1) |  | - | Black bed with stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional and it is labour ward. |
| Baby Cot (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Second baby-cot line written; description/status mostly blank on page. |
| Diagnostic Equipment Set for Ward | Health | - | Stainless steel handle | - | Not engraved |  |  |  |  |  |  |  | Good working condition | They good working in labour screen but majority are in the store. Margin: store. |
| Hollow Ware Set, Ward | Health | - | - | - | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional; they were 5. Margin: store. |
| Instrument Set, Delivery | Health | - | Stainless steel | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They were kept in the store. Margin: store. |
| Instrument Set, Stitch Removing | Health | - | Big brown box | - | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but kept in big boxes in the store. Margin: box in the store. |
| MVA Kit | None | None |  |  | None |  | None |  |  |  |  |  | None | They did not receive and they were not seen; the ones were bought by IFAD and RHU. |
| Stool, Laboratory (3) | None | None | None | None | None | None | None | None |  |  |  |  | None | They do not have. They have in the store but non functional because they are incomplete. |
| Penguin Sucker (3) | Health | - | Silicone | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | 2 are kept store and 1 in labour ward; functional. |
| Fetoscope, Doppler | None | None |  |  |  |  |  |  |  |  |  |  |  | They have but not for UgIFT. |
| Bubble CPAP | None | None |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (1) | Health | S/N 2022/0/009 | White with blue paint; max speed 5000/min; TD5M | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional and 1 is in laboratory. Margin: Lab. |
| Kangaroo Mother Care Chair | None | None |  |  |  |  | None | None |  | None | None |  | None |  |
| Radiant Infant Warmer | None | None | None | None |  |  | None | None |  | None | None |  |  | They do not have. |
| Haemoglobin Meter, Sahli (1) | Health |  |  |  |  |  |  |  |  |  |  |  | Good working condition | Functional. |
| Delivery Bed | None | None |  |  | None |  | None | None |  | None | None |  |  | They have only one bed. |
| Examination light (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | Functional in labour store and one was taken by Masafu Hospital. |
| Instrument set, ENT Basic for HCIII | Health | - | Metals small in small boxes, packed in big box | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but they are kept in the store. |
| Bag Valve mask (Ambu Bag), Neonatal | Health | - | Not seen | N/A | N/A |  |  |  |  |  |  |  |  | It was one and it was taken to Masafu Hospital. Margin: store. |
| Incubator |  | None |  |  |  |  |  |  |  |  |  |  |  | Do not have. None written across the row. |
| Office Chair (7) | Health | - | Black in colour with rotating bottom |  | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but they are store. Four office-chair lines written under the heading. |
| Desk (5) | Health |  | Wooden brown with black handle |  | Have engrave |  |  |  |  |  |  |  | Working condition | Functional but they were depend on function and they were taken to different department; labour, lab, OPD. |
| Filing Cabinet | None | None | None |  | None |  |  |  |  |  |  |  | None | It did not come then and the Incharge they did not receive it. |
| Non Residential Buildings - Maternity ward | Health | Maternity ward | Maternity ward with 14 rooms |  | Not engraved |  |  |  |  |  |  |  | Not in good working condition | The maternity ward floor outside is peeling off. |
| Water tanks |  |  | 2 for 5000 LTR, 2 for 1000 LTR; also 10,000 LTR ground water tank; water tank stands; 5000 LTR (residential notes) |  | Not engraved |  |  |  |  |  |  |  | Good working condition | They are functional but the water pumps are on and off which limits water in some days. |
| Pit latrines (residential) |  |  | 2 stances and 2 bathrooms | 20 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional; residential notes also list 2 bathrooms. |
| Residential Buildings - Staff house | Health |  | 2 houses with 2 units each |  | BUSIA DLG 2022-2023 |  |  |  |  |  |  |  | Good working condition | They are all functional and good shape but they lack security because the fence is not fenced. |
| Pit latrines (non-residential) | Health | Pit latrine | Pit 4 stance and 4 bathrooms |  |  |  |  |  |  |  |  |  | Good working condition | They are functional in good shape. |
| Placenta pit (1) |  | - | 1 placenta | 20 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are functional in good shape. |
| Autoclave 21 L (1) | Health |  | GPC aluminium | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- Cover: hand wrote supervisor as Kassim Ssejjaka (and Wilson, 0783230321); filled toolkit must use Kassim Luminsa / +256 702 806116 per RULES 3.15. Contact 0702806116 on the page matches that number.

- Cover: date of submission hand-wrote about 26th-06-2026 (year digits soft to read); left blank in structured output per RULES 3.15 / 3.6.

- B.P. Machine Digital: description reads 'outer form…' (could be 'round form'); asset-number cells may carry description spill.

- Bowl Stand: asset number LOT GHF 102 OS/1221/NG9 - digits soft (also readable as …/NG4 or …/N69 style lot codes elsewhere).

- Drip Stand: status says '2 spoiled' while item line says quantity 2; remarks also refer to labour and OPD - reconcile count.

- Examination light, LED: quantity written 1 but remarks say one in store and another in labour - quantity disagreement.

- Haemoglobin Meter Digital: brand hand reads near 'Diaspect Tm'; asset '2STE0759' and tag 'UG-MOH-HB-242' need confirmation; name may need 3.1a substitution.

- Glucometer asset 'SN SAMKNG KD' partly unclear.

- Instrument Trolley: 'stainless steel' was written in the asset-number column; treated as description. Quantity 4 vs status about 1 in OPD.

- Patient Screen: quantity not clearly written; status mixes '3 functional / 5 non functional' and '3 non functional / 2 functional'.

- Stethoscope: quantity 8 vs status counts (2 non functional, 2 functional, 2 in use, 2 in store) - reconcile.

- Refrigerator serial / model strings crowded; confirm SN and R442.

- Weighing Scale Infant: description and asset cells crowded/illegible in places; no-battery status kept.

- Adult weighing scale second handwritten line near '2 Adult' partly unclear.

- Pulse Oximeter: margin '2 1' - quantity taken as 2; confirm.

- Instrument Set, Basic ENT: only 'store' in margin; other cells blank.

- Bedside Locker: status on facing page incomplete ('Not' only).

- Baby Cot (2): second line mostly blank; confirm whether a second cot was found.

- Resuscitator Infant: item text '3 are store' and remarks '2 functional … both are in store' disagree on quantity.

- Resuscitator Adult: quantity 1 on left vs remarks '5 functional' on right - disagreement.

- Suction Apparatus model hand reads YX-23D / dfx-23D - confirm.

- Oxygen Concentrator S/N reads 21G0010 / 2190010 - confirm.

- Fetoscope Doppler: 'They have but not for UgIFT' - clarify whether a line should remain on the UgIFT schedule.

- Examination light (later schedule line, qty 2): description/dept blank; status only on remarks about labour store and Masafu.

- Haemoglobin Meter Sahli: only quantity 1 and department Health clear; description/tag blank.

- Delivery Bed (non-hydraulic line): 'None' with remark 'They have only one bed' - may refer to the hydraulic delivery bed already listed.

- Office Chair: heading quantity 7 but only four description lines written under it.

- Desk: tag 'Have engrave' - engraving text not copied; status wording 'depen on function' soft.

- Buildings: residential water-tank / PGA tank / '50 litres on the toilet' notes partly soft; placenta-pit description '1 placenta' kept as written.

- Several equipment names abbreviated or colloquial (Ham Hb machine, Starbox gas, CANTA, Humanscope) may need official names from supply worksheets (RULES 3.1a).

- No cost, recoverable cost, or depreciation figures appear on any schedule line.