ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Busia District |
|  | Busia District |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Majanji HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The health facility has a vote for repair and maintenance. For big equipment she works with Masafu Hospital to support in maintenance. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. The in-charge records and reports to Masafu Hospital which supports the facility to repair breakdowns. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | It has boosted service delivery in the services. The facility is along the road; it receives a lot of accident victims. It has reduced on referrals since they have equipment to support in operations. Recommendations: to deploy more medical workers who can support in the management of serious medical cases using the equipment received under the UgIFT programme; fencing of the facility to improve on security of the facility. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Busia District        NAME OF HEALTH FACILITY: Majanji HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (01) | Health | S/N: 2005374231006042 | Transtek |  | Not engraved |  |  |  |  |  |  |  | Good condition | Still packed. |
| B.P. Machine (Aneroid wall mounted) (02) | Health |  | Fixed on the stand |  | Engraved with no numbers |  |  |  |  |  |  |  | Good condition | Not in use yet. |
| Autoclave 20 Liters., Duo Operated (02 big) | Health |  | Life X stainless steel |  | Engraved with no number |  |  |  |  |  |  |  | Good condition | Not in use, still in store. |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  | Not known. |
| Bowl Stand (01) | Health |  | Stainless with wheels, blue in colour |  | Not engraved |  |  |  |  |  |  |  | Good | Bucket in use. |
| Counting chamber Neubauer- Improved (2 sets) | Health |  | Lot: 2407 02. Packed in a transparent container |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use, still in store. |
| Cupboard Steel, Lockable (06) | Health |  | Metallic with glass |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use in different departments. |
| Drip Stand | Health |  | Good condition stainless steel with drip holder |  | Not engraved |  |  |  |  |  |  |  | Good condition | Some are in use, others are kept in store. |
| ESR Stand | Health |  | Metallic base with glass tubes |  | Not engraved |  |  |  |  |  |  |  | Good condition | Still packed in store. Do not know how it works/operated. |
| Examination Couch (02) | Health |  | Black leather top |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use. |
| Examination light, LED (02) | Health |  | Fixed on a stand |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use, another in store. |
| Glucometer (02) | Health | S/N: 103A3213 C5B |  | 5 yrs | Not engraved |  |  |  |  |  |  |  | One in good use, another no stripes |  |
| Haemoglobin Meter, Digital (01) | Health |  | Plusmed Lot: 24083332 |  | Not engraved |  |  |  |  |  |  |  |  | Good. |
| Height Meter (02) | Health |  | Grey metallic |  | Not engraved |  |  |  |  |  |  |  | One in function, another faulty | No stripes to support operation. |
| Instrument Trolley (04) | Health |  | Metallic stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | Two in use, two still in store. |
| Microscope Binocular (01) | Health |  | NOVEX Holland 220-240V 50-60Hz |  | Not engraved |  |  |  |  |  |  |  | Good condition | It is in use in the lab. |
| Otoscope (02) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | Not in use, still in store. |
| Patient Screen (06) | Health |  | Blue screen sheet on metal stands with wheels |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Patient Trolley (03) | Health |  | Metallic |  |  |  |  |  |  |  |  |  | Good condition | All in use. |
| Refrigerator, Basic (01) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | In use. |
| Stethoscope | Health |  | Littmann brand | 3 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use, still in store. |
| Stop Watch (02) | Health |  | DOL-118 Electronic |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use, still in store. |
| Stretcher (01) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | Not in use. |
| Stove, Gas (01+01; 2 gas plates in store) | Health |  | UMAX stove |  | Not engraved |  |  |  |  |  |  |  | Good condition | 01 in use in maternity; 01 in store. |
| Weighing Scale with Height Meter, Adult | Health |  | Cream colour with base of rubber |  |  |  |  |  |  |  |  |  | Good condition | 01 given out to Mbehenyi Health II; 02 in use. |
| Weighing Scale, Infant (02) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | One in labour ward. |
| Weighing Scale, Toddler (05) | Health |  |  |  |  |  |  |  |  |  |  |  |  | Not in use. |
| Wheel Chair (02) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition | Packed in store. |
| Audio Visual Equipment (02) |  |  |  |  |  |  |  |  |  |  |  |  |  | Not in use. |
| Medical Waste Bin (06 in store) |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | 03 still in store; 01 in use at maternity ward. |
| Wall Clock (04) | Health |  | Quartz brand |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH (01) | Health |  | Stainless steel equipment |  | Engraved not numbered |  |  |  |  |  |  |  | Good condition | In use in the ward. |
| Diagnostic Equipment Set for OPD (02 sets) | Health |  | Moti Pharma |  | Engraved not numbered |  |  |  |  |  |  |  | Good condition | Still in store. |
| Glassware Set, Laboratory, Basic (2 box) | Health |  | Breakable packed in boxes |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use, still in store. |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | Kept in store. Packed in store. |
| Instrument Set, Dressing (02 maternity) | Health | 1 | Packed in a box; stainless steel |  |  |  |  |  |  |  |  |  | Good condition | Still in store. |
| Instrument Set, Basic ENT (02 sets) | Health |  | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | In store. |
| Instrument Set, Suture (01 box) | Health | 1673-05/0722 | Stainless steel packed in a box |  |  |  |  |  |  |  |  |  | Good condition | Still in box in store. |
| Pulse Oximeter, Hand held | Health |  | JZK-303 / JZK-303 T |  | Not engraved |  |  |  |  |  |  |  | Good condition | Still in box in store. |
| Bed, Adult Patient with Mattress (10) | Health |  | Metallic with a mattress, blue and white |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use; others given out to Masafu General Hospital. 06 beds were given to Masafu General Hospital; she could not tell how many were under UgIFT. |
| Bed, Pediatric Patient, With Mattress | Health |  | Metallic |  | Not engraved |  |  |  |  |  |  |  | Good condition | Six are still in store, 2 in use, 2 given to Masafu Hospital. |
| Bedside Locker (06) | Health |  | White and blue colour |  | Not engraved |  |  |  |  |  |  |  | Not in good condition | Lockers are broken; 4 of the five and 1 in all in use. |
| Cupboard, Instrument (02) | Health |  | Metallic with glass |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Delivery Bed, Hydraulic Manual (01 - Lumino HC III) |  |  |  |  |  |  |  |  |  |  |  |  |  | Given out to Masafu General Hospital. |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (02 available) |  |  |  |  |  |  |  |  |  |  |  |  |  | Given to Masafu Hospital. |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  | Not found; taken to Masafu. |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (02 delivered; 01 given out to Masafu) | Health |  | Metallic base with glass |  | Engraved not numbered |  |  |  |  |  |  |  | Good condition | Not in use because of lack of technical knowledge. |
| Nebulizer, Ultrasonic (02) | Health |  | MD25031 30440078 |  | Engraved |  |  |  |  |  |  |  | Good condition | Not in use, still in store. |
| Oxygen Concentrator, Duo Flow (04) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | One in store, another sent to Masafu. |
| Bench (04) | Health |  | Metal stands with wood |  |  |  |  |  |  |  |  |  | Good condition | All in use. |
| Disinfection Buckets (04) | Health |  | Plastic |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Baby Cot (01) | Health |  | Metallic stand with transparent bucket |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use at maternity. |
| Diagnostic Equipment Set for Ward | Health |  | Set of equipment packed in plastic container |  | Engraved with no number |  |  |  |  |  |  |  | Good condition | Still in store, packed. |
| Hollow Ware Set, Ward (02 pcs) |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | Not known. In store, still in boxes. |
| Instrument Set, Delivery (04 sets) | Health |  | Stainless steel container |  |  |  |  |  |  |  |  |  | Good condition | Have still in store, not in use. |
| Instrument Set, Stitch Removing (04 sets) | Health |  | Stainless steel container |  |  |  |  |  |  |  |  |  | Good condition | All in store. |
| MVA Kit (05 sets) | Health |  | Packed in plastic container |  | Engraved with no number |  |  |  |  |  |  |  | Good condition | Still packed in store. |
| Stool, Laboratory (01) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use in the lab. |
| Penguin Sucker | Health |  | Transparent plastic, with a penguin shape |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use, still in store. |
| Fetoscope, Dopplar | Health | (21) 9131100B4044689 | Packed in a box |  | Not engraved |  |  |  |  |  |  |  | Good condition | Two; one in store, another in use. |
| Bubble CPAP | Health |  |  |  |  |  |  |  |  |  |  |  |  | Issued to Masafu Hospital. |
| Centrifuge (Electric) (02) | Health |  | Lot 8 and 11; blue and white |  |  |  |  |  |  |  |  |  | Good condition | Not in use because of lack of specimen containers. |
| Kangaroo Mother Care Chair (01) | Health |  | Maroon colour of the leather |  |  |  |  |  |  |  |  |  | Good condition | In use. |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  | Not seen, and HC staff don't know it. |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  | Not known. Given out to Lumino HC III. |
| Delivery Bed (01) |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | One in use, another in store. |
| Examination light (01+1) | Health |  | LED light bulb on a foldable stand |  | Not engraved |  |  |  |  |  |  |  | Good condition |  |
| Instrument set, ENT Basic for HCIII (01) | Health |  | Stainless steel sets |  |  |  |  |  |  |  |  |  | Good condition | Still in store. |
| Bag Valve mask (Ambu Bag), Neonatal (01) |  |  |  |  |  |  |  |  |  |  |  |  |  | Taken to Masafu Hospital. |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | Not delivered. |
| Office Chair (04) | Health |  | Black leather covered |  | Engraved |  |  |  |  |  |  |  | Good condition | All in good use. |
| Desk (03) |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | All in use. |
| Filing Cabinet (02) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | Good working condition. |
| Non Residential Buildings | Health |  | Concrete. OPD block (store, lab, in-charge's office, records room, consultation room, dispensing area and waiting area); VIP pit latrine (two stances and two bathrooms for both female and male); a placenta pit and a waste decomposition pit |  |  |  |  |  |  |  |  |  | Good condition | All in use. |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  | N/A | None. No residential buildings were constructed. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- Date of submission on the hand-filled copy is 26/08/2026; structured output leaves it blank per RULES.md 3.15.

- Supervisor on the page is Kassim Sekajja / Wasswa Wilson with blank contact; filled toolkit will use Kassim Luminsa / +256 702 806116 per RULES.md 3.15.

- Sub-region on the page reads Bukide; transcribed as Bukedi.

- Bowl, Kick: quantity and other columns not known (margin note only).

- Drip Stand: quantity not written on the page.

- Haemoglobin Meter, Digital: facing-page status alignment uncertain; only a 'Good' remark was clearly attributable.

- ESR → Patient Trolley block: status-to-row pairing on the facing page is tight; confirm Instrument Trolley / Microscope / Otoscope / screens.

- Stretcher: item-description mark on the page is unclear; left blank.

- Wall Clock: status/remarks not clearly filled on the facing page.

- Audio Visual Equipment: department and status mostly blank; remarks read not in use.

- Bed, Adult Patient with Mattress: six beds given to Masafu General Hospital; in-charge could not say how many were UgIFT.

- Bedside Locker: status/remarks wording about broken lockers is hard to parse (four of five / all in use).

- Resuscitator Manual, Adult: printed line left entirely blank - omitted.

- Hollow Ware Set, Ward: margin says not known while quantity 02 pcs and store remarks are also written.

- Radiant Infant Warmer: quantity not written; remarks say not seen and staff do not know it.

- Haemoglobin Meter, Sahli: margin not known; also remarked given out to Lumino HC III.

- Delivery Bed (01) remarks say one in use and another in store - quantity mismatch.

- Oxygen Concentrator, Duo Flow (04): remarks only account for two (one in store, another sent to Masafu).

- Medical Waste Bin: remarks (03 store + 01 maternity) do not account for all six noted in store.

- No asset number, life, purchase/service dates, cost or depreciation on most lines; left blank per RULES.md 5.