ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHER REGION |
| --- | --- |
| SUB-REGION: | WEST NILE |
| Name of Local Government | MADI OKOLLO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | MALE STELLA / ISAH LUKWAGO |
| Contact/ email and Telephone | 0776024184 / 0752868032 |
| Supervisor/ Sub team leader | VINCENT KIRIBAKKA |
| Name | VINCENT KIRIBAKKA |
| Contact | 0772628302 |
| Date of submission | 25/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: 		ULEPI H/C III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, the records have numbers supplied and costs. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

There is a maintenance technical team from Arua referral hospital that supports in repair and maintenance especially the bigger machines however, this is done on their schedule. The smaller machines if found are repaired by the same team but in most cases it’s the facility that repairs.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, the records office/personnel. These assets are taken note of and reported to the technical team and also apply to the CAO and DHO’s office who assess and later support. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The machines (assets) have made the work easy, reduced number o referrals, improved infection control, infrastructures are good and have attracted many people, there is full admission at the facility which has improved quality of service delivery. There is a challenge of limited knowledge on how to operate certain machines and hence the staff can’t use them. The Glucometer for Sugar level is outdated and strips are not available on the market. MVA kits were delivered but some products were missing it the package and it can’t be used since it is used as a full package. The oxygen machine is not used due to power issues, solar only worked for 3 months and stopped Incinerator has limited auxiliary structures i.e., only has ash pit no collection and sorting point and its not fenced hence pose threat. Pit latrines gets filled with water when it rains and hence pose health threat. We recommend to work and power and ensure reliable supply for the facility to enable usage of electric devices in service delivery, make prior consultation to medical personnel before purchase of such equipment since they know which are need most and avoid redundancy of certain unused machines, need for more staff accommodation especially midwives. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: 		MADI OKOLLO		 NAME OF HEALTH FACILITY		ULEPI H/C III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  | 1 B.P. Machine, Digital (white) – Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 320,827 |  |  |  |  | In use, cost is for 1 |
| B.P. Machine (Aneroid wall mounted) | Health |  | 2 B.P Machines (Aneroid wall mounted) – Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 202,260 |  |  |  | Functional | 1 in use other is boxed cost is for 1 |
| Autoclave 20 Liters.,Duo Operated |  |  | 1 Autoclave 20 Liters, Duo Operated – Madi Okollo District, Uleppi SC, Ulepi HC III |  |  |  |  |  | 1,136,843 |  |  |  | Functional | In use |
| Bowl, Kick | Health |  | 2 - Bowl kicks Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 488,215 |  |  |  | Functional | Both in use |
| Bowl Stand | Health |  | 3 Metallic Bowl Stands Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 188,311 |  |  |  | Functional | 2 in use and 1 in store |
| Counting chamber Neubauer- Improved | Health |  | 2 - Counting chamber Neubauer Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 20,923 |  |  |  | Functional | Both in use and fully operational |
| Cupboard Steel, Lockable | Health |  | 2 Grey Steel Lockable Cupboard, Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 1,185,665 |  |  |  | Functional | Both in use and fully operational |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | Health |  | 1 ESR Stand Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 76,719 |  |  |  | Functional | In use |
| Examination Couch | Health |  | 2 Examination Couch Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 341,750 |  |  |  | Functional | Both in use and fully operational |
| Examination light,LED | Health |  | 2 Black examination light, LED Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 355,699 |  |  |  | Functional | 1 in use and 1 boxed |
| Glucometer | Health |  | 2 Glucometer Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 76,719 |  |  |  | Functional | Both in use and fully operational |
| Haemoglobin Meter, Digital |  |  | 2 Haemoglobin Meter, Digital Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 523,087 |  |  |  | Functional | 1 in use and 1 boxed |
| Height Meter | Health |  | 1 Height Meter - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 111,592 |  |  |  | Functional | In use and fully operational |
| Instrument Trolley | Health |  | 2 Metallic Instrument Trollies - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 453,342 |  |  |  | Functional | Both in use and fully operational |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | Health |  | 1 – Otoscope (yuwell) - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 |  |  | 132,515 |  |  |  | Functional | In use |
| Patient Screen | Health |  | 4 - Patient Screens - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 209,235 |  |  |  | Functional | All in use in different sections |
| Patient Trolley | Health |  | 1 - Patient Trolley metallic - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 2,266,712 |  |  |  | Functional | In use and fully operational |
| Refrigerator, Basic | Health |  | 1 - Refrigerator, Basic - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 3,835,975 |  |  |  | Functional | In use |
| Stethoscope | Health |  | 4 – Stethoscopes - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 41,847 |  |  |  | Functional | 2 in use and 2 kept in store |
| Stop Watch | Health |  | 2 - Stop Watches - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 6,974 |  |  |  | Functional | Both in use and fully operational |
| Stretcher | Health |  | 1 - Stretcher - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 2,615,437 |  |  |  | Functional | In use and fully operational |
| Stove, Gas | Health |  | 1 - Stove, Gas - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 544,011 |  |  |  | Functional | In use and fully operational |
| Weighing Scale with Height Meter, Adult | Health |  | 2 - Weighing Scales with Height Meter, Adult - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 418,470 |  |  |  | Functional | Both in use across different sections |
| Weighing Scale, Infant | Health |  | 2 - Weighing Scales, Infant (Plastic, digital)- Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 107,300 |  |  |  | Functional | Both in use |
| Weighing Scale, Toddler | Health |  | 2 - Weighing Scale, Toddler - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 76,719 |  |  |  | Functional | Both in use |
| Wheel Chair | Health |  | 2 - Wheel Chairs - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 195,286 |  |  |  | Functional | Both in use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | 3 - Medical Waste Bins - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 97,643 |  |  |  | Functional | All in use in different sections |
| Wall Clock | Health |  | 4 - Wall Clocks (circular) - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 41,847 |  |  |  | Functional | All in use in different sections |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | Health |  | 2 - Diagnostic Equipment Sets for OPD - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 1,311,206 |  |  |  | Functional | Both in use and fully operational |
| Glassware Set, Laboratory, Basic | Health |  | 2 - Glassware Sets, Laboratory, Basic - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 906,685 |  |  |  | Functional | Both in use and fully operationa |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health |  | 2 Metallic Instrument Sets, Dressing - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 453,342 |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Instrument Set, Basic ENT | Health |  | 2 - Instrument Sets, Basic ENT - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 6,381,667 |  |  |  | Functional | Both in use |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health |  | 2 Hand held pulse Oximeters, - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 258,056 |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Bed, Adult Patient with Mattress | Health |  | 10 Metallic Bed for Adult Patients with Mattresses (leather cover) - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 690,475 |  |  |  | Functional | All in use in different sections |
| Bed, Pediatric Patient, With Mattress | Health |  | 5 - Bed, Adult Patient with Mattress (leather cover)- Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 1,848,242 |  |  |  | Functional | All in use in different sections |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | Health |  | 1 – Cupboard steel, lockable - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 1,185,665 |  |  |  | Functional | In use |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 3 – Oval Silicone Manual Resuscitator, Infant, with all Mask sizes (masks 3 ), 1 Oxygen tubing, reservoir, mouth opener & 3 airways - Madi Okollo District, Uleppi SC, Ulepi HC III | 60 | Not yet engraved | 25/11/25 |  |  | 132,515 |  |  |  | Functional | 2 in use and 1 boxed |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 3 – Silicone Manual Resuscitator, Adult, with all Mask sizes (masks 3 ), 1 Oxygen tubing, reservoir, mouth opener & 3 airways - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 132,515 |  |  |  | Functional | 2 in use and 1 boxed |
| Suction Apparatus, (Electric) | Health |  | 1 – Electric Suction Apparatus, (7A-23D) - Madi Okollo District, Uleppi SC, Ulepi HC III | 36 | Not yet engraved | 25/11/25 | 25/11/25 |  | 530,062 |  |  |  | Functional | In use |
| Nebulizer, Ultrasonic | Health |  | 1 – Ultrasonic Nebulizer (402AI) - Madi Okollo District, Uleppi SC, Ulepi HC III | 24 | Not yet engraved | 25/11/25 |  |  | 251,082 |  |  |  | Functional | In use |
| Oxygen Concentrator, Duo Flow | Health |  | 2 – Oxygen Concentrator, Duo Flow (Super Care) - Madi Okollo District, Uleppi SC, Ulepi HC III |  | Not yet engraved | 25/11/25 | 25/11/25 |  | 2,615,437 |  |  |  | Functional | All in use |
| Bench | Health |  | 3 – Wooden & Metallic Benches with rail bars - Madi Okollo District, Uleppi SC, Ulepi HC III |  | GOU/MOH-UGIFT PROJECT F/Y 2023/2024 |  |  |  |  |  |  |  | Functional | All in use at OPD does not appear the asset list |
| Disinfection Buckets | Health |  | 6 – Disinfection Buckets - Madi Okollo District, Uleppi SC, Ulepi HC III | 48 | Not yet engraved | 25/11/25 | 25/11/25 |  | 27,898 |  |  |  | Functional | All in use in different sections |
| Baby Cot | Health |  | 2 – Baby Cot (pink and grey, plastic and metallic) - Madi Okollo District, Uleppi SC, Ulepi HC III | 60 | Not yet engraved | 25/11/25 | 25/11/25 |  | 390,572 |  |  |  | Functional | All in use at Maternity section |
| Diagnostic Equipment Set for Ward | Health |  | 1 – Diagnostic Equipment Set for Ward - Madi Okollo District, Uleppi SC, Ulepi HC III | 36 | Not yet engraved | 25/11/25 | 25/11/25 |  | 557,960 |  |  |  | Functional | In use |
| Hollow Ware Set, Ward | Health |  | 1 – Hollow Ware Set, Ward (Metallic) - Madi Okollo District, Uleppi SC, Ulepi HC III | 72 | Not yet engraved | 25/11/25 | 25/11/25 |  | 1,464,645 |  |  |  | Functional | In use |
| Instrument Set, Delivery | Health |  | 3 – Instrument Set, Delivery (Metallic) - Madi Okollo District, Uleppi SC, Ulepi HC III | 72 | Not yet engraved | 25/11/25 | 25/11/25 |  | 453,342 |  |  |  | Functional | 1 in use and 2 kept in cupboard at I/C’s office |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | Health |  | 3 Stainless Steel MVA Tray With Lid - Madi Okollo District, Uleppi SC, Ulepi HC III | 60 | Not yet engraved | 25/11/25 | 25/11/25 |  | 45,334 |  |  |  | Non-Functional | Missing parts in package (Outdated single valve) |
| Stool, Laboratory | Health |  | 1 Metallic Laboratory Stool, with cushion Madi Okollo District, Uleppi SC, Ulepi HC III | 60 | Not yet engraved | 25/11/25 | 25/11/25 |  | 118,566 |  |  |  | Functional | In use at the lab |
| Penguin Sucker | Health |  | 3 Silicone Penguin Suckers - Madi Okollo District, Uleppi SC, Ulepi HC III | 120 | Not yet engraved | 25/11/25 | 25/11/25 |  | 10,461 |  |  |  | Functional | All in use |
| Fetoscope, Dopplar | Health |  | 2 Fetoscope, Doppler - Madi Okollo District, Uleppi SC, Ulepi HC III | 60 | Not yet engraved | 25/11/25 | 25/11/25 |  | 167,388 |  |  |  | Functional | 1 in use and 1 boxed |
| Bubble CPAP | Health |  | 2 Bubble CPAP - Madi Okollo District, Uleppi SC, Ulepi HC III | 60 | Not yet engraved | 25/11/25 | 25/11/25 |  | 9,520,192 |  |  |  | Functional | Both in use |
| Centrifuge (Electric) | Health |  | 1 Electric Centrifuge - Madi Okollo District, Uleppi SC, Ulepi HC III | 60 | Not yet engraved | 25/11/25 | 25/11/25 |  | 2,127,222 |  |  |  | Functional | In use |
| Kangaroo Mother Care Chair | Health |  | 1 Kangaroo Mother Care Chair - Madi Okollo District, Uleppi SC, Ulepi HC III | 60 | Not yet engraved | 25/11/25 | 25/11/25 |  | 341,750 |  |  |  | Functional | In use |
| Radiant Infant Warmer | Health |  | 1 Radiant Infant Warmer - Madi Okollo District, Uleppi SC, Ulepi HC III | 60 | Not yet engraved | 25/11/25 | 25/11/25 |  | 4,603,170 |  |  |  |  | In use |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | 4 Heavy-duty cloth swivel office chair with reinforced rollers - Madi Okollo District, Uleppi SC, Ulepi HC III | 30 | Not yet engraved | 25/11/25 | 25/11/25 |  | 90,668 |  |  |  | Functional | All in use in different sections |
| Desk | Health |  | 3 wooden desks, - Madi Okollo District, Uleppi SC, Ulepi HC III | 120 | GOU/MOH-UGIFT PROJECT F/Y 2023/2024 | 25/11/25 | 25/11/25 |  | 753,246 |  |  |  | Functional | All in use |
| Filing Cabinet | Health |  | 2 Metallic Filing Cabinets - Madi Okollo District, Uleppi SC, Ulepi HC III | 60 | Not yet engraved | 25/11/25 | 25/11/25 |  | 509,138 |  |  |  | Functional | All in use in different sections |
| Non Residential Buildings | Health |  | 1 structure – comprising of Offices, Maternity, Inpatient, Lab -Madi Okollo District, Uleppi SC, Ulepi HC III |  |  |  |  |  |  |  |  |  | Functional | In use |
| Non Residential Buildings |  |  | 1 Placenta pit and 1 incinerator - Madi Okollo District, Uleppi SC, Ulepi HC III |  |  |  |  |  |  |  |  |  | Functional | Not in use |
| Tanks |  |  | 3 (5000ltrs Gentex tanks) - Madi Okollo District, Uleppi SC, Ulepi HC III |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines |  |  | 1 structure (4 stance Pit latrine) - Madi Okollo District, Uleppi SC, Ulepi HC III |  |  |  |  |  |  |  |  |  | Functional | Not in use |
| Residential Buildings |  |  | 1 structure Staff quarters with latrines and water tank - Madi Okollo District, Uleppi SC, Ulepi HC III |  |  |  |  |  |  |  |  |  | Functional | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: 	MAMBA SEED SECONDARY SCHOOL – NEBBI DLG

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility is still under construction and has not been fully commissioned however in use and as they improvise the old structures.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes N/A |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The setup of the school structures though not fully completed and commissioned, will create a state-of-the-art academic hub featuring science labs, staff quarters, and modern sanitation blocks that will completely revolutionize rural education service delivery upon completion. However, there is delay in construction due to having the same contractor working on both Mamba and Ndhew concurrently hence the delay in construction has led to the delay in installation of other assets such as computers and science lab equipment. Funds should be released timely to enable easy construction. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG 	NEBBI DLG				 Name of SCHOOL 		MAMBA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Desks |  |  |  |  |  |  |  |  |  |  |  |  | Non Functional | Still under construction have been delivered / installed |
| Office chairs |  |  |  |  |  |  |  |  |  |  |  |  | Non Functional | Still under construction have been delivered / installed |
| Laboratory stools |  |  |  |  |  |  |  |  |  |  |  |  | Non Functional | Still under construction have been delivered / installed |
| Book shelves |  |  |  |  |  |  |  |  |  |  |  |  | Non Functional | Still under construction have been delivered / installed |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG 	NEBBI DLG				 Name of SCHOOL 		MAMBA SEED SS

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop Computer | Education |  | 20 Black Hp 290 Desktop core i5 8GB RAM, 512GB SSD Storage, 19.5 Inch Display Monitor Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 3,350,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Desktop Computer | Education |  | 2 Black Hp 290 Desktop core i7 32GB RAM, 1TB SSD/2TB HDD Storage, 19.5 Inch Display Monitor Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 7,000,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Power Surge protector | Education |  | 10 Power Surge Protectors Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 350,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Network Switch 24 Port | Education |  | 2 Network Switch 24 Ports (Hik Vision Smart Managed Gigabit PoE) Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 650,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Multipurpose Printer | Education |  | 1 Multipurpose Printer – Scan, Copy & print (LaserJet Pro MFP 4103dw) Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 6,000,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Server UPS | Education |  | 1 Black DS- UPS3000 (UK) Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 1,800,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| UPS | Education |  | 20 Black Intex IT-M725A Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 350,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Projector | Education |  | 1 Acer Projector Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 2,500,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Air Conditioners | Education |  | 1 Air Conditioner (Indoor Unit) Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 7,000,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| CCTV Camera | Education |  | 1 CCTV Camera Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 8,000,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Fire wall |  |  | 1 Fire wall Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 6,500,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Network rack cabinet |  |  | 1 Network Rack cabinet Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 950,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Router |  |  | 1 router Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 850,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| Wireless Router |  |  | 1 Wireless router Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 850,000 |  |  |  | Functional | Delivered but not installed Cost amount is for 1 item |
| LAN |  |  | 1 LAN (Local Area Network) Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved | 20/6/25 |  |  | 14,350,000 |  |  |  |  | Delivered but not installed Cost amount is for 1 item |
| Internet connection |  |  | 2 years Internet connection Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved |  |  |  | 3,000,000 |  |  |  |  | Accounted for but not installed Cost amount is for 1 item Cost amount is for 2 years subscription |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG 	NEBBI DLG				 Name of SCHOOL 		MAMBA SEED SS

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non- residential (Classrooms blocks) | Education |  | 3 Classrooms blocks each with 2 classroom – Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved |  |  |  |  |  |  |  | Non Functional | Still under construction |
| Non- residential – (Administration Block) | Education |  | 1 Administration block with offices and staffroom – Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved |  |  |  |  |  |  |  | Non Functional | Still under construction |
| Non- residential (Multipurpose building) | Education |  | 1 Multipurpose block (main hall) approx. size 3 classrooms – Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved |  |  |  |  |  |  |  | Non Functional | Still under construction |
| Non- residential (Science Laboratory) | Education |  | 1 Science lab block with 2 rooms – Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved |  |  |  |  |  |  |  | Non Functional | Still under construction |
| Non- residential (ICT Laboratory and Library) | Education |  | 1 block for ICT Laboratory and Library with solar – Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved |  |  |  |  |  |  |  | Non Functional | Still under construction |
| Pit latrines | Education |  | 1 Administration latrine – Nebbi District, Kucwiny SC Mamba Seed SS |  |  |  |  |  |  |  |  |  | Non Functional | Still under construction |
| Pit latrines | Education |  | 1 Girl students’ latrine – Nebbi District, Kucwiny SC Mamba Seed SS |  |  |  |  |  |  |  |  |  | Non Functional | Still under construction |
| Pit latrines | Education |  | 1 Boys students’ latrine – Nebbi District, Kucwiny SC Mamba Seed SS |  |  |  |  |  |  |  |  |  | Non Functional | Still under construction |
| Residential (Staff Quarters) | Education |  | 3, Staff Quarters with kitchen and latrine– Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved |  |  |  |  |  |  |  | Non Functional | Still under construction |
| Water tanks | Education |  | 3, (5000 ltrs) plastic water tanks – Nebbi District, Kucwiny SC Mamba Seed SS |  | Not engraved |  |  |  |  |  |  |  | Non Functional | Still under construction and not yet installed |