ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHER REGION |
| --- | --- |
| SUB-REGION: | WEST NILE |
| Name of Local Government | NEBBI DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | MALE STELLA / ISAH LUKWAGO |
| Contact/ email and Telephone | 0776024184 / 0752868032 |
| Supervisor/ Sub team leader | VINCENT KIRIBAKKA |
| Name | VINCENT KIRIBAKKA |
| Contact | 0772628302 |
| Date of submission | 24/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: 		PAMAKA HC III – NEBBI DLG

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, the records have numbers supplied however, there are no costs |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

There is a maintenance technical team from Gulu referral hospital that supports in repair and maintenance especially the bigger machines however, this is done on their schedule. The smaller machines if found are repaired by the same team but in most cases it’s the facility that repairs.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, the records office/personnel. These assets are taken note of and reported to the technical team and also the DHO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | There is increase in number of patients and the facility has gained trust amongst the community due to reliable service delivery since its well-equipped. There is a challenge of power thus some machines are not in use e.g., the oxygen machine. We recommend to work and power and ensure reliable supply for the facility to enable usage of electric devices in service delivery |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: 		NEBBI		 NAME OF HEALTH FACILITY		PAMAKA H/C III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | Health |  | 2 - B.P Machines (Aneroid wall mounted) Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 machine was in use at the time of verification and the other was boxed |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | Health |  | 1 - Bowl kicks Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | In use and operational |
| Bowl Stand | Health |  | 2 - Bowl Stands Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | Both in use |
| Counting chamber Neubauer- Improved | Health |  | 2 - Counting chamber Neubauer Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and other in store |
| Cupboard Steel, Lockable | Health |  | 2 - Cupboard Steel, Lockable Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | Both in use and fully operational |
| Drip Stand | Health |  | 8 – Drip stands Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use and operational |
| ESR Stand | Health |  | 1 – ESR Stand Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use |
| Examination Couch | Health |  | 2 - Examination Couch Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | Both in use and fully operational |
| Examination light,LED | Health |  | 2 - Examination light, LED Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | Both in use and fully operational |
| Glucometer | Health |  | 2 – Glucometer Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | Both in use and fully operational |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health |  | 1 - Height Meter Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | In use and fully operational |
| Instrument Trolley | Health |  | 2 - Instrument Trollies Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use and fully operational |
| Microscope Binocular | Health |  | 1 - Microscope Binocular Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use and fully operational |
| Otoscope | Health |  | 1 – Otoscope (yuwell) Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Still packaged never used |
| Patient Screen | Health |  | 4 - Patient Screens Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use in different sections |
| Patient Trolley | Health |  | 1 - Patient Trolley Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | In use and fully operational |
| Refrigerator, Basic | Health |  | 1 - Refrigerator, Basic Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use and fully operational |
| Stethoscope | Health |  | 4 – Stethoscopes Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | 2 in use and 2 kept in store |
| Stop Watch | Health |  | 1 - Stop Watch Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use and fully operational |
| Stretcher | Health |  | 1 – Stretcher Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use and fully operational |
| Stove, Gas | Health |  | 1 - Stove, Gas Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use and fully operational |
| Weighing Scale with Height Meter, Adult | Health |  | 2 - Weighing Scales with Height Meter, Adult Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | Both in use across different sections |
| Weighing Scale, Infant | Health |  | 2 - Weighing Scale, Infant Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Weighing Scale, Toddler | Health |  | 2 - Weighing Scale, Toddler Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | 6 - Medical Waste Bins Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | All in use in different sections |
| Wall Clock | Health |  | 4 - Wall Clocks Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | 2 in use and 2 kept in store boxed |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  | Not delivered |
| Diagnostic Equipment Set for OPD | Health |  | 2 - Diagnostic Equipment Sets for OPD Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | Both in use and fully operational |
| Glassware Set, Laboratory, Basic | Health |  | 2 - Glassware Sets, Laboratory, Basic Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Hollow Ware Set, Treatment | Health |  | 3 - Hollow Ware Sets, Treatment Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 2 in use and 1 kept in store boxed |
| Instrument Set, Dressing | Health |  | 2 - Instrument Sets, Dressing Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Instrument Set, Basic ENT | Health |  | 3 - Instrument Sets, Basic ENT Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 2 in use and 1 kept in store boxed |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health |  | 2 - Pulse Oximeters, Hand held Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Bed, Adult Patient with Mattress | Health |  | 10 - Bed, Adult Patient with Mattress Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | All in use in different sections |
| Bed, Pediatric Patient, With Mattress | Health |  | 5 - Bed, Adult Patient with Mattress Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | All in use in different sections |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | 2 – Oxygen Therapy Apparatus, Mininum 45L cylinder Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 2 – Oval Silicone Manual Resuscitator, Infant, with all Mask sizes (masks 3), 1 Oxygen tubing, reservoir, mouth opener & 3 airways Nebbi District, Ndhew SC, Pamaka HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All intact never been used still boxed in storage |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 2 – Silicone Manual Resuscitator, Adult, with all Mask sizes (masks 3), 1 Oxygen tubing, reservoir, mouth opener & 3 airways Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Suction Apparatus, (Electric) | Health |  | 2 – Electric Suction Apparatus, (7A-23D) Nebbi District, Ndhew SC, Pamaka HC III | 36 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Nebulizer, Ultrasonic | Health |  | 1 – Ultrasonic Nebulizer (402AI) Nebbi District, Ndhew SC, Pamaka HC III | 24 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Never been used still in package box in store |
| Oxygen Concentrator, Duo Flow | Health |  | 4 – Oxygen Concentrator, Duo Flow (Super Care) Nebbi District, Ndhew SC, Pamaka HC III |  | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | 3 in use and 1 kept in store boxed |
| Bench | Health |  | 4 – Wooden & Metallic Benches with rail bars Nebbi District, Ndhew SC, Pamaka HC III | 48 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use at OPD |
| Disinfection Buckets | Health |  | 4 – Disinfection Buckets Nebbi District, Ndhew SC, Pamaka HC III | 48 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use in different sections |
| Baby Cot | Health |  | 5 – Baby Cot (pink and grey, plastic and metallic) Nebbi District, Ndhew SC, Pamaka HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use at In Patient and Maternity sections |
| Diagnostic Equipment Set for Ward | Health |  | 3 – Diagnostic Equipment Set for Ward Nebbi District, Ndhew SC, Pamaka HC III | 36 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 2 kept in store boxed |
| Hollow Ware Set, Ward | Health |  | 3 – Hollow Ware Set, Ward (Metallic) Nebbi District, Ndhew SC, Pamaka HC III | 72 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 2 kept in cupboard at I/C’s office |
| Instrument Set, Delivery | Health |  | 3 – Instrument Set, Delivery (Metallic) Nebbi District, Ndhew SC, Pamaka HC III | 72 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 2 kept in cupboard at I/C’s office |
| Instrument Set, Stitch Removing | Health |  | 3 – Instrument Set, Stitch Removing (Stainless Steel with Handle) Nebbi District, Ndhew SC, Pamaka HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 2 kept in cupboard at I/C’s office |
| MVA Kit | Health |  | 4 – Stainless Steel MVA Tray With Lid Nebbi District, Ndhew SC, Pamaka HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 2 in use and 2 kept in cupboard at I/C’s office |
| Stool, Laboratory | Health |  | 1 – Stool, Laboratory (Metallic with cushion) Nebbi District, Ndhew SC, Pamaka HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use at the lab |
| Penguin Sucker | Health |  | 3 – Penguin Suckers (Silicone) Nebbi District, Ndhew SC, Pamaka HC III | 120 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use at the lab |
| Fetoscope, Dopplar | Health |  | 1 – Fetoscope, Dopplar Nebbi District, Ndhew SC, Pamaka HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use at the lab |
| Bubble CPAP | Health |  | 1 – Bubble CPAP Nebbi District, Ndhew SC, Pamaka HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use at the lab |
| Centrifuge (Electric) | Health |  | 1 – Centrifuge (Electric) Nebbi District, Ndhew SC, Pamaka HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use at the lab |
| Kangaroo Mother Care Chair | Health |  | 1 – Kangaroo Mother Care Chair Nebbi District, Ndhew SC, Pamaka HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use at the lab |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | 7 – Office Chairs, Heavy-duty cloth swivel chair with reinforced rollers Nebbi District, Ndhew SC, Pamaka HC III | 30 | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | All in use in different sections |
| Desk | Health |  | 3 – Desks, wooden rails and metallic base Nebbi District, Ndhew SC, Pamaka HC III | 120 | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | All in use in at OPD/IPD |
| Filing Cabinet | Health |  | 2 – Filing Cabinets Nebbi District, Ndhew SC, Pamaka HC III | 60 | Not yet engraved | 26/9/25 | 26/9/25 |  |  |  |  |  | Functional | All in use in different sections |
| Non Residential Buildings | Health |  | 1 structure – comprising of Maternity, Inpatient, Lab Nebbi District, Ndhew SC, Pamaka HC III | 150 |  |  |  |  |  |  |  |  | Functional | In use |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: 		NDHEW SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | Not yet supplied still at the district offices in the store |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility is still under construction and has not been commissioned as well no assets have been supplied yet, building structures are still under construction.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | No N/A |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The setup of the school structures though not yet completed, will create a state-of-the-art academic hub featuring science labs, staff quarters, and modern sanitation blocks that will completely revolutionize rural education service delivery upon completion. However, there is delay in construction due to unreliable release of finances hence the delay in construction has led to the delay in installation of other assets such as computers and science lab equipment. Funds should be released timely to enable easy construction. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG 	NEBBI DLG				 Name of SCHOOL 		NDHEW SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Desks | Education |  | School Desks Nebbi District, Ndhew SC Ndhew Seed Secondary School |  |  |  |  |  |  |  |  |  |  | Still under construction nothing has been delivered / installed |
| Office chairs | Education |  | Office chairs Nebbi District, Ndhew SC Ndhew Seed Secondary School |  |  |  |  |  |  |  |  |  |  | Still under construction nothing has been delivered / installed |
| Laboratory stools | education |  | Laboratory stools Nebbi District, Ndhew SC Ndhew Seed Secondary School |  |  |  |  |  |  |  |  |  |  | Still under construction nothing has been delivered / installed |
| Book shelves | Education |  | Book shelves Nebbi District, Ndhew SC Ndhew Seed Secondary School |  |  |  |  |  |  |  |  |  |  | Still under construction nothing has been delivered / installed |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG 	NEBBI DLG				 Name of SCHOOL 		NDHEW SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop Computer | Education |  | 20 Hp 290 Desktop core i5 8GB RAM, 512GB SSD Storage, 19.5 Inch Display Monitor Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 3,350,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Desktop Computer | Education |  | 2 Hp 290 Desktop core i7 32GB RAM, 1TB SSD/2TB HDD Storage, 19.5 Inch Display Monitor Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 7,000,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Power Surge protector | Education |  | 10 Power Surge Protectors Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 350,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Network Switch 24 Port | Education |  | 2 Network Switch 24 Ports (Hik Vision Smart Managed Gigabit PoE) Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 650,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Multipurpose Printer | Education |  | 1 Multipurpose Printer – Scan, Copy & print (LaserJet Pro MFP 4103dw) Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 6,000,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Server UPS | Education |  | 1 DS- UPS3000 (UK) Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 1,800,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| UPS | Education |  | 20 Intex IT-M725A Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 350,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Projector | Education |  | 1 Acer Projector Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 2,500,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Air Conditioners | Education |  | 1 Air Conditioner (Indoor Unit) Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 7,000,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| CCTV Camera | Education |  | 1 CCTV Camera Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 8,000,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Fire wall | Education |  | 1 Fire wall Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 6,500,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Network rack cabinet | Education |  | 1 Network Rack cabinet Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 950,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Router | Education |  | 1 router Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 850,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Wireless Router | Education |  | 1 Wireless router Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 850,000 |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| LAN | Education |  | 1 LAN (Local Area Network) Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved | 20/6/25 |  |  | 14,350,000 |  |  |  |  |  |
| Internet connection | Education |  | 2 years Internet connection Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved |  |  |  | 3,000,000 |  |  |  |  | Not yet delivered and installed. Cost amount is for 2 years subscription |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG 	NEBBI DLG				 Name of SCHOOL 		NDHEW SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non- residential (Classrooms blocks) | Education |  | Classrooms blocks - 3 blocks each with 2classroom –Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved |  |  |  |  |  |  |  | Non functional | Still under construction |
| Non- residential – (Administration Block) | Education |  | Administration block with offices and staffroom – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved |  |  |  |  |  |  |  | Non functional | Still under construction |
| Non- residential (Multipurpose building) | Education |  | Multipurpose building (main hall) approx. 3 classrooms – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved |  |  |  |  |  |  |  | Non functional | Still under construction |
| Non- residential (Science Laboratory) | Education |  | 1 Science lab block with two rooms – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved |  |  |  |  |  |  |  | Non functional | Still under construction |
| Non- residential (ICT Laboratory and Library) | Education |  | 1 block for ICT Laboratory and Library with solar – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved |  |  |  |  |  |  |  | Non functional | Still under construction |
| Pit latrines | Education |  | 1 Administration latrine – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  |  |  |  |  |  |  |  |  | Non functional | Still under construction (Pit excavation level) |
| Pit latrines | Education |  | 1 Girl students’ latrine – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  |  |  |  |  |  |  |  |  | Non functional | Still under construction (Slab level no structure) |
| Pit latrines | Education |  | 1 Boys students’ latrine – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  |  |  |  |  |  |  |  |  | Non functional | Still under construction (Slab level no structure) |
| Pit latrines | Education |  | 1 Administration latrine – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  |  |  |  |  |  |  |  |  | Non functional | Still under construction (Pit excavation level) |
| Pit latrines (Residential) | Education |  | 1 Staff quarters latrine – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  |  |  |  |  |  |  |  |  | Non functional | Still under construction (with slab and bricks level) |
| Residential (Staff Quarters) | Education |  | 3, Staff Quarters – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved |  |  |  |  |  |  |  | Non functional | Still under construction |
| Kitchen (Residential) | Education |  | 1block staff quarters kitchen – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved |  |  |  |  |  |  |  | Non functional | Still under construction |
| Water tanks | Education |  | 3, (5000) plastic water tanks – Nebbi District, Ndhew SC Ndhew Seed Secondary School |  | Not engraved |  |  |  |  |  |  |  | Non functional | Not yet installed |