ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHER REGION |
| --- | --- |
| SUB-REGION: | WEST NILE |
| Name of Local Government | NWOYA DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | MALE STELLA / ISAH LUKWAGO |
| Contact/ email and Telephone | 0776024184 / 0752868032 |
| Supervisor/ Sub team leader | VINCENT KIRIBAKKA |
| Name | VINCENT KIRIBAKKA |
| Contact | 0772628302 |
| Date of submission | 24/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: 		TODORA H/C III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

There is a maintenance technical team from Gulu referral hospital that supports in repair and maintenance especially the bigger machines however, this is done on their schedule. The smaller machines if found are repaired by the same team but in most cases it’s the facility that repairs.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, the records office/personnel. These assets are taken note of and reported to the technical team and also the DHO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | There is increase in number of patients and the facility has gained trust amongst the community due to reliable service delivery since its well-equipped. There is a challenge that when Todora was still under construction, the its assets were given to Para H/C which was already in place thus most of these assets haven’t been received yet. We recommend to add more staff quarters at the facility to improve service delivery |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: 		NWOYA		 NAME OF HEALTH FACILITY		TODORA H/C III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | Health |  | 1 - Autoclave 20 Liters.,Duo Operated - Nwoya District, Todora HC III |  | Not yet engraved | 3/6/25 |  |  |  |  |  |  | Functional | In use |
| Bowl, Kick | Health |  | 1 Bowl kick - Nwoya District, Todora HC III |  | Not yet engraved | 3/6/25 |  |  |  |  |  |  | Functional | In use and operational |
| Bowl Stand | Health |  | 1 - Bowl Stands - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | All in use and operational |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | Health |  | 10pcs – Drip stands - Nwoya District, Todora HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use and operational |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | Health |  | 2pcs - Examination Couch - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Examination light,LED | Health |  | 2pcs - Examination light, LED - Nwoya District, Todora HC III |  | Not yet engraved | 26/9/25 |  |  |  |  |  |  | Functional | All in use and fully operational |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health |  | 2- Height Meter - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Instrument Trolley | Health |  | 1 - Instrument Trollies - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Health |  | 3 - Patient Screens - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Patient Trolley | Health |  | 6 - Patient Trolley - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | Health |  | 1 - Weighing Scales with Height Meter, Adult - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | In use |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Health |  | 5pcs - Examination Couch - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Partly functional | 3 lack rubber on the wheels |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | 2 - Medical Waste Bins - Nwoya District, Todora HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | All in use in different sections |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT | Health |  | 1 - Instrument Sets, Basic ENT - Nwoya District, Todora HC III |  | Not yet engraved | 3/6/25 |  |  |  |  |  |  | Functional | In use |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Health |  | 8 - Bed, Adult Patient with Mattress - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Bed, Pediatric Patient, With Mattress | Health |  | 1 - Bed, Adult Patient with Mattress - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | In use |
| Bedside Locker |  |  | 4 Bedside Locker - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Cupboard, Instrument | Health |  | 1 – Cupboard steel, lockable - Nwoya District, Todora HC III |  | Not yet engraved | 26/9/25 |  |  |  |  |  |  | Functional | In use |
| Delivery Bed, Hydraulic Manual | Health |  | 1 Delivery Bed, Hydraulic Manual - Nwoya District, Todora HC III |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | Health |  | 6 – Disinfection Buckets - Nwoya District, Todora HC III | 48 | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | Health |  | 1 – Stainless Steel MVA Tray With Lid - Nwoya District, Todora HC III | 60 | Not yet engraved | 3/6/25 |  |  |  |  |  |  | Functional | 2 in use and 2 kept in cupboard at I/C’s office |
| Stool, Laboratory | Health |  | 4 – Stool, Laboratory - Nwoya District, Todora HC III | 60 | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | In use |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health |  | 1 - Delivery Bed, - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | In use |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | 15 – Plastic Office Chairs, - Nwoya District, Todora HC III | 30 | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dirty Linen Stand | Health |  | 1 Dirty Linen Stand, - Nwoya District, Todora HC III |  | Not yet engraved | 4/6/25 |  |  |  |  |  |  | Functional | In use |
| Non Residential Buildings | Health |  | 2 structures – comprising of Maternity, Inpatient, Lab, offices and OPD - Nwoya District, Todora HC III |  |  |  |  |  |  |  |  |  | Functional | In use |
| Residential Buildings |  |  | 1 structures Staff quarter - Nwoya District, Todora HC III |  |  |  |  |  |  |  |  |  | Functional | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: 		LUNGULU SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility raises funds and repairs and they as well try to communicate to the DEO’s office for support and guidance.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The school structures have supported big number enrollment and has provided a standard in academic in the community There is an issue of very power and this has hindered the installation of the computers even though they were delivered. There is also an issue of few laboratory stools. If there is a way the facility could be supported to get more laboratory stools and working on the power for smooth running of the facility. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG 	NWOYA DLG				 Name of SCHOOL 		LUNGULU SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Desks |  |  | 120 Wooden School Desks Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Office tables | Education |  | 15 office tables Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Student chairs | Education |  | 80 student chairs – Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Office chairs |  |  | 38 Office chairs Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Students’ tables |  |  | 10 Students’ tables Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Laboratory stools |  |  | 8 laboratory stools Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG 	NWOYA DLG				 Name of SCHOOL 		 NDHEW SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop Computer | Education |  | 20 Hp Desktop 19.5 Inch Display Monitor Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional some not working | Kept in the store at the school, not yet installed due to power issues and 2 are not working |
| Power Surge protector | Education |  | 10 Power Surge Protectors Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | Kept in the store at the school, not yet installed due to power issues |
| Network Switch 24 Port | Education |  | 2 Network Switch 24 Ports Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Multipurpose Printer | Education |  | 1 small white Hp Multipurpose Printer – Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | Kept in the store at the school, not yet installed due to power issues |
| Server UPS | Education |  | 1pc DS- UPS3000 (UK) Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| UPS | Education |  | 20 Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | Kept in the store at the school, not yet installed due to power issues |
| Projector | Education |  | 1pc Acer Projector Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | Still in the store at the district, not yet delivered and installed. Cost amount is for 1 item |
| Air Conditioners | Education |  | 1 Air Conditioner Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| CCTV Camera | Education |  | 1 CCTV Camera Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Fire wall |  |  | 1 Fire wall Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Network rack cabinet |  |  | 1pc Network Rack cabinet Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Router |  |  | 1pc router Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Wireless Router |  |  | 1pc Wireless router Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| LAN |  |  | 1pc LAN (Local Area Network) Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG 	NWOYAI DLG				 Name of SCHOOL 		 LUNGULU SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non- residential (Classrooms blocks) | Education |  | Classrooms blocks - 3 blocks each with 2classroom – Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (Administration Block) | Education |  | Administration block with offices and staffroom – Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (Multipurpose building) | Education |  | Multipurpose hall building (main hall) approx. 3 classrooms – Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (Science Laboratory) | Education |  | 1 Science lab block with two rooms – Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (ICT Laboratory and Library) | Education |  | 1 block for ICT Laboratory and Library with solar – Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Administration latrine – Nwoya District, Lungulu SC, Lungulu Seed SS |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Girl students’ latrine – Nwoya District, Lungulu SC, Lungulu Seed SS |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Boys students’ latrine – Nwoya District, Lungulu SC, Lungulu Seed SS |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Administration latrine – Nwoya District, Lungulu SC, Lungulu Seed SS |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines (Residential) | Education |  | 1 Staff quarters latrine – Nwoya District, Lungulu SC, Lungulu Seed SS |  |  |  |  |  |  |  |  |  | Functional | In use |
| Residential (Staff Quarters) | Education |  | 3, Staff Quarters with latrines and kitchen – Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Water tanks | Education |  | 3, (5000) plastic water tanks – Nwoya District, Lungulu SC, Lungulu Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |