ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHER REGION |
| --- | --- |
| SUB-REGION: | WEST NILE |
| Name of Local Government | ZOMBO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | MALE STELLA / ISAH LUKWAGO |
| Contact/ email and Telephone | 0776024184 / 0752868032 |
| Supervisor/ Sub team leader | VINCENT KIRIBAKKA |
| Name | VINCENT KIRIBAKKA |
| Contact | 0772628302 |
| Date of submission | 25/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: 		AMWONYU H/C III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, the records have numbers supplied. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

There is a maintenance technical team from Arua referral hospital that supports in repair and maintenance especially the bigger machines however, this is done on their schedule. The smaller machines if found are repaired by the same team but in most cases it’s the facility that repairs.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, these assets are checked regularly and if there is a breakdown they inform the DHO for further guidance. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The machines have made the work easy, hence increase in patients’ number i.e., there is full admission at the facility which has improved quality of service delivery. There is a challenge of power issues hence most machines are not used. Solar is not functional We recommend to work on power and ensure reliable supply for the facility to enable usage of electric devices in service delivery, an orient staff on equipment usage |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: 		ZOMBO DLG		 NAME OF HEALTH FACILITY		AMWONYO H/C III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | Health |  | 1 - B.P Machines (Aneroid wall mounted) – - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Autoclave 20 Liters.,Duo Operated |  |  | 1 - Autoclave 20 Liters., (C.G.S not electric) - Zombo District, Akaa SC, Amwonyo HC III |  |  |  |  |  |  |  |  |  | Functional | Still packed in store (Not on list verified physically) |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | Health |  | 10 - Drip Stands -- Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use and fully operational |
| ESR Stand | Health |  | 1 – ESR Stand -- Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use |
| Examination Couch | Health |  | 2 - Examination light, LED - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Examination light,LED | Health |  | 1 - Examination light, LED - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health |  | 1 - Height Meter - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular | Health |  | 1 - Microscope Binocular - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | Still packed in store (Not on list verified physically) |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  | Functional | In use |
| Patient Screen | Health |  | 3 - Patient Screens - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Health |  | 1 - Refrigerator, Basic - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | Still packed in store |
| Stethoscope | Health |  | 1 – Stethoscopes - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  | 1 - Mobile Medical Stretcher with Swivel Wheels - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | Health |  | 1 - Weighing Scales with Height Meter, Adult - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Weighing Scale, Infant | Health |  | 1 - Weighing Scales, Infant (Plastic, digital) - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Health |  | 2 - Wheel Chairs - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | 1 in use 1 in store (Not on list verified physically) |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | 6 - Medical Waste Bins - Zombo District, Akaa SC, Amwonyo HC III |  | GOU/MOH - UGIFT PROJECT F/Y 2023/2024 |  |  |  |  |  |  |  | Functional | All in use in different sections (Not on list verified physically) |
| Wall Clock | Health |  | 2 - Wall Clocks (circular) - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | All in use in different sections (Not on list verified physically) |
| Diagnostic Equipment Set for MCH |  |  | 1 Instrument Set for MCH - Zombo District, Akaa SC, Amwonyo HC III |  |  | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health |  | 2 - Instrument Sets, Dressing - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 1 in store boxed |
| Instrument Set, Basic ENT | Health |  | 1 - Instrument Sets, Basic ENT - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use |
| Instrument Set, Suture | Health |  | 1 - Instrument Set, Suture - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use |
| Pulse Oximeter, Hand held | Health |  | 2 - Pulse Oximeters, Hand held - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Bed, Adult Patient with Mattress | Health |  | 10 - Bed, Adult Patient with Mattress (leather cover) - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | All in use in different sections (Not on list verified physically) |
| Bed, Pediatric Patient, With Mattress | Health |  | 5 - Bed, Adult Patient with Mattress (leather cover) - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use in different sections |
| Bedside Locker | Health |  | 10 - Bedside Locker - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use in different sections |
| Cupboard, Instrument | Health |  | 1 – Cupboard steel, lockable - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | 2 – Oxygen Therapy Apparatus, Mininum 45L cylinder - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Not Functional | There was no oxygen and haven’t been refilled yet |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 5 – Oval Silicone Manual Resuscitator, Infant, with all Mask sizes (masks 3 ), 1 Oxygen tubing, reservoir, mouth opener & 3 airways - Zombo District, Akaa SC, Amwonyo HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 2 in use and 3 boxed |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 5 – Silicone Manual Resuscitator, Adult, with all Mask sizes (masks 3), 1 Oxygen tubing, reservoir, mouth opener & 3 airways - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 2 in use and 3 boxed |
| Suction Apparatus, (Electric) | Health |  | 1 – Electric Suction Apparatus, (7A-23D) - Zombo District, Akaa SC, Amwonyo HC III | 36 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use |
| Nebulizer, Ultrasonic | Health |  | 1 – Ultrasonic Nebulizer (402AI) - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use |
| Oxygen Concentrator, Duo Flow | Health |  | 1 – Oxygen Concentrator, Duo Flow (Super Care) - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Bench | Health |  | 3 – Wooden & Metallic Benches with rail bars - Zombo District, Akaa SC, Amwonyo HC III |  | GOU/MOH-UGIFT PROJECT F/Y 2023/2024 |  |  |  |  |  |  |  | Functional | All in use at OPD (Not on list verified physically) |
| Disinfection Buckets | Health |  | 6 – Disinfection Buckets - Zombo District, Akaa SC, Amwonyo HC III | 48 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use in different sections |
| Baby Cot | Health |  | 2 – Baby Cot (pink and grey, plastic and metallic) - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use |
| Diagnostic Equipment Set for Ward | Health |  | 2 – Diagnostic Equipment Set for Ward - Zombo District, Akaa SC, Amwonyo HC III | 36 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | Both in use |
| Hollow Ware Set, Ward | Health |  | 2 – Hollow Ware Set, Ward (Metallic) - Zombo District, Akaa SC, Amwonyo HC III | 72 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | Both in use |
| Instrument Set, Delivery | Health |  | 3 – Instrument Set, Delivery (Metallic) - Zombo District, Akaa SC, Amwonyo HC III | 72 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 2 in use and 1 kept in store |
| Instrument Set, Stitch Removing | Health |  | 2 – Instrument Set, Delivery (Metallic) - Zombo District, Akaa SC, Amwonyo HC III | 72 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | 1 in use and 1 in store |
| MVA Kit | Health |  | 3 – Stainless Steel MVA Tray With Lid - Zombo District, Akaa SC, Amwonyo HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Non-Functional | 2 in use and 1 in store |
| Stool, Laboratory | Health |  | 2 – Stool, Laboratory (Metallic with cushion) - Zombo District, Akaa SC, Amwonyo HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | Both in use |
| Penguin Sucker | Health |  | 3 – Penguin Suckers (Silicone) - Zombo District, Akaa SC, Amwonyo HC III | 120 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | 1 – Centrifuge (Electric) - Zombo District, Akaa SC, Amwonyo HC III | 60 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | Still packed in store (Not on list verified physically) |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer | Health |  | 1 – Radiant Infant Warmer - Zombo District, Akaa SC, Amwonyo HC III | 60 | Not yet engraved |  |  |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health |  | 2 – Delivery Bed - Zombo District, Akaa SC, Amwonyo HC III |  | Not yet engraved |  |  |  |  |  |  |  | Functional | In use (Not on list verified physically) |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | 4 – Office Chairs, Heavy-duty cloth swivel chair with reinforced rollers - Zombo District, Akaa SC, Amwonyo HC III | 30 | Not yet engraved | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use in different sections (Not on list verified physically) |
| Desk | Health |  | 3 – Desks, - Zombo District, Akaa SC, Amwonyo HC III | 120 | GOU/MOH-UGIFT PROJECT F/Y 2023/2024 |  |  |  |  |  |  |  | Functional | All in use in different sections (Not on list verified physically) |
| Filing Cabinet | Health |  | 2 – Filing Cabinets - Zombo District, Akaa SC, Amwonyo HC III | 60 | GOU/MOH-UGIFT PROJECT F/Y 2023/2024 | 14/11/25 | 14/11/25 |  |  |  |  |  | Functional | All in use in different sections (Not on list verified physically) |
| Non Residential Buildings | Health |  | 1 structure – comprising of Maternity, Inpatient, Lab - Zombo District, Akaa SC, Amwonyo HC III |  |  |  |  |  |  |  |  |  | Functional | In use |
| Non Residential Buildings |  |  | 1 structure – comprising of Offices, OPD, Lab - Zombo District, Akaa SC, Amwonyo HC III |  |  |  |  |  |  |  |  |  | Functional | In use |
| Tanks |  |  | 2 (5000ltrs Gentex tanks) - Zombo District, Akaa SC, Amwonyo HC III |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines |  |  | 1 structure (4 stance Pit latrine) - Zombo District, Akaa SC, Amwonyo HC III |  |  |  |  |  |  |  |  |  | Functional | In use |
| Residential Buildings |  |  | 1 structure Staff quarters with latrines and water tank - Zombo District, Akaa SC, Amwonyo HC III |  |  |  |  |  |  |  |  |  | Functional | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: 		WADELAI SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, with numbers supplied and costs |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility raises money and repair/service/replace the assets however, the DEO is notified where need be he supports.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes N/A |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The setup of the school structures has created room for academic progress in the community i.e., featuring science labs, staff quarters, and modern sanitation blocks that will completely revolutionize rural education service delivery. However, there is an issue with the solar panel and it has hindered the usage of the electric assets. As well there is a broken water tank stand which poses a threat to students. Need support for a reliable power supply. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG 	 PAKWACH DLG		 Name of SCHOOL 		WADELAI SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Desks | Education |  | 120 desks – Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Office chairs | Education |  | 10 office chairs – Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Laboratory stools | Education |  | 74 Laboratory stools – Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Office tables | Education |  | 10 office tables with drawer lockers – Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use (they don’t have locks on the drawers) |
| Student chairs | Education |  | 382 student chairs – Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Locker cabinet | Education |  | 10 locker cabinets – Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Tables | Education |  | 74 tables – Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Book shelves |  |  | 15 book shelves - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Extinguisher |  |  | 8 extinguishers - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Boards |  |  | Notice boards - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Gas cylinders for science lab | Education |  | 2 Gas cylinders for science lab - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Chemical and Reagents for Sci Lab |  |  | Chemical and Reagents for Sci Lab - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  | 14,370,000 |  |  |  | Functional | In use |
| Science Lab equipments |  |  | Science Lab equipments - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved |  |  |  | 41,576,000 |  |  |  | Functional | In use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG 	 PAKWACH DLG		 Name of SCHOOL 		WADELAI SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop Computer | Education |  | 20 Dell Vostro 3030 Intel core i5, 19.5 Inch Display Monitor - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 4,100,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| Power Surge protector | Education |  | 10 Power Surge Protectors - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 300,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| Server processor | Education |  | 1 Server processor - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 6,000,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| Network Switch 24 Port | Education |  | 2 Network Switch 24 Ports - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 2,000,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| Multipurpose Printer | Education |  | 1 Multipurpose Printer – - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  |  |  |  |  | Functional | In use Cost amount is for 1 item |
| Server UPS | Education |  | 1 Server UPS - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 6,000,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| UPS | Education |  | 20 Intex LW UPS 850 - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 500,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| Projector | Education |  | 1 Acer Projector - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 5,000,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| Air Conditioners | Education |  | 2 Air Conditioners (Skyworth) - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 3,500,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| CCTV Camera | Education |  | 1 CCTV Camera - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 5,000,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| Fire wall |  |  | 1 Fire wall - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 2,000,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| Network rack cabinet |  |  | 1 Network Rack cabinet - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 3,000,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| Router |  |  | 1 router - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 2,000,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| Wireless Router |  |  | 1 Wireless router - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 2,000,000 |  |  |  | Functional | In use Cost amount is for 1 item |
| LAN |  |  | 1 LAN (Local Area Network) - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 12,000,000 |  |  |  |  | In use Cost amount is for 1 item |
| Internet connection |  |  | 12 months Internet connection - Pakwach District – Wadelai SC – Wadelai Seed School |  | Not engraved | 10/10/25 |  |  | 500,000 |  |  |  | Functional | In use Cost amount is for 1 month subscription |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG 	 PAKWACH DLG				 Name of SCHOOL 		WADELAI SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non- residential (Classrooms blocks) | Education |  | Classrooms blocks - 3 blocks each with 2 classroom – Pakwach District, Wadelai SC, Wadelai Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential – (Administration Block) | Education |  | Administration block with offices and staffroom – Pakwach District, Wadelai SC, Wadelai Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (Multipurpose building) | Education |  | Multipurpose building (main hall) approx. 3 classrooms – Pakwach District, Wadelai SC, Wadelai Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (Science Laboratory) | Education |  | 1 Science lab block with 2 rooms – Pakwach District, Wadelai SC, Wadelai Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (ICT Laboratory and Library) | Education |  | 1 block for ICT Laboratory and Library with solar – Pakwach District, Wadelai SC, Wadelai Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Administration latrine – Pakwach District, Wadelai SC, Wadelai Seed SS |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Girls students’ latrine – Pakwach District, Wadelai SC, Wadelai Seed SS |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Boys students’ latrine – Pakwach District, Wadelai SC, Wadelai Seed SS |  |  |  |  |  |  |  |  |  | Functional | In use |
| Residential (Staff Quarters) | Education |  | 3, Staff Quarters with kitchen and latrine– Pakwach District, Wadelai SC, Wadelai Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Water tanks | Education |  | 4, (5000) plastic water tanks – Pakwach District, Wadelai SC, Wadelai Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use however, 1 the water tank stand is broken |
| Perimeter Fence | Education |  | Perimeter fence wire mesh – Pakwach District, Wadelai SC, Wadelai Seed SS |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |