ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHER REGION |
| --- | --- |
| SUB-REGION: | WEST NILE |
| Name of Local Government | ZOMBO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | MALE STELLA / ISAH LUKWAGO |
| Contact/ email and Telephone | 0776024184 / 0752868032 |
| Supervisor/ Sub team leader | VINCENT KIRIBAKKA |
| Name | VINCENT KIRIBAKKA |
| Contact | 0772628302 |
| Date of submission | 24/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: 		ATYAK HC III – ZOMBO DLG

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, the records have numbers supplied |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

There is a maintenance technical team from Gulu referral hospital that supports in repair and maintenance especially the bigger machines however, this is done on their schedule. The smaller machines if found are repaired by the same team but in most cases it’s the facility that repairs.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, the records office/personnel. These assets are taken note of and reported to the technical team and also the DHO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | There is increase in number of patients and the facility has gained trust amongst the community due to reliable service delivery since its well-equipped. There is a challenge of power thus some machines are not in use e.g., the oxygen machine. We recommend to work and power and ensure reliable supply for the facility to enable usage of electric devices in service delivery |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: 		ZOMBO		 NAME OF HEALTH FACILITY		ATYAK H/C III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | Health |  | 2 - B.P Machines (Aneroid wall mounted) - With Paed Cuffs, Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and other stored |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | Health |  | 1 - Bowl kicks Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use |
| Bowl Stand | Health |  | 2 - Bowl Stands Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Both in use |
| Counting chamber Neubauer- Improved | Health |  | 2 - Counting chamber Neubauer Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and other in store |
| Cupboard Steel, Lockable | Health |  | 2 - Cupboard Steel, Lockable Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Drip Stand | Health |  | 8 – Drip stands Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use and operational |
| ESR Stand | Health |  | 1 – ESR Stand Zombo District, Atyak SC, Atyak HC III |  |  | 14/11/25 |  |  |  |  |  |  | Not Delivered | On list not delivered |
| Examination Couch | Health |  | 2 - Examination Couch Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Examination light,LED | Health |  | 2 - Examination light, LED Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Glucometer | Health |  | 2 – Glucometer Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health |  | 1 - Height Meter Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Instrument Trolley | Health |  | 2 - Instrument Trollies Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Microscope Binocular | Health |  | 1 - Microscope Binocular Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Otoscope | Health |  | 1 – Otoscope (yuwell) Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Still packaged never used |
| Patient Screen | Health |  | 4 - Patient Screens Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Patient Trolley | Health |  | 1 - Patient Trolley Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Refrigerator, Basic | Health |  | 1 - Refrigerator, Basic Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Stethoscope | Health |  | 4 – Stethoscopes Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 2 in use and 2 kept in store |
| Stop Watch | Health |  | 2 - Stop Watch Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Both in use across different sections |
| Stretcher | Health |  | 1 – Stretcher Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Stove, Gas | Health |  | 1 - Stove, Gas Zombo District, Atyak SC, Atyak HC III |  |  | 14/11/25 |  |  |  |  |  |  |  | Not delivered |
| Weighing Scale with Height Meter, Adult | Health |  | 2 - Weighing Scales with Height Meter, Adult Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Both in use across different sections |
| Weighing Scale, Infant | Health |  | 2 - Weighing Scale, Infant Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | 6 - Medical Waste Bins Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Wall Clock | Health |  | 4 - Wall Clocks Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 2 in use and 2 kept in store boxed |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  | Not delivered |
| Diagnostic Equipment Set for OPD | Health |  | 2 - Diagnostic Equipment Sets for OPD Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Glassware Set, Laboratory, Basic | Health |  | 2 - Glassware Sets, Laboratory, Basic Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health |  | 2 - Instrument Sets, Dressing Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Instrument Set, Basic ENT | Health |  | 3 - Instrument Sets, Basic ENT Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 2 in use and 1 kept in store boxed |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health |  | 2 - Pulse Oximeters, Hand held Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Bed, Adult Patient with Mattress | Health |  | 10 - Bed, Adult Patient with Mattress Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Bed, Pediatric Patient, With Mattress | Health |  | 5 - Bed, Adult Patient with Mattress Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | Health |  | 1 - Cupboard, Instrument Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use and operational |
| Delivery Bed, Hydraulic Manual | Health |  | 1 - Delivery Bed, Hydraulic Manual Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use and operational |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | 2 – Oxygen Therapy Apparatus, Mininum 45L cylinder Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 2 – Oval Silicone Manual Resuscitator, Infant, with all Mask sizes (masks 3), 1 Oxygen tubing, reservoir, mouth opener & 3 airways Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All intact never been used still boxed in storage |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 2 – Silicone Manual Resuscitator, Adult, with all Mask sizes (masks 3), 1 Oxygen tubing, reservoir, mouth opener & 3 airways Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Suction Apparatus, (Electric) | Health |  | 2 – Electric Suction Apparatus, Zombo District, Atyak SC, Atyak HC III | 36 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Nebulizer, Ultrasonic | Health |  | 1 – Ultrasonic Nebulizer Zombo District, Atyak SC, Atyak HC III | 24 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | Never been used still in package box in store |
| Oxygen Concentrator, Duo Flow | Health |  | 4 – Oxygen Concentrator, Duo Flow (Super Care) Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 3 in use and 1 kept in store boxed |
| Bench | Health |  | 4 – Wooden & Metallic Benches with rail bars Zombo District, Atyak SC, Atyak HC III | 48 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use at OPD |
| Disinfection Buckets | Health |  | 6 – Disinfection Buckets Zombo District, Atyak SC, Atyak HC III | 48 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Baby Cot | Health |  | 5 – Baby Cot (pink and grey, plastic and metallic) Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use at In Patient and Maternity sections |
| Diagnostic Equipment Set for Ward | Health |  | 3 – Diagnostic Equipment Set for Ward Zombo District, Atyak SC, Atyak HC III | 36 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 2 kept in store boxed |
| Hollow Ware Set, Ward | Health |  | 3 – Hollow Ware Set, Ward (Metallic) Zombo District, Atyak SC, Atyak HC III | 72 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 delivered and in use (2 weren’t delivered) |
| Instrument Set, Delivery | Health |  | 3 – Instrument Set, Delivery (Metallic) Zombo District, Atyak SC, Atyak HC III | 72 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 2 in use and 1 kept in store |
| Instrument Set, Stitch Removing | Health |  | 3 – Instrument Set, Stitch Removing (Stainless Steel with Handle) Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 2 kept in cupboard |
| MVA Kit | Health |  | 4 – Stainless Steel MVA Tray With Lid Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 2 in use and 2 kept in cupboard |
| Stool, Laboratory | Health |  | 1 – Stool, Laboratory (Metallic with cushion) Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use at the lab |
| Penguin Sucker | Health |  | 3 – Penguin Suckers (Silicone) Zombo District, Atyak SC, Atyak HC III | 120 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use |
| Fetoscope, Dopplar | Health |  | 2 – Fetoscope, Dopplar Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store |
| Bubble CPAP | Health |  | 2 – Bubble CPAP Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store |
| Centrifuge (Electric) | Health |  | 2 – Centrifuge (Electric) Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store |
| Kangaroo Mother Care Chair | Health |  | 1 – Kangaroo Mother Care Chair Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | 7 – Office Chairs, Heavy-duty cloth swivel chair with reinforced rollers Zombo District, Atyak SC, Atyak HC III | 30 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Desk | Health |  | 3 – Desks, wooden rails and metallic base Zombo District, Atyak SC, Atyak HC III |  | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | In use 1 top missing |
| Filing Cabinet | Health |  | 2 – Filing Cabinets Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Mid Upper Arm Tape | Health |  | 4 – Mid Upper Arm Tape Zombo District, Atyak SC, Atyak HC III | 60 | Not yet engraved | 14/11/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Non Residential Buildings | Health |  | 1 structure – comprising of OPD, Maternity, Inpatient, Lab with latrines Zombo District, Atyak SC, Atyak HC III | 150 |  |  |  |  |  |  |  |  | Functional | In use, however it was under renovation |
| Residential Buildings |  |  | 1 structure – staff quarters with latrines Zombo District, Atyak SC, Atyak HC III |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: 		ALWI SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility raises funds which it uses to repair/service/replace.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes 9 monitors, 10 system units, 28 UPS, only 1 camera works. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The setup of the school has completely revolutionized l education service delivery. However, there is an issue of power surges, under staffing, the ratio of students to classes and latrines, numbers are high over 1,000 students. ugIFT should support to ensure power stability, recruit more staff. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG 	PAKWACH DLG			 Name of SCHOOL 		ALWI SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Desks | Education |  | 120 desks – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Office chairs | Education |  | 10 office chairs – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Laboratory stools | Education |  | 74 Laboratory stools – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Office tables | Education |  | 10 office tables with drawer lockers – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use (they don’t have locks on the drawers) |
| Student chairs | Education |  | 382 student chairs – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Locker cabinet | Education |  | 10 locker cabinets – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Tables | Education |  | 74 tables – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Book shelves |  |  | 15 book shelves - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Extinguisher |  |  | 8 extinguishers - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Boards |  |  | Notice boards - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Gas cylinders for science lab | Education |  | 2 Gas cylinders for science lab - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Chemical and Reagents for Sci Lab |  |  | Chemical and Reagents for Sci Lab - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  | 14,370,000 |  |  |  | Functional | In use |
| Science Lab equipments |  |  | Science Lab equipments - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  | 41,576,000 |  |  |  | Functional | In use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG 		PAKWACH DLG		 Name of SCHOOL 		ALWI SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop Computer | Education |  | 28 Dell Optiplex 3010 Intel core i5, 19.5 Inch Display Monitor - Pakwach District – Alwi SC – Alwi Seed School |  | ALWI SEED S.S |  |  |  |  |  |  |  | Some are functional some are | In use, 9 monitors and 10 System Units are not working |
| Power Surge protector | Education |  | 10 Power Surge Protectors - Pakwach District – Alwi SC – Alwi Seed School |  | ALWI SEED S.S |  |  |  |  |  |  |  | Functional | In use |
| Server processor | Education |  | 1 Server processor - Pakwach District – Alwi SC – Alwi Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| Network Switch 24 Port | Education |  | 2 Network Switch 24 Ports - Pakwach District – Alwi SC – Alwi Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| Multipurpose Printer | Education |  | 1 Multipurpose Printer – - Pakwach District – Alwi SC – Alwi Seed School |  | ALWI SEED S.S |  |  |  |  |  |  |  | Functional | In use |
| Server UPS | Education |  | 1 Server UPS - Pakwach District – Alwi SC – Alwi Seed School |  |  |  |  |  |  |  |  |  | Functional | Not working |
| UPS | Education |  | 20 Intex LW UPS 850 - Pakwach District – Alwi SC – Alwi Seed School |  | ALWI SEED S.S |  |  |  |  |  |  |  | Non-Functional | Not working |
| Projector | Education |  | 1 Acer Projector - Pakwach District – Alwi SC – Alwi Seed School |  | ALWI SEED S.S |  |  |  |  |  |  |  | Functional | In use |
| Air Conditioners | Education |  | 2 Air Conditioners (Skyworth) - Pakwach District – Alwi SC – Alwi Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| CCTV Camera | Education |  | 13 CCTV Camera - Pakwach District – Alwi SC – Alwi Seed School |  |  |  |  |  |  |  |  |  | Non-Functional | Only 1 is in use and functional |
| Fire wall |  |  | 1 Fire wall - Pakwach District – Alwi SC – Alwi Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| Network rack cabinet |  |  | 1 Network Rack cabinet - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Router |  |  | 1 router - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Wireless Router |  |  | 1 Wireless router - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| LAN |  |  | 1 LAN (Local Area Network) - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  |  | In use |
| Internet connection |  |  | 12 months Internet connection - Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG 	NEBBI DLG				 Name of SCHOOL 		NDHEW SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non- residential (Classrooms blocks) | Education |  | Classrooms blocks - 3 blocks each with 2 classroom – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential – (Administration Block) | Education |  | Administration block with offices and staffroom – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (Multipurpose building) | Education |  | Multipurpose building (main hall) approx. 3 classrooms – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (Science Laboratory) | Education |  | 1 Science lab block with 2 rooms – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (ICT Laboratory and Library) | Education |  | 1 block for ICT Laboratory and Library with solar – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Administration latrine – Pakwach District – Alwi SC – Alwi Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Girls students’ latrine – Pakwach District – Alwi SC – Alwi Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Boys students’ latrine – Pakwach District – Alwi SC – Alwi Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| Residential (Staff Quarters) | Education |  | 3, Staff Quarters with kitchen and latrine– Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Water tanks | Education |  | 4, (5000) plastic water tanks – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use however, 1 the water tank stand is broken |
| Perimeter Fence | Education |  | Perimeter fence wire mesh – Pakwach District – Alwi SC – Alwi Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |