ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTH |
| --- | --- |
| SUB-REGION: | WESTNILE |
| Name of Local Government | KOBOKO MUNICIPALITY |
| VERIFIER PARTICULARS |  |
| Full name | NANTAJJA ARNOLD |
| Contact/ email and Telephone | 0705962743 |
| Supervisor/ Sub team leader |  |
| Name | KIRIBAKKA VICENT |
| Contact | 0772628302 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …NYANGILIA HEALTH CENTER III……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

THE LOCAL GOVERNMENT AND FACILITY MAINTAIN THE ASSETS

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

REGULAR FUNCTIONALITY RECORDS ARE TAKEN

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

GAINS

- EQUIPMENT AND FACILITY EASE ACCESS TO HEALTH SERVICES

CHALLENGES

- HYBRID PROCUREMENT IS CHALLENGING

- CONSTRUCTION TOOK SOS LONG

RECOMMENDATIONS

- BETTER POWER SUPPLY

- PROCUREMENT SHOULD BE LEFT IN HANDS OF LOCAL GOVERNMENT

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…KOBOKO……MUNICIPALITY………………………………… NAME OF HEALTH FACILITY…NYANGILIA HEALTH CENTER III……………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | HEALTH |  | 1 ANEROID WALL MOUNTED BP MACHINES IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  |  |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Autoclave 20 Liters., Duo Operated | HEALTH |  | 1AUTOCLAVES IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Bowl, Kick | HEALTH |  | 1 BOWL KICK IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Bowl Stand | HEALTH |  | 1 BOWL STANDS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Counting chamber Neubauer- Improved | HEALTH |  | 2 COUNTING CHAMBER NEUBAUE IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Cupboard Steel, Lockable | HEALTH |  | 3 CUPBOARDS STEEL FOUND IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 3 IN USE |
| Drip Stand | HEALTH |  | 3 DRIP STANDS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 3 IN USE |
| ESR Stand | HEALTH |  | 1 ESR STAND IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Examination Couch | HEALTH |  | 2 EXAMINATION COUCHES IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Examination light,LED | HEALTH |  | 2 LED EXAMINATION LIGHTS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Glucometer | HEALTH |  | 1 GLUCOMETERS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Haemoglobin Meter, Digital | HEALTH |  | 2 HAEMOGLOBIN METERS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Height Meter | HEALTH |  | 1 HEIGHT METER FOUND IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Instrument Trolley | HEALTH |  | 2 INSTRUMENT TROLLEYS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Microscope Binocular | HEALTH |  | 2 MICROSCOPE BINOCULARS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Otoscope | HEALTH |  | 1 OTOSCOPE IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NIOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Patient Screen | HEALTH |  | 8 PATIENT SCREENS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 3 IN USE 5 IN STORE |
| Patient Trolley | HEALTH |  | 1 PATIENT TROLLEY IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Refrigerator, Basic | HEALTH |  | 1 REFRIGERATOR IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Stethoscope | HEALTH |  | 4 STETHOSCOPES IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 4 IN USE |
| Stop Watch | HEALTH |  | 1 STOP WATCHES IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Stretcher | HEALTH |  | 2 STRETCHERS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Stove, Gas | HEALTH |  | 1 STOVE GAS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Weighing Scale with Height Meter, Adult | HEALTH |  | 2 ADULT WEIGHING SCALES WITH METER IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Weighing Scale, Infant | HEALTH |  | 1 INFANT WEIGHING SCALE IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Weighing Scale, Toddler | HEALTH |  | 2 TODDLER WEIGHING SCALES TODLER, IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Wheel Chair | HEALTH |  | 1 WHEEL CHAIR IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | IN USE |
| Audio Visual Equipment | HEALTH |  | 1 AUDIOVISUAL EQUIPMENT IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Medical Waste Bin | HEALTH |  | 10 MEDICAL WASTE BINS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 10 IN USE |
| Wall Clock | HEALTH |  | 3 WALL CLOCKS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 3 IN USE |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | HEALTH |  | 2 HAND HELD PULSE OXIMETERS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Bed, Adult Patient with Mattress | HEALTH |  | 20 ADULT PATIENT BEDS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 10 IN USE 10 IN STORE |
| Bed, Pediatric Patient, With Mattress | HEALTH |  | 10 PEDIATRIC PATIENT BED IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 10 IN USE |
| Bedside Locker | HEALTH |  | 10 BEDSIDE LOCJKERS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 10 IN USE |
| Cupboard, Instrument | HEALTH |  | 1 INSTRUMENTS CUPBOARD IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  | 15,618,000 |  |  |  | GOOD | 1 IN USE |
| Delivery Bed, Hydraulic Manual | HEALTH |  | 2 HYDRUALIC DELIVERY BED IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE I BROKEN |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | 15 MANUAL INFANT RESUSCITATORS FOUND IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  | 59,040,000 |  |  |  | GOOD | 15 IN USE |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | 15 ADULT RESUSCITATORS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  | 63,630,000 |  |  |  | GOOD | 14 IN USE 1 BROKEN |
| Suction Apparatus, (Electric) | HEALTH |  | 3 SUNCTION APPARATUS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVEED |  |  |  |  |  |  |  | GOOD | 3 IN USE |
| Nebulizer, Ultrasonic | HEALTH |  | 1 ULTRASONIC NEBULIZER IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Oxygen Concentrator, Duo Flow | HEALTH |  | 4 DUO FLOW OXYGEN CONSENTRATORS FOUND IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  | 289,680,000 |  |  |  | GOOD | 4 IN USE |
| Bench | HEALTH |  | 4 BENCHES IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  | 23,880,000 |  |  |  | GOOD | 4 IN USE |
| Disinfection Buckets | HEALTH |  | 2 DISINFECTION BUCKETS, IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Baby Cot | HEALTH |  | 5 BABY COTS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  |  |  |  |  |  |  |  |  | GOOD | 5 IN USE |
| Diagnostic Equipment Set for Ward | HEALTH |  | 5 SETS OF WARD DIAGONISTIC EQUIPMENT IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 5 IN USE |
| Hollow Ware Set, Ward | HEALTH |  | 5 HOLLOW WARE SETS WARD FOUND IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 5 IN USE |
| Instrument Set, Delivery | HEALTH |  | 5 SETS OF DELIVERY INSTRUMENT IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 5 IN USE |
| Instrument Set, Stitch Removing | HEALTH |  | 5 SETS OF STITCH REMOVING INSTRUMENT IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 5 IN USE |
| MVA Kit | HEALTH |  | 5 MVA KITS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 5 IN USE |
| Stool, Laboratory | HEALTH |  | 5 LABORATORY STOOLS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 5 IN USE |
| Penguin Sucker | HEALTH |  | 3 PENGUIN SUCKERS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 3 IN USE |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | HEALTH |  | 2 CENTRIFUGES IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Kangaroo Mother Care Chair | HEALTH |  | 1 KANGAROO MOTHER CHAIR IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | HEALTH |  | 3 DELIVERY BEDS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 IN USE 1 AT DISTRICT STORES |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | 7 OFFICE CHAIRS FOUND IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVEED |  |  |  |  |  |  |  | GOOD | 7 IN USE |
| Desk | HEALTH |  | 5 DESKS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 5 IN USE |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | HEALTH |  | 2 BLOCKS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | N/A |  |  |  |  |  |  |  | GOOD | 1 FOR OPD 1 FOR MATERNITY AND GENERAL WARD |
| TOILETS | HEALTH |  | 1 TOILET, IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | N/A |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| TANKS | HEALTH |  | 5 TANKS IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 2 TANKS 10000L 3 TANKS 5000L |
| Residential Buildings | HEALTH |  | 3 BLOCKS EACH WITH 2 HOUSES IN NYANGILIA HCIII, SOUTH DIVISION, KOBOKO MUNICIPALITY |  | N/A |  |  |  |  |  |  |  | GOOD | 6 HOUSES IN TOTAL IN USE |