ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTH |
| --- | --- |
| SUB-REGION: | WESTNILE |
| Name of Local Government | KOBOKO |
| VERIFIER PARTICULARS |  |
| Full name | NANTAJJA ARNOLD |
| Contact/ email and Telephone | 0705962743 |
| Supervisor/ Sub team leader |  |
| Name | KIRIBAKKA VICENT |
| Contact | 0772628302 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …CHAKULIA HEALTH CENTER III……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO BUT HAVE DELIVERY NOTES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

THE LOCAL GOVERNMENT MAINTAINS THE ASSETS

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

NO REGULAR FUNCTIONALITY RECORDS TAKEN

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

GAINS

EQUIPMENT AND FACILITY EASE ACCESS TO HEALTH SERVICES

CHALLENGES

INSUFFICIENT STAFFING

RECOMMENDATIONS

NEED A PEADRIATRIC WARD

NEED MORE CONDUCTS ON FUNDS

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…KOBOKO……………………………………… NAME OF HEALTH FACILITY……CHAKULIA HEALTH CENTER III……………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  | 2 BP Machines Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | NOT ENGRAVED |  |  |  | 200,000 |  |  |  | GOOD | 2 IN USE |
| B.P. Machine (Aneroid wall mounted) | HEALTH |  | 2 BP Machines Mounted Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | NOT ENGRAVED |  |  |  | 640,000 |  |  |  | GOOD | 2 IN USE |
| Autoclave 20 Liters.,Duo Operated | HEALTH |  | 2 Autoclaves Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 2,320,000 |  |  |  | GOOD | 2 IN USE 2 NOT DELIVERED |
| Bowl, Kick | HEALTH |  | 1 Bowl Kick Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 400,000 |  |  |  | GOOD | 1 IN USE |
| Bowl Stand | HEALTH |  | 2 Bowl Stands Found In Ludara Sub_County, Koboko District In Chakulia HC III |  |  |  |  |  | 840,000 |  |  |  | GOOD | 2 IN USE |
| Counting chamber Neubauer- Improved | HEALTH |  | 2 Counting Chamber Neubaue Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 170,000 |  |  |  | GOOD | 2 IN USE |
| Cupboard Steel, Lockable | HEALTH |  | 2 Cupboards Steel Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,900,000 |  |  |  | GOOD | 2 IN USE |
| Drip Stand | HEALTH |  | 8 Drip Stands Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 960,000 |  |  |  | GOOD | 8 IN USE |
| ESR Stand | HEALTH |  | 1 Esr Stand Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 95,000 |  |  |  | GOOD | 1 IN USE |
| Examination Couch | HEALTH |  | 2 Examination Couches Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,160,000 |  |  |  | GOOD | 2 IN USE |
| Examination light,LED | HEALTH |  | 2 Examination Lights Led Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,180,000 |  |  |  | GOOD | 2 IN USE |
| Glucometer | HEALTH |  | 2 Glucometers Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 240,000 |  |  |  | GOOD | 2 IN USE |
| Haemoglobin Meter, Digital | HEALTH |  | 2 Haemoglobin Meters Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 3,500,000 |  |  |  | GOOD | 2 IN USE |
| Height Meter | HEALTH |  | 1 Height Meter Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 250,000 |  |  |  | GOOD | 1 IN USE |
| Instrument Trolley | HEALTH |  | 2 Instrument Trollerys Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,1OO,OOO |  |  |  | GOOD | 2 IN USE |
| Microscope Binocular | HEALTH |  | 5 Microscopes Binocular Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 27,500,000 |  |  |  | GOOD | 2 IN USE 3 IN STORE |
| Otoscope | HEALTH |  | 1 Otoscope Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 280,000 |  |  |  | GOOD | 1 IN USE |
| Patient Screen | HEALTH |  | 4 Patient Screens Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,520,000 |  |  |  | GOOD | 4 IN USE |
| Patient Trolley | HEALTH |  | 1 Patient Trolley Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,550,000 |  |  |  | GOOD | 1 IN USE |
| Refrigerator, Basic | HEALTH |  | 1 Refrigerator Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 720,000 |  |  |  | GOOD | 1 IN USE |
| Stethoscope | HEALTH |  | 4 Stethoscope S Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 720000 |  |  |  | GOOD | 4 IN USE |
| Stop Watch | HEALTH |  | 3 Stop Watches Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 130,000 |  |  |  | GOOD | 3 IN USE |
| Stretcher | HEALTH |  | 1 Stretcher Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 250,000 |  |  |  | GOOD | 1 IN USE |
| Stove, Gas | HEALTH |  | 1 Gas Stove Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 195,000 |  |  |  | GOOD | 1 IN USE |
| Weighing Scale with Height Meter, Adult | HEALTH |  | 8 Adult Weighing Scales with Height Meter Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 4,840,000 |  |  |  | GOOD | 8 IN USE |
| Weighing Scale, Infant | HEALTH |  | 1 Infant Weighing Scale Infant Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 440,000 |  |  |  | GOOD | 1 IN USE |
| Weighing Scale, Toddler | HEALTH |  | 2 Toddler Weighing Scale Toddler Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 240,000 |  |  |  | GOOD | 2 IN USE |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | HEALTH |  | 6 Medical Waste Bins Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  |  |  |  |  | GOOD | 6 IN USE |
| Wall Clock | HEALTH |  | 4 Wall Clocks Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 220,000 |  |  |  | GOOD | 4 IN USE |
| Diagnostic Equipment Set for MCH | HEALTH |  | 2 MCH Diagnostic Equipment set Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,120,000 |  |  |  | GOOD | 2 IN USE |
| Diagnostic Equipment Set for OPD | HEALTH |  | 2 Set of OPD Diagnostic Equipment Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,120,000 |  |  |  | GOOD | 2 IN USE |
| Glassware Set, Laboratory, Basic | HEALTH |  | 2 Basic Laboratory Glassware Sets Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 810,000 |  |  |  | GOOD | 2 IN USE |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | HEALTH |  | 2 Instrument Sets Dressing Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 400,000 |  |  |  | GOOD | 2 IN USE |
| Instrument Set, Basic ENT | HEALTH |  | 3 Instrument Sets Dressing Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,440,000 |  |  |  | GOOD | 3 IN USE |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | HEALTH |  | 2 Pulkse Oximeters Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,180,000 |  |  |  | GOOD | 2 IN USE |
| Bed, Adult Patient with Mattress | HEALTH |  | 10 Bed Adult Patient Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 8,500,000 |  |  |  | GOOD | 10 IN USE |
| Bed, Pediatric Patient, With Mattress | HEALTH |  | 5 Beds Pedriatric Patient Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 3,900,000 |  |  |  | GOOD | 5 IN USE |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | HEALTH |  | 1 Cupboard Instrument Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,200,000 |  |  |  | GOOD | 1 IN USE |
| Delivery Bed, Hydraulic Manual | HEALTH |  | 1 Delivery Bed Hydraulic Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 15,000,000 |  |  |  | GOOD | 1 IN USE I TAKEN TO KOBOKO HOSPITAL |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | HEALTH |  | 2 Oxygen Therapy Apparatus Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,960,000 |  |  |  | GOOD | 2 IN USE |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | 2 Resuscitators Manual Infant Found In Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 380,000 |  |  |  | GOOD | 2 IN USE |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | 2 Resuscitators Manual Adult Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 340,000 |  |  |  | GOOD | 2 IN USE |
| Suction Apparatus, (Electric) | HEALTH |  | 2 Sunction Apparatus Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,960,000 |  |  |  | GOOD | 2 IN USE |
| Nebulizer, Ultrasonic | HEALTH |  | 1 Nebulizer Ultrasonic Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 350,000 |  |  |  | GOOD | 1 IN USE |
| Oxygen Concentrator, Duo Flow | HEALTH |  | 2 Oxygen Concentrators Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 1,8000,000 |  |  |  | GOOD | 2 IN USE |
| Bench | HEALTH |  | 4 Benches Found In Ludara Sub_County, Koboko District In Chakulia HC III |  | CH/CIII |  |  |  | 340,000 |  |  |  | GOOD | 4 IN USE |
| Disinfection Buckets | HEALTH |  | 6 Disinfection Buckets Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 324,000 |  |  |  | GOOD | 6 IN USE |
| Baby Cot | HEALTH |  | 5 Baby Cots Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 2,900,000 |  |  |  | GOOD | 5 IN USE |
| Diagnostic Equipment Set for Ward | HEALTH |  | 3 Diagonistic Equipment Set Ward Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 3,105,000 |  |  |  | GOOD | 3 IN USE |
| Hollow Ware Set, Ward | HEALTH |  | 4 Hollow Ware Set Ward Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 1,905,000 |  |  |  | GOOD | 4 IN USE |
| Instrument Set, Delivery | HEALTH |  | 2 Instrument Sets Delivery 2 Instrument Sets Delivery Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 1,140,000 |  |  |  | GOOD | 2 IN USE |
| Instrument Set, Stitch Removing | HEALTH |  | 2 Instrument Set Stitch Removing Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 540,000 |  |  |  | GOOD | 2 IN USE |
| MVA Kit | HEALTH |  | 4 Mva Kits Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 760,000 |  |  |  | GOOD | 4 IN USE |
| Stool, Laboratory | HEALTH |  | 1 Stool Laboratoryfound In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 400,000 |  |  |  | GOOD | 1 IN USE |
| Penguin Sucker | HEALTH |  | 3 Penguin Suckers Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 1,350,000 |  |  |  | GOOD | 3 IN USE |
| Fetoscope, Dopplar | HEALTH |  | 2 Fetoscopes Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 900,000 |  |  |  | GOOD | 2 IN USE |
| Bubble CPAP | HEALTH |  | 2 Bubble Cpap Found I In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 8,000,000 |  |  |  | GOOD | 2 IN USE |
| Centrifuge (Electric) | HEALTH |  | 2 Centrifuges Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 900,000 |  |  |  | GOOD | 2 IN USE |
| Kangaroo Mother Care Chair | HEALTH |  | 1 Kangaroo Mother Care Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 165,000 |  |  |  | GOOD | 1 IN USE |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HC III |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | 7 Office Chairs Found In Chakulia HC III Ludara Sub_County, Koboko District |  | HC/CIII |  |  |  | 840,000 |  |  |  | GOOD | 7 IN USE |
| Desk | HEALTH |  | 3 Desks Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 765,000 |  |  |  | GOOD | 3 IN USE |
| Filing Cabinet | HEALTH |  | 2 Filing Cabinets Found In Chakulia HC III Ludara Sub_County, Koboko District |  | CH/CIII |  |  |  | 2,400,000 |  |  |  | GOOD | 2 IN USE |
| Non Residential Buildings | HEALTH |  | 1 Building OPD Found In Chakulia HC III Ludara Sub_County, Koboko District |  |  |  |  |  |  |  |  |  | GOOD | OPD WARD IN USE |
| TOILETS | HEALTH |  | 1 Toilet found In Chakulia HC III Ludara Sub_County, Koboko District |  |  |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| TANKS | HEALTH |  | 2, 5000L Tanks Found In Chakulia HC III Ludara Sub_County, Koboko District |  | N/A |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …PADROMBU SEED SECONDARY SCHOOL……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO RECORDS |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

THE SCHOOL MAINTAINS THE ASSETS

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS

EASY ACCESS OF EDUCATION SERVICES BY COMMUNITY

IMPROVED RELATIONS WITH BOARDERING COUNTRIES

CHALLENGES

DELAY BY CONTRACTORS TO DELIVER THE GOODS AND SERVICES

NO FENCING TO PROTECT THE ASSETS RECEIVED

RECOMMENDATIONS

CONSIDER FENCING AS A PRIORITY

INCREASE STAFF ACCOMODTION BUILDINGS

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG…KOBOKO……………………………………………………………… Name of SCHOOL…PADROMBU SEED SECONDARY SCHOOL……………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TABLES | EDUCATION |  | 80 TABLES,FOUR SEATERS IN LOBULE IN CHAKULIA HC III SUB_COUNTY, KOBOKO DISTRICT |  | UGIFT2023/24 /PASSS All assets have the same engagement. |  |  |  |  |  |  |  | GOOD | 80 TABLES I N USE |
| CHAIRS | EDUCATION |  | 265 CHAIRS IN LOBULE SUB_COUNTY, KOBOKO DISTRICT IN CHAKULIA HC III |  | UGIFT2023/24 /PASSS |  |  |  |  |  |  |  | GOOD | 255 IN USE |
| SHELVES | EDUCATION |  | 10 SHELVES IN LOBULE SUB_COUNTY, KOBOKO DISTRICT IN CHAKULIA HC III |  | UGIFT2023/24 /PASSS |  |  |  |  |  |  |  | GOOD | 10 IN USE |
| LAB STOOLS | EDUCATION |  | 90 LABORATORY STOOLS IN LOBULE SUB_COUNTY, KOBOKO DISTRICT IN CHAKULIA HC III |  | UGIFT2023/24 /PASSS |  |  |  |  |  |  |  | GOOD | 90 IN USE |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…KOBOKO………………………………………………………………………… Name of SCHOOL…PADROMBU SEED SECONDARY SCHOOL……………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COMPUTERS | EDUCATION |  | 28 COMPUTERS IN LOBULE SUB_COUNTY KOBOKO District IN CHAKU LIA HC III |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | 28 IN USE NO SERIAL NUMBERS |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…KOBOKO………………………………………………………………………… Name of SCHOOL…PADROMBU SEED SECONDRAY SCHOOL……………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NONRESIDENTIAL | EDUCATION |  | 4 BLOCKS LOBULE SUBCOUNTY, KOBOKO DISTRICT, IN CHAKULIA HC III |  | N/A |  |  |  |  |  |  |  | GOOD | 1 CLASS BLOK 1 ICT LAB BLOCK 1 MULTIPURPOSE HALL 1 ADMINISTRATION |
| TOILETS | EDUCATION |  | 2 TOILETS IN CHAKULIA HC III LOBULE SUBCOUNTY, KOBOKO DISTRICT |  | N/A |  |  |  |  |  |  |  | GOOD | 2 IN USE |
| WATER TANKS | EDUCATION |  | 10,000L WATER TANK IN CHAKULIA HC III LOBULE SUBCOUNTY, KOBOKO DISTRICT |  | N/A |  |  |  |  |  |  |  | GOOD | 1 IN USE |
| RESIDENTIUAL BUILDINGS | EDUCATION |  | 3 BLOCKS WITH 2 HOSES EACH IN CHAKULIA HC III LOBULE SUBCOUNTY, KOBOKO DISTRICT |  | N/A |  |  |  |  |  |  |  | GOOD | 3 TWIN STAFF HOUSES IN USE |