VERIFICATIONDETAILS

| NAMEOFTHEREGION: | NORTHERNREGION |
| --- | --- |
| SUB-REGION: | WESTNILE |
| NameofLocalGovernment | MARACHADISTRICT |
| VERIFIERPARTICULARS |  |
| Fullname | SIKIAFIKIRA |
| Contact/emailandTelephone | 0783517165 |
| Supervisor/Subteamleader |  |
| Name | KIRIBAKKAVINCENT |
| Contact | 0772628302 |
| Dateofsubmission |  |

HEALTHCENTRES

INFORMANTINTERVIEW/DISCUSSIONGUIDE(INCHARGEORRESPONSIBLEPERSON)

NameofHealthcenter;EkaligoHEALTHCENTERIII

| 1a | DoestheFacilityhavearecordofallassetsprovidedunderUgIFT. (Obtainarecordandverifyifithasthecostsandnumberssupplied | Yes |
| --- | --- | --- |
| 1b | IfNotaskhowmanyweresuppliedandwhen. |  |

| 2 | HowdoesthisfacilityMaintain(repair/service/replace)theassetsprovidedunderUgift |
| --- | --- |

Fortheminorbreakdowntthehealthcenterrepairsthem

Formajoronesitthedistrictthattakeschargeofthem.

Forthecaseofmaintenancetheinchargemakessurethattheequipmentsarekeptinasafeplaceandawayfromdirectsunlightandrain

| 3 | Doesthefacilitytakeregularrecordaboutfunctionality/orbreakdownoftheassetsprovided? | Yes Thefacilitieswheelchairsareallbrokenthetiresareflattened |
| --- | --- | --- |

| 4 | HowhastheUgIFTsupporthelpedinservicedeliveryinthearea,anyissues,challengesandanyrecommendationsforbetterprogramimplementation. | Createsenoughroomforaccommodation Increasenumberofpatientadmissionsduetoenoughbeds Itcoversthelongdistancethatpatience’swouldusetogotomarachahospital |
| --- | --- | --- |

Challenges

Lackofelectricitysomeoftheequipmentsthatrequireelectricityliketherefrigeratorandotherspackedinthestore.

Lackofenoughstaff

Recommendation

Theirsagentneedformorestaffs

NeedformorestafftohealthintheincreaseofpatientsatthehealthcenterIII

PROCEEDTOVERIFICATIONAFTERTHISDISCUSSION

Healthcentrechecklist

NAMEOFLGMARACHADISTRICTNAMEOFHEALTHFACILITY:	EKALIGOHEALTHCENTERIII

| Equipment/Item | Department | AssetNumber | Item Description | LifeinMonths | TagNumber(engraveno.) | DateOfPurchase | DatePlacedInService | Recoverablecost | Cost | AccDepCost | NetBookValue | YtdDeprn | Equipmentstatus | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P.Machine,Digital | Health |  | 03 Digital BP Machine, Maracha -District, Kijomoro sub-county, Ekaligo HC III |  | Not engraved | 15/04/24 |  |  |  |  |  |  | Good | 02areinuseand1ispacked |
| B.P.Machine(Aneroidwallmounted) | Health |  | 03 BP Machines(Aneroid wall mounted) -Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Not engraved | 15/4/24 |  |  |  |  |  |  | Goodcondition | Allinuse |
| Autoclave20Liters.,DuoOperated | Health |  | 02 20Liters Autoclave, Duo Operated, Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 | 10/8/23 |  |  |  |  |  | Goodcondition | Inuse |
| Bowl,Kick | Health |  | 02 bowl kick, Maracha -District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 | 10/8/23 |  | - |  |  |  | Goodcondition | Allinuse |
| BowlStand | Health |  | 03 Bowl stand -Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 | 10/8/23 |  | - |  |  |  | Good | Allinuse |
| CountingchamberNeubauer-Improved | Health |  | 02 Improved Neubauer Counting chamber - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 | 10/8/23 |  | 174,858 |  |  |  | Stillingoodcondition | Allareplacedinuse |
| CupboardSteel,Lockable | Health |  | 02 Steel Cupboard -Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  | 15/4/24 | 10/8/23 |  |  |  |  |  | Stillingoodcondition | Allputinuse |
| DripStand | Health |  | 13 Drip stands -Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  | 15/4/24 | 10/8/23 |  | 291,427 |  |  |  | Good | Allinuse |
| ESRStand | Health |  | 01 ESR Stand Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  | 15/4/24 | 10/8/23 |  | 145,714 |  |  |  | Good | Allputinuse |
| ExaminationCouch | Health |  | 03 examination couch Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  | 15/04/24 |  |  | - |  |  |  | Good | Allputinuse |
| Examination light, LED | Health |  | 02 LED examination light Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/04/24 |  |  | 1,845,706 |  |  |  | Goodcondition | Allputinuse |
| Glucometer | Health |  | 04 Glucometers-Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 |  |  | 466,284 |  |  |  | Allingoodcondition | Inuse |
| HaemoglobinMeter,Digital | Health |  | 02 Digital Haemoglobin Meter, Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/04/24g |  |  |  |  |  |  | Good | Inuse |
| HeightMeter | Health |  | 02 height meters Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 437,141 |  |  |  | Goodcondition | Allthe0areputinuse |
| InstrumentTrolley | Health |  | 04 Instrument Trolleys Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/04/24 |  |  |  |  |  |  | Good | 01isputinuseandanotheronekeptasthestore |
| Flowsplitters | Health |  | 02 flow splitters -Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/04/24 |  |  | 874,282 |  |  |  | Good | Allconsumed |
| MicroscopeBinocular | Health |  | 01 Microscope Binocular - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/04/24 |  |  | 1,554,279 |  |  |  | Good | Functional |
| Otoscope | Health |  | 01 Otoscope - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 |  |  | 310,856 |  |  |  | Good | inuse |
| PatientScreen | Health |  | 05 Patient screens -Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 |  |  | 407,998 |  |  |  | Good | Allinuse |
| PatientTrolley | Health |  | 01 Patient Trolley -Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 2,428,560 |  |  |  | Good | Itsstillfunctional |
| Refrigerator,Basic | Health |  | 02 Basic Refrigerator -Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | - |  |  |  | Good | 01inuseandanotheronekeptduetolimitedpower |
| Stethoscope |  |  | 08 stethoscopes - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 194,285 |  |  |  | Good | Allinuse |
| StopWatch | Health |  | 02 Stop Watches -Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/05/24 |  |  | - |  |  |  | Good | Allinuse |
| Stretcher | Health |  | 02 Stretchers - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/24 | - |  |  |  |  |  | Good | Allareinuse |
| Stove,Gas | Health |  | 02 Gas stove - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 18/10/23 | - |  | 360,000 |  |  |  | Good | Allinuse |
| WeighingScalewithHeightMeter,Adult | Health |  | 01 Adult Weighing scale Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/23 |  |  | - |  |  |  | Allgood | functional |
| WeighingScale,Infant | Health |  | 02 Infant weighing scale Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | - |  |  |  | AllGood | functional |
| WeighingScale,Toddler | health |  | 01 Toddler Weighing scale Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  | 28/11/22 |  |  | 932,568 |  |  |  | Good | Inuse |
| WheelChair | Health |  | 04 wheelchairs Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 728,568 |  |  |  | Good | Allinuse |
| AudioVisualEquipment | Health |  | 01 Audio visual -Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | - |  |  |  | Goodallinuse |  |
| MedicalWasteBin | Health |  | 20 Medical waste bins Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  | 28/11/22 |  |  | 369,141 |  |  |  | Good | Allinuse |
| WallClock | Health |  | 4 Wall clocks Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  | 8/5/22 |  |  | - |  |  |  | Good | Nonmissing |
| DiagnosticEquipmentSetforMCH | Health |  | 2 MCH Diagnostic equipment sets Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 631,426 |  |  |  | Good | Inuse |
| DiagnosticEquipmentSetforOPD | Health |  | 02 OPD Diagnostic equipment sets - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 1,252,212 |  |  |  | Good | Inuse |
| GlasswareSet,Laboratory,Basic | Health |  | 02 Laboratory Glass ware sets, - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 241,856 |  |  |  | Good | Notinuse |
| HollowWareSet,Treatment | Health |  | 02 Hollow ware sets , - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/05/24 |  |  | 2,424,560 |  |  |  | Good | 01isinuseandanotheroneisstillpacked |
| InstrumentSet,Dressing | Health |  | 04 Dressing Instrument sets - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 388,570 |  |  |  | Good | 02areinuseandandtheremainingarepackedinthestore |
| InstrumentSet,BasicENT | Health |  | 01 Basic ENT Instrument set - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 2,153,803 |  |  |  | Good | Inuse |
| InstrumentSet,Suture | Health |  | 03 Suture Instrument sets - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 437,141 |  |  |  | Good | All3inuse |
| PulseOximeter,Handheld | Health |  | 02 Hand Held Pulse Oximeter, - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/05/24 |  |  | 2,659,895 |  |  |  | Good | 01isusedandIstillpackedinabox |
| Bed,AdultPatientwithMattress | Health |  | 20 Adult Patient Beds - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/05/24 |  |  | - |  |  |  | good | 04bedsarenotassembled. |
| Bed,PediatricPatient,WithMattress | Health |  | 04 Pediatric Patient Bed, with mattresses - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 |  |  | 781,151 |  |  |  | Good | Allinuse |
| BedsideLocker | Health |  | 10 Bed side lockers - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/06/23 |  |  | - |  |  |  | Good | Allinuse |
| Cupboard,Instrument | Health |  | 01 Instrument Cupboard - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/06/23 |  |  |  |  |  |  |  |  |
| DeliveryBed,HydraulicManual | Health |  |  |  | Notengraved | 15/04/24 |  |  | 2,5000,000 |  |  |  | Good | Functional |
| OxygenTherapyApparatus,Mininum45Lcylinder | Health |  | 02 oxygen therapy apparatuses - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 |  |  |  |  |  |  | Packed | Theyarestillpacked |
| ResuscitatorManual,Infant,withallMasksizes | Health |  | 01 Infant resuscitator - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 18/10/23 |  |  | - |  |  |  | Good | Inuse |
| ResuscitatorManual,Adult,withallmasksizes |  |  | 01 Adult resuscitator - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 18/10/23 |  |  | - |  |  |  | Good | Inuse |
| SuctionApparatus,(Electric) | Health |  | 01 Suction apparatus(electric) - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 |  |  |  |  |  |  | Good | Inuse |
| Nebulizer,Ultrasonic | Health |  | Ultrasonic Nebulizer - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved |  |  |  | 2,200,000 |  |  |  | Good | Inuse |
| OxygenConcentrator,DuoFlow | Health |  | 01 Duo Flow oxygen concentrator- Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 |  |  | 6,500,000 |  |  |  | Goodcondition | Inuse |
| Bench | Health |  | 04 benches - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/6/23 |  |  | 760,000 |  |  |  | Good | Allinuse |
| DisinfectionBuckets | Health |  | 06 Disinfection Buckets - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/05/24 |  |  | 170,000- |  |  |  | Good | Allinuse |
| BabyCot | Health |  | 02 Baby cots - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved |  |  |  | 777,139 |  |  |  | Good | Allareinuse |
| DiagnosticEquipmentSetforWard | Health |  | 02 Ward Diagnostic Equipment sets - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/05/24 |  |  | 963,000 |  |  |  | Good | Allinusecausetheysterilizethem |
| HollowWareSet,Ward | Health |  | 02 Ward Hollow Ware sets - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/4/24 |  |  | 3,464,643- |  |  |  | Good | Inuse |
| InstrumentSet,Delivery | Health |  | 02 Delivery Instrument sets - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 | 10/8/23 |  | 1,262,321 |  |  |  | Good | Stillfunctional |
| InstrumentSet,StitchRemoving | Health |  | 03 Stitch Removing Instrument sets - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 28/11/22 | 10/8/23 |  | 388,570 |  |  |  | Goodcondition | 02areinuseand01isstillpackedinthestore |
| MVAKit | Health |  | 05 MVA Kit - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved |  |  |  | 767,615 |  |  |  | 2areputinuse01gotbrokenandthetwoarestillpacked | 01brokenoneisnotrepaired |
| Stool,Laboratory | Health |  | 03 lab stools - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 15/05/24 |  |  |  |  |  |  |  |  |
| PenguinSucker | Health |  | 03 penguin Suckers - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved |  |  |  | 32,094 |  |  |  | Good | consumed |
| Fetoscope, Doppler | Health |  | 02 Doppler Fetoscopes - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/24 |  |  | 24,286 |  |  |  | Good | consumed |
| BubbleCPAP | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge(Electric) | Health |  | 01 Electric Centrifuge - Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  | 215/04/24 |  |  | 3,500,000 |  |  |  | Stillingoodcondition | Notyetopenedtobeusedduetolackofelectricityinlikehealthcenteriiih |
| KangarooMotherCareChair | Health |  | 01 kangaroo Mother care Chair - Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  | 19/05/24 |  |  | 2,500,000 |  |  |  | Stillingoodcondition | itisusedonceinawhile |
| Radiant Infant Warmer | Health |  | 02 Radiant Infant Warmers - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/24 | 23/05/24 |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health |  | 02 Sahli HaemoglobinMeters - Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  | 19/05/24 | 23/05/24 |  | - |  |  |  | Stillingoodcondition | Allputinuse |
| DeliveryBed | Health |  | 01 delivery bed - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/24 | 23/5/24 |  | 2,500,000 |  |  |  | Goodcondition | Favorsthedisablepeopletoobecauseitcanbelowered |
| Examinationlight | Health |  | 03 examination lights - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/24 | 23/5/24 |  |  |  |  |  | Goodcondition | 02areinuseand01isstillpackedandkeptinthestore |
| Instrumentset,ENTBasicforHCIII | Health |  | 02 Basic ENT Instrument sets - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/24 | 23/05/24 |  | 1,681,680 |  |  |  | Stillingoodcondition | Allareinuse |
| BagValvemask(AmbuBag),Neonatal | Health |  | 15 Bag Valve masks - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/ | 23/05/24 |  | 100,294 |  |  |  | consumed | Theyareallbeusedalready |
| Incubator | Health |  | 01 Incubator - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/24 | 23/05/24 |  |  |  |  |  | Good | Inuse |
| OfficeChair | Health |  | 07 office chairs - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/24 | 2/5/24 |  | 695,000 |  |  |  | Goodcondition | Allputinuse |
| Desk | Health |  | 05 Desks - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/24 | 23/05/24 |  | 745,000 |  |  |  | Good | Allinuse |
| FilingCabinet | Health |  | 04 filing cabinets - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved | 19/05/24 | 23/05/24 |  | 2,595,000 |  |  |  | Goodcondition | Allputinuse |
| NonResidentialBuildings | Health |  | 01 Building Block with General, Maternity & pediatric Wards with Toilets & Bath rooms- Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved |  |  |  |  |  |  |  | Goodcondition | Allbeingoccupied |
| ResidentialBuildings | Health |  | 02 blocks of two Housing units with Toilets, Bathrooms & Kitchen - Maracha District, Kijomoro sub-county, Ekaligo HC III |  |  |  |  |  |  |  |  |  | Good | Inuse |
| Fence with a gate for the health center | Health |  | A fence - Maracha District, Kijomoro sub-county, Ekaligo HC III |  | Notengraved |  |  |  |  |  |  |  | Good | Inuse |

SCHOOLVERIFICATIONCHECKLIST