ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | WESTNILE |
| Name of Local Government | TEREGO |
| VERIFIER PARTICULARS |  |
| Full name | NANTAJJA ARNOLD |
| Contact/ email and Telephone | 0705962743 |
| Supervisor/ Sub team leader |  |
| Name | KIRIBAKKA VICENT |
| Contact | 0772628302 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …WATI HEALTH CENTER III……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

THE DISTRICT MAINTAINS THE ASSETS

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

GAINS;

- Improved service delivery

- Better equipment and structure

CHALLENGES

- Lacks bigger OPD ward

- Insufficient power supply

RECOMMENDATIONS

- Need power back up

- Need bigger OPD ward

- More staffing needed

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG……TEREGO …………………………………… NAME OF HEALTH FACILITY…WATI HEALTH CENTER III………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( Engrave No.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  | 2 Digital BP Machines In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| B.P. Machine (Aneroid Wall Mounted) | Health |  | 3 Wall Mounted BP Machine In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 3 in use 1 in store |
| Autoclave 20 Liters. Duo Operated | Health |  | 1 20L Duo Operated Autoclave In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | Health |  | 3 Bowl Stands In Wati HC III, Yivu Subcounty, Maracha |  | Not Engraved |  |  |  |  |  |  |  | Good | 3 in use |
| Counting Chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health |  | 2 Steel Cupboards In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Drip Stand | Health |  | 13 Drip Stands In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 12 in use 1 broken |
| ESR Stand | Health |  | 1 ESR Stand In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use |
| Examination Couch | Health |  | 4 Examination Couches In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 4 in use |
| Examination Light, LED | Health |  | 4 Led Examination Lights In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use 2 in store |
| Glucometer | Health |  | 4 Glucometers In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 4 in use |
| Haemoglobin Meter, Digital | Health |  | 1 Digital Haemoglobin Meter In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use 1 out dated |
| Height Meter | Health |  | 2 Height Meters In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular | Health |  | 2 Microscope Binoculars In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Otoscope | Health |  | 1 Otoscope In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use |
| Patient Screen | Health |  | 8 Patient Screens In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 6 in use 2 in store |
| Patient Trolley | Health |  | 1 Patient Trolley In Wati HC III, Yivu Subcounty, Maracha District |  |  |  |  |  |  |  |  |  | Good | 1 in use |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope | Health |  | 12 Stethoscopes In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 12 in use |
| Stop Watch | Health |  | 1 Stop Watch In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use |
| Stretcher | Health |  | 2 Stretchers In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Stove, Gas | Health |  | 2 Gas Stoves In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Weighing Scale With Height Meter, Adult | Health |  | 2 Adult Weighing Scales With Height Meter In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in store 2 in use |
| Weighing Scale, Infant | Health |  | 1 Infant Weighing Scale In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use |
| Weighing Scale, Toddler | Health |  | 1 Toddler Weighing Scale In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | I in use |
| Wheel Chair | Health |  | 7 Wheelchairs In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 3 in use 4 i store |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | Health |  | 5 Wall Clocks In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 5 in use |
| Diagnostic Equipment Set For MCH | Health |  | 2 MCH Diagnostic Equipment In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Diagnostic Equipment Set For OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health |  | 2 Dressing Instrument Sets In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Instrument Set, Basic Ent | Health |  | 2 Sets of Basic ENT Instrument In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Instrument Set, Suture | Health |  | 2 Instrument Sets Suture In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Pulse Oximeter, Hand Held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient With Mattress | Health |  | 20 Adult Patient Beds with Beds In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 20 in use |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | Health |  | 1 Instrument Cupboard In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use |
| Delivery Bed, Hydraulic Manual | Health |  | 2 Manual Hydraulic Delivery Beds In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Oxygen Therapy Apparatus, Mininum 45L Cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, With All Mask Sizes | Health |  | 5 Infant Resuscitators In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 5 in use |
| Resuscitator Manual, Adult, With All Mask Sizes | Health |  | 6 Manual Adult Resuscitators with all masks In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use 5 in store |
| Suction Apparatus, (Electric) | Health |  | 2 Electric Suction Apparatus In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use 1 in use |
| Nebulizer, Ultrasonic | Health |  | 1 Ultrasonic Nebulizer In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in uise |
| Oxygen Concentrator, Duo Flow | Health |  | 2 Duo Flow Oxygen Concentrators In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use 1 in store |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | Health |  | 3 Baby Cots In Wati HC III, Yivu Subcounty, Maracha |  | Not Engraved |  |  |  |  |  |  |  | Good | 3 in use |
| Diagnostic Equipment Set For Ward | Health |  | 2 Diagnostic Equipment Ward In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Hollow Ware Set, Ward | Health |  | 2 Hollow Ware Set Ward In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Instrument Set, Delivery | Health |  | 2 Sets of Delivery Instruments In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use 1 in store |
| Instrument Set, Stitch Removing | Health |  | 2 Sets of Stitch Removing Instruments In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 2 in use |
| Mva Kit | Health |  | 4 MVA Kits In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 4 in use |
| Stool, Laboratory | Health |  | 3 Laboratory Stools In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 3 in use |
| Penguin Sucker | Health |  | 3 Penguin Suckers In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 3 in use |
| Fetoscope, Dopplar | Health |  | 3 Fetoscopes Doppler In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 3 in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | 1 Electric Centrifuge In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use |
| Kangaroo Mother Care Chair | Health |  | 1 Kangaroo Mother Chair In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use |
| Radiant Infant Warmer | Health |  | 1 Radiant Infant Warmer In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use |
| Haemoglobin Meter, Sahli | Health |  | 2 Sahli Haemoglobin Meters In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 in use I outdated |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Light | Health |  | 4 Examination Lights In Wati HC III, Yivu Subcounty, Maracha |  | Not Engraved |  |  |  |  |  |  |  | Good | 4 in use |
| Instrument Set, ENT Basic For HC III |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve Mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | Health |  | 2 Buildings (Maternity, OPD & General wards) In Wati HC III, Yivu Subcounty, Maracha |  | N/A |  |  |  |  |  |  |  | Good | 1 opd ward 1 maternity/ general ward |
| Residential Buildings | Health |  | 2 Blocks With 4 Staff Homes In Wati HC III, Yivu Subcounty, Maracha District |  | N/A |  |  |  |  |  |  |  | Good | 4 staff houses |
| Water TANKS | Health |  | 2, Ten Thousand Litres Tanks In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 5 in use |
| Water TANKS |  |  | 3, Five thousand Litres Tanks In Wati HC III, Yivu Subcounty, Maracha District |  |  |  |  |  |  |  |  |  |  |  |
| Solar Panels | Health |  | 6 Solar Panels In Wati HC III, Yivu Subcounty, Maracha District |  | Not Engraved |  |  |  |  |  |  |  | Good | 6 pannels |

SCHOOL VERIFICATION CHECKLIST