ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTH |
| --- | --- |
| SUB-REGION: | WESTNILE |
| Name of Local Government | YUMBE |
| VERIFIER PARTICULARS |  |
| Full name | NANTAJJA ARNOLD |
| Contact/ email and Telephone | 0705962743 |
| Supervisor/ Sub team leader | KIRIBAKKA VICENT |
| Name |  |
| Contact | 0772628302 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …KERWA HEALTH CENTER III……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO, THEY HAVE INVENTORY RECORDS |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | NOT AWARE |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

BOTH DISTRICT AND FACILITY MAINTAIN THE ASSETS

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

THE FACILITY TAKES FUNCTIONALITY RECORDS EVERY SIX MONTHS

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

GAINS

BOOSTED EQUIPMENT CAPACITY

CHALLENGES

NONE

RECOMMENDATIONS

CONTINUOUS SUPPLY OF THE ASSSTS

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health canter checklist

NAME OF LG…YUMBE……………………………………… NAME OF HEALTH FACILITY…KERWA HEALTH CENTER III………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  | 4 Bp Machines In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | HEALTH |  | 1 Bowl Kick In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | HEALTH |  | 2 Cupboards In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Drip Stand | HEALTH |  | 8 Dripstands In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | 3 in use 5 in store |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED | HEALTH |  | 2 Led Examination Lights In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Glucometer | HEALTH |  | 2 Glucometers In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | NOT ENGRAVED |  |  |  |  |  |  |  | Good | In use |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | HEALTH |  | 1intrument Trolley In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Microscope Binocular | HEALTH |  | 1 Binocular Microscope In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Otoscope | HEALTH |  | 2 Otoscopes In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Patient Screen | HEALTH |  | 3 Patient Screens In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | HEALTH |  | 1 Refrigeratore In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Stethoscope | HEALTH |  | 1 Stethoscope In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | HEALTH |  | 1 Gas Stove In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Weighing Scale with Height Meter, Adult | HEALTH |  | 1 Adult Weighing Scale With Height Meter In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Weighing Scale, Infant | HEALTH |  | 1 Infant Weighing Scale In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | HEALTH |  | 4 Wall Clocks In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Diagnostic Equipment Set for MCH | HEALTH |  | 2 Mch Diagonistic Equipment Sets In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Diagnostic Equipment Set for OPD | HEALTH |  | 2 Opd Diagonistic Equipment Sets In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | HEALTH |  | 6 Bedside Lockers In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | HEALTH |  | 1 Hydraulicmanua Delivery Bed L In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | HEALTH |  | 1 Ultrasonic Nebulizer In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Oxygen Concentrator, Duo Flow | HEALTH |  | 4 Duo Flow Oxygen Consentrators In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Bench | HEALTH |  | 4 Benches In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Disinfection Buckets | HEALTH |  | 5 Disinfection Baskets In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | 4 in use 1 in store |
| Baby Cot | HEALTH |  | 4 Baby Cots In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | HEALTH |  | 3 Mva Kits In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | HEALTH |  | 2 Bubble Cpap In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In store |
| Centrifuge (Electric) | HEALTH |  | 1 Electric Centrifuge In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In store |
| Kangaroo Mother Care Chair | HEALTH |  | 1 Kangaroo Mother Care Chair In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | HEALTH |  | 1 Delivery Bed In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engrved |  |  |  |  |  |  |  | Good | In use |
| Examination light | HEALTH |  | 2 Examinatin Lihts In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | 4 Office Chairs In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Desk | HEALTH |  | 2 Desks In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Filing Cabinet | HEALTH |  | 2 Filing Cabinets In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraveed |  |  |  |  |  |  |  | Good | In use |
| Non Residential Buildings | HEALTH |  | 1 Building In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | N/a |  |  |  |  |  |  |  | Good | Inuse |
| Residential Buildings | HEALTH |  | 1 Staff Residential Block With 2 House In Kerwa Health Center III, Kerwa Sub-County, Yumbe District |  | Not engraved |  |  |  |  |  |  |  | Good | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …KERWA SEED SECONDARY SCHOOL……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

NO MAINTENANCE HAS BEEN MADE TO DATE

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

GAINS

EMPLOYMENT OPPORTUNITIES FOR TEACHERS

INCREASE IN COMMUNITY EDUCATION LEVELS

CHALLENGES

THERE IS WATER SCARCITY IN THE SCHOOL

LATRINES GOT FILLED UP WITH WATER

CLASS ROOFS ARE LEAKING

RECOMMENDATIONS

NEED A STABLE WATER SOURCE

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG……YUMBE…………………………………………………………… Name of SCHOOL…KERWA SEED SECONDARY SCHOOL……………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DESKS | EDUCATION |  | 120, THREE SEATER DESKS IN KERWA SEED SCHOOL, KERWA SUB-COUNTY, MYUMBE |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | IN USE |
| SHELVES | EDUCATION |  | 5 BOOK SHELVES IN KERWA SEED SCHOOL, KERWA SUB-COUNTY, MYUMBE |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | IN USE |
| CHAIRS | EDUCATION |  | 220 CHAIRS IN KERWA SEED SCHOOL, KERWA SUB-COUNTY, MYUMBE |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | IN USE |
| TABLES | EDUCATION |  | 62 TABLES FOR 4 PEOPLE IN KERWA SEED SCHOOL, KERWA SUB-COUNTY, MYUMBE |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | IN USE |
| OFFICE TABLES | EDUCATION |  | 11 OFICE TABLES FOR ONE PERSON IN KERWA SEED SCHOOL, KERWA SUB-COUNTY, MYUMBE |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | IN USE |
| LABORATORY SCHOOLS | EDUCATION |  | 80 LABORATORY STOOLS IN KERWA SEED SCHOOL, KERWA SUB-COUNTY, MYUMBE |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | IN USE |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG………YUMBE…………………………………………………………………… Name of SCHOOL…KERWA SEED SECONDARY SCHOOL……………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COMPUTERS | EDUCATION |  | 20 HP i5 COMPUTERS IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| COMPUTERS | EDUCATION |  | 1 HP i7 COMPUTER IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| NETWOK SWITCH | EDUCATION |  | 2 NETWOK SWITCHES IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| MULTIPURPOSE PRINTER | EDUCATION |  | 1 PRINTER IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| UPS | EDUCATION |  | 1 UPS IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| ACER PROJECTOR | EDUCATION |  | 1 PROJECTOR IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| NETWOK CABINET RACK | EDUCATION |  | 1 IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| WIRELESS ROUTER | EDUCATION |  | 1 WIRELESS ROUTER IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| AIR CONDITIONER | EDUCATION |  | 1 AIR CONDITIONER IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| FIREWALL | EDUCATION |  | 1 FIREWALL IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| POWER SURGE PROJECTOR | EDUCATION |  | 1 IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| SERVER UPS | EDUCATION |  | I SERVER UPS IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| LAN | EDUCATION |  | 1 LAN IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| CCTV CAMERAS | EDUCATION |  | 1 CCTV CAMEARA IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |
| ROUTER | EDUCATION |  | 1 ROUTER IN YUMBE DISTRICT |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | ALL IN DISTRICT STORE |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG……YUMBE……………………………………………………………………… Name of SCHOOL…KERWA SEED SECONDARY SCHOOL……………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NONRESIDENTIAL BUILDINGS |  |  | 7 NON RESIDENTIAL BUILDINGS IN KERWA SEED SCHOOL, KERWA SUB-COUNTY, MYUMBE |  | N/A |  |  |  |  |  |  |  | GOOD | IN USE Administration ICT lab/Library Multi-purpose hall Laboratory Classroom |
| TANKS | EDUCATION |  | 2 TANKS IN KERWA SEED SCHOOL, KERWA SUB-COUNTY, MYUMBE |  | NOT ENGRAVED |  |  |  |  |  |  |  | GOOD | IN USE 10,000 |
| TOILETS | EDUCATION |  | 3 TOILETS IN KERWA SEED SCHOOL, KERWA SUB-COUNTY, MYUMBE |  | N/A |  |  |  |  |  |  |  | GOOD | IN USE |
| RESIDENTIAL BUILDINGS | EDUCATION |  | 3 BLOCKS OF 2 HOUSES IN KERWA SEED SCHOOL, KERWA SUB-COUNTY, MYUMBE |  | N/A |  |  |  |  |  |  |  | GOOD | IN USE |
| I |  |  |  |  |  |  |  |  |  |  |  |  |  |  |