ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | ACHOLI SUBREGION |
| Name of Local Government | ADJUMANI DISTRICT LG |
| VERIFIER PARTICULARS |  |
| Full name | OCHAN INNOCENT KWAGALA JOANNA KAAYA |
| Contact/ email and Telephone | 0780843654 0780770702 |
| Supervisor/ Sub team leader |  |
| Name | KIRIBAKKA VINCENT |
| Contact | 0772628302 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:   ARINYAPI HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The incharge takes monthly records of spoilt assets and hands them to the district store for repair

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

It does monthly by the store manager and incharge

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Benefits:

- It has improved health services in terms of delivery, immunization, antenatal care, postnatal and family planning services.

- It has reduced pressure on the health centre III

Challenges:

- UgIFT didn’t build staff quarters here.

- Toilets are not enough

- There is no power in the existing staff quarters

Recommendations:

- Increase staff,

- Construct male patient latrines

- Equip the laboratory with more

- Provision of fire extinguishers

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG:  ADJUMANI DISTRICT         NAME OF HEALTH FACILITY:  ARINYAPI HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health | E-006 | BP Digital Machine - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| B.P. Machine (Aneroid wall mounted) | Health | E-073 | BP Machine( Aneroid Wall mounted)- - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Autoclave 20 Liters, Duo Operated | Health | E-167 | 20L Duo Operated Manual Autoclave- Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Bowl, Kick | Health |  | Plastic Bowl- - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Bowl Stand | Health |  | Steel Bowl Stand- - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health |  | Metallic Cupboard- - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Drip Stand | Health |  | Metallic steel drip stand- Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| ESR Stand | Health | A-214 | Adjustable ESR stand - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Examination Couch | Health | A-228 | Adjustable Examination - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Examination, LED light | Health | E-136 | Examination, LED light - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hemoglobin Meter, Digital | Health | E-097 | Digital Hemoglobin Meter- Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Height Meter | Health | A-693 | Wooden Height Meter - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Instrument Trolley | Health | A-354 | Instrument Trolley With a bucket - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | Health | A-047 | Otoscope - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Patient Screen | Health | A-304 | Patient Screen - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Patient Trolley | Health |  | Metal Patient Trolley with cushion - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Refrigerator, Basic | Health |  | Haier Basic Refrigerator - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Stethoscope | Health |  | Aluminum Stethoscope - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  | Metal Stretcher - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Stove, Gas | Health |  | 6kg Gas Stove - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Weighing Scale with Height Meter, Adult | Health | E-111 | Adult Weighing Scale with Height meter - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 23/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Weighing Scale, Infant | Health | E-115 | Infant Weighing Scale - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel (4)Chair | Health |  | 4 Wheel Chairs - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin(5) | Health |  | 5 Plastic Medical Waste - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Wall Clock | Health |  | Circular Wall Clock - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Diagnostic Equipment Set for MCH | Health | A-387 | Wall mounted, Diagnostic Equipment - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | Health |  | Transparent glassware set - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health | A-411 | Metal steel Dressing Instrument set - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Instrument Set, Basic ENT | Health | A-270 | Steel Basic ENT Instrument - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Instrument Set, Suture | Health | A-366 | Steel Suture Instrument - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress(4) | Health |  | 4 Metal Adult Patient Bed with Mattress - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Bed, Pediatric Patient, With Mattress (4) | Health |  | 4 Metal framed, Pediatric Patient Bed with Mattresses - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Bedside Locker (6) | Health |  | 6 Metal Bedside Lockers with two drawers - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Cupboard, Instrument | Health |  | Metal steel Cupboard - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Delivery Bed, Hydraulic Manual | Health |  | Metallic Delivery Bed with sponge - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 23/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Oxygen Therapy Apparatus, Minimum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench (4) | Health |  | 4 Wooden Benches & metallic stand - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sanitation box | Health | A-444 | Large Sanitation Box - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 23/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Baby Cot (2) | Health |  | Metal Frame Baby Cot - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | Health | C-396 | Rubber and transparent Penguin Sucker - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 23/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | Electric Centrifuge - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Not working | Non functioning |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (2) | Health |  |  |  | Not engraved | 23/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Examination light | Health | E-136 | LED Examination Light - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | Health | A-210 | Neonatal Metal Bag Valve Mask - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | Office Chair -Arinyapi HC III -Arinyapi SC- Adjumani district |  |  |  |  |  |  |  |  |  | FUNCTIONAL | Good working condition |
| Desk | Health |  | Metallic frame Desk - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Filing Cabinet | Health |  | Metallic Filing Cabinet - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Non Residential Buildings |  |  | Non in existence |  |  |  |  |  |  |  |  |  |  |  |
| Incinerator | Health |  | 1 Incinerator - Arinyapi HC III-Arinyapi SC- Adjumani district |  | Not engraved | 21/6/25 |  |  |  |  |  |  | Functional | Good working condition |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: AMURU TOWN SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- Those delivered are still in good condition

- In case of damage the school will try to fix

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES |
| --- | --- | --- |

- Some doors in the hall were broken then fixed

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Benefits:

- Made access to school easy, with dormitory for students and staff quarters since the school is so far.

- It has helped both community and refugees as the only secondary school around

- It has also enabled supply of water

Challenges:

- few teachers on government payroll

- The classrooms are few yet learners are many

- Dormitory is small cant accommodate all students from far.

- Staff houses are few, teachers resorted to build grass thatched houses

Recommendations:

- put more teachers on government payroll

- Expand on the dormitory

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: ADJUMANI DISTRICT LG               Name of SCHOOL:  MAAJI SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 49 office chairs | Education |  | 49 Wooden top and metal frame office Chairs – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 9/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 72 lab stools | Education |  | 72 Wooden top and metal frame Lab Stools, – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 9/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 19 lab stools | Education |  | 19 Wooden top and metal frame Lab – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 11/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 6 lab tables | Education |  | 6 Wooden top and metal frame Lab Stools – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 11/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 44 office chairs | Education |  | 44 Wooden top and metal frame office Chairs – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 11/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 56 staff chairs | Education |  | 56 Wooden top and metal frame Staffroom – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 12/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 11 office chairs | Education |  | 11 Cushioned and wooden Office Chairs – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 12/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 2 lab tables | Education |  | 2 Wooden top and metal frame Lab – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 12/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 20 office chairs | Education |  | 20 Wooden top and metal frame Office Chairs – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 13/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 5 lab stools | Education |  | 5 Wooden top and metal frame Lab Stools – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 13/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 34 office chairs | Education |  | 34 Wooden top and metal frame Office – Maaji Seed SS-Maaji SC - Adjumani district |  | Not engraved | 13/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 25 office chairs | Education |  | 25 Wooden top and metal frame Office Chairs – Maaji Seed - SS-Maaji SC - Adjumani district |  | Not engraved | 13/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 20 library tables | Education |  | 20 Wooden top and metal frame Library Tables – Maaji Seed - SS-Maaji SC - Adjumani district |  | Not engraved | 14/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 9 office chairs | Education |  | 9 Cushioned and wooden Office Chairs, Maaji seed SS-Maaji SC - Adjumani district |  | Not engraved | 14/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 5 office chairs | Education |  | 5 Wooden top and metal frame Office Chairs Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 14/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 25 desks | Education |  | 25 Wooden top and metal frame Desks - Maaji seed SS-Maaji SC -Adjumani district |  | Not engraved | 16/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 19 library tables | Education |  | 19 Wooden top and metal frame Library Tables - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 16/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 14 desks | Education |  | 14 Wooden top and metal frame - Maaji seed SS - Maaji SC - Adjumani district |  | Not engraved | 17/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 6 library tables | Education |  | 6 Wooden top and metal frame Library Tables - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 17/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 25 office chairs | Education |  | 25 Cushioned and wooden Office Chairs - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 17/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 5 staff chairs | Education |  | 5 Wooden top and metal frame Staffroom Chairs -, Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 17/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 7 block shelves | Education |  | 7 Wooden top and metal frame Block Shelves - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 18/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 5 office desks with lockers | Education |  | 5 Wooden with metal frame Office Desks with Lockers & 3lockable drawers - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 18/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 1 office table | Education |  | 1 Wooden top and metal frame Office Table - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 18/5/24 |  |  |  |  |  |  | Functional | Good working condition |
| 19 lab stools | Education |  | 19 Wooden top and metal frame Lab Stools - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 24/6/14 |  |  |  |  |  |  | Functional | Good working condition |
| 6 lab stools | Education |  | 6 Wooden top and metal frame Lab Stools - Maaji seed SS --Maaji SC - Adjumani district |  | Not engraved | 24/6/14 |  |  |  |  |  |  | Functional | Good working condition |
| 44 chairs | Education |  | 44 Wooden top and metal frame Chairs, Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 24/6/14 |  |  |  |  |  |  | Functional | Good working condition |
| 72 lab stools | Education |  | 72 Wooden top and metal frame Lab stools - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 12/6/14 |  |  |  |  |  |  | Functional | Good working condition |
| 49 chairs | Education |  | 49 Wooden top and metal frame Chairs - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 12/6/14 |  |  |  |  |  |  | Functional | Good working condition |
| 56 chairs | Education |  | 56 Mahogany wood Chairs - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 5/7/24 |  |  |  |  |  |  | Functional | Good working condition |
| 50 chairs | Education |  | Wooden top and metal frame Chairs - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 5/7/24 |  |  |  |  |  |  | Functional | Good working condition |
| 11 chairs | Education |  | 11 Cushioned and wooden Chairs - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 5/7/24 |  |  |  |  |  |  | Functional | Good working condition |
| 2 tables | Education |  | 2 Wooden top and metal frame Tables Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 5/7/24 |  |  |  |  |  |  | Functional | Good working condition |
| 20 office tables | Education |  | 20 Wooden top and metal frame - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 22/7/24 |  |  |  |  |  |  | Functional | Good working condition |
| 5 lab stools | Education |  | 5 Wooden top and metal frame Lab Stools - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 22/7/24 |  |  |  |  |  |  | Functional | Good working condition |
| 34 office chairs | Education |  | 34 Wood only Office Chairs - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 22/7/24 |  |  |  |  |  |  | Functional | Good working condition |
| 25 chairs | Education |  | 25 Wooden top and metal frame Chairs - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 22/7/24 |  |  |  |  |  |  | Functional | Good working condition |
| 20 tables | Education |  | 20 Wooden top and metal frame Tables - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 16/8/24 |  |  |  |  |  |  | Functional | Good working condition |
| 9 office chairs | Education |  | 9 Cushioned and wooden Office Chairs - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 16/8/24 |  |  |  |  |  |  | Functional | Good working condition |
| 5 chairs | Education |  | 5 Wooden top and metal frame Chairs - Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 16/8/24 |  |  |  |  |  |  | Functional | Good working condition |
| 25 desks | Education |  | 25, three seater wooden and metal frame Desks Maaji seed SS -Maaji SC - Adjumani district |  | Not engraved | 2/9/24 |  |  |  |  |  |  | Functional | Good working condition |
| 19 office chairs | Education |  | 19 Wooden top and metal frame Office Chairs, Maaji seed SS- Maaji SC- Adjumani district |  | Not engraved | 2/9/24 |  |  |  |  |  |  | Functional | Good working condition |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: ADJUMANI DISTRICT LG                                                    Name of SCHOOL: MAAJI SEED SS

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Server, rack mountable | Education |  | Intel® xeon® Mountable Server Rack -Maaji seed SS – Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Desktop 20 | Education |  | 20 Dell dual core Computer Desktops - Maaji seed SS- Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| 20 UPS | Education |  | 20, 750VA/500W Battery backup Maaji seed SS- Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| 1 multipurpose printer | Education |  | 2 sided, automatic Mulipupose Printer- Maaji seed SS – Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| 24-por network switch | Education |  | 24 Port Network Switch Fiber SFP - Maaji seed SS – Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Projector | Education |  | 3LCD Projector - Maaji seed SS – Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Server rack; height | Education |  | Solid and vented mesh Server Rack Height - Maaji seed SS – Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Wireless routers | Education |  | 5Gz IEEE 802.11 N ISM band Wireless Router - Maaji seed SS - Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Air conditioner (2) | Education |  | AC 230V, 50Hz Air Conditioner - Maaji seed SS - Maaji SC - Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Firewall | Education |  | Multilink management Firewall - Maaji seed SS - Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| 10 Power surge protector (10) | Education |  | 10 Power Surge Protectors -Maaji seed SS - Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Server UPS | Education |  | 980 Watts/1500VA Server UPS - Maaji seed SS - Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Networking | Education |  | Cable, data points, trunking Maaji seed SS - Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Internet connection | Education |  | 1 Internet Connection Maaji seed SS- Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| CCTV Camera system | Education |  | 1 CCTV Camera - Maaji seed SS - Maaji SC- Adjumani district |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: ADJUMANI DISTRICT          Name of SCHOOL:    MAAJI SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Classroom | Education |  | 1 Classroom block of 2 units, Maaji seed SS - Maaji SC- Adjumani district |  |  |  |  |  |  |  |  |  | Functional | Good working condition |
| Laboratory | Education |  | 1Labratory block of 2 units - Maaji seed SS - Adjumani district |  |  |  |  |  |  |  |  |  | Functional | Good working condition |
| Library | Education |  | 1 Library unit on the same block with ICT lab - Maaji seed SS- Maaji SC- Adjumani district |  |  |  |  |  |  |  |  |  | Functional | Good working condition |
| ICT lab | Education |  | 1 ICT Laboratory unit on the same block with library - Maaji seed SS - Maaji SC- Adjumani district |  |  |  |  |  |  |  |  |  | Functional | Good working condition |
| Multipurpose hall | Education |  | 1 whole block Multi-Purpose Hall - Maaji seed SS, Adjumani district |  |  |  |  |  |  |  |  |  | Functional | Good working condition |
| Administration block | Education |  | 1 Administration block with offices - Maaji seed SS- Maaji SC- Adjumani district |  |  |  |  |  |  |  |  |  | Functional | Good working condition |
| Staff quarters | Education |  | 3 blocks of 2 unit Staff Houses with Kitchen & Toilets - Maaji seed SS- Maaji SC- Adjumani district |  |  |  |  |  |  |  |  |  | Functional | Good working condition |
| Staff toilets | Education |  | 3 blocks of 2 units Staff Toilets- Maaji seed SS- Maaji SC- Adjumani district |  |  |  |  |  |  |  |  |  | Functional | Good working condition |
| Tank | Education |  | 10,000 litre silver metallic tank, Maaji seed SS, Adjumani district |  |  |  |  |  |  |  |  |  | Functional | Good working condition |