ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | ACHOLI SUBREGION |
| Name of Local Government | MOYO DISTRICT LG |
| VERIFIER PARTICULARS |  |
| Full name | KWAGALA JOANNA KAAYA |
| Contact/ email and Telephone | 0780770702 |
| Supervisor/ Sub team leader |  |
| Name | KIRIBAKKA VINCENT |
| Contact | 0772628302 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: LAMA HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The ones they can manage they fix themselves. Though there is a team from central regional referral that comes to help them with maintenance

At the moment most machines are not in use, are in the store since maternity building construction is not finished.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Benefits: have received equipment for diagnosis that help patients

Challenges: equipment such as B.P machine don’t last long

Some equipment got spoilt before they were used

Some equipment have not been assembled and we don’t know how to assemble them

There is no mentorship or guidelines on how to use given machines, making it difficult

Maternity building has taken 7 years up to now not finished

Recommendation: bring people to help them assemble machines

Provide more items such as beds for wards

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: MOYO DISTRICT LG                                                                                          NAME OF HEALTH FACILITY: LAMA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | Health |  | 2 B.P. Machine Aneroid wall mounted - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Got spoilt | The rubber got worn out |
| Autoclave 20 Liters.,Duo Operated | Health |  | 2 Autoclave 20 Liters - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Bowl, Kick | Health |  | 1 bowl kick - Moyo district - Laropi subcounty – Lama HCIII Laropi subcounty, Moyo district |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Bowl Stand | Health |  | 3 bowl stand - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Counting chamber Neubauer- Improved | Health |  | 3 Counting chamber Neubauer- Improved - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Cupboard Steel, Lockable | Health |  | 6 Cupboard Steel, Lockable -Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Drip Stand | Health |  | 9 drip stand - Moyo district - Laropi SC – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Functional | Good working Condition |
| ESR Stand | Health |  | 1 ESR Stand -Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Examination Couch | Health |  | 4 Examination Couch - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Examination light,LED | Health |  | 3 Examination light, LED - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Functional | Good working condition |
| Glucometer | Health |  | 2 Glucometer - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Haemoglobin Meter, Digital | Health |  | 2 sahli Haemoglobin Meter, Digital - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Height Meter | Health |  | 2 Height Meter - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Not functioning | Got spoilt |
| Instrument Trolley | Health |  | 4 Instrument Trolley - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Microscope Binocular | Health |  | 1 Microscope Binocular - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Otoscope | Health |  | 1 Otoscope - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Patient Screen | Health |  | 5 Patient Screen - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Functional | Good working condition |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Health |  | 2 Refrigerator, Basic - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Stethoscope | Health |  | 8 Stethoscope - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Stop Watch | Health |  | 1 Stop Watch - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  |  |  |
| Stretcher | Health |  | 2 Stretcher - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Functional | Good working condition |
| Stove, Gas | Health |  | 2 Stove, Gas - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Weighing Scale with Height Meter, Adult | Health |  | 2 Weighing Scale with Height Meter, Adult - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Weighing Scale, Infant | Health |  | 2 Weighing Scale, Infant - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Health |  | 4 Wheel Chair - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Audio Visual Equipment | Health |  | 1 Audio Visual Equipment - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | 20 Medical Waste Bin - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Wall Clock | Health |  | 4 Wall Clock - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Diagnostic Equipment Set for MCH | Health |  | 3 Diagnostic Equipment Set for MCH - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Diagnostic Equipment Set for OPD | Health |  | 2 Diagnostic Equipment Set for OPD - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Glassware Set, Laboratory, Basic | Health |  | 2 Glassware Set, Laboratory, Basic - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Health |  | 10 Bed, Adult - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Bed, Pediatric Patient, With Mattress | Health |  | 4 Bed, Pediatric Patient, With Mattress - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Bedside Locker | Health |  | 10 Bedside Locker - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Cupboard, Instrument | Health |  | 1 Cupboard, Instrument - Moyo district - Laropi subcounty – Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Functional | Good working condition |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | 2 Oxygen Therapy Apparatus - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 1 Resuscitator Manual, Infant - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 1 Resuscitator Manual, Adult - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Suction Apparatus, (Electric) | Health |  | 1 Suction Apparatus - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Nebulizer, Ultrasonic | Health |  | 1 Nebulizer - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Oxygen Concentrator, Duo Flow | Health |  | 1 Oxygen Concentrator - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Oxygen flow splitter | Health |  | 2 Oxygen flow splitter - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | Health |  | 2 Disinfection Buckets - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Functional | Good working condition |
| Baby Cot | Health |  | 2 Baby Cot - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Functional | Good working condition |
| Diagnostic Equipment Set for Ward | Health |  | 2 Diagnostic Equipment Set for Ward - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Hollow Ware Set, Ward | Health |  | 2 Hollow Ware set treatment - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 9/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Instrument Set, Delivery | Health |  | 5 Instrument Set, Delivery- Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 9/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Instrument Set, Stitch Removing | Health |  | 5 Instrument Set, Stitch Removing - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 9/12/21 |  |  |  |  |  |  | Functioning | Good working condition |
| MVA Kit | Health |  | 5 MVA Kit - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 9/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Stool surgeon | Health |  | 1 Stool surgeon - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Stool, Laboratory | Health |  | 3 Stool, Laboratory- Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 27/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Penguin Sucker | Health |  | 3 Penguin Sucker - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Functional | Good working condition |
| Fetoscope, Dopplar | Health |  | 2 Fetoscope - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Functional | Good working condition |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | 1 Centrifuge - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Kangaroo Mother Care Chair | Health |  | 1 Kangaroo Mother - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 9/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health |  | 1 Delivery Bed - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | Health |  | 1 Instrument set, ENT Basic - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 9/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  | 15 Bag Valve mask, Neonatal - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 15/12/21 |  |  |  |  |  |  | Non functional | The rubber worn out from over storage |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | 7 office chair - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 9/12/21 |  |  |  |  |  |  | Stored | Not in use |
| Desk | Health |  | 5 desks - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 9/12/21 |  |  |  |  |  |  | Functional | Good working condition |
| Filing Cabinet | Health |  | 6 Filing Cabinet - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved | 9/12/21 |  |  |  |  |  |  | Functional | Good working condition |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Toilets | Health |  | 2 stances toilets - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff houses | Health |  | 1 block 4 units of staff houses - Moyo district - Laropi subcounty - Lama HCIII |  | Not engraved |  |  |  |  |  |  |  | Functional | Good working condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |