ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | ACHOLI |
| Name of Local Government | AGAGO DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | AKANKWATSA EDWIN MPAATA RODGERS |
| Contact/ email and Telephone | 0702527069 0772302637 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: OMOT HEALTH CENTER 3……………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | The facility only received 15 beds with no mattresses and incomplete buildings |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Most of the supplied beds are damaged and laid off , the health center is in bad shape and congested

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The Ugift has improved health service delivery though the facility was not facilitated fully

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG……AGAGO DISTRICT…………………… NAME OF HEALTH FACILITY……OMOT HEALTH CENTER 3……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Health |  | 15 Adult Patient Beds With No Mattresses - Omot HC III – Omot SC - Agago District |  |  |  |  |  |  |  |  |  | not in good condition | there are in bad state |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | Health |  | Maternity Ward with Latrine - Omot HC III – Omot SC - Agago District |  |  |  |  |  |  |  |  |  | Incomplete | Not in Use |
| Residential Buildings | Health |  | ! block of two houses with Latrine - Omot HC III – Omot SC - Agago District |  |  |  |  |  |  |  |  |  | Incomplete | Not in Use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ……AWOL SEED SEC SCHOOL………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes the school has a record of all assets received under Ugift The list Has no cost of each item |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Soma assets are repaired by the facility like chairs and others are laid off

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? / Nonfunctional/ working, and reasons for non-functionality. | Yes, the facility takes the records of the broken assets Poor quality assets were supplied ie they easily break down thus not functional |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The Ugift has provided education service to the area |
| --- | --- | --- |

Challenges;

- Un reliable power supply

- Un reliable water supply

- Poor quality assets especially furniture

Recommendations;

- Provide a reliable source of water and 	HEP power

- Supply quality assets to avoid early breakages

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG…………AGAGO DISTRICT…………………………………… Name of SCHOOL; AWOL SEED SEC SCHOOL…………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks | Education |  | 102 Wood and metallic 3 seater Desks - Awol SSS – Awol SC- Agago district |  | SSS/DSK /01 to 102 |  |  |  |  |  |  |  | Good and functional | 20 were broken Others in use |
| Office chairs | Education |  | 241 Wood and Metallic Office Chairs - Awol SSS – Awol SC- Agago district |  | WOL/SS S/C/H/01 to 241 |  |  |  |  |  |  |  | Good and functional | All in use |
| Laboratory stools | Education |  | 121 Wood and metallic Laboratory Stools - Awol SSS – Awol SC- Agago district |  | SSS/C/ST /01 to 121 |  |  |  |  |  |  |  | Good and functional | Some broke Others in use |
| Books shelves | Education |  | Wooden Book Shelves - Awol SSS – Awol SC- Agago district |  | Not engra Ved |  |  |  |  |  |  |  | Good and functional | In use |
| tables | Education |  | 130 Wooden & Metallic Classroom Tables - Awol SSS – Awol SC- Agago district |  | WOL/SS/ TB/001 - WOL/SS/ TB/052 - WOL/SS/ TB/130 |  |  |  |  |  |  |  | Good and functional | In use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………AGAGO…………………………………………………… Name of SCHOOL; WOL SEED SEC SCHOOL……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computer | Education |  | 20 HP Desktop Computer - Awol SSS – Awol SC- Agago district |  | HP9174 45.001 |  | 03/8/ 2026 |  |  |  |  |  | Good and functional | All in use |
| Server processor | Education |  | 1 HP Server Processor - Awol SSS – Awol SC- Agago district |  |  |  | 03/08 2026 |  |  |  |  |  | Good and functional | In use |
|  | Education |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Network switch 24 port | Education |  | 1 network switch Port - Awol SSS – Awol SC- Agago district |  |  |  | 03/08 2026 |  |  |  |  |  | Good and functional | In use |
| Multipurpose printer | Education |  |  |  |  |  | 03/08/ 2026 |  |  |  |  |  | Good and functional | In use |
| UPS | Education |  | 20 HP UPS - Awol SSS – Awol SC- Agago district |  |  |  | 03/08/ 2026 |  |  |  |  |  | Good and functional | In use |
| projector | Education |  | 1 EPSON Projector - Awol SSS – Awol SC- Agago district |  |  |  | 03/08 2026 |  |  |  |  |  | Good and functional | In use |
| Air conditioner | Education |  | 1 Air conditioner - Awol SSS – Awol SC- Agago district |  |  |  | 03/08/ 2026 |  |  |  |  |  | Good and functional | In use |
| server | Education |  | 1 Server - Awol SSS – Awol SC- Agago district |  |  |  | Not yet |  |  |  |  |  |  | Still at the district |
| CCTV cameras | Education |  | 1 CCTV Cameras - Awol SSS – Awol SC- Agago district |  |  |  | 03/08/ 2026 |  |  |  |  |  | Good and functional | In use |
| CPU | Education |  | 20 HP CPU - Awol SSS – Awol SC- Agago district |  | HP4CE5 3BO82 |  | 03/08 2026 |  |  |  |  |  | functional | In use |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG……………AGAGO DISTRICT…………………………………………… Name of SCHOOL; AWOL SEED SEC SCHOOL……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Class rooms | Education |  | 3 blocks of 2 classrooms - Awol SSS – Awol SC- Agago district |  | CLASS ROOM BLOCK |  | May 2026 |  |  |  |  |  | good | In use |
| Administration block | Education |  | 1block of staff room and offices - Awol SSS – Awol SC- Agago district |  | ADMIN BLOCK |  | May 2026 |  |  |  |  |  | good | In use |
| Ict and library block | Education |  | 1block of ie ICT Lab and Library - Awol SSS – Awol SC- Agago district |  | LIB AND COMP LAB BLOCK |  | May 2026 |  |  |  |  |  | good | In use |
| Multipurpose hall | Education |  | 1 Multi-Purpose block partitioned into 3 rooms - Awol SSS – Awol SC- Agago district |  | MAIN HALL |  | May 2026 |  |  |  |  |  | good | In use |
| Science laboratory | Education |  | 1 block with 2 of chemistry lab and physics lab - Awol SSS – Awol SC- Agago district |  | SCI LABS |  | May 2026 |  |  |  |  |  | good | In use |
| Staff houses | Education |  | 3 block with 2 houses - Awol SSS – Awol SC- Agago district |  | Not tagged |  | May 2026 |  |  |  |  |  | good | In use |
| toilets | Education |  | 2 Toilet blocks for student and 3 for staff - Awol SSS – Awol SC- Agago district |  | Not tagged |  | May 2026 |  |  |  |  |  | good | In use |
| School fence | Education |  | School Fence - Awol SSS – Awol SC- Agago district |  |  |  | May 2026 |  |  |  |  |  | Not fenced | Not build |
| School pitch | Education |  | In completed School Pitch - Awol SSS – Awol SC- Agago district |  |  |  |  |  |  |  |  |  | Not build | Not provided |
| Water tanks | Education |  | 3000L Water Tank - Awol SSS – Awol SC- Agago district |  |  |  |  |  |  |  |  |  | Not functional | Not in use |
| Water tanks | Education |  | 5000L Water Tank - Awol SSS – Awol SC- Agago district |  |  |  |  |  |  |  |  |  | Not functional | Not in use |