ASSETVERIFICATIONANDRECORDINGTOOLKIT

Plot31,BukotoStreet

P.OBox7657,Kampala,Uganda
+256(0)392000216/0772525235
email:cpa@cpa.ug

# www.cpa.com

AugusttoSeptember2026

VERIFICATIONDETAILS

| NAMEOFTHEREGION: | NORTHERNREGION |
| --- | --- |
| SUB-REGION: | ACHOLI |
| NameofLocalGovernment | AGAGO DISTRICT |
| VERIFIERPARTICULARS |  |
| Fullname | AKANKWATSA EDWIN MPAATAROGERS |
| Contact/emailandTelephone | 0772302637 0762635441 |
| Supervisor/Subteamleader |  |
| Name |  |
| Contact |  |
| Dateofsubmission |  |

HEALTHCENTRES

INFORMANTINTERVIEW/DISCUSSIONGUIDE(INCHARGEORRESPONSIBLEPERSON)

Name of Health Centre LAMIYO… HEALTH CENTER II……………………………………………………………………..

| 1a | DoestheFacilityhavearecordofallassetsprovidedunderUgIFT. (Obtainarecordandverifyifithasthecostsandnumberssupplied | Thefacilityhasnorecordofallassetsprovided |
| --- | --- | --- |
| 1b | IfNotaskhowmanyweresuppliedandwhen. | inchargenotawareofthenumbersofallassetsprovided |

| 2 | HowdoesthisfacilityMaintain(repair/service/replace)theassetsprovidedunderUgift |
| --- | --- |

l

Trytorepairthebrokenonewhenthefacilitymanageandwhereitdoesn'ttheydispose

| 3 | Doesthefacilitytakeregularrecordaboutfunctionality/orbreakdownoftheassetsprovided? | thefacilitydoesnottakeregularrecordsaboutthefunctionality |
| --- | --- | --- |

| 4 | HowhastheUgIFTsupporthelpedinservicedeliveryinthearea,anyissues,challengesandanyrecommendationsforbetterprogramimplementation. | ISSUES .NOmedicaltechnicianonfacility. CHALLENGES. Limitedmedicalpersons. lackofreliablewatersupply. Staffhousingnotenough. |
| --- | --- | --- |

PROCEEDTOVERIFICATIONAFTERTHISDISCUSSION

Healthcentrechecklist

NAMEOFLG………AGAGODISTRICT…………………………………NAME OF HEALTHFACILITY……………LAMIYO HEALTH 111……………………………………………

| Equipment/Item | Department | Asset Number | Item Description | Life in Month | Tag Number (engrave no.) | Date of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc. Dep. Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  | 2 White Digital BP machine – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 385,000 |  |  |  | Good and functional | Still usable Cost is for one item |
| B.P. Machine(Aneroid wall mounted) | Health |  | 2 Aneroid Wall mounted BP Machine – Agago District – Lamiyo n SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 276,000 |  |  |  | Good and functional | Still new not in use |
| Autoclave20Liters.,DuoOperated | health |  | 1Autoclave 20Liters.,DuoOperated |  | Not engraved | 25-7-2025 |  |  | 2,394.000 |  |  |  | Good and functional | Still usable |
| Bowl, Kick | Health |  | 2 black Kick Bowl with cover on top – Agago District lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 123,407 |  |  |  | Good and functional | Still usable |
| Bowl Stand | Health |  | 3Bowl stand with around metal like on top – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 237,998 |  |  |  | Good and functional | Still usable |
| Counting chamber Neubauer-Improved | Health |  | 2 Improved Neubauer-Counting chamber – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 55,000 |  |  |  | functional | still usable |
| Cupboard Steel, Lockable | Health |  | 2 Steel Lockable Cupboard – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 850,000 |  |  |  | Good and functional | still usable |
| Drip Stand | Health |  | 8 Adjustable Height Drip Stand mk1501– Agago District – Lamiyo SC – Lamiyo HC III |  | Mm 22021001 | 25-7-2025 |  |  | 101,000 |  |  |  | functional | still usable |
| ESR Stand | Health |  | 1 ERS stand – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 66,430 |  |  |  | Functional and good | still usable |
| Examination Couch | Health |  | 2 Small metallic Examination Couch with mattress – Agago District – Lamiyo SC – Lamiyo HC III |  | not engraved | 25-7-2025 |  |  | 600,000 |  |  |  | Functional and good | still usable |
| Examination light, LED | Health |  | 2 White LED Examination light – Agago District – Lamiyo SC – Lamiyo HC III |  | not engraved | 25-7-2025 |  |  | 450,000 |  |  |  | Good and functional | still usable |
| Glucometer | Health |  | 3White Plastic Glucometers – Agago District – Lamiyo SC – Lamiyo HC III |  | not engraved | 25-7-2025 |  |  | 130,000 |  |  |  | Good and functional | still usable |
| Haemoglobin Meter, Digital | Health |  | 2 Digital Hemoglobin Meter – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 450,000 |  |  |  | Good and functional | Still usable |
| Height Meter | Health |  | 1 Height Meter– Agago District – Lamiyo SC – Lamiyo HC III |  | Not given | 25-7-2025 |  |  | 290,887 |  |  |  | Good and functional | Still usable |
| Instrument Trolley | Health |  | 2 Instrument Trolley – Agago District – Lamiyo SC – Lamiyo HC III |  | BT122 | 25-7-2025 |  |  | 450,000 |  |  |  | Good and functional | Still usable |
| Microscope Binocular | Health |  | 1 Microscope Binocular – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 2,500,000 |  |  |  | goodandfunctional | shiftedfromlapirinHC2agagodistricttolukoleHC3agagodistrict |
| Otoscope | Health |  | 1 Otoscope – Agago District – LaMIYO SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 120,000 |  |  |  | Good and functional | Still usable |
| Patient Screen | Health |  | 4 Patient screen – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  | 350,000 | 1,400,000 |  |  |  | Good and functional | Still usable 3 were seen |
| Patient Trolley | Health |  | 4 Patient Trolley – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 4,271,818 |  |  |  | Still new | Still new and not in use |
| Refrigerator, Basic | Health |  | 1 Basic Refrigerator – Agago District – Lamiyo SC – Lamiyo HC III |  | CTM1500SK3 | 25-7-2025 |  |  | 7,632,800 |  |  |  | New good | New still in box not in use |
| Stethoscope | Health |  | 4 Stethoscope – Agago District – Lamiyo SC – Lamiyo HC III |  | Lot no.FA010808 | 25-7-2025 |  |  | 46,501 |  |  |  | Good and functional | Still usable |
| Stop Watch | Health |  | 2 Stop Watch – Agago District – LaMIYO SC – Lamiyon HC III |  | Not engraved | 25-7-2025 |  |  | 39,858 |  |  |  | Good and functional | still usable |
| Stretcher | Health |  | 1stretcher Agago District – LaMIYO SC – Lamiyon HC III |  | UGIF FY 2024-2025S | 25-7-2025 |  |  | 2,078,194 |  |  |  | goodandfunctional | usable |
| Stove, Gas | Health |  | 1 Gas Stove Agago District – LaMIYO SC – Lamiyon HC III |  | TTSSX2002 | 25-7-2025 |  |  | 100,000 |  |  |  | good and functional | not usable |
| Weighing Scale with Height Meter ,Adult | Health |  | 2 Adult weigh scale with he Agago District – LaMIYO SC – Lamiyo HC III |  | notengraved | 25-7-2025 |  |  | 367,080 |  |  |  | Good and functional | usable |
| Weighing Scale, Infant | Health |  | 2 White Infant weighing scale Agog District – LaMIYO SC – Lamiyon HC III |  | not engraved | 25-7-2025 |  |  | 250,000 |  |  |  | Good and functional | usable |
| Weighing Scale, Toddler | Health |  | 2 Toddler Weighing Scale – Agago District – LaMIYO SC – Lamiyon HC III |  | Not engraved | 25-7-2025 |  |  | 49,000 |  |  |  | Good and functional | usuable |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Medical Waste Bin | Health |  | 3 Medical Waste Bin– Agago District –– Agago District – LaMIYO SC – Lamiyon HC |  | Not engraved |  | 25-7-2025 |  | 33,215 |  |  |  | Good and functional | Still usable |
| Wall Clock | Health |  | 4 Wall Clock – Agago District – Lamiyo SC – LaMIYO HC III |  | NO.A32-11 |  | 25-7-2025 |  | 33,215 |  |  |  | Good and functional | usable |
| Diagnostic Equipment Set for MCH | Health |  | 1MCH Diagnostic Equipment Set – Agago District – Lamiyo SC – LamiyoHC III |  | EN.150.7153-12016 |  | 25-7-2025 |  |  |  |  |  | Good and functional | Still usable |
| Diagnostic Equipment Set for OPD | Health |  | 2 OPD Diagnostic Equipment Set – Agago District – LaMIYO SC – Lamiyo HC III |  | Not engraved |  | 25-7-2025 |  | 357,903 |  |  |  | good | Still usable |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  | Not recieved |
| HollowWareSet,Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  | notprovided |
| Instrument Set, Dressing | Health |  | 2 Dressing Instrument Set – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved |  | 25-7-2025 |  | 330,372 |  |  |  | good | usable |
| Instrument Set, Basic ENT | Health |  | 2 Basic ENT Instrument Set – Agago District – Lamiyo SC – Lamiyo HC III |  | Batch no.0325 |  | 25-7-2025 |  | 1,817,115 |  |  |  | good | Still usable |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  | Not provided |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  | Not recieved |
| Bed, Adult Patient with Mattress | Health |  | 10 Adult Patient Bed with Mattress – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved |  | 25-7-2025 |  | 1,109,381 |  |  |  | Very good | usable |
| Bed, Pediatric Patient, With Mattress | Health |  | 5 White Metal & Wood Pediatric patient Bed with mattress – Agago District – Lamiyo SC – Lamiyo HC III |  | notengraved | 25-7-2025 |  |  | 967,268 |  |  |  | verygood | newandusable |
|  |  |  |  |  |  | 25-7-2025 |  |  |  |  |  |  |  |  |
| Bed side Locker |  |  |  |  |  |  |  |  |  |  |  |  |  | Not provided |
| Cupboard, Instrument | Health |  | 1 Instrument Cupboard – Agago District – lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 1,169,168 |  |  |  | Good and functional | usable |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  | Not recieved |
| Oxygen Therapy Apparatus, Minimum 45Lcylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 3Infant Manual Resuscitator with all mask – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 200,000 |  |  |  | Good and functional | usable |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 3Adult Manual Resuscitator all mask Sizes – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 200,000 |  |  |  | Good and functional | usable |
| Suction Apparatus, (Electric) | Health |  | 1 Electric Suction Apparatus – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved |  |  |  | 1,057,770 |  |  |  | Good and functional | usable |
| Nebulizer, Ultrasonic | Health |  | 1 Ultrasonic Nebulizer – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 669,921 |  |  |  | Good and functional | usable |
| Oxygen Concentrator , Duo Flow | Health |  | 2 Duo flow Oxygen concentrator – Agago District –lamiyo SC – Lamiyo HC III |  | FA010228L | 25-7-2025 |  |  | 3,220,000 |  |  |  | Good and functional | usable |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Disinfection Buckets | Health |  | 6 Disinfection Buckets – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 34,887 |  |  |  | Good functional | Still usable |
| Baby Cot | Health |  | 2 White Small Baby Cots with mattress – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 500,000 |  |  |  | Good and functional | usable |
|  |  |  |  |  |  | 25-7-2025 |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | Health |  | 1 Ward Diagnostic Equipment Set – Agago District – lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 284,487 |  |  |  | good | usable |
| Hollow Ware Set, Ward | Health |  | 1 Hollow Ware Set for the Ward – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 2,036,634 |  |  |  | good | inuse |
|  |  |  |  |  |  | 25-7-2025 |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery | Health |  | 3 Delivery Instrument Set – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 1,392,191 |  |  |  | good | inuse |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  | Not recieved |
| MVA Kit | Health |  | 3 MVA Kit – Agago District – Lamiyo SC – Lamiyo HC III |  | Batch no. 03254281472049117 | 25-7-2025 |  |  | 495,000 |  |  |  | good | inuse |
| Stool Laboratory | Health |  | 1 Black Laboratory stool – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 280,000 |  |  |  | Good and functional | usable |
| Penguin Sucker | Health |  | 3 Penguin Suckers – Agago District – Lamiyo SC – Lamiyo HC III |  | notengraved | 25-7-2025 |  |  | 13,286 |  |  |  | good | inuse |
| Fetoscope, Doppler | Health |  | 2 Fetoscope Doppler – Agago District – Lamiyo SC – Lamiyo HC III |  | model.J2K-T01 | 25-7-2025 |  |  | 130,000 |  |  |  | Good and functional | In use |
| Bubble CPAP | Health |  | 2 Bubble CPA – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 2,914,931 |  |  |  | goodandfunctional | Still usable |
| Centrifuge(Electric) | Health |  | 1 Electric Centrifuge – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved | 25-7-2025 |  |  | 3,800,000 |  |  |  | Good and functional | In use |
| Kangaroo Mother Care Chair | Health |  | 1 Kangaroo Mother Care Chair – Agago District – Lamiyo SC – LamiyoHC III |  | Not engraved | 25-7-2025 |  |  | 1,200,000 |  |  |  | functional | usable |
| Radiant Infant Warmer | Health |  | 1 Radiant infant warmer in Agago district-lamiyo sc- lamiyo sss |  | Sn. 250280505 |  |  |  | 16,800 000 |  |  |  | Good and functional | In use |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  | Not provided |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic |  |  |  |  |  |  |  |  |  |  |  |  |  | Not provided |
| Bag Valve mask(Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  | Not provided |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Office Chair | Health |  | 4 Black Office Chairs – Agago District – Lamiyo SC – Lamiyo HC III |  | Not engraved |  |  |  | 365,365 |  |  |  | Good functional | 6 still usable and one is broken need replacement |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  | Not recieved |
| FilingCabinet |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| NonResidentialBuildings | Health service |  | 1 maternity ward and 1 toilet with 4 stanzas I A gago district- lamiyo sc- lamiyo HCIII |  | NOT engraved |  |  |  |  |  |  |  | Good and functional | usable |
| ResidentialBuildings | Health service |  | 1 staff house block with 2 house units and 1 latrine |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Usable |

SCHOOLVERIFICATIONCHECKLIST

SCHOOLINTERVIEW/DISCUSSIONGUIDE

Name of School………………………………LAMIYO SEED SCHOOL……………………………………………Name…..

| 1a | DoestheFacilityhavearecordofalltassetsprovidedunderUgIFT. (Obtainarecordandverifyifithastecostsandnumberssupplied |  |
| --- | --- | --- |
| 1b | IfNotaskhowmanyweresuppliedandwhen. |  |

| 2 | HowdoesthisfacilityMaintain(repair/service/replace)theassetsprovidedunderUgift |
| --- | --- |

| 3 | Doesthefacilitytakeregularrecordaboutfunctionality/orbreakdownoftheassetsprovided? Nonfunctional/working,andreasonsfornon-functionality. |  |
| --- | --- | --- |

| 4 | How has the UGift support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

NB.The facility is incomplete, still under construction

PROCEEDTOVERIFICATIONAFTERTHISDISCUSSION

SCHOOLFURNITURE

(SchoolDesks,Officechairs,Laboratorystools,Bookshelves)

Name of LG…………AGAGO DISTRICT…………………………………………

Name of SCHOOL…………LAMIYO SEED SCHOOL……………………………………………………………………

| Equipment/Item | Department | AssetNumber | Item Description | Life in Month | Tag Number(engraveno.) | Date of Purchase | DatePlacedInService | Recoverablecost | Cost | AccDepCost | NetBookValue | YtdDeprn | Equipmentstatus | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office chairs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| bookshelves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| laboratory tools |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| school tables |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| chairs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Tables with drawers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Laboratory tools |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NB. ALL FURNITURE NOT YET PROVIDED BECAUSE THE FACILITY IS INCMPLETE STILL UNDER CONSTRUCTION |
| Book selves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| wardrobe |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ICTITEMSTOVERIFY

(DesktopComputer,ServerProcessor,NetworkSwitch24Port,MultipurposePrinter,UPS,Projector,AirConditioners,Server,CCTVCamera)

NameofLG………………………………………………………AGAGODISTRICT……………………NameofSCHOOL………………………LAPONOSEEDSCHOOL….………………………………………

| Equipment/Item | Department | AssetNumber | Item Description | LifeinMonths | TagNumber(engraveno.) | Date Of Purchase | DatePlacedInService | Recoverablecost | Cost | AccDepCost | NetBookValue | YtdDeprn | Equipmentstatus | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CPU | Education |  | 20 Dell Computer CPUs – Agago District – Lamiyo SC – Lamiyo Seed School | Not engraved | Model D-CAT6 OUTDOUR |  |  |  |  |  |  |  | goodandfunctional | NB. ALL ICT Equipment Still at district store of agago LG headquarters |
| Monitor | Education |  | 20 Dell Monitors – Agago District – LaMIYO SC – Lamiyo Seed School | Not engraved | sn.1246005AUMGMOSTATEN |  |  |  |  |  |  |  | Good and functional |  |
| Uninterrupted power supply | Education |  | 20 Uninterrupted Power Supply – Agago District – LaMIYO SC – Lamiyo Seed School | Not engraved | Not engraved |  |  |  |  |  |  |  | Good and functional |  |
| Computer server | Education |  | 1 Computer Server – Agago District – Lamiyo SC – Lamiyo Seed School | Not Engraved | notgiven |  |  |  |  |  |  |  | Good and functional |  |
| Cameraset | Education |  | 1 CCTV Camera – Agago District – Lamiyo SC – Lamiyo Seed School | Not Engraved | engraved |  |  |  |  |  |  |  | Good and functional |  |
| Projector | Education |  | 1 EPSON LCD CO-WOL Projector – Agago District – Lamiyo SC – Lamiyo Seed School | Not Engraved | Not engraved |  |  |  |  |  |  |  | Good and functional |  |
| Multipurpose printer | Education |  | 1 HP multipurpose printer – Agago District – Lamiyo SC – Lamiyo Seed School | Not engraved | Sn.CNCRS5K48WHP |  |  |  |  |  |  |  | goodandfunctional |  |

BUILDINGSTOVERIFY

(Non-ResidentialandResidential,Kitchen,Toilets/PitlatrineWatertanks,Fencesetc.)

Name of LG………AGAGODISTRICT……………………………………………………………………Name of SCHOOL…………………LAMIYO SEED SCHOOL……….………………………………………

| Equipment/Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc. Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| classrooms | Education |  | 6, three blocks each with 2classroom – Agago District – Lamiyo SC – Lamiyo Seed School |  | Not engraved |  |  |  |  |  |  |  | Incomplete | NB. ALL BUILDINGS ARE STILL UNDER CONSTRUCTION |
| Administration block | Education |  | 1 Administration block with offices and staffrooms– Agago District – Lamiyo SC – Lamiyo Seed School |  | Inot engraved |  |  |  |  |  |  |  | incomplete |  |
| Multipurpose building | Education |  | Multipurpose building equivalent to 3 classrooms – Agago District – Lamiyo SC – Lamiyo Seed School |  |  |  |  |  |  |  |  |  | incomplete |  |
| science laboratory | Education |  | 1block with two rooms for sciences – Agago District – Lamiyo SC – Lamiyo Seed School |  | Not engraved |  |  |  |  |  |  |  | incomplete |  |
| ICT and Library laboratory | Education | 1 | 1block with two rooms as ICT Lab & Library – Agago District – Lamiyo SC – Lamiyo Seed School |  |  |  |  |  |  |  |  |  | incomplete |  |
| Staff houses | Education |  | 3, three block Staff Houses with Kitchen and Pit Latrine – Agago District – Lamiyo SC – lamiyo Seed School |  | Not engraved |  |  |  |  |  |  |  | incomplete |  |
| School staff latrine | Education |  | 1block school staff latrine with 2 stanzas – Agago District – Lamiyo SC –lamiyo Seed School |  |  |  |  |  |  |  |  |  | incomplete |  |
| Student latrine | Education |  | 2 blocks of student latrine for both girls and boy with 5stanzas – Agago District – lamiyo SC – Lamiyo Seed School |  |  |  |  |  |  |  |  |  | incomplete |  |