ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | ACHOLI |
| --- | --- |
| SUB-REGION: | AGAGO |
| Name of Local Government | AGAGO |
| VERIFIER PARTICULARS |  |
| Full name | AKANKWATSA EDWIN MPAATA RODGERS |
| Contact/ email and Telephone | 0702527069 0772302637 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: LAYITA HEALTH CENTER 2…………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

NB,  layita health center 2 only received 16 beds from the Ugift , that’s according to the in charge of the health center.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG; AGAGO DISTRICT………………… NAME OF HEALTH FACILITY;  LAYITA  HEALTH CENTER 2……………………………

| Equipment/ Item | Department | Asset Number | Ite Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Health |  | 16 Pediatric Patient Bed with mattress - Layita HC III – Layita SC- Agago district |  | Not engraved |  | Not given |  |  |  |  |  | Good and functional | All in se |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: OMIYA PACWA SEED SEC SCHOOL………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | All the assets are of the school are still at the district stores |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The assets of the school are still at the district stores

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

Assets still at the district stores

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The Ugift is constructing a school which will provide education service to the people

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG; AGAGO DISTRICT……………………………………… Name of SCHOOL; OMIYA PACWA SEED SEED SEC SCHOOL………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Desks |  |  |  |  |  |  |  |  |  |  |  |  |  | Not yet provided To Omiya Pacwa seed sec school |
| Office Chairs |  |  |  |  |  |  |  |  |  |  |  |  |  | Not yet provided To Omiya Pacwa Seed sec school |
| Laboratory Stools |  |  |  |  |  |  |  |  |  |  |  |  |  | Not yet provided |
| Books Shelves |  |  |  |  |  |  |  |  |  |  |  |  |  | Not yet provided |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG; AGAGO DISTRICT………………………………………………… Name of SCHOOL; OMIYA PACWA SEED SEC SCHOOL…………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computer | Education |  | 20 Dell Desktop - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  | 6005T04 |  | NOT YE T |  | 80,000,000 |  |  |  | Good and functional | Not yet in use |
| Server processor | Education |  | 1HP Server processor - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  | S6301SE ADJ |  | NOT YET |  | 5,000,000 |  |  |  | Good and functional | Not yet in use |
| Network Switch 24 port | Education |  | 1 Network Switch of 24 Ports - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  | EP V11H A860 |  | NOT YET |  | 4,000,000 |  |  |  | Good and functional | Not yet in use |
| Multipurpose E printer | Education |  | 1 printer - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  |  |  | NOT YET |  | 5.500000 |  |  |  | Good and functional | Not yet in use |
| UPS | Education |  | 1 HP UPS - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  | E240101 3353 |  | NOT YET |  | 10,000,000 |  |  |  | Good and functional | Not yet in use |
| projector | Education |  | 1projector - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  |  |  | NOT YET |  | 3,000,000 |  |  |  | Good and functional | Not yet in use |
| Network rack cabinet | Education |  | 1 Network Cabinet - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  |  |  | Not yet |  | 3,000,000 |  |  |  | Good and Functional | Not yet in use |
| Wireless router | Education |  | 1 Wireless Router - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  | 22371J1 012022 |  | Not yet |  | 1,000,000 |  |  |  | Good and functional | Not yet in use |
| Air conditioner | Education | 1 | 1 Air conditioner - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  | G309014 6589733 081200E |  | Not yet |  | 1,600,0000 |  |  |  | Good and functional | Not yet in use |
| Power surge protector | Education |  | 10 Power surge- Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  | 1QPQ10 A |  | Not yet |  | 1,000,000 |  |  |  |  |  |
| Server UPS | Education |  | 1 Server UPS - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  | HPS6301 SEADJ |  | Not yet |  | 5,000,000 |  |  |  | Good and functional | Not yet in use |
| CCTV cameras | Education |  | 1 Cameras - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  | AG73515 26 |  | Not yet |  | 1,200,000 |  |  |  | Good and functional | Not yet in use |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG; AGAGO DISTRICT…………………………………………… Name of SCHOOL; OMIYA PACWA SEED SEC SCHOOL………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Class rooms | education |  | 3 blocks each with 2 classrooms - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  |  |  | Not yet |  |  |  |  |  | Under construction | Not yet in use |
| Administration block | education |  | I block with staff room and offices - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  |  |  | Not yet in service |  |  |  |  |  | Under construction | Not yet in use |
| ICT and library blocks | education |  | I for ICT and another 1 for library - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  |  |  | Not yet in use |  |  |  |  |  | Under construction | Not yet in use |
| Multipurpose hall | education |  | 1 Main hall - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  |  |  | Not yet in service |  |  |  |  |  | Under construction | Not yet in use |
| Science laboratory | education |  | 1 Science Lab - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  |  |  | Not yet in service |  |  |  |  |  | Under construction | Not yet in use |
| Staff houses | education |  | 3block each with 2 Houses, Toilets and Kitchen - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  |  |  | Not yet in service |  |  |  |  |  | Under construction | Not yet in use |
| toilets | education |  | 2 Toilet Stance for students 1 for staff - Omiya Pacwa SSS – Omiya Pacwa SC – Agago District |  |  |  | Not yet in service |  |  |  |  |  | Under construction | Not yet in use |