ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NOTHERN |
| --- | --- |
| SUB-REGION: | ACHOLI |
| Name of Local Government | LAMWO |
| VERIFIER PARTICULARS |  |
| Full name | MPAATA RODGERS AKANKWATSA EDWIN |
| Contact/ email and Telephone | 0702527069 0772302637 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ………KATUM……………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility repairs some of its broken assets and others are disposed off

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes, the facility takes regular records

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- The community easily access health services than before due to the ugift support

- There is better improvement in services since most of the required assets to use in the health centres are available

CHALLENGES	RECOMMENDATIONS

Un reliable power supply	installation of power

Under staffing	employ more medical workers

No staff houses 	construct some staff houses

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…LAMWO……………………………………… NAME OF HEALTH FACILITY……KATUM HEALTH CENTRE 3……………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | 2 BP Digital machines - Katum HC III – Katum SC - Lamwo district |  | KHC SN30E0001102734 |  | 10/6/2025 |  |  |  |  |  | Good and functional | All in use |
| B.P. Machine (Aneroid wall mounted) | health |  | 2 Aneroid wall mounted BP machines - Katum HC III – Katum SC - Lamwo district |  |  |  | 10/6/2025 |  |  |  |  |  | Good and functional | All in use |
| Autoclave 20 Liters, Duo Operated | health |  | 1 system 20L Auto clave with rubber seal and lid - Katum HC III – Katum SC - Lamwo district |  | 58970 ug |  | 10/6/2025 |  |  |  |  |  | Good and functional | In use |
| Bowl, Kick | health |  | 1 kick Bowl - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 10/6/20205 |  |  |  |  |  | Good and functional | In use |
| Bowl Stand | health |  | 2 stand Bowl - Katum HC III – Katum SC - Lamwo district |  |  |  | 4/7/2025 |  |  |  |  |  | Good and functional | All in use |
| Counting chamber Neubauer- Improved | health |  | 2 Neubauer Counting chamber - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 10/6/2025 |  |  |  |  |  | Good and functional | All in use |
| Cupboard Steel, Lockable | health |  | 2 Steel Cupboard - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 10/6/2025 |  |  |  |  |  | Good and functional | All in use |
| Drip Stand | health |  | 8 drip stands - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 10/6/2026 |  |  |  |  |  | Good and functional | All in use |
| ESR Stand | health |  | 1 ESR sedimentation rate stand - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 10/6/25 |  |  |  |  |  | Good functional | Not yet in use |
| Examination light led | health |  | 2 Movable small LED Examination Lights - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 4/72025 |  |  |  |  |  | Good and functional | Not yet in use |
| Examination couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | health |  | 2 Glucometers - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 10/6/25 |  |  |  |  |  | Good and functional | Only one in use |
| Haemoglobin Meter, Digital | health |  | 2 Digital Haemoglobin meters - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 10/6/25 |  |  |  |  |  | Good and functional |  |
| Height Meter | Hospital service |  | 1 Height meter tool - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 12/7/25 |  |  |  |  |  | Good and functional | In use |
| Instrument Trolley | Hospital service |  | 2 instrument trolleys - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 14/7/25 |  |  |  |  |  | Good and functional | In use |
| Microscope Binocular | Hospital service |  | 1 Lab Microscope Binocular machine - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Installed not in use |
| Otoscope | Hospital service |  | 1 Otoscope - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Installed not in use |
| Patient Screen | Hospital service |  | 4 Cloth/ curtain Screens - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | All in use |
| Patient Trolley | Hospital service |  | 1 patient trolley - Katum HC III – Katum SC - Lamwo district |  | NOT ENGRAVED |  |  |  |  |  |  |  | Good and functional | In use |
| Refrigerator, Basic | Health service |  | 1 Basic Refrigerator - Katum HC III – Katum SC - Lamwo district |  | CTM 150D5K3 CHIQ SILER |  |  |  |  |  |  |  | Functional | In use |
| Stethoscope | Health service |  | 4 stethoscopes - Katum HC III – Katum SC - Lamwo district |  | Not engraved | 20/6 2025 |  |  |  |  |  |  | Good and functional | In use |
| Stop Watch | Health service |  | 2 stop watches- Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good functional | Not in use |
| Stretcher | Health service |  | 1 stretcher - Katum HC III – Katum SC - Lamwo district |  | Not engraved | Not given |  |  |  |  |  |  | Good and functional | In use |
| Stove, Gas | Health service |  | 1 stove gas - Katum HC III – Katum SC - Lamwo district |  | Not engraved | Not given |  |  |  |  |  |  | Good and functional | Not in use |
| Weighing Scale with Height Meter, Adult | Health service |  | 2 Weighing scales with height meter - Katum HC III – Katum SC - Lamwo district |  | Not engraved | 11/7/25 |  |  |  |  |  |  | Good and functional | All in use |
| Weighing Scale, Infant | Health service |  | 2 Weighing scale for infants - Katum HC III – Katum SC - Lamwo district |  | Not engraved | 11/7/25 |  |  |  |  |  |  | Good and functional | All in use |
| Weighing Scale, Toddler | Health service |  | 2 Toddler Weighing scales - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 11/7/2025 |  |  |  |  |  | Good and functional | In use |
| Wheel Chair | Health service |  | 1 wheel chair - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 11/7/2025 |  |  |  |  |  | Good and functional | In use |
| Audio Visual Equipment | Health service |  | 1 audio Visual equipment - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | In use |
| Medical Waste Bin | Health service |  | 4 Medical Waste Bin - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | All in use |
| Wall Clock | Health service |  |  |  | Not engraved |  | 11/7/2025 |  |  |  |  |  | Good and functional | Not yet in use |
| Diagnostic Equipment Set for MCH | Health service |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | Health service |  | 3 Stainless steel metal containers - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Functional and good | Installed and one in use |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health service |  | Pulse Oximeter - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Still in boxes and not yet in use |
| Bed, Adult Patient with Mattress | Health service |  | 10 Adult Patient Beds - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Installed and a few in use |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health service |  | 2 0xygen Therapy Apparatus - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Installed not in use |
| Resuscitator Manual, Infant, with all Mask sizes | Health service |  | 2 Manual infant Resuscitator with all Masks - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Not yet in use |
| Resuscitator Manual, Adult, with all mask sizes | Health service |  | 2 Adult Manual Resuscitator with all masks - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Not in use |
| Suction Apparatus, (Electric) | Health service |  | 2 suction apparatus - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Not in use |
| Nebulizer, Ultrasonic | Health service |  | 1 nebulizer ultrasonic - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Not in use |
| Oxygen Concentrator, Duo Flow | Health service |  | 4 Duo Flow oxygen Concentrator - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Not in use |
| Bench | Health service |  | 4 Metallic and wooden Bench - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | In use |
| Disinfection Buckets | Health service |  | 6 disinfection buckets - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | In use |
| Baby Cot |  |  | 5 Small bed for babies - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Some in use |
| Diagnostic Equipment Set for Ward | Health service |  | 2 Set of Diagnostic Equipment - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | In use |
| Hollow Ware Set, Ward | Health service | 3 | 3 hollow ware set - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | In use |
| Instrument Set, Delivery | Health service |  | 3 Sets of Delivery Tools eg Scissors - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | In use |
| Instrument Set, Stitch Removing | Health service |  | 3 Sets of Stich removal tools - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | In use |
| MVA Kit | Health service |  | 1 MVA kit - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Not yet in use |
| Stool, Laboratory | Health service |  | 1 Lab stool - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | In use |
| Penguin Sucker | Health service |  | 3 penguin suckers - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Some in use while others still new |
| Fetoscope, Doppler | Health service |  | 2 Fetoscope Doppler - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Still in boxes not yet used |
| Bubble CPAP | Health service |  | 2 Bubble CPAP - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Still new in the boxes |
| Centrifuge (Electric) | Health service |  | 2 Electric Centrifuges - Katum HC III – Katum SC - Lamwo district |  | TG16Q |  |  |  |  |  |  |  | Good and functional | Installed |
| Kangaroo Mother Care Chair | Health service |  | 1 kangaroo mother care chair - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Installed and in use |
| Radiant Infant Warmer | Health service |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health service |  | 2 Haemoglobin meter - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Still in boxes not yet used |
| Delivery Bed | Health service |  | 1 Delivery Bed - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Installed and in use |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | health |  | 2 ENT Set Instrument - Katum HC III – Katum SC - Lamwo district |  | 2LTR COHPCS |  |  |  |  |  |  |  | Good and functional | Not in use still new |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health service |  | 7 office chairs - Katum HC III – Katum SC - Lamwo district |  |  |  | 1/7/25 |  |  |  |  |  | Good and functional | All in use |
| Desk | Health service |  | 3 desks - Katum HC III – Katum SC - Lamwo district |  |  |  | 15/7/25 |  |  |  |  |  | Good and functional | In use |
| Filing Cabinet | Health service |  | 2 filing cabinet - Katum HC III – Katum SC - Lamwo district |  | Not engraved |  | 16/ 7/25 |  |  |  |  |  | Good and functional | In use |
| Non Residential Buildings | Health service | 1 | 1 Maternity building - Katum HC III – Katum SC - Lamwo district |  | Maternity building |  | 16/7/25 |  |  |  |  |  | Good and functional | In use |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: PALOGA SEED SECONDARY SCHOOL………………………………………………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility does not have the record of all assets provided under Ugift but they have the number of assets

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

Yes the facility takes regular records about the functionality / break down of the assets provided

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The Ugift has helped in the establishment of schools and provision of assets to be used in the school eg desk, computers etc

Challenges;	Recommendations;

No power supply	provide a reliable source of water

No reliable water supply

No kitchen to cook for the students	extend HEP the school

Build a kitchen for the

school

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG; LAMWO…………… Name of SCHOOL; PALOGA SEED SECONDARY SCHOOL………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks | education |  | 120 Classroom Desks distributed in 6 class rooms – Paloga SSS – Paloga SC – Lamwo District |  | Not engraved |  | Not given |  |  |  |  |  | 10 broke | All others are in use |
| Chairs | education |  | 260 Wooden and metallic Classroom Chairs – Paloga SSS – Paloga SC – Lamwo District |  | Not engraved |  | Not given |  |  |  |  |  | 10 chairs broke | All others in use |
| Laboratory stools | education |  | 40 Wooden top and metallic stands Lab Stools– Paloga SSS – Paloga SC – Lamwo District |  | Not engraved |  | Not given |  |  |  |  |  | 15 stools broke | All others in use |
| Word ropes | education |  | 6 Wooden Word ropes with door on each locker – Paloga SSS – Paloga SC – Lamwo District |  | Not engraved |  | Not given |  |  |  |  |  | Good and functional | All in use |
| Tables | education |  | 90 Wooden an metallic Tables ,distributed in staff room – Paloga SSS – Paloga SC – Lamwo District |  | Not engraved |  | Not given |  |  |  |  |  | 4 tables broke down | All others in use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG……LAMWO……………………………………………………… Name of SCHOOL; PALOGA SEED SECONDARY SCHOOL………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desk top computer | ICT |  | 20 desktop computers – Paloga SSS – Paloga SC – Lamwo District |  | VOSTRO 3888 |  | Not given |  |  |  |  |  | Good and functional 2 monitors stolen | All others in use |
| Server processor | ICT |  | 1 Server processor – Paloga SSS – Paloga SC – Lamwo District |  | Not engraved |  | Not given |  |  |  |  |  | Good and functional | In use |
| Network switch | ICT |  | 1 Network switch – Paloga SSS – Paloga SC – Lamwo District |  | Not engraved |  |  |  |  |  |  |  | Good and functional | Not in use because no power |
| projector | ICT |  | 1 Projector – Paloga SSS – Paloga SC – Lamwo District |  | Not engraved |  | Not given |  |  |  |  |  | Good and functional | Not yet in use due to power shortage |
| Multi-purpose | ICT |  | 1 Multipurpose Printer – Paloga SSS – Paloga SC – Lamwo District |  | Not engaved |  | Not given |  |  |  |  |  | Good and functional | Not in use yet due to power shortage |
| Air conditioner | ICT |  | 1 Air conditioner – Paloga SSS – Paloga SC – Lamwo District |  | Not engraved |  | Not given |  |  |  |  |  | Good and functional | Not yet in use yet due to power shortage |
| CCTV camera | ICT |  | 1 CCTV cameras – Paloga SSS – Paloga SC – Lamwo District |  | Not engraved |  | Not given |  |  |  |  |  | Good and functional | Not in use yet due to power shortage |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG……LAMWO DISTRICT……………………………………… Name of SCHOOL…PALOGA SEED SECONDARY SCHOOL…………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Class rooms | Buildings |  | 3 blocks each with 2 classrooms – Paloga SSS – Paloga SC – Lamwo District |  | Class room block |  | Not given |  |  |  |  |  | Class room flours damaged already | All classes are in use |
| Laboratories | Buildings |  | 1 block with 2 labs – Paloga SSS – Paloga SC – Lamwo District |  | Laboratory |  | Not given |  |  |  |  |  | Good and functional | All labs are in use at paloga sec |
| Multipurpose building | buildings |  | 1 block separated into 3 classes – Paloga SSS – Paloga SC – Lamwo District |  | Main hall |  | Not given |  |  |  |  |  | Good and functional | In use at paloga seed sec |
| Administrative block | Buildings |  | 1block with staffroom and offices – Paloga SSS – Paloga SC – Lamwo District t |  | Administrative block |  | Not given |  |  |  |  |  | Good and functional | In use at paloga seed sec |
| School toilets | buildings |  | 2 toilets for students both boys and girls with 4 stanzas & 1 toilet for staff – Paloga SSS – Paloga SC – Lamwo District |  | toilets |  | Not given |  |  |  |  |  | Good and functional | All toilets in use |
| Staff houses | buildings |  | 3 blocks with each having 2 houses with Kitchen and Toilets– Paloga SSS – Paloga SC – Lamwo District |  | Staff quarters |  | Not given |  |  |  |  |  | Good and functional | All occupied |
| Water tanks | buildings |  | 2 big and one small Water Tanks – Paloga SSS – Paloga SC – Lamwo District |  | School tanks |  | Not given |  |  |  |  |  | Good and functional | In use but only depend on rain fall |
| Fence | buildings |  | Wire mesh with concrete surrounding the school – Paloga SSS – Paloga SC – Lamwo District |  |  |  | Not given |  |  |  |  |  | Good and functional | In use |
| School pitch | building |  | School Pitch – Paloga SSS – Paloga SC – Lamwo District |  | School pitch |  |  |  |  |  |  |  | Not yet functional | Not inuse |

ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | ACHOLI |
| Name of Local Government | LAMWO LOCAL GOERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | AKANKWATSA EDWIN MPAATA RODGERS |
| Contact/ email and Telephone | 0702527069 0772302637 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: PANGIRA HEALTH CEMTER 3……………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility buildings were still new and there were no repairs

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

The facility only got buildings from Ugift , there were no other assets in the facility.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG; LAMWO DISTRICT………………………… NAME OF HEALTH FACILITY……PANGIRA HEALTH CENTER 3………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | medical |  | 1 Maternity ward - Pangira HC III – Pangira SC - Lamwo District |  |  |  |  |  |  |  |  |  | Good and functional | In use |
| Residential Buildings | medical |  | 1 Block Staff houses of 2 rooms - Pangira HC III – Pangira SC - Lamwo District |  |  |  |  |  |  |  |  |  | Good and functional | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: PADIBE EAST SEED SECONDARY SCHOOL…………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | STILL UNDER CONTRUCTION |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility is still under construction

All the assets are still kept at the district stores

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

The facility is not yet in operation, so most its assets are still kept at the district stores

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Ugift has extended education service to the people of padibe though the institution is yet in operation but will open soon

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG;…LAMWO DISTRICT…………………………………………… Name of SCHOOL; PADIBE EAST SEED SEC SCHOOL ……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Desks |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT YET RECEIVED |
| Office Chairs |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT YET RECEIVED |
| Laboratory Stools |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Book Shelves |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT YET RECEIVED |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG; LAMWO DISTRICT………………………………………………… Name of SCHOOL; PADIBE EAST SEED SEC SCHOOL……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computers | Education |  | 20 Desktop Computers - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in service |  |  |  |  |  | Good and functional | kept in the stores |
|  | Education |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Server processor | Education |  | 1 server - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in service |  |  |  |  |  | Good and functional | Kept in the stores |
|  | Education |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Network switch24 port | Education |  | 1net work Port - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in use |  |  |  |  |  | Good and functional | Kept in the stores |
| Multipurpose printer | Education |  | 1 printer - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in use |  |  |  |  |  | Good and functional | kept in the stores |
| UPS | Education |  | 20 UPS - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in use |  |  |  |  |  | Good and functional | Kept in the stores |
| projector | Education |  | 1 projector - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in use |  |  |  |  |  | Good and functional | Kept in the stores |
| Air conditioner | Education |  | 1 Air Conditioner - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in use |  |  |  |  |  | Good and functional | Kept in stores |
| server | Education |  | 1 server - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in use |  |  |  |  |  | Good and functional | Kept in stores |
| CCTV | Education |  | 1 CCTV Camera - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in use |  |  |  |  |  | Good and functional | Kept in stores |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG; LAMWO………………………………………………………………… Name of SCHOOL; PADIBE SEED SEC SCHOOL…………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Class rooms | Education |  | 3 blocks each with 2 classrooms - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in service |  |  |  |  |  | Still under construction | Not yet in use |
| Multipurpose building | Education |  | 1 Main hall - Padibe SSS – Padibe SC – Lamwo District t |  |  |  | Not yet in use |  |  |  |  |  | Still under construction | Not yet in use |
| laboratory | Education |  | 1 block with 2 labs - Padibe SSS – Padibe SC – Lamwo District |  |  |  | Not yet in use |  |  |  |  |  | Still under construction | Not in use |
| Water tanks | Education |  | 2 Black Water tanks - Padibe SSS – Padibe SC – Lamwo District |  |  |  |  |  |  |  |  |  | Not in use | Not in use |
| School fence |  |  | School Fence - Padibe SSS – Padibe SC – Lamwo District |  |  |  |  |  |  |  |  |  | Wire mesh with concrete surrounding the school |  |
| School pitch | Education | 1 | Incomplete School Pitch - Padibe SSS – Padibe SC – Lamwo District |  |  |  |  |  |  |  |  |  | Still under construction |  |