ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO SUB REGION |
| Name of Local Government | DOKOLO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | AGANYO MERCY |
| Contact/ email and Telephone | 0786551826 |
| Supervisor/ Sub team leader |  |
| Name | MR. DENIS |
| Contact | 0779622063 |
| Date of submission | 31ST AUGUST 2026s |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ABALANG HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

In case of any damages, Abalang Health Center III uses 10% of Primary Health Care funds to repair and service the damages.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes, the facility always takes regular records about the functionality of the assets provided and any breakdown is recorded for decision making.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The UGIFT support has improved safe delivery of mothers in the community and it has as well improved on diagnosis and care of patients through the equipment provided.

Challenges: The infrastructure does not accommodate staff on night shift

It is hard to get the strips of the equipment provided in the market like the strips for the microscope.

Recommendation: UGIFT should provide equipment that are current in the market

MCH should be provided with a strong solar system

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: DOKOLO DISTRICT LOCAL GOVERNMENT   	NAME OF HEALTH FACILITY: ABALANG HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital(2) | OPD MCH |  | Digital | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good working condition |
| B.P. Machine (Aneroid wall mounted) (2) | MCH |  | Manual | 60 |  | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition but 1 is still in the store |
| Autoclave 20 Liters.,Duo Operated (2) | MCH |  | Metallic | 60 |  | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Bowl, Kick (1) | Store |  | Metallic | 60 |  | October 2021 | February 2022 |  |  |  |  |  | Non Functional | It got spoilt because it was sub standard |
| Bowl Stand (3) | MCH IPD |  | Metallic | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Counting chamber Neubauer- Improved (2) | OPD |  | Plastic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition and 1 is still in store |
| Cupboard Steel, Lockable (6) | MCH OPD |  | Metallic | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Drip Stand (9) | MCH IPD |  | Metallic | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition and 4 are still in the store |
| ESR Stand (1) | Store |  | Glass in nature | 36 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Non-Functional | Still in store |
| Examination Couch (4) | MCH |  | Metallic with mattress | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Examination light,LED (3) | MCH IPD |  | Plastic | 50 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition but two are still in store |
| Glucometer (2) | Store |  | Manual and plastic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Non -Functional | Still kept in the stores |
| Haemoglobin Meter, Digital (2) | Store |  | Digital | 60 | Not engraved | October 2021 | February 2022 | - | - | - | - |  | Non-functional | There are no strips that match it |
| Height Meter (2) | MCH OPD |  | Metallic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Instrument Trolley (4) | MCH |  | Metallic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Microscope Binocular (1) | Store |  | Metallic | 50 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Non-functional | The lenses are not okay, it does not see parasites |
| Otoscope (1) | OPD |  | Manual | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Patient Screen (5) | OPD |  | Digital and plastic | 50 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Two are spoilt |
| Patient Trolley (1) | OPD MCH |  | Metallic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Refrigerator, Basic (2) | Store |  | Metallic | 60 | Not engraved | October 2021 | - |  |  |  |  |  | Non-Functional | It is old model |
| Stethoscope (8) | MCH OPD |  | Manual | 50 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition and two are spoilt |
| Stop Watch (1) | Store |  | Metallic | 50 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Non-functional | It got spoilt |
| Stretcher (2) | MCH |  | Metallic with leather | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Stove, Gas (2) | MCH |  | Metallic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Weighing Scale with Height Meter, Adult (2) | Store |  | Metallic | 50 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Non-Functional | Got spoilt because it was weak |
| Weighing Scale, Infant (2) | MCH |  | Plastic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition and 1 is spoilt |
| Weighing Scale, Toddler (1) | MCH |  | Plastic | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Wheel Chair (4) | MCH OPD |  | Metallic with leather | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition but 2 are still in the store |
| Audio Visual Equipment (1) | Store |  | Manual | 40 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Non - Functional | Kept in the store because there is no power |
| Medical Waste Bin (20) | MCH OPD LAB |  | Plastic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition but 9 are broken |
| Wall Clock (4) | MCH OPD |  | Metallic | 24 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for MCH (3) | MCH |  | Metallic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | 1 is working and 2 are still in store |
| Diagnostic Equipment Set for OPD (2) | OPD |  | Metallic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | 1 is working and 1 is still in the store |
| Glassware Set, Laboratory, Basic (2) | LAB |  | Glass in nature | 36 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good working condition |
| Hollow Ware Set, Treatment (2) | Store |  | Metallic | 60 | Not engraved | October 2021 | - |  |  |  |  |  | Non – Functional | Kept in the store |
| Instrument Set, Dressing (7) | MCH OPD |  | Metallic | 60 |  | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition and two are still in the store |
| Instrument Set, Basic ENT (1) | MCH IPD |  | Stainless steel | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Suture (3) | MCH |  | Stainless steel | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition and 2 are still in the store |
| Pulse Oximeter, Hand held (2) | Store |  | Manual | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Non – Functional | Still in the store |
| Bed, Adult Patient with Mattress (10) | MCH |  | Metallic with mattress | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Bed, Pediatric Patient, With Mattress (4) | IPD |  | Metallic with mattress | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Bedside Locker (10) | MCH IPD |  | Metallic | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Cupboard, Instrument (1) | MCH |  | Metallic | 70 | Not engraved | 0ctober 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Delivery Bed, Hydraulic Manual (1) | Store |  | Metallic with mattress | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Non - Functional | It got spoilt |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (2) | MCH |  | Metallic | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition but 1 is spoilt |
| Resuscitator Manual, Infant, with all Mask sizes (1) | MCH |  | Plastic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Resuscitator Manual, Adult, with all mask sizes (1) | MCH |  | Plastic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Suction Apparatus, (Electric) 1 | Store |  | Electrical | 50 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Non – Functional | Still in the store |
| Nebulizer, Ultrasonic (1) | MCH |  | Electrical | 50 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Oxygen Concentrator, Duo Flow (1) | MCH |  | Electrical | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Bench (4) | OPD LAB MCH |  | Wooden | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Disinfection Buckets (2) | MCH |  | Metallic | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition but 1 is spoilt |
| Baby Cot (2) | MCH ANC |  | Plastic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for Ward (2) | IPD |  | Stainless steel | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition and 1 is still in the store |
| Hollow Ware Set, Ward (2) | Store |  | stainless steel | 70 | Not engraved | October 2021 | - |  |  |  |  |  | Non – Functional | Kept in the store |
| Instrument Set, Delivery (5) | MCH |  | Metallic | 60 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Stitch Removing (5) | IPD MCH |  | Metallic | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition 3 are still in the store |
| MVA Kit (5) | Health |  | Plastic | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | non- Functional | All are spoilt |
| Stool, Laboratory (3) | LAB |  | Metallic with leather | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Penguin Sucker (3) | MCH |  | Rubber | 50 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Fetoscope, Dopplar (2) | MCH |  | Plastic | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Bubble CPAP | - | - | - | -- | - | - | - | - | - | - | - | - | - | - |
| Centrifuge (Electric) (1) | LAB |  | Electrical | 50 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Kangaroo Mother Care Chair (1) | Store |  | Metallic with leather | 70 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Non – Functional | Spoilt |
| Radiant Infant Warmer | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Haemoglobin Meter, Sahli (2) | Store |  | Manual | 80 | Not engraved | October 2021 | february2022 |  |  |  |  |  | Non – Functional | Out dated |
| Delivery Bed | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Examination light | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Instrument set, ENT Basic for HCIII | - | - | - | - | - | - | - | - | - | -- | - | - | - | - |
| Bag Valve mask (Ambu Bag), Neonatal (15) | MCH |  | Rubber | 40 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Incubator | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Office Chair (7) | OPD MCH IPD |  | Metallic with leather | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition but 4 are spoilt |
| Desk (5) | MCH OPD |  | Wooden | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Filing Cabinet (2) | MCH OPD |  | Metallic | 90 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good condition |
| Non -Residential Buildings (2) | Health |  | Concrete building | 300 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good state |
| Residential Buildings (2) 1 Twin house and MCH Block | Health |  | Block building | 600 | Not engraved | October 2021 | February 2022 |  |  |  |  |  | Functional | Good state |

SAMPLE PICTURES OF ABALANG HEALTH CENTRE III

Sample of a broken Chair

and other

Equipment in the Store

Other Equipment in the Store

Oxygen Concentrator

Dual Flow

MCH Ward

Office Chair and Desk

Sample of Twin

Staff House

Instrument Trolley,

Wall Clock, Cupboard

Steel Lockable

and

Weighing Scale Infant

Patient Bed Adult

with Mattress

Water Tanks

and

Pit Latrines

Examination Light LED

Cupboard Steel Lockable

and

other Equipment

Equipment in the Store

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ADEKNINO SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The school uses the PTA and Universal Secondary Education funds

(USE) to service and repair the spoilt equipment.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

Yes, the school always conducts regular monitoring on the equipment provided in order to record their functionality

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The UGIFT support has improved the enrolment of students that is from 100 students to 280 students.

Challenges: There are no apparatus in the laboratory

Some of the equipment are weak.

Recommendations: UGIFT should provide the computers that were not given to the school and also stock chemicals in the lab

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: DOKOLO DISTRICT LOCAL GOVERNMENT    Name of SCHOOL: ADEKNINO SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost |  | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Desks(122 | Education |  | Wooden with metallic stands | 90 | ADEKNINO/DK/ 001-122 | Jan 2025 | February 2025 |  |  |  |  |  |  | Functional | Good condition and 3 are broken |
| Office chairs(4) | Education |  | Metallic with cushion | 90 | ADEKNINO/CH/ 001-004 | January 2025 | February 2025 |  |  |  |  |  |  | Functional | Good conditio9n |
| Laboratory stools(122) | Education |  | Wooden | 90 | ADEKNINO SSS/ ST/001-122 | January 2025 | February 2025 |  |  |  |  |  |  | Functional | Good condition |
| Bookshelves (15) | Education |  | Metallic | 120 |  | January 2025 | February 2025 |  |  |  |  |  |  | Functional | Good condition |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: DOKOLO DISTRICT LOCAL GOVERNMENT   Name of SCHOOL: ADEKNINO SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computers | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Server processor (1) | Education |  | Digital | 60 |  | January 2025 | February 2025 |  |  |  |  |  | Functional | Good function |
| Network swich port. (1) | Education |  | Digital | 60 |  | January 2025 | February 2025 |  |  |  |  |  | Functional | Good condition |
| Multi-purpose printer | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Projector. (1) | Education |  | Digital | 70 |  | January 2025 | February 2025 |  |  |  |  |  | Functional | Good condition |
| Air conditioners | - | - | - | - | - | - | - | - | - | - | - | - | - | -- |
| Server (1) | Education |  | Digital | 60 |  | January 2025 | February 2025 |  |  |  |  |  | Functional | Good condition |
| CCTV Camera. 2. | Education |  | Digital | 60 |  | January 2025 | February 2025 |  |  |  |  |  | Functional | Good condition |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: DOKOLO DISTRICT LOCAL GOVERNMENT   Name of SCHOOL: ADEKNINO SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non-Residential buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Laboratory. I BLOCK | Education |  | Concrete block building | 600 |  | January 2025 | February 2025 |  |  |  |  |  | Functional | Good state |
| Library and multi-purpose hall. 1 BLOCK | Education |  | Concrete block building | 600 |  | January 2025 | February 2025 |  |  |  |  |  | Functional | Good state |
| Residential buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff houses. TWO BLOCKS OF TWO | Education |  | Concrete twin building | 600 |  | January 2025 | February 2025 |  |  |  |  |  | Functional | It’s in a good state |
| Pit latrines (4) Four stance | Education |  | Concrete building | 300 |  | January 2025 | February 2025 |  |  |  |  |  | Functional | They are in a good state |
| Water tanks. one | Education |  | Concrete building | 300 |  | January 2025 | February 2025 |  |  |  |  |  | Functional | Good condition |
| Fence | - | - | - | - | - | - | - | - | - | - | - | - | - | The school is not fenced |

SAMPLE PICTURES OF ADEKNINO SEED SECONDARY SCHOOL

Staff Quarters in Adeknino

Seed Secondary School

Water Tank in

Adeknino Seed

Secondary School

Laboratory Stools

Public Address

System

School Desks

Pit Latrine

Staff Kitchen

Sample of

Book shelves

Server

Adeknino Seed Sec. Sch.

Administration

and

Library Block

Main Hall

Projector

Office Chairs