ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NOTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO-SUB REGION |
| Name of Local Government | DOKOLO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | AGANYO MERCY |
| Contact/ email and Telephone | 0786551826 mercyaganyo22@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | MR.DENIS |
| Contact | 0779622063 |
| Date of submission | 31ST AUGUST 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ADAGMON HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Adagmon Health center III uses the Primary Health Care fund to service and repair the damaged equipment.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes, the facility always takes regular records of the equipment to ensure that they are in a good condition and take record of t5hosev that need servicing,

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The UGIFT support has helped in improving the health of the locals in the community for instance the number of patient admissions in the wards increased because of the mattresses provided and more services can be accessed by the locals.

Challenges: Some departments are not complete for example t5he staff quarters.

The toilet system is not complete and it is non-functional.

The solar system is very weak and therefore it can’t run trans night.

Recommendations: Ugift should assist with the construction of staff quarters.

There is need for a strong solar system that can run all the equipment trans night.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: DOKOLO DISTRICT LOCAL GOVERNMENT      NAME OF HEALTH FACILITY: ADAGMON HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service |  | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital. (1) | OPD |  | Digital | 60 | Not engraved | June 2022 | November 2025 |  |  |  |  |  |  | Functional | Good condition |
| B.P. Machine (Aneroid wall mounted)(2) | OPD MCH |  | Manual | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Autoclave 20 Liters., Duo Operated (1) | MCH |  | Plastic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Bowl, Kick (1) | MCH IPD |  | Metallic | 70 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Bowl Stand | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Counting chamber Neubauer- Improved (1) | MCH |  | Plastic | 24 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Cupboard Steel, Lockable (6) | OPD 1 MCH 3 IPD 2 |  | Metallic | 90 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Drip Stand (8) | IPD 4 MCH 4 |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| ESR Stand | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Examination Couch (4) | IPD 4 MCH 4 |  | Metallic with mattress | 90 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Examination light,LED (3) | IPD(1) MCH(1) OPD(1) |  | Metallic and plastic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Glucometer (2) | LAB (2) |  | Digital and plastic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition. |
| Haemoglobin Meter, Digital | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Height Meter (2) | OPD (1) ANC(1) |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition. |
| Instrument Trolley (3) | MCH IPD |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Microscope Binocular (2¦) | LAB |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Otoscope (3) | OPD |  | Manual | 70 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Patient Screen (6) | IPD MCH |  | Plastic and digital | 48 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition. |
| Patient Trolley (3) | IPD MCH |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Refrigerator, Basic (1) | LAB |  | Metallic | 90 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Stethoscope (3) | OPD MCH |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Stop Watch | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Stretcher (1¦) | IPD |  | Metallic with leather | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Stove, Gas (1) | MCH |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Weighing Scale with Height Meter, Adult | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Weighing Scale, Infant (1) | EPI |  | Plastic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Weighing Scale, Toddler (1) | MCH |  | Plastic | 90 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition. |
| Wheel Chair (3) | IPD |  | Metallic with leather | 36 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Audio Visual Equipment | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Medical Waste Bin (1) | IPD MCH LAB ANC |  | Both Metallic and plastic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Wall Clock (1) | MCH |  | Plastic | 12 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for MCH. (2) | MCH |  | Stainless steel | 36 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for OPD | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Glassware Set, Laboratory, Basic | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Hollow Ware Set, Treatment | - | - | - | - | - | - | - |  | - | - | - | - | - | -- |  |
|  | - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (2) | MCH |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Instrument Set, Basic ENT | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Instrument Set, Suture (2) | Store |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Non-functional | Still kept in the store |
| Pulse Oximeter, Hand held | IPD |  | Plastic | 70 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Bed, Adult Patient with Mattress (31) | IPD MCH |  | Metallic with mattress | 90 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Bed, Pediatric Patient, With Mattress | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Bedside Locker (9) | MCH IPD |  | Metallic | 120 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Cupboard, Instrument | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Delivery Bed, Hydraulic Manual (1) | MCH |  | Manual | 90 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (1) | MCH |  | Metallic | 90 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Resuscitator Manual, Infant, with all Mask sizes (2) | MCH |  | Plastic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition. |
| Resuscitator Manual, Adult, with all mask sizes | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Suction Apparatus, (Electric) (1) | MCH |  | Electrical | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Nebulizer, Ultrasonic | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Oxygen Concentrator, Duo Flow (1) | Store |  | Electrical | 60 | Not engraved | June 2022 | - |  |  |  |  |  |  | Non-functional | Good working condition |
| Bench (16) | OPD MCH |  | Wooden with metallic stands | 70 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Disinfection Buckets. (5) | MCH LAB OPD |  | Plastic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Baby Cot | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Diagnostic Equipment Set for Ward. (4) | MCH |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition. |
| Hollow Ware Set, Ward | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Instrument Set, Delivery (5) | MCH |  | Metallic | 72 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Instrument Set, Stitch Removing (4) | MCH |  | Metallic | 72 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good wo0rking condition |
| MVA Kit (5) | MCH |  | Plastic | 36 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Stool, Laboratory. (3) | LAB |  | Metallic with leather | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Penguin Sucker (1) | MCH |  | Plastic | 24 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Fetoscope, Dopplar (2) | MCH |  | Metallic | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Bubble CPAP | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (1) | LAB |  | Electrical | 72 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Kangaroo Mother Care Chair(1) | MCH(1) |  | Metallic with leather | 60 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Radiant Infant Warmer | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Haemoglobin Meter, Sahli (2) | LAB (2) |  | Manual | 50 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Delivery Bed | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Examination light | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Bag Valve mask (Ambu Bag), Neonatal (1) | MCH (1) |  | Plastic | 36 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Incubator | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - |
| Office Chair (1) | IPD(1) |  | Metallic with leather | 70 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Desk (6) | OPD(2) ANC(2) IPD(2) |  | Wooden with metallic stands | 70 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| Filing Cabinet (2) | OPD(1) MCH(1) |  | Metallic | 70 | Not engraved | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good working condition |
| Non Residential Buildings (Toilet) | Health |  | Concrete building | 90 |  | June 2022 | - |  |  |  |  |  |  | Non-functional | It is not complete. |
| Residential Buildings (MCH WARD) | Health |  | Block building | 600 |  | June 2022 | November 2022 |  |  |  |  |  |  | Functional | Good condition |
| STAFF HOUSE | Health |  | Twin building | 600 |  | June 2022 | November 2022 |  |  |  |  |  |  | Functional | The building is in a good state. |

SAMPLE PICTURES OF ADAGMON H/C III

Filing Cabinet

Office Chairs

Cupboard Steel Lockable

Examination Couch

B.P Machine

Autoclave and Gas Stove

Instrument Trolley

Patient Bed Adult with drip stand

Wheel Chair

Stretcher

Bench

Examination Light LED

Equipment in the Store

Oxygen Concentrator in the Store

Kangaroo Mother Care Chair

Delivery Bed

Oxygen Concentrator

Dual Floor

Glucometer

MCH Ward

Staff Twin House

Toilet

Cupboard Steel Lockable

Filing Cabinet

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |