ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO SUB REGION |
| Name of Local Government |  |
|  | DOKOLO |
| VERIFIER PARTICULARS |  |
| Full name | NANYONJO PARVIN ABIGAIL |
| Contact/ email and Telephone | nanyonjoparvin036@gmail.com 0704562685 |
| Supervisor/ Sub team leader |  |
| Name | Mr. Denis |
| Contact | 0779622063 |
| Date of submission | 26th August, 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: 		AMWOMA HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

In case of any damage, Amwoma Health Center uses 10% of the Primary Health Care to service the damages.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

Amwoma Health Centre III tags the responsibility on the staff on duty and uses 10% of the Primary Health Care to repair damages. The equipment in the store are kept safely by the store keeper.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation? |  |
| --- | --- | --- |

Amwoma Health Centre III lacks specialists to work on specific machines. Most of the equipment are kept in stores because of insecurity. The Ugift support has improved the life of the locals in Amwoma Sub County.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG:		DOKOLO 		NAME OF HEALTH FACILITY:		AMWOMA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | MCH(1) OPD(1) |  | Digital | 36 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Non – functioning | One is working 3 are spoilt |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(1) STORE (1) |  | MANUAL | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Autoclave 20 Liters., Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH(1) |  | Metallic | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Though has some missing parts |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Store |  | Metallic | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store because of insecurity |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Store |  | Metallic | 50 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store because of insecurity |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | STORE |  | Plastic | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store because of insecurity |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2+3 = 5 | OPD(3) MCH(2) |  | Metallic | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store because of insecurity |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (9) | General (5) MCH (4) |  | Metallic | 90 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Good condition |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | STORE |  | Plastic | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store because of insecurity |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | MCH(2) OPD(2) |  | Metallic & Wooden |  | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(1) MCH(1) |  | Plastic & Metallic | 50 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | LAB (1) MCH (1) STORE (1) |  | Plastic & Metallic | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - |  | - | - | - | - | - | - |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH(1) |  | Metallic | 50 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MCH (1) OPD (1) WARD (1) |  | Movable | 40 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | LAB (1) STORE (1) |  | Metallic | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | OPD (1) |  | Metallic | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | MCH (2) WARD (2) |  | Movable & Metallic | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Rollable | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | STORE (1) |  | Digital | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Good condition | There’s no electricity to operate refrigerator |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | MCH (2) OPD (2) STORE (2) |  | Metallic & Digital | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition 2 in store due to insecurity |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | STORE |  | Circular | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Metallic | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Metallic | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD (1) MCH (1) |  | Uses battery | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MCH (1) STORE (2) |  | Use Battery | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Functional | Good condition 2 still in store due to insecurity |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Uses Battery | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | WARD (1) |  | Metallic | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | MCH (3) OPD (4) IPD (6) |  | Plastic | 40 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition 9 are broken |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | OPD (1) MCH (1) STORE (1) |  | Digital | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Functional | Good condition One in store due to space shortage |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Diagnosis e.g. Telescope | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD (2) |  | Diagnosis e.g. patellar | 90 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | STORE |  | Microscope cleaning | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | STORE |  | Stainless steel | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | OPD (1) STORE (4) |  | Stainless steel | 40 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Functional | Good condition 4 still in store due to insecurity |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | STORE |  | Stainless steel | 50 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3+1 = 4 | OPD (1) STORE (3) |  | Metallic | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Functional | Good condition 3 in store due to insecurity |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | STORE (2) |  | Digital | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | MCH (6) OPD (7) WARD (8) |  | Metallic | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | MCH (4) WARD (2) |  | Metallic | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | WARD (1) |  | Metallic | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Metallic | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Non – functional | It is faulty Hydraulic pump isn’t working |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | STORE |  | Plastic | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (1) STORE (1) |  | Plastic | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Functional | Good condition One still in store due to insecurity |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | STORE (2) |  | Plastic | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | STORE (3) |  | Plastic | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | STORE (1) |  | Plastic | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | STORE (4) |  | Electrical | 90 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | MCH (4) |  | Wooden | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | MCH (6) |  | Plastic | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | MCH (1) STORE (4) |  | Cotton in nature | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Functional | Good condition 4 still in store due to insecurity |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | STORE (3) |  | Metallic & Plastic | 90 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | STORE (3) |  | Stainless steel |  | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | MCH (2) STORE (5) |  | Stainless steel | 90 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Functional | Good condition 5 still in store due to insecurity |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | STORE (4) |  | Stainless steel | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | MCH (1) STORE (4) |  | Plastic | 90 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Functional | Good condition 4 still in store due to insecurity |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | LAB (1) |  | Stainless steel | 90 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MCH (2) STORE (1) |  | ELECTRICAL | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Functional | Good condition 2 still in store due to insecurity |
| Fetoscope, Doppler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (1) STORE (1) |  | Electrical | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Functional | Good condition One still in store due to insecurity |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | STORE (2) |  | Metallic | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | STORE (2) |  | Electrical | 60 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | functional | Still in store due to insecurity |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Movable | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MCH (1) |  | Metallic | 70 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning Non – functional | Good condition 2 are broken |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | STORE (3) |  | Stainless steel | 90 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functional | Still in store due to insecurity |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | OPD (3) MCH (2) WARD (2) |  | Comfortable & Metallic | 90 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MCH (3) |  | Wooden | 80 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (1) LAB (1) |  | Metallic | 90 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | STANCE LATRINE |  | Semi – detached | 120 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | TWIN HOUSE |  | Semi – detached | 120 | Not Engraved | 7/05/2023 | 26/04/2025 |  |  |  |  |  | Functioning | Good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation? |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |