ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NOTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO-SUB REGION |
| Name of Local Government | DOKOLO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | AGANYO MERCY |
| Contact/ email and Telephone | 0786551826 |
| Supervisor/ Sub team leader |  |
| Name | MR.DENIS |
| Contact | 0779622063 |
| Date of submission | 2ND SEPTEMBER 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ANYACOTO HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

In case of any damages or breakdown, Anyacoto Health Center III uses the Primary Health Care fund to service and maintain the equipment in the required state.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes, the facility always takes regular records about the functionality of the assets provided.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The UGIFT support has helped to improve the health of locals in the community through the equipment provided like the beds, B.P machine and therefore patients are able to access more services.

IT has helped in the accommodation of staff through the construction of staff twin house

Challenges: Some of the equipment brought are weak and therefore they are can’t last long.

Recommendations: UGIFT should allocate some funds to the repair of the equipment provided.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health Centre checklist

NAME OF LG: DOKOLO DISTRICT LOCAL GOVERNMENT    NAME OF HEALTH FACILITY:  ANYACOTO HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | MCH OPD |  | Digital | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| B.P. Machine (Aneroid wall mounted) | - | - | - | - | - | - | - | -- | - | - | - | - | - | - |
| Autoclave 20 Liters.,Duo Operated (2) | MCH |  | Plastic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Bowl, Kick (2) | MCH IPD |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Bowl Stand (1) | MCH |  | Metallic | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Counting chamber Neubauer- Improved (1) | Store |  | Plastic | 60 | Not engraved | April 2024 | - |  |  |  |  |  | Non-functional | Still kept in the store |
| Cupboard Steel, Lockable | MCH OPD |  | Metallic | 90 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Drip Stand (8) | MCH IPD |  | Metallic | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| ESR Stand(1) | Store |  | Glass in nature | 36 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Non-functional | condition |
| Examination Couch (2) | MCH OPD |  | Metallic bed with mattress | 90 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Examination light,LED (2) | MCH |  | Plastic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Glucometer (1) | LAB |  | Digital | 36 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Haemoglobin Meter, Digital (2) | Store |  | Digital | 40 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Non-functional | It got spoilt |
| Height Meter (1) | OPD MCH |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Instrument Trolley (1) | MCH |  | Metallic | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Microscope Binocular (1) | Store |  | Metallic | 50 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Non-functional | It can’t see the parasites clearly |
| Otoscope (2) | OPD |  | Manual | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Patient Screen(1) | Store |  | Plastic and rubber | 40 | Not engraved | April 2024 | - |  |  |  |  |  | Non-functional | Still kept in the store |
| Patient Trolley (2) | MCH IPD |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Refrigerator, Basic (1) | Store |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Non-functional | It got spoilt |
| Stethoscope (4) | MCH OPD |  | Manual | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition. |
| Stop Watch (2) | Store |  | Metallic | 40 | Not engraved | April 2024 | - |  |  |  |  |  | Non-functional | Still in the store |
| Stretcher (1) |  |  |  |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Stove, Gas (1) | MCH |  | Metallic | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition. |
| Weighing Scale with Height Meter, Adult (2) | MCH OPD |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition. |
| Weighing Scale, Infant ( 2) | ANC MCH |  | Plastic | 50 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Weighing Scale, Toddler (1) | MCH |  | Plastic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Wheel Chair(3) | MCH IPD |  | Metallic with leather | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Audio Visual Equipment(1) | Store |  | Manual | 50 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Medical Waste Bin (12) | MCH LAB IPD OPD |  | Both plastic and metallic | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Wall Clock(6) | MCH OPD ANC |  | Plastic and circular | 36 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for MCH (2) | MCH |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good d condition |
| Diagnostic Equipment Set for OPD (3) | OPD |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Glassware Set, Laboratory, Basic (1) | IPD MCH |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Hollow Ware Set, Treatment (2) | MCH |  | Metallic | 50 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Dressing (2) | OPD MCH |  | Stainless steel | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good connotation |
| Instrument Set, Basic ENT (3) | MCH IPD |  | Stainless steel | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Suture | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| - | - |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (2) | MCH OPD |  | Manual | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Bed, Adult Patient with Mattress (10) | MCH IPD |  | Metallic bed with mattress | 90 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Bed, Pediatric Patient, With Mattress (2) | IPD |  | Metallic Bed with mattress | 90 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Bedside Locker (4) | MCH IPD |  | Metallic | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Cupboard, Instrument (1) | MCH |  | Metallic | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Delivery Bed, Hydraulic Manual (1) | MCH |  | Manual | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good coditionMCH |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (1) | MCH |  | Metallic | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Resuscitator Manual, Infant, with all Mask sizes (4) | MCH |  | RUBBER | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Resuscitator Manual, Adult, with all mask sizes (6) | MCH |  | Rubber | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Suction Apparatus, (Electric) (1) | Store |  | Electrical | 50 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Nebulizer, Ultrasonic (1) | Store |  | Digital | 50 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Oxygen Concentrator, Duo Flow (2) | MCH |  | Plastic | 50 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Bench (4) | MCH OPD |  | Wooden | 90 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Disinfection Buckets (6) | MCH OPD |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good working condition |
| Baby Cot (3) | MCH |  | Plastic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for Ward (2) | Store |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Hollow Ware Set, Ward | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| - | - |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery (3) | MCH |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Stitch Removing (2) | MCH IPD |  | Metallic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| MVA Kit (3) | MCH |  | Plastic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Stool, Laboratory (1) | LAB |  | Metallic with leather | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good d condition |
| Penguin Sucker (3) | MCH |  | Rubber | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Fetoscope, Dopplar (2) | MCH |  | Metallic | 70 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Bubble CPAP | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Centrifuge (Electric) (1) | Store |  | Electrical | 60 | Not engraved | April 2024 | - |  |  |  |  |  | Non-functional | Good condition |
| Kangaroo Mother Care Chair (1) | MCH |  | Metallic with leather | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Radiant Infant Warmer | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| - | - | - | - |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli (1) | Store |  | Manual | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Non-functional | Its outdated |
| Delivery Bed | -- | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Examination light (3) | OPD MCH |  | Plastic | 60 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Instrument set, ENT Basic for HCIII(2) | Store |  | Metallic | 60 | Not engraved | April 2024 | October |  |  |  |  |  | Functional | Good condition |
| Bag Valve mask (Ambu Bag), Neonatal (1) | MCH |  | Rubber | 6 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Incubator | - | - | - | - | - | - | - | - | - | - | - | - | - |  |
| Office Chair (5) | MCH OPD IPD |  | wooden with metallic stand | 80 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition but two are broken |
| Desk (4) | OPD |  | Wooden | 90 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good condition |
| Filing Cabinet (2) | MCH |  | Metallic | 70 | Not engraved | April 2024 | October 2022 |  |  |  |  |  | Functional | Good condition |
| Non Residential Buildings(1) | Health |  | Concrete building | 300 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | It is in a good state |
| Pit latrine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings (2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MCH WARD Staff house | Health |  | Block concrete building | 600 | Not engraved | April 2024 | October 2024 |  |  |  |  |  | Functional | Good state |

SAMPLE PICTURES OF ANYACOTO HEALTH CENTRE III

Anyacoto Health Centre III

Oxygen Concentration

Cupboard Steel Lockable

and

Filing Cabinet

Assets in the Store

Equipment in

the Store

Delivery Bed Hydraulic Manual

MCH Ward

Staff Twin House

Examination Couch

Equipment in Store

Centrifuge

Sample of Office Chair

Sample of Medical Waste Bin

Sample of a Bench

Patient Bed with

Examination Light LED

Examination Couch,

Wall Clock

and

Weighing Scale Infant

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |