ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda	
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NOTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO-SUB REGION |
| Name of Local Government | DOKOLO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | AGANYO MERCY |
| Contact/ email and Telephone | 0786551826 mercyaganyo22@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | MR.DENIS |
| Contact | 0779622063 |
| Date of submission | 29TH AUGUST 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: AWELO HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

AWELO Health center III uses the Primary Health Care fund to service and repair the damaged equipment.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes the facility always takes regular record of the functionality of the equipment, incase of any breakdown ,it is recorded for better decision making.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The UGIFT support has improved service delivery by providing the equipment that the health facility lacked and it has equally improved the privacy of patients.

It has increased the admisssions of patients because of the wards constructed.

Issues / challenges: Some of the  equipment delivered were not assembled like the delivery bed which needs experts to assemble it.

Recommendations: UGIFT should extend its services to the construction of staff and construction of the kitchen for patients

UGIFT should also assist in supplying computers to the health facility.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health Centre checklist

NAME OF LG: DOKOLO DISTRICT LOCAL GOVERNMRNT    	NAME OF HEALTH FACILITY: AWELO HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital(2) | MCH OPD |  | Digital | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good working condition |
| B.P. Machine (Aneroid wall mounted)(2) | IPD OPD |  | Manual | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Autoclave 20 Liters.,Duo Operated (1) | MCH |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Bowl, Kick (1) | MCH |  | Metallic | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good working condition |
| u |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand (2) | MCH |  | Metallic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good working condition and 1 is still in the store |
| Counting chamber Neubauer- Improved (2) | IPD MCH |  | Plastic | 36 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good working condition |
| Cupboard Steel, Lockable (2) | OPD IPD |  | Metallic | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Drip Stand(8) | IPD MCH |  | Metallic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| ESR Stand (1) | Store |  | Glass in nature | 36 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Non-functional | Still in the store |
| Examination Couch (2) | OPD |  | Metallic with mattress | 65 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | 1 is in a good working condition and the other is still in the store |
| Examination light,LED (2) | MCH |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Glucometer (1) | LAB |  | Digital | 36 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Haemoglobin Meter, Digital (2) | Store |  | Digital | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Non-functional because the strips are not matching the machine | Still kept in the store |
| Height Meter (1) | OPD |  | Metallic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | functional | Good condition |
| Instrument Trolley (2) | IPD MCH |  | Metallic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Microscope Binocular (1) | LAB |  | Metallic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Poor condition, it cannot see parasites clearly |
| Otoscope (1) | OPD |  | Metallic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Patient Screen (4) | OPD MCH |  | Digital | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Patient Trolley (1) | IPD |  | Metallic | 60 | Not engraved | 21ST May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Refrigerator, Basic (1) | LAB |  | Metallic | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Stethoscope (4) | IPD OPD MCH |  | Manual | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Stop Watch (2) | LAB |  | Metallic | 40 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Stretcher (1) | MCH |  | Metallic with leather | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good working condition |
| Stove, Gas (1) | MCH |  | Metallic | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Weighing Scale with Height Meter, Adult (2) | MCH OPD |  | Metallic | 60 | Not engraved | 21st May 2025 | May 2025 |  |  |  |  |  | Functional | Good condition |
| Weighing Scale, Infant (2) | MCH |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Weighing Scale, Toddler | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Wheel Chair (1) | MCH |  | Metallic with leather | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Audio Visual Equipment | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Medical Waste Bin (6) | MCH IPD OPD |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Wall Clock (4) | MCH OPD |  | Metallic | 36 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good working condition and 2 are still in the store |
| Diagnostic Equipment Set for MCH (2) | MCH |  | Stainless steel | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for OPD (2) | OPD |  | Stainless steel | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Glassware Set, Laboratory, Basic (2) | LAB |  | Glass in nature | 36 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Hollow Ware Set, Treatment (3) | Store |  | Metallic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Non-functional | Good condition |
| Instrument Set, Dressing (1) | IPD |  | Metallic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Basic ENT (3) | Store |  | Stainless steel | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Non-functional | Still in store |
| Instrument Set, Suture | - | - | - | - | - | - | - | - | - | - | - | - | -- | - |
| Pulse Oximeter, Hand held (2) | MCH IPD |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Bed, Adult Patient with Mattress (10) | MCH IPD |  | Metallic with mattress | 90 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Bed, Pediatric Patient, With Mattress (5) | IPD |  | Metallic with mattress | 90 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition. |
| Bedside Locker (3) | MCH OPD |  | Metallic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good working condition |
| Cupboard, Instrument (1) | IPD |  | Metallic | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Delivery Bed, Hydraulic Manual (1) | MCH |  | Metallic with mattress | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (2) | MCH IPD |  | Metallic | 70 | Not engraved | 21st may 2025 | July 2025 |  |  |  |  |  | Functional | Good working condition |
| Resuscitator Manual, Infant, with all Mask sizes (2) | MCH |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Resuscitator Manual, Adult, with all mask sizes (2) | Store |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good working condition |
| Suction Apparatus, (Electric) (2) | MCH |  | Electrical | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition and 1 is still in the store. |
| Nebulizer, Ultrasonic (1) | Store |  | Electrical | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Non-functional | Still kept in the store |
| Oxygen Concentrator, Duo Flow (4) | MCH |  | Electrical and plastic | 50 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good conditional and 3 are still in the store |
| Bench (4) | MCH OPD |  | Wooden | 90 | Not engraved | 21swt May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Disinfection Buckets (2) | MCH |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Baby Cot (5) | MCH |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for Ward (3) | IPD |  | Metallic | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Hollow Ware Set, Ward (3) | IPD |  | Stainless steel | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Delivery (3) | MCH |  | Stainless steel | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Stitch Removing (3) | MCH |  | Metallic | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| MVA Kit (4) | MCH |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Stool, Laboratory (1) | LAB |  | Metallic with leather | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Penguin Sucker (3) | MCH |  | Rubber | 40 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Fetoscope, Dopplar (2) | MCH |  | Metallic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition and 1 is still in the store |
| Bubble CPAP | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Centrifuge (Electric) (2) | LAB |  | Electrical | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Kangaroo Mother Care Chair (1) | MCH |  | Metallic with leather | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Radiant Infant Warmer | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Haemoglobin Meter, Sahli | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Delivery Bed (1) | MCH |  | Metallic with mattress | 90 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Examination light | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Instrument set, ENT Basic for HCIII (3) | IPD |  | Stainless steel | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Bag Valve mask (Ambu Bag), Neonatal (1) | MCH |  | Plastic | 60 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Incubator | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Office Chair (4) | OPD |  | Metallic with leather | 90 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Desk (10) | OPD MCH |  | Wooden with metallic stands | 70 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Filing Cabinet (2) | MCH OPD |  | Metallic | 90 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Non Residential Buildings (2) | Health |  | Concrete building | 200 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good condition |
| Toilets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff kitchen | Health |  | Concrete building | 200 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good state |
| Residential Buildings (2) 1 ward and 2 staff twin houses | Health |  | Concrete Block building | 600 | Not engraved | 21st May 2025 | July 2025 |  |  |  |  |  | Functional | Good state |

SAMPLE PICTURES OF AWELO HEALTH CENTER III

Delivery bed, Hydraulic manual

Sample of a bench

Sample of a desk

Instrument trolley

Sample picture of a filing cabinet

Sample picture of a B.P machine

Sample picture of weighing scale, infant

Sample picture of a penguin sucker

Refrigerator Basic

Microscope

s

Drip stand

Laboratory stool

ESR Stand

Some of the equipment in the store

Awelo Health center kitchen

Staff twin house

MCH Ward

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |