ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO SUB REGION |
| Name of Local Government |  |
|  | DOKOLO |
| VERIFIER PARTICULARS |  |
| Full name | NANYONJO PARVIN ABIGAIL |
| Contact/ email and Telephone | 0704562685 nanyonjoparvin036@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Mr. Denis |
| Contact | 0779622063 |
| Date of submission | 1ST SEPTEMBER, 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: TE-TUGU HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

They get funds from RBF, PHC and also have the medical teams that do routine checkups.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes they take regular records about functionality quarterly.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation? |  |
| --- | --- | --- |

One cupboard is also spoilt

The wheel chair and the screen have issues, they are non-functional.

The gas has issues, from the day it was brought, it doesn’t function.

The delivery bed can’t be elevated since adjustments are hard.

No electricity, electrical gadgets aren’t in use.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Recommendation;   Repairing the faulty equipment

Provision of power (electricity

HEALTH CENTRE CHECKLIST

NAME OF LG:	DOKOLO 		NAME OF HEALTH FACILITY:		TE-TUGU HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | OPD(1) |  | DIGITAL | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD (1) |  | MANUAL | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | MCH(1) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters., Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH(1) |  | METALLIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH(1) |  | METALLIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(2) |  | METALLIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(1) |  | PLASTIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | MCH(1) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(1) |  | METALLIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | NON - FUNCTIONING | ONE IS SPOILT |
|  | MCH(1) |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | MCH(4) |  | METALLIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | IPD(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | OPD(1) |  | PLASTIC | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(1) |  | METALLIC | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | OPD(1) |  | &WOODEN |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(1) |  | PLASTIC | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | MCH(1) |  | &WOODEN |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | LAB(1) |  | PLASTIC | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | MCH(1) |  | &WOODEN |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH(1) |  | DIGITAL | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH(1) |  | METALLIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(1) |  | METALLIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | MCH(1) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | LAB(1) |  | METALLIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | OPD(1) |  | METALLIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | IPD(1) |  | METALLIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH(1) |  | ROLLABLE | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | OPD(1) |  | DIGITAL | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | MCH(2) |  | METALLIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | OPD(2) |  | & DIGITAL |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(2) |  | CIRCULAR | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | OPD(1) |  | METALLIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH(1) |  | METALLIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MC(2) |  | USE BATTERY | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(2) |  | USE BATTERY | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(2) |  | USE BATTERY | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | NON – FUNCTIONAL | SPOILT |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | IPD(3) |  | METALLIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | OPD(2) |  | DIGITAL | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | MCH(2) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(2) |  |  | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(2) |  | DIAGNOSIS | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  |  |  | E.g. TELESCOPE |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | LAB(2) |  | MICROSCOPE | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  |  |  | CLEANING |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | IPD(2) |  | STAINLESS STEEL | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(2) |  | STAINLESS STEEL | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | OPD(1) |  | STAINLESS STEEL | 54 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(2) |  | METALLIC | 54 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | STORE |  | DIGITAL | 54 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | IN STORE DUE TO SPACE SHORTAGE |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | MCH(1) |  | METALLIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | OPD(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | WARD(3) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | IPD(3) |  | METALLIC |  | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | OPD(2) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(1) |  | METALLIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | LAB(1) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(1) |  | PLASTIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | ONE (STORE) DUE TO SPACE SHORTAGE |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(1) |  | PLASTIC | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | ONE (STORE) DUE TO SPACE SHORTAGE |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(1) |  | PLASTIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | ONE (STORE) DUE TO SPACE SHORTAGE |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONAL | STILL IN STORE DUE TO SPACE SHORTAGE |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  | PLASTIC | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD(1) |  | PLASTIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | STORE DUE TO SPACE SHORTAGE |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | MCH(4) |  | PLASTIC | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | IPD(2) |  | PLASTIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | OPD(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | MCH(3) |  | COTTON IN NATURE | 40 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL | 2 IN STORE DUE TO SPACE SHORTAGE |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | IPD(2) |  | METALLIC & PLASTIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(2) |  | STAINLESS STEEL | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(2) |  | STAINLESS STEEL | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | IPD(1) |  | STAINLESS STEEL | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | OPD(2) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(2) |  | PLASTIC | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | LAB(1) |  | STAINLESS STEEL | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(2) |  | RUBBER IN NATURE | 50 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH(2) |  | ELECTRICAL | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  | ELECTRICAL | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONAL | STILL IN STORE DUE TO SPACE SHORTAGE |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Kangaroo Mother Care Chair | MCH[1] |  | METALLIC AND MOVABLES | 60 | Not engraved |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | - | - | -- | - | - | - | - | - | - | - | - | - | - | -- |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH[1] |  | METALLIC | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | NON FUNCTION | ADJUSTMENTS ARE NOT FLEXIBLE ON IN GOOD CONDITION |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH[2] |  | ELECTRICAL | 60 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Bag Valve mask (Ambu Bag), Neonatal | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Incubator | - | - | - | - | - | -- | -- | - | -- | - | - | - | - | -5 |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | OPD[2] IPD[2] MCH[1] |  | COMFORTABLE AND METALLIC | 80 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD[1] MCH[1] |  | METALLIC | 70 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Non Residential Buildings | HEALTH |  | STANCR LATRINES | 60 | Not engraved | 23\04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Residential Buildings | HEALTH |  | SEMI DETACHED TWIN HOUSE | 90 | Not engraved | 23/04/2024 | 6/05/2024 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: 			BATA SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

MOST OF THE ASSETS ARE STIL IN GOOD CONDITION AND INCASE OF BREAKAGE, THEY HAVE A TECHNICIAN TO FIX THEM

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES |
| --- | --- | --- |

YES, THEY CARRYOUT REGULAR CHECK UPS ON THE MONTHLY BASIS AND DELEGATE RESPONSIBILITY TO THE STAFF ON DUTY TO REDUCE ON THE DAMAGES AND BREAKAGES

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation? | YES |
| --- | --- | --- |

UGIFT SUPPORT HAS ENABLED THE LOCALS OF DOKOLO TO ENHANCE ON THEIR EDUCATION SINCE IT HAS PROVIDED THE NECESSARY THINGS THAT FACILITATE EDUCATION Eg DESKS AND BUILDINGS

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCHOOL DESKS 110.Three seater | EDUCATION |  | WOODEN IN NATURE | 80 | Not engraved | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| OFFICE CHAIRS 252 | EDUCATION |  | WOODEN AND METALLIC | 80 | Not engraved | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| LABORATORY STOOLS 87 | EDUCATION |  | WOODEN IN NATURE | 80 | Not engraved | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
|  | EDUCATION |  | 3 BIG ONES AND 16 SMALL ONES | 80 | Not engraved | 14/06/201 | 20/06/2021 |  |  |  |  |  | FUNCTIONNG | GOOD CONDITION |
| BOOK SHELVES 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG		DOKOLO		 Name of SCHOOL			BATA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCHOOL DESKS (110) Three Seater | EDUCATION |  | WOODEN IN NATURE | 80 | Not engraved | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| OFFICE CHAIRS (252) | EDUCATION |  | WOODEN & METALLIC IN NATURE | 80 | Not engraved | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| LABORATORY STOOLS (87) | EDUCATION |  | WOODEN IN NATURE | 80 | Not engraved | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| BOOK SHELVES (19) | EDUCATION |  | 3 BIG ONES 16 SMALL ONES | 80 | Not engraved | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG 	DOKOLO 				Name of SCHOOL 	BAATA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DESKTOP COMPUTERS (28) | EDUCATION |  |  | 70 | C632763 S7VT78 BBRZ773 DCMJ973 28MJ973 ES3J7C3 | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| SERVER PROCESSOR (01) | EDUCATION |  |  | 70 | 5244WC3 | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| UPS (28) | EDUCATION |  | MODEL APC 650YK | 70 | 9B2017A23798 9B2017A22810 9B2017A22805 9B2017A228DE 9B2017A22804 9B2017A01221 9B2017A01153 9B2017A22789 9B2017A22806 | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| SERVER UPS (01) |  |  | APC SMART UPC BODYA | 80 | AS2037154874 | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| PROJECTOR (01) |  |  | EPSON MODEL 6D:X41 | 80 | VHH.84BD41/84 | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| DESKTOP PRINTER (01) |  |  | LOWERJET PRO | 80 | CNBKMDG23N | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| WIRELESS ROUTER (02) |  |  | LINK AC | 80 | 2208-4ME004251 2208-4ME004253 | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| CCTV CAMERA DIGITAL VIDEO RECORDER (01) |  |  | BATTERY 61B HDD | 80 | E60271478 | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| NETWORK SWITCH (02) |  |  | D-LINK DGS.1210.288 | 80 | TM01211000418 TM101211064320 | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| AIR CONDITIONER (01) |  |  | HISENSE BRAND | 80 | C946087370527/ 1KK02400E54P3540049 | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| POWER SURGE PROTECTOR (01) |  |  | EXTENSION CABLES | 80 |  | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| CDT6 CABLE (01) |  |  |  | 80 |  | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG		DOKOLO 		Name of SCHOOL		BATA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CLASSROOMS (1) | EDUCATION |  | BLOCK BUILDING | 130 |  | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| COMPUTER LAB (1) | EDUCATION |  | BLOCK BUILDING | 130 |  | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| LATRINE STANCES (9) | EDUCATION |  | BLOCK WITH SHUTTERS | 130 |  | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| WATER TANK (1) | EDUCATION |  | BLACK IN COLOUR | 80 |  | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| LIBRARY (1) | EDUCATION |  | BLOCK BUILDING | 120 |  | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| ADMINISTRATIVE BLOCK (1) | EDUCATION |  | BLOCK BUILDING | 130 |  | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| STAFF ROOM (1) | EDUCATION |  | BLOCK BUILDING | 120 |  | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| TEACHERS’ QUARTERS(Three) blocks | EDUCATION |  | BLOCK (3) | 80 |  | 14/06/2021 | 20/06/2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |