ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
|  | NORTHEN UGANDA |
| SUB-REGION: |  |
|  | LANGO SUB REGION |
| Name of Local Government |  |
|  | OTUKE |
| VERIFIER PARTICULARS |  |
| Full name | NANYONJO PARVIN ABIGAIL |
| Contact/ email and Telephone | 0704562685 |
| Supervisor/ Sub team leader |  |
| Name | MR.DENNIS |
| Contact | 0779622063 |
| Date of submission | 27TH AUGUST 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: 	OGWETE HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

OGWETE HAS A TECHNICIAN AT THE DISTRICT WHOM THEY CONTACT INCASE OF ANY BREAKDOWN TO REPAIR DAMAGES.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

OGWETE CARRIES OUT REGULAR RECORD QUATERLY i.e. EVERY AFTER FOUR MONTHS

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

IT HAS IMPROVED ON THE LIVES OF THE LOCALS AT OGWETTE HEALTH CARE III

GENERALLY MOST OF THE ASETS ARE IN GOOD CONDITION

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG:		OTUKE			 NAME OF HEALTH FACILITY:		 OGWETE HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (1) | OPD1] |  | DIGITAL | 40 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| B.P. Machine (Aneroid wall mounted) (2) | OPD[1] MCH[1] |  | MANUAL | 40 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Autoclave 20 Liters.,Duo Operated (1) | MCH[1] |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITON |
| Bowl, Kick |  |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITON |
| Bowl Stand (1) | MCH[1] |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Counting chamber Neubauer- Improved. (2) | MCH[2] |  | PLASTIC | 50 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Cupboard Steel, Lockable (2) | OPD[1] MCH[1] |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Drip Stand (8) | MCH[2] WARD[6] |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| ESR Stand. (1) | OPD[1] |  | PLASTIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Examination Couch. (2) | MCH[1] OPD[1] |  | METALLIC AND WOODEN | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Examination light,LED. (2) | OPD[1] MCH[1] |  | PLASTIC AND METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Glucometer.(2) | LAB[1] MCH[1`] |  | PLASTIC AND METALLIC | 60 | Not Engraved | 5T OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Haemoglobin Meter, Digital | - | -- | - | - | -- | - | - | - | - | - | - | -- | - | - |
| Height Meter | - | -- | -- | - | - | - | - | - | - | - | - | - | - | - |
| Instrument Trolley. (2) | MCH[1] OPD[1] |  | MOVABLE | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITON |
| Microscope Binocular | -- | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Otoscope. (1) | OPD[1] |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Patient Screen | -- | - | - | -- | - | -- | - | - | - | -- |  | - | - | - |
| Patient Trolley. (1) | MCH[1] |  | ROLLABLE | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Refrigerator, Basic (1) | OPD[1] |  | DIGITAL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Stethoscope (4) | MCH[2] OPD[2] |  | DIGITAL AND METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Stop Watch. (2) | MCH[2] |  | CIRCULAR | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Stretcher | -- | - | -- | --- | --- | - | - | - | -- | -- | -- | -- | - | - |
| Stove, Gas. (1) | MCH[1] |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Weighing Scale with Height Meter, Adult.(2) | MCH[2] |  | USE BATTERY | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Weighing Scale, Infant.(2) | MCH[2] |  | USE BATTERY | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Weighing Scale, Toddler (2) | MCH[2] |  | USE BATTERY | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Wheel Chair(1) | IPD[1] |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING 6 ARE IN STORE | GOOD CONDITION 6 IN STORE DUE TO SPACE SHORTAGE |
| Audio Visual Equipment | -- | - | - | -- | -- | - | -- | - | - |  | -- | - | -- | - |
| Medical Waste Bin | - | -- | - | - | -- | - | - | - | - | - | -- | -- | -- | - |
| Wall Clock. (4) | OPD[2] MCH[2] |  | DIGITAL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Diagnostic Equipment Set for MCH (2) | MCH[2] |  | Eg TELESCOPE | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Diagnostic Equipment Set for OPD (2) | OPD[2] |  | Eg PATELLA HARMAR | 60 | Not Engraved | 5TH 0CT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Glassware Set, Laboratory, Basic (2) | LAB[2] |  | MICROSCOPE CLEANING | 60 | Not Engraved | 5TH0CT 2025 | 17TH NOV 2025F |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Hollow Ware Set, Treatment | - | - | - | -- | - | -- | - | - | - | - | - | - | - | - |
| Instrument Set, Dressing. (2) | OPD[2] |  | STAINLESS STEEL | 60 | Not Engraved | 5TH OCT2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Instrument Set, Basic ENT | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Instrument Set, Suture | OPD[3] |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Pulse Oximeter, Hand held. (3) |  |  | DIGITAL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONAL | STILL IN STORE DUE TO SPACE SHORTAGE |
| Bed, Adult Patient with Mattress (10) | MCH[3] OPD[3] WARD[4 |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITON |
| Bed, Pediatric Patient, With Mattress (5) | IPD[5] |  | PINK IN COLOUR | 69 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bedside Locker | - | -- | - | - | - | -- | --- | - | - | -- | - | - | -- |  |
| Cupboard, Instrument. (2) | IPD[1] OPD[1] |  | METALLIC | 50 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Delivery Bed, Hydraulic Manual | - | - | - | - | - | - | - | - | - |  | -- | - | - | - |
| Oxygen Therapy Apparatus, Mininum 45L cylinder. (1) | OPD[1] |  | CYLINDRICAL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITON 1 IS IN STORE DUE TO SPACE SHORTAGE |
| Resuscitator Manual, Infant, with all Mask sizes. (1) | MCH[1] |  | PLASTIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION 1 IS IN STORE DUE TO SPACE SHORTAGE |
| Resuscitator Manual, Adult, with all mask sizes. (1) | MCH[1] |  | PLASTIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION 1 IS IN STORE DUE TO SPACE SHORTAGE |
| Suction Apparatus, (Electric) (1) |  |  | PLASTIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | KEPT IN STORE DUE TO SPACE SHORTAGE |
| Nebulizer, Ultrasonic. (1) |  |  | PLASTIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | STILL IN STORE DUE TO SPACE SHORTAGE |
| Oxygen Concentrator, Duo Flow. (1) | OPD[1] |  | ELECTRICAL IN NATURE | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION 3 ARE IN STORE DUE TO SPACE SHORTAGE |
| Bench. (4) | MCH[4] |  | WOODEN | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Disinfection Buckets. (6) | IPD[2] OPD[4] |  | PLASTIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Baby Cot (2) | MCH[2] |  | COTTON IN NATURE | 59 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION 3 ARE IN STORE DUE TO SPACE SHORTAGE |
| Diagnostic Equipment Set for Ward. (2) | IPD[2] |  | METALLIC AND PLASTIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Hollow Ware Set, Ward. (1) | MCH[1] |  | STAINLESS STEEL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION 2 ARE IN STORE DUE TO SPACE SHORTAGE |
| Instrument Set, Delivery. (1) | MCH[2] |  | STAINLESS STEEL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION ONE IS IN STORE DUE TO SPACE SHORTAGE |
| Instrument Set, Stitch Removing. (3) | IPD[1] OPD[2] |  | STAINLESS STEEL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| MVA Kit. (2) | MCH[2] |  | PLASTIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION 2 ARE IN STORE DUE TO SPACE SHORTAGE |
| Stool, Laboratory. (1) | LAB[1] |  | STAINLESS STEEL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITON |
| Penguin Sucker. (3) | MCH[3] |  | RUBBER IN NATURE | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Fetoscope, Dopplar. (2) | MCH[2] |  | ELECTRICAL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bubble CPAP. (2) |  |  | ELECTRICAL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTION | STILL IN STORE DUE TO SPACE SHORTAGE |
| Centrifuge (Electric). (5) |  |  | ELECTRICAL | 60 | Not Engraved | 5TH OCT2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | STILL IN STORE DUE TO SPACE SHORTAGE |
| Kangaroo Mother Care Chair. (1) | MCH[1] |  | MOVABLE | 60 | Not Engraved | 5TH 0CT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Radiant Infant Warmer | -- | - | -- | - | - | -- | -- | - | - | -- |  | - | - | - |
| Haemoglobin Meter, Sahli | - | -- | - | - | - | - | - | - | -- | - | - | - | - | - |
| Delivery Bed. (1) | MCH[1] |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Examination light. (1) | MCH[1] |  | ELECTRICAL | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION ONE IS IN STORE DUE TO SPACE SHORTAGE |
| Instrument set, ENT Basic for HCIII | - | -- | -- | -- | -- | - | -- | -- | -- | - | - | - | -- | - |
| Bag Valve mask (Ambu Bag), Neonatal | -- | -- | - | - | - | -- | - | - | - | - | - | - | -- |  |
| Incubator |  | - | - | -- | -- | -- | -- | - | - | --- | -- |  | -- |  |
| Office Chair. (5) | OPD[2] MCH[2] IPD[1] |  | COMFORTABLE AND METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Desk | - | - | -- | - | - | - | -- | -- | -- |  |  |  | - | - |
| Filing Cabinet. (2) | OPD[1] MCH[1] |  | METALLIC | 60 | Not Engraved | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Non-Residential Buildings. (6 stance) | HEALTH |  | STANCE LATRINES | 50 |  | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Residential Buildings. (Twin House) | HEALTH |  | TWIN HOUSE | 60 |  | 5TH OCT 2025 | 17TH NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school:		OKUM SEED SSS

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

THE BUILDINGS ARE STILL UNDER CONSTRUCTION

AND THE ASSETS ARE BEING KEPT IN THE STORES OF THE LOCAL GOVERNMENT AT OTUKE

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

IT HAS NOT YET STARTED OPERATING SINCE THE BUILDINGS ARE STILL UNDER CONSTRUCTION

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

UGFIT IS GOING TO IMPROVE ON THE EDUCATIONAL SERVICES ON THE LOCALS OF OTUKE

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG		OTUKE			 Name of SCHOOL			OKUM SEED SSS

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIDN’T RECEIVE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG		OTUKE			 Name of SCHOOL 		OKUM SEED SSS

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 9TH APRIL 2025 |  |  |  |  |  |  |  |  |
| AIR CONDITIONER | EDUCATION.Airconditinoners |  | IN DOOR (one) | 70 | G309014589597330812006 |  |  |  |  |  |  |  | GOOD | STILL IN STORE AT DISTRICT |
|  |  |  | OUT DOOR (one) | 70 | G3A90145995974308120019 | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| HPPRP TOWER 290 69 DESSKTOPS | EDUCATIONHP Pro 290 69 Desktops |  | BLACK IN COLOUR 21 | 70 | 4CE506B2QB 4CE506B2YW 4CE506B2X7 4CE506B25K 4CE506B2YO 4CE506B2Q6 | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| HR PRO TOWER 290 69 MONITOR | EDUCATION.HP Pro 290 69 Monitors |  | BLACK IN COLOUR 21 | 70 | CNK4150RRRY CNK41500771 CNK41500DJ5 CNK415006RG CNK41500DKM | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE AT THE DISTRICT |
| HP PRINTER 4103DW | EDUCATION.HP PRINTER 4103DW. |  | BLACK IN COLOUR ONE RECEIVED | 70 | CNCR55KO95 | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE DUE TO SPACE SHORTAGE |
| CAT6CABLES | EDUCATION. |  | BLACK IN COLOU R 6 ONE RECEIVED | 70 |  | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| 800VA UPS. (20) | EDUCATION |  | 20 | 70 | 31004661E58631003743 310041661E5863100373 310041661E5863100021 310041661E5863100311 | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
|  | EDUCATION |  | 1 | 70 |  | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| MONITOR SCREEN 24PORT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MANAGED SWITCHES. (1) | EDUCATION |  | 2 | 70 | FV2796894 FV2796859 | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| SOPHOOS XGS 108 SECURITY APPLIANCES(1) | EDUCATION |  | 1 | 70 | X1030KFJXRQXB5 | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| RACK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RACK(1) | EDUCATION |  | 1 | 70 | 7071940 | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| UPS 300VA. (1) | EDUCATION |  | 1 | 70 | 310041422E6270014 | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| NVR. (1) | EDUCATION |  | 1 | 70 | ADO449PAZFAE7F | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| NETWORK CAMERA (1) | EDUCATION |  | 1 | 70 | 4859384515A00348 | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| FLOOR TRUNKING.(1) | EDUCATION |  | 1 | 70 |  | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |
| WORKNET 4G WIRE;ESS ROUTER(1) | EDUCATION |  | 1 | 70 | T30862188062168133 | 9TH APRIL 2025 |  |  |  |  |  |  | GOOD | STORE |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG		OTUKE			 Name of SCHOOL		OKUM SEED SSS

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ICT LAB. One block | EDUC |  | BLOCK BUILDING | 190 |  |  |  |  |  |  |  |  | GOOD CONDITION | UNDER CONSTRUCTION |
| SCIENCE LAB. One block | EDUC |  | BLOCK BUILDING | 190 |  |  |  |  |  |  |  |  | GOOD COMDITION | UNDER CONSTRUCTION |
| CLASS ROOMS | EDUC |  | BLOCK 1,2,3 | 200 |  |  |  |  |  |  |  |  | GOOD CONDITION | UNDER CONSTRUCTION |
| STAFF ROOM. (1) | EDUC |  | BLOCK BUILDING | 300 |  |  |  |  |  |  |  |  | GOOD CONDITION | UNDER CONSTRUCTION |
| STANCE LATRINES 4, and 6 for children. Four stance pit. | EDUC |  | FOUR FOR STAFF AND SIX FOR CHILDREN | 200 |  |  |  |  |  |  |  |  | GOOD CONDITION | UNDER CONSTRUCTION |
| STAFF QUARTERS One block | EDUC |  | SEMI DETACHED HOUSES | 200 |  |  |  |  |  |  |  |  | GOOD CONDITION | UNDER CONSTRUCTION |