ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government |  |
|  | AMURIA |
| VERIFIER PARTICULARS |  |
| Full name | ATIM JESCA |
| Contact/ email and Telephone | 0704389970 |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ABEKO HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Budget for operation and management funded by PHC

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

SERVICES

- Provided infrastructure and medical equipment

- Improved medical services

- Employment opportunities

CHALLENGES

- No reliable water source like piped water

- Inadequate staff

- Insecurity

RECOMMENDATIOS

- Provide a reliable water source

- Construct a fence to boost security

- Need for more staff like nurses

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: AMURIA

NAME OF HEALTH FACILITY: ABEKO HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 3 | Health |  | Digital |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Wall mounted |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Autoclave 20 Liters., Duo Operated 2 | Health |  | Wingnut type |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Bowl, Kick 1 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Bowl Stand 3 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Counting chamber Neubauer- Improved 2 | Health |  | Glass |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Cupboard Steel, Lockable 6 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Drip Stand 8 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| ESR Stand 1 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Examination Couch 4 | Health |  | Leather |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Examination light,LED 3 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Glucometer 2 | Health |  | Plastic 2 |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Haemoglobin Meter, Digital 2 | Health |  | Plastic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Height Meter 2 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Instrument Trolley 4 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Microscope Binocular 1 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Otoscope 1 | Health |  | Metallic and plastic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Patient Screen 5 | Health |  | Polyester |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Patient Trolley 1 | Health |  | Metallic and leather |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Refrigerator, Basic 2 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Stethoscope 8 | Health |  | Metallic and rubber |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Stop Watch 1 | Health |  | Digital |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Stretcher 2 | Health |  | Leather with rollers |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Stove, Gas 2 | Health |  | 6 kg stabex |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Weighing Scale with Height Meter, Adult 2 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Weighing Scale, Infant 2 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Weighing Scale, Toddler | Health |  | Hanging type |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Wheel Chair 1 | Health |  | Leather |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Audio Visual Equipment 1 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Non functional | No specialist to operate the equipment |
| Medical Waste Bin 20 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Wall Clock 4 | Health |  | Analog |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Diagnostic Equipment Set for MCH 3 | Health |  | sets |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Diagnostic Equipment Set for OPD 2 | Health |  | sets |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Glassware Set, Laboratory, Basic 2 | Health |  | 2 sets |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Hollow Ware Set, Treatment 2 | Health |  | sets |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Instrument Set, Dressing 7 | Health |  | sets |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Instrument Set, Basic ENT 1 | Health |  | set |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Instrument Set, Suture 3 | Health |  | sets |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Pulse Oximeter, Hand held 2 | Health |  | Rubber |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Bed, Adult Patient with Mattress 13 | Health |  | Leather and metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | All mattresses are functional and 1 bed in use | Other 12 beds were provided by another entity |
| Bed, Pediatric Patient, With Mattress 4 | Health |  | Metallic and leather |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Bedside Locker 10 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Cupboard, Instrument 1 | Health |  | Metallic and glass |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Delivery Bed, Hydraulic Manual 1 | Health |  | Leather |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 2 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Resuscitator Manual, Infant, with all Mask sizes 1 | Health |  | Variety |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Resuscitator Manual, Adult, with all mask sizes 1 | Health |  | Variety |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Suction Apparatus, (Electric) 1 | Health |  | Metallic and plastic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Nebulizer, Ultrasonic 1 | Health |  | Metallic and plastic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Oxygen Concentrator, Duo Flow 1 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Bench 4 | Health |  | Wooden |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Disinfection Buckets 6 | Health |  | Plastic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Baby Cot 2 | Health |  | Metallic and leather |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Diagnostic Equipment Set for Ward 2 | Health |  | sets |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Hollow Ware Set, Ward 2 | Health |  | sets |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Instrument Set, Delivery 5 | Health |  | sets |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Instrument Set, Stitch Removing 5 | Health |  | sets |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| MVA Kit 5 | Health |  | variety |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Stool, Laboratory 1 | Health |  | Metallic and leather |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Penguin Sucker 3 | Health |  | Rubber |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Fetoscope, Dopplar 2 | Health |  | Plastic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good stuats |
| Bubble CPAP 0 | Health |  | tubes |  | Not Engraved |  | 2023 |  |  |  |  |  | Not in use | Not delivered |
| Centrifuge (Electric) 1 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Kangaroo Mother Care Chair 1 | Health |  | Wood and cushion |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Radiant Infant Warmer - | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Haemoglobin Meter, Sahli 2 | Health |  | Plastic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Delivery Bed 1 | Health |  | Metallic and leather |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Examination light 3 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Instrument set, ENT Basic for HCIII 1 | Health |  | Metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Bag Valve mask (Ambu Bag), Neonatal 4 | Health |  | Rubber |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Incubator - | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Office Chair 7 | Health |  | Leather |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Desk 5 | Health |  | Wooden |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Filing Cabinet 2 | Health |  | metallic |  | Not Engraved |  | 2023 |  |  |  |  |  | Functional | Good status |
| Non Residential Buildings | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  |  |  |
| Placenta pit | Health |  | 1 block |  |  |  | 2023 |  |  |  |  |  | Functional | Good status |
| Maternity ward | Health |  | 1 block |  |  |  | 2023 |  |  |  |  |  | Functional | Good status |
| Pit latrines | Health |  | 1 block 4 stance |  |  |  | 2023 |  |  |  |  |  | Functional | Good status |
| Tanks 2 |  |  | Gentex 10000L (1) 500L (1) |  |  |  | 2023 |  |  |  |  |  | Functional | Good status |
| Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff quarters | Health |  | 1 block 2 units |  |  |  | 2023 |  |  |  |  |  | Functional | Good status |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |