ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | AMURIA |
| VERIFIER PARTICULARS |  |
| Full name | OLOBO FELIX |
| Contact/ email and Telephone | 0704389970 |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: AKERIAU HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Funded by phc

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

SERVICES

- Improved medical service delivery

- Accommodation of staff

- Provided better working equipment

CHALLENGES

- Inadequate staff

- Insecurity

RECOMMENDATIONS

- Need for more health workers

- Construct a wall fence to boost security

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: AMURIA

NAME OF HEALTH FACILI: AKERIAU HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 2 | Health |  | Digital |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Wall mounted |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Autoclave 20 Liters.,Duo Operated 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Bowl, Kick 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Bowl Stand 3 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Counting chamber Neubauer- Improved 2 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Cupboard Steel, Lockable 3 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Drip Stand 8 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| ESR Stand 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Examination Couch 1 | Health |  | Leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Examination light,LED 3 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Glucometer 2 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Haemoglobin Meter, Digital 2 | Health |  | Digital |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Height Meter 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument Trolley 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Microscope Binocular 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Otoscope 1 | Health |  | Metal and plastic |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Store and in good condition |
| Patient Screen 5 | Health 5 |  | Polyester |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Patient Trolley 2 | Health |  | Leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Refrigerator, Basic | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Stethoscope | Health |  | Metal and rubber |  | Not Engraved |  | 2025 |  |  |  |  |  | In use | Good condition |
| Stop Watch 1 | Health |  | Digital |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Stretcher 1 | Health |  | Leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Stove, Gas | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Weighing Scale with Height Meter, Adult 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Weighing Scale, Infant 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Weighing Scale, Toddler | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Wheel Chair 1 | Health |  | Rollers |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Audio Visual Equipment | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Medical Waste Bin 2 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Wall Clock 2 | Health |  | Analog |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for MCH 3 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for OPD 2 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Glassware Set, Laboratory, Basic 2 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Hollow Ware Set, Treatment 2 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Dressing 2 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Basic ENT 2 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Suture 2 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Pulse Oximeter, Hand held 2 | Health |  | Rubber |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Bed, Adult Patient with Mattress 7 | Health |  | Leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Bed, Pediatric Patient, With Mattress 5 | Health |  | Leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Bedside Locker 5 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Cupboard, Instrument 1 | Health |  | Metal and glass |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Delivery Bed, Hydraulic Manual 1 | Health |  | Leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Resuscitator Manual, Infant, with all Mask sizes 2 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Resuscitator Manual, Adult, with all mask sizes 2 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Suction Apparatus, (Electric) 4 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Nebulizer, Ultrasonic 1 | Health |  | Metal and plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Oxygen Concentrator, Duo Flow 1 | Health |  | Metal and plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Bench 4 | Health |  | Wooden |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Disinfection Buckets 4 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Baby Cot 5 | Health |  | Leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for Ward 2 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Hollow Ware Set, Ward 2 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Delivery 2 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Stitch Removing 3 | Health |  | sets |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| MVA Kit | Health |  | sets |  | Not Engraved |  |  |  |  |  |  |  | In use | Good |
| Stool, Laboratory 1 | Health |  | Leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Penguin Sucker | Health |  | Rubber |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Fetoscope, Dopplar 1 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Bubble CPAP | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Centrifuge (Electric) 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Kangaroo Mother Care Chair 1 | Health |  | Wood and cushion |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Radiant Infant Warmer | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Haemoglobin Meter, Sahli | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Delivery Bed 1 | Health |  | Leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Examination light 3 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument set, ENT Basic for HCIII 1 | Health |  | set |  | Not Engraved |  |  |  |  |  |  |  | Not functional | Its still in the store and not being used |
| Bag Valve mask (Ambu Bag), Neonatal 2 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Incubator | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Office Chair 7 | Health |  | Leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Desk. 1 | Health |  | Wooden |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Filing Cabinet 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Non Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maternity ward |  |  | 1 block |  |  |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Placenta pit |  |  | 1 block |  |  |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Tanks 4 |  |  | 10000L (2) 5000L (2) |  |  |  | 2025 |  |  |  |  |  | Functional | Good condition |
| Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff house |  |  | 1 block 2 units |  |  |  | 2025 |  |  |  |  |  | Functional | Good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |