ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | AMURIA |
| VERIFIER PARTICULARS |  |
| Full name | OLOBO FELIX |
| Contact/ email and Telephone | olobofelix@gmail.com |
|  | 0704389970 |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Alere HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | no |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Funded by phc

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

SERVICES

- Eased accessibility of health services

CHALLENGES

- Inadequate water

- No laboratory block from ugift

- Insufficient storage for the equipment

RECOMMENDATIONS

- provide a reliable water source like piped water

- construct a laboratory facility

- build more rooms in the maternity for storage and use of other equipment

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: AMURIA

NAME OF HEALTH FACILITY: ALERE HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 0 | Health |  |  |  |  |  | 07/01/2025 |  |  |  |  |  | Not in use | Not delivered |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Wall mounted |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Autoclave 20 Liters., Duo Operated 2 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Bowl, Kick 1 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Bowl Stand 1 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Counting chamber Neubauer- Improved 1 | Health |  | Metallic and plastic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Cupboard Steel, Lockable 6 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Drip Stand 8 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | 7 functionals | I missing And the 7 are in good status |
| ESR Stand 1 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Examination Couch 4 | Health |  | Leather |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Examination light, LED 3 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Glucometer 1 | Health |  | Plastic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Non functional | It got spoilt |
| Hemoglobin Meter, Digital 1 | Health |  | Digital |  | 21051243 |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Height Meter 2 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Instrument Trolley 2 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  |  |  |
| Microscope Binocular 1 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Non functional | No power to run it |
| Otoscope 1 | Health |  | Plastic and metal |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Patient Screen 4 | Health |  | Polyester |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Patient Trolley 2 | Health |  | Leather and metal |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Refrigerator, Basic 2 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Stethoscope 1 | Health |  | Metal and rubber |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Stop Watch 1 | Health |  | Digital |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Non functional | Its still in the store |
| Stretcher 1 | Health |  | Leather and metal |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Stove, Gas 2 | Health |  | 6 kg stabex |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Weighing Scale with Height Meter, Adult 2 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Weighing Scale, Infant 2 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Weighing Scale, Toddler 1 | Health |  | Pointer biocom |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Wheel Chair 4 | Health |  | Roller leather |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Audio Visual Equipment - | Health |  |  |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Not in use | Not delivered |
| Medical Waste Bin 10 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Wall Clock 4 | Health |  | Analog |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | 3 functionals | 1 got spoilt |
| Diagnostic Equipment Set for MCH 2 | Health |  | Variety |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Non functional | Still In the store |
| Diagnostic Equipment Set for OPD 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Non functional | No power to run it |
| Glassware Set, Laboratory, Basic 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Hollow Ware Set, Treatment 4 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Instrument Set, Dressing 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Instrument Set, Basic ENT 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Instrument Set, Suture 2 | Health |  | sets |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Pulse Oximeter, Hand held 1 | Health |  | Plastic |  | Not Engraved |  |  |  |  |  |  |  | Not in use | In store because they still using their own |
| Bed, Adult Patient with Mattress 6 | Health |  | Leather and metal |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Bed, Pediatric Patient, With Mattress 4 | Health |  | Leather and metal |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Bedside Locker 10 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Cupboard, Instrument 1 | Health |  | Metal and glass |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Delivery Bed, Hydraulic Manual 1 | Health |  | Leather |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 2 | Health |  | Metal |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Resuscitator Manual, Infant, with all Mask sizes 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Resuscitator Manual, Adult, with all mask sizes 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Suction Apparatus, (Electric) 1 | Health |  | Electric |  | Not Engraved |  |  |  |  |  |  |  | Not in use | No power |
| Nebulizer, Ultrasonic 1 | Health |  | Metal and plastic |  | Not Engraved |  |  |  |  |  |  |  | Not in use | No power |
| Oxygen Concentrator, Duo Flow 1 | Health |  | Metal |  | Not Engraved |  |  |  |  |  |  |  | Not in use | No power |
| Bench 4 | Health |  | Wooden |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Disinfection Buckets 6 | Health |  | Plastic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | 4 Functional | 2 broken |
| Baby Cot 2 | Health |  | Leather and metal |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Good status |
| Diagnostic Equipment Set for Ward 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Hollow Ware Set, Ward 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Instrument Set, Delivery 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| Instrument Set, Stitch Removing 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All are store because they still using their own |
| MVA Kit 5 | Health |  | Variety |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | 1 functional | 4 in store in good status |
| Stool, Laboratory 2 | Health |  | Leather |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | Functional | Not in good status |
| Penguin Sucker 3 | Health |  | Rubber |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | 1 functional | 2 in store and good status |
| Fetoscope, Dopplar 1 | Health |  | Plastic |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Store and in good status |
| Bubble CPAP | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Centrifuge (Electric) 1 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | Non functional | No power |
| Kangaroo Mother Care Chair 1 | Health |  | Leather |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | 1 functional | Good status |
| Radiant Infant Warmer | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not | Not delivered |
| Haemoglobin Meter, Sahli 2 | Health |  | Plastic |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Store and good status |
| Delivery Bed | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Examination light 3 | Health |  | Metal |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Instrument set, ENT Basic for HCIII 1 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Store and good ststus |
| Bag Valve mask (Ambu Bag), Neonatal 1 | Health |  | Plastic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | In use | Good status |
| Incubator | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Office Chair 7 | Health |  | Leather |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | In use | Good status |
| Desk | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Filing Cabinet 6 | Health |  | Metallic |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | 1 in use | 5 still empty |
| Non Residential Buildings | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  |  |  |
| Pit latrines | Health |  | 1 block 4 stance |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | In use | Good status |
| Placenta pit |  |  | 1 block |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | In use | Good status |
| Tanks |  |  | Gentex 2000L (2) 500L (3) 5000L (1) 10000L (1) 3000L (1) |  | Not Engraved |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  | Not Engraved |  |  |  |  |  |  |  |  |  |
| staff | Health |  | 1 block 2 units |  | Not Engraved |  | 07/01/2025 |  |  |  |  |  | In use | Good status |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |