ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | AMURIA |
| VERIFIER PARTICULARS |  |
| Full name | JESCA ATIM |
| Contact/ email and Telephone | atmjesca@gmail.com 0784043261 / 0770328790 |
| Supervisor/ Sub team leader |  |
| Name | MR DENIS BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  GOLOKWARA

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

PHC grant

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes; they do it quarterly |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Better service delivery i.e. maternity

Challenges:
- Lack of emergency drugs

-In-adequate power at IPD 
- Insecurity due to no fence

-Transport insufficienecy (outreach)

-inadequate staff

Recommendations:
- Fencing of the facility
- More staff
- Reliable source of power

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG …………AMURIA…….  NAME OF HEALTH FACILITY…………………GOLOKWARA………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 1 | Health |  | digital |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and in use | Good status |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Wall mounted |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 in use | Good status |
| Autoclave 20 Liters.,Duo Operated 2 | Health |  | wingnut type metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 in use | Good status |
| Bowl, Kick 1 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and in use | Good condition |
| Bowl Stand 3 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 3 in use | Good form |
| Counting chamber Neubauer- Improved 2 | Health |  | plastic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 in use | Good status |
| Cupboard Steel, Lockable 6 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 6 in use | Good status |
| Drip Stand 9 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 9 in use | Good status |
| ESR Stand 1 | Health |  | glass |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 in use | Good status |
| Examination Couch 4 | Health |  | Leather cushion |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 4 functional | Good status |
| Examination light,LED 4 | Health |  | metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 4 in use | Good condition |
| Glucometer 2 | Health |  | plastic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 in use | Good status |
| Haemoglobin Meter, Digital - | Health |  | digital |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Height Meter 2 | Health |  | metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are functional | Good status |
| Instrument Trolley 2 | Health |  |  |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are functional | Good fiorm |
| Microscope Binocular 1 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | One and functional | Good condition |
| Otoscope 1 | Health |  | Rubber and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | One in use | Good condition |
| Patient Screen 5 | Health |  | polyester |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 5 in use | Good condition |
| Patient Trolley 1 | Health |  | Leather cushion |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good condition |
| Refrigerator, Basic 2 | Health |  | electric |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 in use | Good status |
| Stethoscope 8 | Health |  | Metal and rubber |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 8 in use | Good status |
| Stop Watch 1 | Health |  | digital |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good status |
| Stretcher 2 | Health |  | leather |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 in use | Good status |
| Stove, Gas 2 | Health |  | 6kgs each, starbex |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 functional | Good condition |
| Weighing Scale with Height Meter, Adult 2 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 functional | Good status |
| Weighing Scale, Infant 2 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 in use | good status |
| Weighing Scale, Toddle 1 | Health |  | Hanging type |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 in use | Good status |
| Wheel Chair 4 | Health |  | roller |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 4 in use | Good condition |
| Audio Visual Equipment 1 | Health |  | variety |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good status |
| Medical Waste Bin 20 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 20 in use | Good status |
| Wall Clock 4 | Health |  | analog |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 4 in use | Good condition |
| Diagnostic Equipment Set for MCH 3 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good condition |
| Diagnostic Equipment Set for OPD 3 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 3 and functional | Good condition |
| Glassware Set, Laboratory, Basic 2 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 functional | Good conditions |
| Hollow Ware Set, Treatment 2 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are in use | Good condition |
| Instrument Set, Dressing 7 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 7 and in use | Good condition |
| Instrument Set, Basic ENT 0 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Instrument Set, Suture 3 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 3 in use | Good |
| Pulse Oximeter, Hand held 2 | Health |  | rubber |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 in use | Good status |
| Bed, Adult Patient with Mattress | Health |  |  |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Bed, Pediatric Patient, With Mattress 4 | Health |  | Leather cushion |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 4 are functional | Good status |
| Bedside Locker 10 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 10 in use | Good status |
| Cupboard, Instrument 1 | Health |  | Metal and glass |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | good status |
| Delivery Bed, Hydraulic Manual 1 | Health |  | manual |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good status |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 2 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 and functional | Good status |
| Resuscitator Manual, Infant, with all Mask sizes 1 | Health |  | variety |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 in use | Good status |
| Resuscitator Manual, Adult, with all mask sizes 1 | Health |  | variety |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 in use | Good status |
| Suction Apparatu s, (Electric) 2 | Health |  | electric |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 in use | Good status |
| Nebulizer, Ultrasonic 1 | Health |  | Plastic and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good condition |
| Oxygen Concentrator, Duo Flow 1 | Health |  | rubber |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good condition |
| Bench 4 | Health |  | wooden |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 4 functional | Good condition |
| Disinfection Buckets 6 | Health |  | plastic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 6 functional | Good status |
| Baby Cot 2 | Health |  | Leather and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are in use | Good status |
| Diagnostic Equipment Set for Ward 2 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are in use | Good status |
| Hollow Ware Set, Ward 2 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are in use | Good status |
| Instrument Set, Delivery 5 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 5 in use | Good status |
| Instrument Set, Stitch Removing 5 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 5 in use | Good status |
| MVA Kit 5 |  |  | variety |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 5 in use | Good |
| Stool, Laboratory 1 | Health |  | Cushion and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 in use | Good status |
| Penguin Sucker 3 |  |  | rubber |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good status |
| Fetoscope, Dopplar 2 | Health |  | plastic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 in use | Good |
| Bubble CPAP 0 | Health |  |  |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Centrifuge (Electric) 1 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 in use | Good status |
| Kangaroo Mother Care Chair 1 | Health |  | Wood and cushion |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good condition |
| Radiant Infant Warmer 0 | Health |  |  |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Haemoglobin Meter, Sahli 2 | Health |  | plastic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 in use | Good condition |
| Delivery Bed 1 | Health |  | Leather cushion |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and in use | Good status |
| Examination light 3 | Health |  | metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good status |
| Instrument set, ENT Basic for HCIII 1 | Health |  | set |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | one functional | Good status |
| Bag Valve mask (Ambu Bag), Neonatal 14 | Health |  | rubber |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 14 non-functional | All are in store |
| Incubator0 | Health |  |  |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Not functional | Not delivered |
| Office Chair 7 | Health |  | Leather |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 7 in use | Good status |
| Desk 5 | Health |  | wooden |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 5 in use | Good status |
| Filing Cabinet 4 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 4 functional | Gppd status |
| Staff quarters | Health |  | 2 in one block |  |  |  | Not Engraved 30/02/2024. |  |  |  |  |  | functional | Good but post-natal bottom designed poorly |
| Maternity ward and OPD |  |  | 1 block |  |  |  |  |  |  |  |  |  | functional | Good status |
| Pit latrin and placenta pit |  |  | Latrin, 1 block 4 units Placenta pit, 1 pit |  |  |  |  |  |  |  |  |  | functional | good status |
| Lab extension | Health |  | I block |  |  |  | 30/02/2024 |  |  |  |  |  | Functional | Good status |
| tanks |  |  | 2 tanks, 5000liters |  |  |  |  |  |  |  |  |  | Functional | Good status |
|  |  |  | 1 tanks 3000liters |  |  |  |  |  |  |  |  |  | Functional | Good status |
|  |  |  | 1 tank, 500 liters |  |  |  |  |  |  |  |  |  | Functional | Good status |
|  |  |  | 3 tank 10,000 liters |  |  |  |  |  |  |  |  |  | Functional | Good status |
|  |  |  | 1 tank, 500 liters |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 3 tank 10,000 liters |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

parent’s contribution

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- provided learning equipment

- Built a school

- Accommodation for staff.

- employment opportunities

Challenges:

- No electricity

- Insecurity (Karamojongs)

- few teachers

- Limited staff accommodation.

Recommendations:

- Boarding section due to insecurity

- more teaching staff

- more houses for teachers

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG…………………………………………… Name of SCHOOL………………………………

| Equipment/ Item |  |  | Department |  | Asset Number |  | Item Description |  | Life in Months |  | Tag Number ( engrave no.) |  | Date Of Pur |  | Date Placed In Service |  | Recoverable cost |  | Cost |  | Acc Dep Cost |  | Net Book Value |  | Ytd Deprn |  | Equipment status |  | Remarks |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |